## Sheet1
|  | Wavelength (nm) | % Transmission
|  | 1800 | 92.4669
|  | 1795 | 92.4623
|  | 1790 | 92.4638
|  | 1785 | 92.5182
Product Raw Data |  | 1780 | 92.511
280 nm Longpass Colored Glass Filter |  | 1775 | 92.512
|  | 1770 | 92.504
Item # | FGL280, FGL280S & FGL280M | 1765 | 92.5117
|  | 1760 | 92.5223
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1755 | 92.5477
|  | 1750 | 92.5668
|  | 1745 | 92.577
|  | 1740 | 92.5723
|  | 1735 | 92.5657
|  | 1730 | 92.6059
|  | 1725 | 92.6349
Additional Information: |  | 1720 | 92.6355
Measurements Made at Normal Incidence |  | 1715 | 92.6506
|  | 1710 | 92.6348
|  | 1705 | 92.6396
|  | 1700 | 92.68
|  | 1695 | 92.6708
|  | 1690 | 92.6874
|  | 1685 | 92.6812
|  | 1680 | 92.6992
|  | 1675 | 92.7177
|  | 1670 | 92.7069
|  | 1665 | 92.7164
|  | 1660 | 92.7074
|  | 1655 | 92.7024
|  | 1650 | 92.7175
|  | 1645 | 92.7255
|  | 1640 | 92.7562
|  | 1635 | 92.7256
|  | 1630 | 92.7344
|  | 1625 | 92.7529
|  | 1620 | 92.7728
|  | 1615 | 92.7621
|  | 1610 | 92.8077
|  | 1605 | 92.7803
|  | 1600 | 92.8023
|  | 1595 | 92.7774
|  | 1590 | 92.7943
|  | 1585 | 92.7957
|  | 1580 | 92.8135
|  | 1575 | 92.8003
|  | 1570 | 92.7667
|  | 1565 | 92.7848
|  | 1560 | 92.8153
|  | 1555 | 92.8119
|  | 1550 | 92.8155
|  | 1545 | 92.8138
|  | 1540 | 92.8122
|  | 1535 | 92.835
|  | 1530 | 92.8211
|  | 1525 | 92.8217
|  | 1520 | 92.8116
|  | 1515 | 92.8099
|  | 1510 | 92.8093
|  | 1505 | 92.7876
|  | 1500 | 92.7988
|  | 1495 | 92.807
|  | 1490 | 92.7986
|  | 1485 | 92.8102
|  | 1480 | 92.8101
|  | 1475 | 92.7995
|  | 1470 | 92.7798
|  | 1465 | 92.7599
|  | 1460 | 92.7326
|  | 1455 | 92.7368
|  | 1450 | 92.7415
|  | 1445 | 92.718
|  | 1440 | 92.6845
|  | 1435 | 92.6536
|  | 1430 | 92.6054
|  | 1425 | 92.5751
|  | 1420 | 92.5192
|  | 1415 | 92.4574
|  | 1410 | 92.3886
|  | 1405 | 92.3762
|  | 1400 | 92.4107
|  | 1395 | 92.5339
|  | 1390 | 92.6054
|  | 1385 | 92.7104
|  | 1380 | 92.7594
|  | 1375 | 92.7882
|  | 1370 | 92.7942
|  | 1365 | 92.79
|  | 1360 | 92.7816
|  | 1355 | 92.8092
|  | 1350 | 92.7959
|  | 1345 | 92.7865
|  | 1340 | 92.8118
|  | 1335 | 92.7863
|  | 1330 | 92.7841
|  | 1325 | 92.792
|  | 1320 | 92.7951
|  | 1315 | 92.7884
|  | 1310 | 92.7962
|  | 1305 | 92.7846
|  | 1300 | 92.7751
|  | 1295 | 92.7716
|  | 1290 | 92.7654
|  | 1285 | 92.7885
|  | 1280 | 92.7792
|  | 1275 | 92.7742
|  | 1270 | 92.7739
|  | 1265 | 92.7558
|  | 1260 | 92.7475
|  | 1255 | 92.7363
|  | 1250 | 92.7433
|  | 1245 | 92.7416
|  | 1240 | 92.7386
|  | 1235 | 92.7254
|  | 1230 | 92.722
|  | 1225 | 92.7044
|  | 1220 | 92.6967
|  | 1215 | 92.6905
|  | 1210 | 92.7165
|  | 1205 | 92.7173
|  | 1200 | 92.7146
|  | 1195 | 92.7022
|  | 1190 | 92.6815
|  | 1185 | 92.6726
|  | 1180 | 92.7053
|  | 1175 | 92.6974
|  | 1170 | 92.6918
|  | 1165 | 92.702
|  | 1160 | 92.7016
|  | 1155 | 92.6855
|  | 1150 | 92.6875
|  | 1145 | 92.6759
|  | 1140 | 92.6712
|  | 1135 | 92.6686
|  | 1130 | 92.6663
|  | 1125 | 92.6713
|  | 1120 | 92.6788
|  | 1115 | 92.6555
|  | 1110 | 92.6508
|  | 1105 | 92.6644
|  | 1100 | 92.6799
|  | 1095 | 92.6845
|  | 1090 | 92.6709
|  | 1085 | 92.6753
|  | 1080 | 92.6874
|  | 1075 | 92.6846
|  | 1070 | 92.6885
|  | 1065 | 92.6816
|  | 1060 | 92.6791
|  | 1055 | 92.695
|  | 1050 | 92.7106
|  | 1045 | 92.691
|  | 1040 | 92.6745
|  | 1035 | 92.6843
|  | 1030 | 92.692
|  | 1025 | 92.6791
|  | 1020 | 92.6819
|  | 1015 | 92.6979
|  | 1010 | 92.7074
|  | 1005 | 92.7118
|  | 1000 | 92.713
|  | 995 | 92.7081
|  | 990 | 92.6967
|  | 985 | 92.6834
|  | 980 | 92.6893
|  | 975 | 92.6918
|  | 970 | 92.6765
|  | 965 | 92.6587
|  | 960 | 92.6539
|  | 955 | 92.6518
|  | 950 | 92.6374
|  | 945 | 92.6326
|  | 940 | 92.6109
|  | 935 | 92.6109
|  | 930 | 92.6277
|  | 925 | 92.6137
|  | 920 | 92.592
|  | 915 | 92.5797
|  | 910 | 92.5595
|  | 905 | 92.539
|  | 900 | 92.5398
|  | 895 | 92.519
|  | 890 | 92.4989
|  | 885 | 92.5204
|  | 880 | 92.5115
|  | 875 | 92.4938
|  | 870 | 92.4946
|  | 865 | 92.4562
|  | 860 | 92.4351
|  | 855 | 92.3246
|  | 850 | 92.1969
|  | 845 | 92.1913
|  | 840 | 92.2208
|  | 835 | 92.2197
|  | 830 | 92.2122
|  | 825 | 92.1858
|  | 820 | 92.1629
|  | 815 | 92.1984
|  | 810 | 92.2027
|  | 805 | 92.1879
|  | 800 | 92.1968
|  | 795 | 92.2015
|  | 790 | 92.1987
|  | 785 | 92.1879
|  | 780 | 92.1777
|  | 775 | 92.1871
|  | 770 | 92.2009
|  | 765 | 92.1982
|  | 760 | 92.188
|  | 755 | 92.1899
|  | 750 | 92.2108
|  | 745 | 92.2184
|  | 740 | 92.2165
|  | 735 | 92.2265
|  | 730 | 92.2361
|  | 725 | 92.2374
|  | 720 | 92.2237
|  | 715 | 92.228
|  | 710 | 92.2228
|  | 705 | 92.2257
|  | 700 | 91.8643
|  | 699 | 91.8757
|  | 698 | 91.8363
|  | 697 | 91.9003
|  | 696 | 91.8523
|  | 695 | 91.8496
|  | 694 | 91.8741
|  | 693 | 91.8471
|  | 692 | 91.795
|  | 691 | 91.8883
|  | 690 | 91.8587
|  | 689 | 91.8309
|  | 688 | 91.7982
|  | 687 | 91.8127
|  | 686 | 91.8215
|  | 685 | 91.8118
|  | 684 | 91.8358
|  | 683 | 91.8288
|  | 682 | 91.7524
|  | 681 | 91.7846
|  | 680 | 91.8189
|  | 679 | 91.8041
|  | 678 | 91.8448
|  | 677 | 91.8202
|  | 676 | 91.7668
|  | 675 | 91.7661
|  | 674 | 91.82
|  | 673 | 91.7776
|  | 672 | 91.8369
|  | 671 | 91.8126
|  | 670 | 91.7496
|  | 669 | 91.7924
|  | 668 | 91.8186
|  | 667 | 91.7653
|  | 666 | 91.8102
|  | 665 | 91.787
|  | 664 | 91.7647
|  | 663 | 91.7463
|  | 662 | 91.7855
|  | 661 | 91.7962
|  | 660 | 91.7856
|  | 659 | 91.7684
|  | 658 | 91.7221
|  | 657 | 91.7854
|  | 656 | 91.7754
|  | 655 | 91.751
|  | 654 | 91.7818
|  | 653 | 91.7504
|  | 652 | 91.7543
|  | 651 | 91.78
|  | 650 | 91.7591
|  | 649 | 91.7394
|  | 648 | 91.7747
|  | 647 | 91.7484
|  | 646 | 91.7107
|  | 645 | 91.7323
|  | 644 | 91.7717
|  | 643 | 91.7419
|  | 642 | 91.7736
|  | 641 | 91.7416
|  | 640 | 91.7002
|  | 639 | 91.7133
|  | 638 | 91.743
|  | 637 | 91.7301
|  | 636 | 91.7455
|  | 635 | 91.7514
|  | 634 | 91.7036
|  | 633 | 91.7692
|  | 632 | 91.759
|  | 631 | 91.713
|  | 630 | 91.7342
|  | 629 | 91.7314
|  | 628 | 91.685
|  | 627 | 91.721
|  | 626 | 91.7375
|  | 625 | 91.7073
|  | 624 | 91.7302
|  | 623 | 91.7301
|  | 622 | 91.6812
|  | 621 | 91.6883
|  | 620 | 91.7195
|  | 619 | 91.7268
|  | 618 | 91.7166
|  | 617 | 91.7027
|  | 616 | 91.6972
|  | 615 | 91.7315
|  | 614 | 91.7217
|  | 613 | 91.6945
|  | 612 | 91.7179
|  | 611 | 91.6924
|  | 610 | 91.6549
|  | 609 | 91.6814
|  | 608 | 91.7089
|  | 607 | 91.7185
|  | 606 | 91.7049
|  | 605 | 91.6819
|  | 604 | 91.674
|  | 603 | 91.7057
|  | 602 | 91.7173
|  | 601 | 91.6998
|  | 600 | 91.7128
|  | 599 | 91.691
|  | 598 | 91.6505
|  | 597 | 91.6879
|  | 596 | 91.7142
|  | 595 | 91.6954
|  | 594 | 91.7084
|  | 593 | 91.6767
|  | 592 | 91.6476
|  | 591 | 91.6762
|  | 590 | 91.7023
|  | 589 | 91.6852
|  | 588 | 91.6933
|  | 587 | 91.6597
|  | 586 | 91.6412
|  | 585 | 91.677
|  | 584 | 91.7041
|  | 583 | 91.6825
|  | 582 | 91.6932
|  | 581 | 91.6624
|  | 580 | 91.6445
|  | 579 | 91.6936
|  | 578 | 91.6987
|  | 577 | 91.6644
|  | 576 | 91.6811
|  | 575 | 91.6618
|  | 574 | 91.6462
|  | 573 | 91.6983
|  | 572 | 91.6886
|  | 571 | 91.6521
|  | 570 | 91.6767
|  | 569 | 91.6561
|  | 568 | 91.6342
|  | 567 | 91.6574
|  | 566 | 91.684
|  | 565 | 91.6768
|  | 564 | 91.6627
|  | 563 | 91.638
|  | 562 | 91.6352
|  | 561 | 91.6605
|  | 560 | 91.6195
|  | 559 | 91.6249
|  | 558 | 91.6433
|  | 557 | 91.6341
|  | 556 | 91.6736
|  | 555 | 91.662
|  | 554 | 91.6179
|  | 553 | 91.6409
|  | 552 | 91.6531
|  | 551 | 91.6277
|  | 550 | 91.6529
|  | 549 | 91.6428
|  | 548 | 91.6125
|  | 547 | 91.6328
|  | 546 | 91.6491
|  | 545 | 91.6504
|  | 544 | 91.6567
|  | 543 | 91.6411
|  | 542 | 91.6225
|  | 541 | 91.6356
|  | 540 | 91.6331
|  | 539 | 91.6301
|  | 538 | 91.6373
|  | 537 | 91.6188
|  | 536 | 91.6107
|  | 535 | 91.6183
|  | 534 | 91.6085
|  | 533 | 91.606
|  | 532 | 91.6377
|  | 531 | 91.6118
|  | 530 | 91.6025
|  | 529 | 91.6308
|  | 528 | 91.6044
|  | 527 | 91.5959
|  | 526 | 91.6256
|  | 525 | 91.6081
|  | 524 | 91.5787
|  | 523 | 91.6121
|  | 522 | 91.6213
|  | 521 | 91.599
|  | 520 | 91.6146
|  | 519 | 91.5954
|  | 518 | 91.5729
|  | 517 | 91.5867
|  | 516 | 91.5804
|  | 515 | 91.5735
|  | 514 | 91.5642
|  | 513 | 91.5544
|  | 512 | 91.5781
|  | 511 | 91.5789
|  | 510 | 91.5672
|  | 509 | 91.5439
|  | 508 | 91.5433
|  | 507 | 91.5347
|  | 506 | 91.5059
|  | 505 | 91.5395
|  | 504 | 91.5816
|  | 503 | 91.5523
|  | 502 | 91.5266
|  | 501 | 91.5373
|  | 500 | 91.5407
|  | 499 | 91.5372
|  | 498 | 91.5392
|  | 497 | 91.5338
|  | 496 | 91.5272
|  | 495 | 91.5285
|  | 494 | 91.5152
|  | 493 | 91.5396
|  | 492 | 91.5533
|  | 491 | 91.5312
|  | 490 | 91.5465
|  | 489 | 91.5482
|  | 488 | 91.5509
|  | 487 | 91.5809
|  | 486 | 91.5667
|  | 485 | 91.5406
|  | 484 | 91.5413
|  | 483 | 91.5578
|  | 482 | 91.5448
|  | 481 | 91.5465
|  | 480 | 91.5464
|  | 479 | 91.5146
|  | 478 | 91.5114
|  | 477 | 91.5243
|  | 476 | 91.5313
|  | 475 | 91.5413
|  | 474 | 91.5341
|  | 473 | 91.5238
|  | 472 | 91.5181
|  | 471 | 91.4827
|  | 470 | 91.4768
|  | 469 | 91.5023
|  | 468 | 91.491
|  | 467 | 91.4905
|  | 466 | 91.4905
|  | 465 | 91.4834
|  | 464 | 91.4849
|  | 463 | 91.509
|  | 462 | 91.4956
|  | 461 | 91.4667
|  | 460 | 91.4652
|  | 459 | 91.4804
|  | 458 | 91.4961
|  | 457 | 91.524
|  | 456 | 91.5097
|  | 455 | 91.4867
|  | 454 | 91.4726
|  | 453 | 91.453
|  | 452 | 91.4893
|  | 451 | 91.5183
|  | 450 | 91.4882
|  | 449 | 91.4753
|  | 448 | 91.4596
|  | 447 | 91.458
|  | 446 | 91.4775
|  | 445 | 91.4736
|  | 444 | 91.4956
|  | 443 | 91.4842
|  | 442 | 91.4527
|  | 441 | 91.4363
|  | 440 | 91.4304
|  | 439 | 91.4766
|  | 438 | 91.4759
|  | 437 | 91.446
|  | 436 | 91.4374
|  | 435 | 91.4297
|  | 434 | 91.4347
|  | 433 | 91.4847
|  | 432 | 91.4402
|  | 431 | 91.4039
|  | 430 | 91.4332
|  | 429 | 91.4241
|  | 428 | 91.4208
|  | 427 | 91.4334
|  | 426 | 91.4577
|  | 425 | 91.4068
|  | 424 | 91.4226
|  | 423 | 91.4173
|  | 422 | 91.4214
|  | 421 | 91.4302
|  | 420 | 91.4205
|  | 419 | 91.3733
|  | 418 | 91.3773
|  | 417 | 91.4053
|  | 416 | 91.4448
|  | 415 | 91.4535
|  | 414 | 91.4338
|  | 413 | 91.3914
|  | 412 | 91.4196
|  | 411 | 91.4112
|  | 410 | 91.4283
|  | 409 | 91.4468
|  | 408 | 91.4445
|  | 407 | 91.4329
|  | 406 | 91.4097
|  | 405 | 91.3749
|  | 404 | 91.3791
|  | 403 | 91.4021
|  | 402 | 91.388
|  | 401 | 91.3674
|  | 400 | 91.3247
|  | 399 | 91.3333
|  | 398 | 91.3634
|  | 397 | 91.3775
|  | 396 | 91.351
|  | 395 | 91.3403
|  | 394 | 91.3106
|  | 393 | 91.2932
|  | 392 | 91.3224
|  | 391 | 91.3459
|  | 390 | 91.3153
|  | 389 | 91.303
|  | 388 | 91.2906
|  | 387 | 91.3014
|  | 386 | 91.2867
|  | 385 | 91.3047
|  | 384 | 91.2653
|  | 383 | 91.2457
|  | 382 | 91.2384
|  | 381 | 91.1775
|  | 380 | 91.241
|  | 379 | 91.2529
|  | 378 | 91.2866
|  | 377 | 91.2376
|  | 376 | 91.2364
|  | 375 | 91.2681
|  | 374 | 91.2534
|  | 373 | 91.2629
|  | 372 | 91.2494
|  | 371 | 91.2073
|  | 370 | 91.2302
|  | 369 | 91.2337
|  | 368 | 91.212
|  | 367 | 91.2282
|  | 366 | 91.2218
|  | 365 | 91.1559
|  | 364 | 91.1375
|  | 363 | 91.1628
|  | 362 | 91.1689
|  | 361 | 91.159
|  | 360 | 91.1338
|  | 359 | 91.0919
|  | 358 | 91.0625
|  | 357 | 91.0987
|  | 356 | 91.0676
|  | 355 | 91.074
|  | 354 | 91.0593
|  | 353 | 90.9677
|  | 352 | 90.973
|  | 351 | 91.0071
|  | 350 | 90.9531
|  | 349 | 90.9738
|  | 348 | 90.9694
|  | 347 | 90.8724
|  | 346 | 90.8636
|  | 345 | 90.8859
|  | 344 | 90.8525
|  | 343 | 90.8285
|  | 342 | 90.8001
|  | 341 | 90.6941
|  | 340 | 90.6996
|  | 339 | 90.6937
|  | 338 | 90.632
|  | 337 | 90.5812
|  | 336 | 90.5418
|  | 335 | 90.4558
|  | 334 | 90.425
|  | 333 | 90.3783
|  | 332 | 90.3232
|  | 331 | 90.2617
|  | 330 | 90.1626
|  | 329 | 90.0383
|  | 328 | 89.9631
|  | 327 | 89.9185
|  | 326 | 89.7806
|  | 325 | 89.6679
|  | 324 | 89.5442
|  | 323 | 89.359
|  | 322 | 89.2443
|  | 321 | 89.0869
|  | 320 | 88.8482
|  | 319 | 88.708
|  | 318 | 88.4534
|  | 317 | 88.1498
|  | 316 | 87.9113
|  | 315 | 87.6209
|  | 314 | 87.2965
|  | 313 | 86.9553
|  | 312 | 86.5868
|  | 311 | 86.1382
|  | 310 | 85.6895
|  | 309 | 85.205
|  | 308 | 84.5631
|  | 307 | 84.0112
|  | 306 | 83.3691
|  | 305 | 82.6653
|  | 304 | 81.8434
|  | 303 | 81.0688
|  | 302 | 80.171
|  | 301 | 79.1798
|  | 300 | 78.1506
|  | 299 | 76.9983
|  | 298 | 75.7138
|  | 297 | 74.3966
|  | 296 | 72.9734
|  | 295 | 71.4539
|  | 294 | 69.878
|  | 293 | 68.2097
|  | 292 | 66.4013
|  | 291 | 64.5232
|  | 290 | 62.4974
|  | 289 | 60.3216
|  | 288 | 58.0972
|  | 287 | 55.7721
|  | 286 | 53.3415
|  | 285 | 50.8712
|  | 284 | 48.4049
|  | 283 | 45.8651
|  | 282 | 43.2703
|  | 281 | 40.6391
|  | 280 | 37.9147
|  | 279 | 35.1994
|  | 278 | 32.4671
|  | 277 | 29.7967
|  | 276 | 27.1967
|  | 275 | 24.6543
|  | 274 | 22.2388
|  | 273 | 19.9495
|  | 272 | 17.748
|  | 271 | 15.6502
|  | 270 | 13.6357
|  | 269 | 11.7772
|  | 268 | 10.0468
|  | 267 | 8.4993
|  | 266 | 7.1133
|  | 265 | 5.9124
|  | 264 | 4.8525
|  | 263 | 3.936
|  | 262 | 3.1543
|  | 261 | 2.4817
|  | 260 | 1.9147
|  | 259 | 1.4466
|  | 258 | 1.0762
|  | 257 | 0.78093
|  | 256 | 0.5529
|  | 255 | 0.38532
|  | 254 | 0.26324
|  | 253 | 0.17872
|  | 252 | 0.11753
|  | 251 | 0.07801
|  | 250 | 0.0489
|  | 249 | 0.03235
|  | 248 | 0.02441
|  | 247 | 0.02271
|  | 246 | 0.01931
|  | 245 | 0.0176
|  | 244 | 0.01533
|  | 243 | 0.01521
|  | 242 | 0.0194
|  | 241 | 0.01757
|  | 240 | 0.02254
|  | 239 | 0.02093
|  | 238 | 0.01945
|  | 237 | 0.0192
|  | 236 | 0.02133
|  | 235 | 0.02323
|  | 234 | 0.02424
|  | 233 | 0.02389
|  | 232 | 0.02185
|  | 231 | 0.01995
|  | 230 | 0.02108
|  | 229 | 0.02436
|  | 228 | 0.02438
|  | 227 | 0.0226
|  | 226 | 0.02048
|  | 225 | 0.01768
|  | 224 | 0.01827
|  | 223 | 0.02045
|  | 222 | 0.02037
|  | 221 | 0.01846
|  | 220 | 0.01644
|  | 219 | 0.01441
|  | 218 | 0.01661
|  | 217 | 0.01445
|  | 216 | 0.01631
|  | 215 | 0.01391
|  | 214 | 0.01186
|  | 213 | 0.01003
|  | 212 | 0.01142
|  | 211 | 0.01351
|  | 210 | 0.01294
|  | 209 | 0.01133
|  | 208 | 0.0088
|  | 207 | 0.00753
|  | 206 | 0.00904
|  | 205 | 0.0109
|  | 204 | 0.0109
|  | 203 | 0.00766
|  | 202 | 0.00569
|  | 201 | 0.00407
|  | 200 | 0.00571