## Sheet1
|  | Wavelength (nm) | % Transmission
|  | 1800 | 90.8249
|  | 1795 | 90.8318
|  | 1790 | 90.8221
|  | 1785 | 90.8842
Product Raw Data |  | 1780 | 90.8591
515 nm Longpass Colored Glass Filter |  | 1775 | 90.9001
|  | 1770 | 90.8659
Item # | FGL515, FGL515S & FGL515M | 1765 | 90.8691
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1760 | 90.8576
|  | 1755 | 90.8631
|  | 1750 | 90.8897
|  | 1745 | 90.8937
|  | 1740 | 90.9104
|  | 1735 | 90.8899
|  | 1730 | 90.9192
Additional Information: |  | 1725 | 90.9665
Measurements Made at Normal Incidence |  | 1720 | 90.9562
|  | 1715 | 90.9211
|  | 1710 | 90.9199
|  | 1705 | 90.9478
|  | 1700 | 90.9555
|  | 1695 | 90.9449
|  | 1690 | 90.9284
|  | 1685 | 90.9373
|  | 1680 | 90.9564
|  | 1675 | 90.9531
|  | 1670 | 90.9025
|  | 1665 | 90.9168
|  | 1660 | 90.9131
|  | 1655 | 90.9288
|  | 1650 | 90.8844
|  | 1645 | 90.8871
|  | 1640 | 90.8955
|  | 1635 | 90.8564
|  | 1630 | 90.8585
|  | 1625 | 90.8325
|  | 1620 | 90.8305
|  | 1615 | 90.8009
|  | 1610 | 90.8499
|  | 1605 | 90.8172
|  | 1600 | 90.7879
|  | 1595 | 90.7659
|  | 1590 | 90.7467
|  | 1585 | 90.7337
|  | 1580 | 90.7438
|  | 1575 | 90.7222
|  | 1570 | 90.6739
|  | 1565 | 90.656
|  | 1560 | 90.6403
|  | 1555 | 90.6174
|  | 1550 | 90.5898
|  | 1545 | 90.5904
|  | 1540 | 90.5778
|  | 1535 | 90.5572
|  | 1530 | 90.5273
|  | 1525 | 90.4932
|  | 1520 | 90.4996
|  | 1515 | 90.4551
|  | 1510 | 90.431
|  | 1505 | 90.4051
|  | 1500 | 90.4073
|  | 1495 | 90.3825
|  | 1490 | 90.3447
|  | 1485 | 90.3139
|  | 1480 | 90.2882
|  | 1475 | 90.2868
|  | 1470 | 90.2495
|  | 1465 | 90.2193
|  | 1460 | 90.202
|  | 1455 | 90.1733
|  | 1450 | 90.1777
|  | 1445 | 90.1617
|  | 1440 | 90.1108
|  | 1435 | 90.058
|  | 1430 | 90.0251
|  | 1425 | 89.9792
|  | 1420 | 89.9451
|  | 1415 | 89.935
|  | 1410 | 89.9143
|  | 1405 | 89.8889
|  | 1400 | 89.8695
|  | 1395 | 89.8638
|  | 1390 | 89.8666
|  | 1385 | 89.9089
|  | 1380 | 89.9087
|  | 1375 | 89.8984
|  | 1370 | 89.8897
|  | 1365 | 89.864
|  | 1360 | 89.842
|  | 1355 | 89.847
|  | 1350 | 89.8065
|  | 1345 | 89.782
|  | 1340 | 89.7903
|  | 1335 | 89.778
|  | 1330 | 89.7889
|  | 1325 | 89.7684
|  | 1320 | 89.7583
|  | 1315 | 89.7279
|  | 1310 | 89.7081
|  | 1305 | 89.6914
|  | 1300 | 89.6868
|  | 1295 | 89.6757
|  | 1290 | 89.6666
|  | 1285 | 89.659
|  | 1280 | 89.6463
|  | 1275 | 89.6287
|  | 1270 | 89.6169
|  | 1265 | 89.6165
|  | 1260 | 89.6094
|  | 1255 | 89.5953
|  | 1250 | 89.5868
|  | 1245 | 89.5557
|  | 1240 | 89.5464
|  | 1235 | 89.542
|  | 1230 | 89.5272
|  | 1225 | 89.5237
|  | 1220 | 89.5091
|  | 1215 | 89.5022
|  | 1210 | 89.4948
|  | 1205 | 89.4937
|  | 1200 | 89.4831
|  | 1195 | 89.4778
|  | 1190 | 89.4646
|  | 1185 | 89.4627
|  | 1180 | 89.462
|  | 1175 | 89.4439
|  | 1170 | 89.4321
|  | 1165 | 89.4383
|  | 1160 | 89.4434
|  | 1155 | 89.4496
|  | 1150 | 89.4386
|  | 1145 | 89.4121
|  | 1140 | 89.4258
|  | 1135 | 89.4314
|  | 1130 | 89.4141
|  | 1125 | 89.4185
|  | 1120 | 89.4415
|  | 1115 | 89.4227
|  | 1110 | 89.411
|  | 1105 | 89.4083
|  | 1100 | 89.4191
|  | 1095 | 89.4182
|  | 1090 | 89.3954
|  | 1085 | 89.3938
|  | 1080 | 89.3991
|  | 1075 | 89.3919
|  | 1070 | 89.3976
|  | 1065 | 89.4082
|  | 1060 | 89.4076
|  | 1055 | 89.4085
|  | 1050 | 89.4185
|  | 1045 | 89.4223
|  | 1040 | 89.4147
|  | 1035 | 89.4117
|  | 1030 | 89.427
|  | 1025 | 89.4424
|  | 1020 | 89.4619
|  | 1015 | 89.473
|  | 1010 | 89.4638
|  | 1005 | 89.4789
|  | 1000 | 89.487
|  | 995 | 89.4843
|  | 990 | 89.4837
|  | 985 | 89.4915
|  | 980 | 89.5067
|  | 975 | 89.5185
|  | 970 | 89.5356
|  | 965 | 89.538
|  | 960 | 89.5495
|  | 955 | 89.5643
|  | 950 | 89.5682
|  | 945 | 89.579
|  | 940 | 89.5882
|  | 935 | 89.6019
|  | 930 | 89.6299
|  | 925 | 89.6525
|  | 920 | 89.6533
|  | 915 | 89.6696
|  | 910 | 89.7018
|  | 905 | 89.7241
|  | 900 | 89.7677
|  | 895 | 89.7785
|  | 890 | 89.7849
|  | 885 | 89.8204
|  | 880 | 89.8159
|  | 875 | 89.848
|  | 870 | 89.8983
|  | 865 | 89.8963
|  | 860 | 89.908
|  | 855 | 89.9263
|  | 850 | 89.9124
|  | 845 | 89.9634
|  | 840 | 90.0425
|  | 835 | 90.073
|  | 830 | 90.1014
|  | 825 | 90.131
|  | 820 | 90.145
|  | 815 | 90.2201
|  | 810 | 90.2755
|  | 805 | 90.3013
|  | 800 | 90.3399
|  | 795 | 90.3493
|  | 790 | 90.3869
|  | 785 | 90.4645
|  | 780 | 90.5095
|  | 775 | 90.5487
|  | 770 | 90.6018
|  | 765 | 90.6529
|  | 760 | 90.6904
|  | 755 | 90.7327
|  | 750 | 90.8024
|  | 745 | 90.8586
|  | 740 | 90.8834
|  | 735 | 90.9227
|  | 730 | 90.9927
|  | 725 | 91.0518
|  | 720 | 91.0806
|  | 715 | 91.1173
|  | 710 | 91.1614
|  | 705 | 91.1951
|  | 700 | 91.2213
|  | 695 | 91.266
|  | 690 | 91.3116
|  | 685 | 91.3646
|  | 680 | 91.3834
|  | 675 | 91.3973
|  | 670 | 91.4249
|  | 665 | 91.4474
|  | 660 | 91.4559
|  | 655 | 91.4784
|  | 650 | 91.5237
|  | 645 | 91.5505
|  | 640 | 91.555
|  | 635 | 91.6034
|  | 630 | 91.6388
|  | 625 | 91.6329
|  | 620 | 91.6213
|  | 615 | 91.6313
|  | 610 | 91.6471
|  | 605 | 91.6805
|  | 600 | 91.6751
|  | 595 | 91.6279
|  | 590 | 91.5741
|  | 585 | 91.4916
|  | 580 | 91.3971
|  | 575 | 91.3034
|  | 570 | 91.2065
|  | 565 | 91.0946
|  | 560 | 90.9042
|  | 555 | 90.6786
|  | 550 | 90.3198
|  | 545 | 89.7813
|  | 540 | 88.9106
|  | 535 | 87.449
|  | 530 | 84.9793
|  | 525 | 80.8527
|  | 520 | 74.0805
|  | 515 | 63.695
|  | 510 | 49.3755
|  | 505 | 32.7861
|  | 500 | 17.4851
|  | 495 | 7.0239
|  | 490 | 2.0092
|  | 485 | 0.39069
|  | 480 | 0.055003
|  | 475 | 0.009011
|  | 470 | 0.003107
|  | 465 | 0.003523
|  | 460 | 0.003524
|  | 455 | 0.004768
|  | 450 | 0.004458
|  | 445 | 0.00363
|  | 440 | 0.003009
|  | 435 | 0.004151
|  | 430 | 0.001142
|  | 425 | 0.0027
|  | 420 | 0.002701
|  | 415 | 0.002806
|  | 410 | 0.003742
|  | 405 | 0.004991
|  | 400 | 0.00364
|  | 395 | 0.002913
|  | 390 | 0.001769
|  | 385 | 0.001977
|  | 380 | 0.003643
|  | 375 | 0.004897
|  | 370 | 0.002187
|  | 365 | 0.000625
|  | 360 | 0.003227
|  | 355 | 0.006556
|  | 350 | 0.004682
|  | 345 | 0.004891
|  | 340 | 0.004161
|  | 335 | 0.006132
|  | 330 | 0.004778
|  | 325 | 0.003425
|  | 320 | 0.006013
|  | 315 | 0.004469
|  | 310 | 0.001352
|  | 305 | 0.002596
|  | 300 | 0.00311
|  | 295 | 0.003104
|  | 290 | 0.001859
|  | 285 | 0.001857
|  | 280 | 0.002575
|  | 275 | 0.004111
|  | 270 | 0.001639
|  | 265 | 0.001225
|  | 260 | 0.003051
|  | 255 | 0.003241
|  | 250 | 0.000907
|  | 245 | 0.0008
|  | 240 | 0.003062
|  | 235 | 0.003021
|  | 230 | 0.002989
|  | 225 | 0.003065
|  | 220 | 0.003526
|  | 215 | 0.003225
|  | 210 | 0.00123
|  | 205 | 0.002741
|  | 200 | 0.004327