## Sheet1
|  | Wavelength (nm) | % Transmission
|  | 1800 | 90.8351
|  | 1795 | 90.8511
|  | 1790 | 90.8415
|  | 1785 | 90.8687
Product Raw Data |  | 1780 | 90.8512
610 nm Longpass Colored Glass Filter |  | 1775 | 90.8769
|  | 1770 | 90.8531
Item # | FGL610, FGL610S, FGL610H & FGL610M | 1765 | 90.8656
|  | 1760 | 90.8884
|  | 1755 | 90.8996
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1750 | 90.9142
|  | 1745 | 90.9193
|  | 1740 | 90.9037
|  | 1735 | 90.8968
|  | 1730 | 90.9578
|  | 1725 | 90.9735
|  | 1720 | 90.9316
Additional Information: |  | 1715 | 90.9327
Measurements Made at Normal Incidence |  | 1710 | 90.9406
|  | 1705 | 90.9602
|  | 1700 | 90.955
|  | 1695 | 90.9443
|  | 1690 | 90.9385
|  | 1685 | 90.9387
|  | 1680 | 90.9626
|  | 1675 | 90.9689
|  | 1670 | 90.9404
|  | 1665 | 90.9508
|  | 1660 | 90.9392
|  | 1655 | 90.929
|  | 1650 | 90.8914
|  | 1645 | 90.9095
|  | 1640 | 90.9359
|  | 1635 | 90.9143
|  | 1630 | 90.918
|  | 1625 | 90.8838
|  | 1620 | 90.8846
|  | 1615 | 90.8927
|  | 1610 | 90.8939
|  | 1605 | 90.8622
|  | 1600 | 90.8751
|  | 1595 | 90.8392
|  | 1590 | 90.8405
|  | 1585 | 90.8256
|  | 1580 | 90.795
|  | 1575 | 90.789
|  | 1570 | 90.7484
|  | 1565 | 90.7594
|  | 1560 | 90.7173
|  | 1555 | 90.7103
|  | 1550 | 90.7132
|  | 1545 | 90.7211
|  | 1540 | 90.6835
|  | 1535 | 90.6604
|  | 1530 | 90.6333
|  | 1525 | 90.6235
|  | 1520 | 90.6102
|  | 1515 | 90.5698
|  | 1510 | 90.5434
|  | 1505 | 90.5366
|  | 1500 | 90.5493
|  | 1495 | 90.5029
|  | 1490 | 90.4698
|  | 1485 | 90.4737
|  | 1480 | 90.4527
|  | 1475 | 90.431
|  | 1470 | 90.4106
|  | 1465 | 90.3828
|  | 1460 | 90.3611
|  | 1455 | 90.3559
|  | 1450 | 90.3455
|  | 1445 | 90.3115
|  | 1440 | 90.2639
|  | 1435 | 90.2582
|  | 1430 | 90.2355
|  | 1425 | 90.2016
|  | 1420 | 90.1717
|  | 1415 | 90.1388
|  | 1410 | 90.1016
|  | 1405 | 90.0853
|  | 1400 | 90.1061
|  | 1395 | 90.1653
|  | 1390 | 90.11
|  | 1385 | 90.1327
|  | 1380 | 90.0754
|  | 1375 | 90.1248
|  | 1370 | 90.11
|  | 1365 | 90.1081
|  | 1360 | 90.1045
|  | 1355 | 90.0926
|  | 1350 | 90.0558
|  | 1345 | 90.0279
|  | 1340 | 90.0243
|  | 1335 | 90.028
|  | 1330 | 90.0317
|  | 1325 | 90.0302
|  | 1320 | 90.0167
|  | 1315 | 89.9809
|  | 1310 | 89.9601
|  | 1305 | 89.9544
|  | 1300 | 89.9468
|  | 1295 | 89.9315
|  | 1290 | 89.9279
|  | 1285 | 89.931
|  | 1280 | 89.9006
|  | 1275 | 89.8832
|  | 1270 | 89.8765
|  | 1265 | 89.8728
|  | 1260 | 89.8603
|  | 1255 | 89.8632
|  | 1250 | 89.8652
|  | 1245 | 89.8528
|  | 1240 | 89.8428
|  | 1235 | 89.8177
|  | 1230 | 89.7986
|  | 1225 | 89.7985
|  | 1220 | 89.7882
|  | 1215 | 89.7929
|  | 1210 | 89.8093
|  | 1205 | 89.8047
|  | 1200 | 89.7795
|  | 1195 | 89.7542
|  | 1190 | 89.7417
|  | 1185 | 89.7361
|  | 1180 | 89.7514
|  | 1175 | 89.7508
|  | 1170 | 89.7473
|  | 1165 | 89.7457
|  | 1160 | 89.7395
|  | 1155 | 89.7321
|  | 1150 | 89.7129
|  | 1145 | 89.7022
|  | 1140 | 89.7033
|  | 1135 | 89.7143
|  | 1130 | 89.7241
|  | 1125 | 89.7278
|  | 1120 | 89.7317
|  | 1115 | 89.6954
|  | 1110 | 89.6894
|  | 1105 | 89.6982
|  | 1100 | 89.7169
|  | 1095 | 89.7202
|  | 1090 | 89.6948
|  | 1085 | 89.6959
|  | 1080 | 89.7005
|  | 1075 | 89.6983
|  | 1070 | 89.7129
|  | 1065 | 89.7143
|  | 1060 | 89.7165
|  | 1055 | 89.7115
|  | 1050 | 89.712
|  | 1045 | 89.7057
|  | 1040 | 89.7053
|  | 1035 | 89.711
|  | 1030 | 89.7322
|  | 1025 | 89.734
|  | 1020 | 89.7319
|  | 1015 | 89.7393
|  | 1010 | 89.7317
|  | 1005 | 89.7485
|  | 1000 | 89.7616
|  | 995 | 89.7585
|  | 990 | 89.745
|  | 985 | 89.7571
|  | 980 | 89.7904
|  | 975 | 89.816
|  | 970 | 89.8376
|  | 965 | 89.8292
|  | 960 | 89.8193
|  | 955 | 89.8325
|  | 950 | 89.8495
|  | 945 | 89.8544
|  | 940 | 89.8599
|  | 935 | 89.8817
|  | 930 | 89.9092
|  | 925 | 89.9149
|  | 920 | 89.9224
|  | 915 | 89.9462
|  | 910 | 89.9645
|  | 905 | 89.9783
|  | 900 | 90.0103
|  | 895 | 90.025
|  | 890 | 90.0294
|  | 885 | 90.0567
|  | 880 | 90.0571
|  | 875 | 90.0814
|  | 870 | 90.1283
|  | 865 | 90.1438
|  | 860 | 90.1608
|  | 855 | 90.0739
|  | 850 | 89.9999
|  | 845 | 90.0288
|  | 840 | 90.0656
|  | 835 | 90.0954
|  | 830 | 90.107
|  | 825 | 90.1217
|  | 820 | 90.1283
|  | 815 | 90.1653
|  | 810 | 90.2
|  | 805 | 90.2287
|  | 800 | 90.2789
|  | 795 | 90.2862
|  | 790 | 90.2999
|  | 785 | 90.3443
|  | 780 | 90.3662
|  | 775 | 90.4039
|  | 770 | 90.4654
|  | 765 | 90.4909
|  | 760 | 90.5014
|  | 755 | 90.5425
|  | 750 | 90.5922
|  | 745 | 90.6384
|  | 740 | 90.6584
|  | 735 | 90.6843
|  | 730 | 90.7468
|  | 725 | 90.7821
|  | 720 | 90.7695
|  | 715 | 90.7969
|  | 710 | 90.8469
|  | 705 | 90.8761
|  | 700 | 90.8749
|  | 695 | 90.8746
|  | 690 | 90.9102
|  | 685 | 90.8749
|  | 680 | 90.816
|  | 675 | 90.7865
|  | 670 | 90.7672
|  | 665 | 90.7215
|  | 660 | 90.6665
|  | 655 | 90.6134
|  | 650 | 90.4817
|  | 645 | 90.2605
|  | 640 | 89.8574
|  | 635 | 89.1677
|  | 630 | 87.8866
|  | 625 | 85.4399
|  | 620 | 81.0232
|  | 615 | 73.523
|  | 610 | 61.8815
|  | 605 | 46.5389
|  | 600 | 30.0251
|  | 595 | 16.1613
|  | 590 | 7.201
|  | 585 | 2.697
|  | 580 | 0.89259
|  | 575 | 0.27878
|  | 570 | 0.091109
|  | 565 | 0.033555
|  | 560 | 0.015788
|  | 555 | 0.007994
|  | 550 | 0.002905
|  | 545 | 0.0028
|  | 540 | 0.002697
|  | 535 | 0.001037
|  | 530 | -0.001555
|  | 525 | -0.001867
|  | 520 | -0.000726
|  | 515 | 0
|  | 510 | -0.002076
|  | 505 | -0.002075
|  | 500 | -0.000519
|  | 495 | -0.002282
|  | 490 | -0.001969
|  | 485 | -0.00145
|  | 480 | -0.000414
|  | 475 | -0.000725
|  | 470 | -0.001657
|  | 465 | -0.00259
|  | 460 | -0.001866
|  | 455 | -0.000518
|  | 450 | 0.000518
|  | 445 | -0.000519
|  | 440 | -0.002282
|  | 435 | -0.001453
|  | 430 | -0.002076
|  | 425 | -0.002077
|  | 420 | -0.002493
|  | 415 | -0.001247
|  | 410 | 0.000935
|  | 405 | 0.000416
|  | 400 | -0.000416
|  | 395 | -0.001248
|  | 390 | -0.00104
|  | 385 | -0.000937
|  | 380 | -0.000937
|  | 375 | -0.000729
|  | 370 | -0.000521
|  | 365 | -0.002291
|  | 360 | -0.002603
|  | 355 | 0.00052
|  | 350 | -0.00104
|  | 345 | 0.000833
|  | 340 | 0.00052
|  | 335 | 0.001559
|  | 330 | 0.000935
|  | 325 | -0.00083
|  | 320 | 0.000104
|  | 315 | -0.001039
|  | 310 | -0.002599
|  | 305 | -0.001661
|  | 300 | -0.001763
|  | 295 | -0.004243
|  | 290 | -0.003202
|  | 285 | -0.002888
|  | 280 | -0.002781
|  | 275 | -0.000822
|  | 270 | -0.000615
|  | 265 | -0.001633
|  | 260 | -0.001424
|  | 255 | -0.002329
|  | 250 | -0.002216
|  | 245 | -0.002999
|  | 240 | -0.001976
|  | 235 | -0.002046
|  | 230 | -0.001543
|  | 225 | -0.000958
|  | 220 | -0.002192
|  | 215 | -0.001328
|  | 210 | -0.000852
|  | 205 | 0.000567
|  | 200 | -0.000846