## Sheet1
|  | Wavelength (nm) | % Transmission
|  | 1800 | 90.6455
|  | 1795 | 90.6538
|  | 1790 | 90.6405
|  | 1785 | 90.6787
Product Raw Data |  | 1780 | 90.6598
665 nm Longpass Colored Glass Filter |  | 1775 | 90.6896
|  | 1770 | 90.6723
Item # | FGL665 & FGL665M | 1765 | 90.6637
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1760 | 90.6776
|  | 1755 | 90.7009
|  | 1750 | 90.6897
|  | 1745 | 90.6989
|  | 1740 | 90.7231
|  | 1735 | 90.7065
|  | 1730 | 90.7506
Additional Information: |  | 1725 | 90.7764
Measurements Made at Normal Incidence |  | 1720 | 90.7358
|  | 1715 | 90.7371
|  | 1710 | 90.7424
|  | 1705 | 90.7411
|  | 1700 | 90.768
|  | 1695 | 90.7935
|  | 1690 | 90.7617
|  | 1685 | 90.7761
|  | 1680 | 90.7908
|  | 1675 | 90.8066
|  | 1670 | 90.7715
|  | 1665 | 90.7902
|  | 1660 | 90.7849
|  | 1655 | 90.7879
|  | 1650 | 90.7778
|  | 1645 | 90.777
|  | 1640 | 90.7947
|  | 1635 | 90.7808
|  | 1630 | 90.7942
|  | 1625 | 90.7641
|  | 1620 | 90.7596
|  | 1615 | 90.7731
|  | 1610 | 90.8028
|  | 1605 | 90.7772
|  | 1600 | 90.7675
|  | 1595 | 90.7415
|  | 1590 | 90.7565
|  | 1585 | 90.7363
|  | 1580 | 90.7208
|  | 1575 | 90.7238
|  | 1570 | 90.6971
|  | 1565 | 90.6948
|  | 1560 | 90.6988
|  | 1555 | 90.6846
|  | 1550 | 90.6767
|  | 1545 | 90.6904
|  | 1540 | 90.6744
|  | 1535 | 90.6578
|  | 1530 | 90.6492
|  | 1525 | 90.6087
|  | 1520 | 90.6314
|  | 1515 | 90.6142
|  | 1510 | 90.5788
|  | 1505 | 90.5705
|  | 1500 | 90.5695
|  | 1495 | 90.5366
|  | 1490 | 90.525
|  | 1485 | 90.5184
|  | 1480 | 90.5156
|  | 1475 | 90.4915
|  | 1470 | 90.468
|  | 1465 | 90.4471
|  | 1460 | 90.4416
|  | 1455 | 90.4297
|  | 1450 | 90.425
|  | 1445 | 90.3978
|  | 1440 | 90.3784
|  | 1435 | 90.3492
|  | 1430 | 90.3027
|  | 1425 | 90.3013
|  | 1420 | 90.2857
|  | 1415 | 90.277
|  | 1410 | 90.2378
|  | 1405 | 90.2368
|  | 1400 | 90.261
|  | 1395 | 90.2923
|  | 1390 | 90.2511
|  | 1385 | 90.288
|  | 1380 | 90.2639
|  | 1375 | 90.2433
|  | 1370 | 90.2258
|  | 1365 | 90.1821
|  | 1360 | 90.1986
|  | 1355 | 90.2061
|  | 1350 | 90.1725
|  | 1345 | 90.1482
|  | 1340 | 90.147
|  | 1335 | 90.1176
|  | 1330 | 90.1138
|  | 1325 | 90.1053
|  | 1320 | 90.1027
|  | 1315 | 90.0918
|  | 1310 | 90.0754
|  | 1305 | 90.0458
|  | 1300 | 90.0338
|  | 1295 | 90.0317
|  | 1290 | 90.0247
|  | 1285 | 90.0142
|  | 1280 | 89.9896
|  | 1275 | 89.9689
|  | 1270 | 89.9663
|  | 1265 | 89.9523
|  | 1260 | 89.9423
|  | 1255 | 89.9416
|  | 1250 | 89.9328
|  | 1245 | 89.9107
|  | 1240 | 89.8954
|  | 1235 | 89.8846
|  | 1230 | 89.8763
|  | 1225 | 89.8645
|  | 1220 | 89.8558
|  | 1215 | 89.8303
|  | 1210 | 89.8176
|  | 1205 | 89.8205
|  | 1200 | 89.8086
|  | 1195 | 89.7905
|  | 1190 | 89.7633
|  | 1185 | 89.7593
|  | 1180 | 89.785
|  | 1175 | 89.762
|  | 1170 | 89.7525
|  | 1165 | 89.7523
|  | 1160 | 89.7464
|  | 1155 | 89.7385
|  | 1150 | 89.7253
|  | 1145 | 89.7119
|  | 1140 | 89.7099
|  | 1135 | 89.6996
|  | 1130 | 89.6991
|  | 1125 | 89.7041
|  | 1120 | 89.7038
|  | 1115 | 89.68
|  | 1110 | 89.6701
|  | 1105 | 89.6541
|  | 1100 | 89.6424
|  | 1095 | 89.6382
|  | 1090 | 89.6257
|  | 1085 | 89.6187
|  | 1080 | 89.6217
|  | 1075 | 89.6241
|  | 1070 | 89.6265
|  | 1065 | 89.6208
|  | 1060 | 89.6164
|  | 1055 | 89.6011
|  | 1050 | 89.6031
|  | 1045 | 89.594
|  | 1040 | 89.5707
|  | 1035 | 89.5765
|  | 1030 | 89.5867
|  | 1025 | 89.5805
|  | 1020 | 89.5794
|  | 1015 | 89.5842
|  | 1010 | 89.5821
|  | 1005 | 89.5859
|  | 1000 | 89.591
|  | 995 | 89.5819
|  | 990 | 89.5629
|  | 985 | 89.5638
|  | 980 | 89.5858
|  | 975 | 89.6066
|  | 970 | 89.6169
|  | 965 | 89.6123
|  | 960 | 89.6165
|  | 955 | 89.6328
|  | 950 | 89.6361
|  | 945 | 89.6341
|  | 940 | 89.6418
|  | 935 | 89.65
|  | 930 | 89.6584
|  | 925 | 89.6647
|  | 920 | 89.6671
|  | 915 | 89.6845
|  | 910 | 89.6982
|  | 905 | 89.7061
|  | 900 | 89.7449
|  | 895 | 89.764
|  | 890 | 89.7605
|  | 885 | 89.7959
|  | 880 | 89.7991
|  | 875 | 89.8057
|  | 870 | 89.8337
|  | 865 | 89.8321
|  | 860 | 89.8447
|  | 855 | 89.8041
|  | 850 | 89.752
|  | 845 | 89.7973
|  | 840 | 89.849
|  | 835 | 89.8661
|  | 830 | 89.8731
|  | 825 | 89.8571
|  | 820 | 89.8336
|  | 815 | 89.8715
|  | 810 | 89.9029
|  | 805 | 89.9012
|  | 800 | 89.9052
|  | 795 | 89.911
|  | 790 | 89.9286
|  | 785 | 89.9555
|  | 780 | 89.9516
|  | 775 | 89.9665
|  | 770 | 90.0201
|  | 765 | 90.0341
|  | 760 | 90.0199
|  | 755 | 90.0225
|  | 750 | 90.034
|  | 745 | 90.0383
|  | 740 | 90.0171
|  | 735 | 90.0003
|  | 730 | 89.9976
|  | 725 | 89.945
|  | 720 | 89.8316
|  | 715 | 89.6943
|  | 710 | 89.4624
|  | 705 | 89.1234
|  | 700 | 88.6172
|  | 695 | 87.7921
|  | 690 | 86.465
|  | 685 | 84.2761
|  | 680 | 80.6505
|  | 675 | 74.7776
|  | 670 | 65.6156
|  | 665 | 52.4392
|  | 660 | 35.9825
|  | 655 | 19.6893
|  | 650 | 7.9357
|  | 645 | 2.2097
|  | 640 | 0.42019
|  | 635 | 0.057233
|  | 630 | 0.006545
|  | 625 | -0.000208
|  | 620 | -0.002389
|  | 615 | -0.002908
|  | 610 | -0.00187
|  | 605 | -0.000935
|  | 600 | -0.001663
|  | 595 | -0.004259
|  | 590 | -0.004571
|  | 585 | -0.003428
|  | 580 | -0.002494
|  | 575 | -0.002182
|  | 570 | -0.000623
|  | 565 | 0.000104
|  | 560 | 0.001662
|  | 555 | 0.000415
|  | 550 | -0.001037
|  | 545 | -0.00166
|  | 540 | -0.002074
|  | 535 | -0.002178
|  | 530 | -0.002489
|  | 525 | -0.004045
|  | 520 | -0.00529
|  | 515 | -0.002802
|  | 510 | -0.001972
|  | 505 | -0.00249
|  | 500 | -0.001867
|  | 495 | -0.00083
|  | 490 | -0.000518
|  | 485 | -0.002797
|  | 480 | -0.002382
|  | 475 | -0.002175
|  | 470 | -0.001347
|  | 465 | -0.00228
|  | 460 | -0.002695
|  | 455 | -0.001659
|  | 450 | 0
|  | 445 | -0.000622
|  | 440 | -0.003009
|  | 435 | -0.00166
|  | 430 | -0.001245
|  | 425 | -0.001973
|  | 420 | -0.004467
|  | 415 | -0.003741
|  | 410 | -0.000832
|  | 405 | 0.001456
|  | 400 | -0.000728
|  | 395 | -0.003849
|  | 390 | -0.003121
|  | 385 | -0.001457
|  | 380 | -0.002082
|  | 375 | -0.001459
|  | 370 | 0
|  | 365 | -0.001666
|  | 360 | -0.002186
|  | 355 | -0.000728
|  | 350 | -0.00104
|  | 345 | -0.000416
|  | 340 | -0.001664
|  | 335 | 0.000312
|  | 330 | 0.00135
|  | 325 | -0.000208
|  | 320 | -0.001037
|  | 315 | -0.001871
|  | 310 | -0.001976
|  | 305 | -0.002907
|  | 300 | -0.002385
|  | 295 | -0.003622
|  | 290 | -0.002893
|  | 285 | -0.003507
|  | 280 | -0.003811
|  | 275 | -0.002775
|  | 270 | -0.002766
|  | 265 | -0.002347
|  | 260 | -0.001119
|  | 255 | -0.001823
|  | 250 | -0.002115
|  | 245 | -0.003099
|  | 240 | -0.001482
|  | 235 | -0.000877
|  | 230 | -0.001735
|  | 225 | -0.001916
|  | 220 | -0.002001
|  | 215 | -0.001328
|  | 210 | -0.001703
|  | 205 | -0.000473
|  | 200 | -9.4e-05