## M365L2 Spectrum
M365L2 Spectrum
|  | Wavelength (nm) | Normalized Intensity
|  | 319.0612 | 0.00030594
|  | 319.1756 | 0
|  | 319.2899 | 0.00017997
|  | 319.4043 | 0.00017668
Product Raw Data |  | 319.5186 | 0.00055789
UV (365 nm) Collimated High-Power LED, 700 mA |  | 319.633 | 0.00015871
|  | 319.7473 | 0
Item # | M365L2-C1 M365L2-C2 M365L2-C3 M365L2-C4 | 319.8616 | 0
|  | 319.976 | 0.00023396
|  | 320.0903 | 0
|  | 320.2046 | 0
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 320.3189 | 0.00124
|  | 320.4332 | 7.1987e-05
|  | 320.5475 | 0
|  | 320.6618 | 0.00026995
|  | 320.7761 | 0
|  | 320.8904 | 0
|  | 321.0047 | 0
Additional Information: |  | 321.119 | 0
The M365L2-C Collimated LEDs use an M365L2 Mounted High-Power LED attached to a microscope-port-compatible collimation package. The spectrum shown here is for the bare (uncollimated) LED. |  | 321.2333 | 0
|  | 321.3476 | 0.00012598
|  | 321.4619 | 0.00113
|  | 321.5762 | 0
|  | 321.6904 | 1.4969e-05
|  | 321.8047 | 0.00023396
Due to variations in the manufacturing process and operating parameters such as temperature and current, the actual spectral output of any given LED will vary. Output plots are only intended to be used as a guideline. |  | 321.919 | 0
|  | 322.0332 | 0
|  | 322.1475 | 0.00030245
|  | 322.2617 | 0
|  | 322.376 | 0
|  | 322.4902 | 0.00037793
|  | 322.6045 | 0
|  | 322.7187 | 0
|  | 322.833 | 0
|  | 322.9472 | 0
|  | 323.0614 | 0.00033839
|  | 323.1756 | 0.00039592
|  | 323.2899 | 0
|  | 323.4041 | 0
|  | 323.5183 | 0
|  | 323.6325 | 0.00012598
|  | 323.7467 | 0
|  | 323.8609 | 0
|  | 323.9751 | 0
|  | 324.0893 | 0
|  | 324.2035 | 0
|  | 324.3177 | 0
|  | 324.4319 | 0
|  | 324.5461 | 0
|  | 324.6602 | 5.091e-05
|  | 324.7744 | 0.00034194
|  | 324.8886 | 0.00012278
|  | 325.0028 | 0.00034194
|  | 325.1169 | 0
|  | 325.2311 | 0.00035993
|  | 325.3452 | 3.2945e-05
|  | 325.4594 | 0
|  | 325.5736 | 0
|  | 325.6877 | 0
|  | 325.8018 | 0
|  | 325.916 | 0
|  | 326.0301 | 0
|  | 326.1443 | 0
|  | 326.2584 | 0.00026652
|  | 326.3725 | 0
|  | 326.4866 | 0.00015871
|  | 326.6008 | 0
|  | 326.7149 | 0
|  | 326.829 | 0
|  | 326.9431 | 0.00021262
|  | 327.0572 | 0
|  | 327.1713 | 0
|  | 327.2854 | 0
|  | 327.3995 | 0
|  | 327.5136 | 0
|  | 327.6277 | 0.00010482
|  | 327.7418 | 0.00016197
|  | 327.8558 | 0.00106
|  | 327.9699 | 0
|  | 328.084 | 0
|  | 328.1981 | 0
|  | 328.3121 | 0
|  | 328.4262 | 0.00014397
|  | 328.5403 | 0
|  | 328.6543 | 0.00057588
|  | 328.7684 | 0
|  | 328.8824 | 0
|  | 328.9965 | 0.00093132
|  | 329.1105 | 0
|  | 329.2246 | 0.00032042
|  | 329.3386 | 0
|  | 329.4526 | 0
|  | 329.5667 | 0.00084583
|  | 329.6807 | 0.00033839
|  | 329.7947 | 0
|  | 329.9087 | 0.00058994
|  | 330.0228 | 0
|  | 330.1368 | 0
|  | 330.2508 | 8.9983e-05
|  | 330.3648 | 0
|  | 330.4788 | 0.00091782
|  | 330.5928 | 0
|  | 330.7068 | 0.00077385
|  | 330.8208 | 0
|  | 330.9348 | 0.00043191
|  | 331.0488 | 0.00010482
|  | 331.1627 | 0.00062987
|  | 331.2767 | 0.00024855
|  | 331.3907 | 0
|  | 331.5047 | 0.00041025
|  | 331.6187 | 0
|  | 331.7326 | 0.00023058
|  | 331.8466 | 0
|  | 331.9606 | 0.00019465
|  | 332.0745 | 0.00044991
|  | 332.1885 | 0
|  | 332.3024 | 0
|  | 332.4164 | 5.091e-05
|  | 332.5303 | 0.00030594
|  | 332.6443 | 0
|  | 332.7582 | 0.00026995
|  | 332.8721 | 0
|  | 332.9861 | 0.00044991
|  | 333.1 | 0
|  | 333.2139 | 0
|  | 333.3278 | 3.2945e-05
|  | 333.4418 | 0.00030594
|  | 333.5557 | 0
|  | 333.6696 | 0.00034194
|  | 333.7835 | 0
|  | 333.8974 | 0.00037793
|  | 334.0113 | 0.00089539
|  | 334.1252 | 0
|  | 334.2391 | 0
|  | 334.353 | 0.00052189
|  | 334.4669 | 0.00028449
|  | 334.5808 | 0
|  | 334.6947 | 0.00039229
|  | 334.8086 | 0
|  | 334.9224 | 0
|  | 335.0363 | 0.00023396
|  | 335.1502 | 0
|  | 335.2641 | 0
|  | 335.3779 | 0.00012278
|  | 335.4918 | 0.00016197
|  | 335.6056 | 0
|  | 335.7195 | 0.0004859
|  | 335.8334 | 0.00030245
|  | 335.9472 | 0.00052189
|  | 336.0611 | 0
|  | 336.1749 | 0.00079184
|  | 336.2887 | 0.00012278
|  | 336.4026 | 0.00016197
|  | 336.5164 | 0
|  | 336.6302 | 0
|  | 336.7441 | 0
|  | 336.8579 | 0
|  | 336.9717 | 0
|  | 337.0855 | 0
|  | 337.1994 | 0.00098522
|  | 337.3132 | 0.00055789
|  | 337.427 | 0
|  | 337.5408 | 0.00028795
|  | 337.6546 | 0
|  | 337.7684 | 0
|  | 337.8822 | 0
|  | 337.996 | 0.00019796
|  | 338.1098 | 0
|  | 338.2236 | 0
|  | 338.3374 | 0
|  | 338.4511 | 0.00010798
|  | 338.5649 | 0.00076961
|  | 338.6787 | 0.00019796
|  | 338.7925 | 0
|  | 338.9063 | 0
|  | 339.02 | 0
|  | 339.1338 | 0.00041391
|  | 339.2476 | 0.00042823
|  | 339.3613 | 0.00084583
|  | 339.4751 | 0
|  | 339.5888 | 0.00025195
|  | 339.7026 | 0
|  | 339.8163 | 0
|  | 339.9301 | 0
|  | 340.0438 | 0.00039592
|  | 340.1575 | 0.00046416
|  | 340.2713 | 1.7997e-05
|  | 340.385 | 0.00108
|  | 340.4987 | 0.00016197
|  | 340.6125 | 0.00030245
|  | 340.7262 | 0
|  | 340.8399 | 0
|  | 340.9536 | 0.00055789
|  | 341.0674 | 0
|  | 341.1811 | 0.0004859
|  | 341.2948 | 0
|  | 341.4085 | 0
|  | 341.5222 | 0.0005001
|  | 341.6359 | 0
|  | 341.7496 | 0
|  | 341.8633 | 0
|  | 341.977 | 0
|  | 342.0907 | 0.00012598
|  | 342.2044 | 0
|  | 342.318 | 0
|  | 342.4317 | 0
|  | 342.5454 | 0
|  | 342.6591 | 0
|  | 342.7728 | 0
|  | 342.8864 | 0
|  | 343.0001 | 0
|  | 343.1138 | 8.684e-05
|  | 343.2274 | 0.00023396
|  | 343.3411 | 0.001
|  | 343.4547 | 0
|  | 343.5684 | 0
|  | 343.682 | 0
|  | 343.7957 | 0
|  | 343.9093 | 0
|  | 344.023 | 0
|  | 344.1366 | 0.00035993
|  | 344.2502 | 0
|  | 344.3639 | 0.00023396
|  | 344.4775 | 0
|  | 344.5911 | 0
|  | 344.7048 | 0.00014075
|  | 344.8184 | 0
|  | 344.932 | 0.0005001
|  | 345.0456 | 7.1987e-05
|  | 345.1592 | 0
|  | 345.2729 | 0
|  | 345.3865 | 0
|  | 345.5001 | 0
|  | 345.6137 | 0
|  | 345.7273 | 8.9983e-05
|  | 345.8409 | 5.091e-05
|  | 345.9545 | 0.00023396
|  | 346.0681 | 0.00024855
|  | 346.1817 | 0
|  | 346.2952 | 0
|  | 346.4088 | 0
|  | 346.5224 | 0
|  | 346.636 | 1.7997e-05
|  | 346.7496 | 0
|  | 346.8631 | 0.00062987
|  | 346.9767 | 0
|  | 347.0903 | 0
|  | 347.2038 | 8.684e-05
|  | 347.3174 | 0
|  | 347.431 | 0.00087741
|  | 347.5445 | 0
|  | 347.6581 | 0
|  | 347.7716 | 0
|  | 347.8852 | 0
|  | 347.9987 | 0.00080984
|  | 348.1123 | 0.00037433
|  | 348.2258 | 0
|  | 348.3394 | 0
|  | 348.4529 | 0
|  | 348.5664 | 0
|  | 348.68 | 0
|  | 348.7935 | 0.00057197
|  | 348.907 | 0
|  | 349.0205 | 0
|  | 349.1341 | 0.00030594
|  | 349.2476 | 0
|  | 349.3611 | 0.00014397
|  | 349.4746 | 0.00106
|  | 349.5881 | 0
|  | 349.7016 | 0.00024855
|  | 349.8151 | 0.00017997
|  | 349.9286 | 0
|  | 350.0421 | 0
|  | 350.1556 | 0.00062587
|  | 350.2691 | 0
|  | 350.3826 | 0.00030245
|  | 350.4961 | 0.00093582
|  | 350.6096 | 0.00042823
|  | 350.7231 | 0.00066587
|  | 350.8366 | 0.00108
|  | 350.9501 | 0
|  | 351.0635 | 0.00033839
|  | 351.177 | 0.00070186
|  | 351.2905 | 0.0004462
|  | 351.404 | 0.00098981
|  | 351.5174 | 0.00089539
|  | 351.6309 | 0.00057588
|  | 351.7444 | 0.00084148
|  | 351.8578 | 0.00055789
|  | 351.9713 | 0.00062587
|  | 352.0847 | 0.00052189
|  | 352.1982 | 0.00094928
|  | 352.3116 | 0.00119
|  | 352.4251 | 0.00111
|  | 352.5385 | 0.0025
|  | 352.652 | 0.00197
|  | 352.7654 | 0.00203
|  | 352.8789 | 0.00314
|  | 352.9923 | 0.00347
|  | 353.1057 | 0.00379
|  | 353.2192 | 0.00423
|  | 353.3326 | 0.00343
|  | 353.446 | 0.00452
|  | 353.5594 | 0.00512
|  | 353.6729 | 0.0063
|  | 353.7863 | 0.00749
|  | 353.8997 | 0.00682
|  | 354.0131 | 0.0102
|  | 354.1265 | 0.01208
|  | 354.2399 | 0.01383
|  | 354.3533 | 0.01416
|  | 354.4667 | 0.01588
|  | 354.5801 | 0.01845
|  | 354.6935 | 0.02362
|  | 354.8069 | 0.02478
|  | 354.9203 | 0.03006
|  | 355.0337 | 0.03155
|  | 355.1471 | 0.03529
|  | 355.2605 | 0.04145
|  | 355.3739 | 0.04323
|  | 355.4873 | 0.04774
|  | 355.6007 | 0.05406
|  | 355.714 | 0.05824
|  | 355.8274 | 0.06164
|  | 355.9408 | 0.06646
|  | 356.0542 | 0.07235
|  | 356.1675 | 0.07517
|  | 356.2809 | 0.08197
|  | 356.3943 | 0.08575
|  | 356.5076 | 0.09028
|  | 356.621 | 0.09367
|  | 356.7344 | 0.09855
|  | 356.8477 | 0.1078
|  | 356.9611 | 0.10897
|  | 357.0744 | 0.11696
|  | 357.1878 | 0.11919
|  | 357.3011 | 0.12828
|  | 357.4145 | 0.13254
|  | 357.5278 | 0.14205
|  | 357.6411 | 0.14634
|  | 357.7545 | 0.15137
|  | 357.8678 | 0.15985
|  | 357.9811 | 0.16801
|  | 358.0945 | 0.17376
|  | 358.2078 | 0.18016
|  | 358.3211 | 0.18729
|  | 358.4345 | 0.19839
|  | 358.5478 | 0.20995
|  | 358.6611 | 0.21842
|  | 358.7744 | 0.22411
|  | 358.8877 | 0.23683
|  | 359.0011 | 0.24685
|  | 359.1144 | 0.25532
|  | 359.2277 | 0.27208
|  | 359.341 | 0.28224
|  | 359.4543 | 0.29253
|  | 359.5676 | 0.31002
|  | 359.6809 | 0.32415
|  | 359.7942 | 0.33725
|  | 359.9075 | 0.35171
|  | 360.0208 | 0.36634
|  | 360.1341 | 0.38829
|  | 360.2474 | 0.40411
|  | 360.3606 | 0.41589
|  | 360.4739 | 0.43758
|  | 360.5872 | 0.45742
|  | 360.7005 | 0.46962
|  | 360.8138 | 0.48243
|  | 360.9271 | 0.5005
|  | 361.0403 | 0.5086
|  | 361.1536 | 0.52112
|  | 361.2669 | 0.54251
|  | 361.3801 | 0.55488
|  | 361.4934 | 0.56808
|  | 361.6067 | 0.58767
|  | 361.7199 | 0.60761
|  | 361.8332 | 0.62194
|  | 361.9465 | 0.63901
|  | 362.0597 | 0.65613
|  | 362.173 | 0.67064
|  | 362.2862 | 0.68759
|  | 362.3995 | 0.70488
|  | 362.5127 | 0.7143
|  | 362.626 | 0.73016
|  | 362.7392 | 0.74136
|  | 362.8524 | 0.75954
|  | 362.9657 | 0.77127
|  | 363.0789 | 0.78908
|  | 363.1922 | 0.80784
|  | 363.3054 | 0.82214
|  | 363.4186 | 0.83847
|  | 363.5318 | 0.85971
|  | 363.6451 | 0.87455
|  | 363.7583 | 0.88519
|  | 363.8715 | 0.90815
|  | 363.9847 | 0.92055
|  | 364.098 | 0.93133
|  | 364.2112 | 0.94594
|  | 364.3244 | 0.96164
|  | 364.4376 | 0.97177
|  | 364.5508 | 0.98194
|  | 364.664 | 0.98949
|  | 364.7772 | 0.99281
|  | 364.8904 | 1
|  | 365.0036 | 0.99779
|  | 365.1168 | 0.99357
|  | 365.23 | 0.9936
|  | 365.3432 | 0.99718
|  | 365.4564 | 0.98194
|  | 365.5696 | 0.97172
|  | 365.6828 | 0.96495
|  | 365.796 | 0.95215
|  | 365.9092 | 0.93486
|  | 366.0224 | 0.91101
|  | 366.1356 | 0.89365
|  | 366.2488 | 0.86677
|  | 366.3619 | 0.84963
|  | 366.4751 | 0.8251
|  | 366.5883 | 0.80449
|  | 366.7015 | 0.77745
|  | 366.8146 | 0.75608
|  | 366.9278 | 0.73582
|  | 367.041 | 0.70278
|  | 367.1541 | 0.67775
|  | 367.2673 | 0.6701
|  | 367.3805 | 0.64541
|  | 367.4936 | 0.62615
|  | 367.6068 | 0.60473
|  | 367.72 | 0.58602
|  | 367.8331 | 0.56896
|  | 367.9463 | 0.55946
|  | 368.0594 | 0.54544
|  | 368.1726 | 0.53005
|  | 368.2857 | 0.51376
|  | 368.3989 | 0.50637
|  | 368.512 | 0.49933
|  | 368.6251 | 0.49143
|  | 368.7383 | 0.47993
|  | 368.8514 | 0.47343
|  | 368.9646 | 0.46336
|  | 369.0777 | 0.45684
|  | 369.1908 | 0.45165
|  | 369.304 | 0.44539
|  | 369.4171 | 0.43695
|  | 369.5302 | 0.43485
|  | 369.6434 | 0.42883
|  | 369.7565 | 0.42837
|  | 369.8696 | 0.41711
|  | 369.9827 | 0.4168
|  | 370.0958 | 0.40639
|  | 370.209 | 0.39965
|  | 370.3221 | 0.39839
|  | 370.4352 | 0.3932
|  | 370.5483 | 0.38563
|  | 370.6614 | 0.38097
|  | 370.7745 | 0.37414
|  | 370.8876 | 0.36988
|  | 371.0007 | 0.35771
|  | 371.1138 | 0.35163
|  | 371.2269 | 0.34176
|  | 371.34 | 0.3361
|  | 371.4531 | 0.3331
|  | 371.5662 | 0.32039
|  | 371.6793 | 0.31125
|  | 371.7924 | 0.30686
|  | 371.9055 | 0.29612
|  | 372.0186 | 0.29232
|  | 372.1317 | 0.28638
|  | 372.2448 | 0.27777
|  | 372.3579 | 0.27226
|  | 372.471 | 0.26572
|  | 372.584 | 0.26168
|  | 372.6971 | 0.25334
|  | 372.8102 | 0.24955
|  | 372.9233 | 0.24711
|  | 373.0363 | 0.23812
|  | 373.1494 | 0.23379
|  | 373.2625 | 0.22867
|  | 373.3756 | 0.22422
|  | 373.4886 | 0.22019
|  | 373.6017 | 0.21511
|  | 373.7148 | 0.21149
|  | 373.8278 | 0.21068
|  | 373.9409 | 0.20175
|  | 374.054 | 0.20125
|  | 374.167 | 0.19791
|  | 374.2801 | 0.1919
|  | 374.3931 | 0.18763
|  | 374.5062 | 0.18203
|  | 374.6192 | 0.17635
|  | 374.7323 | 0.17271
|  | 374.8453 | 0.17261
|  | 374.9584 | 0.16523
|  | 375.0714 | 0.16118
|  | 375.1845 | 0.16044
|  | 375.2975 | 0.15709
|  | 375.4106 | 0.15043
|  | 375.5236 | 0.1457
|  | 375.6366 | 0.14212
|  | 375.7497 | 0.13901
|  | 375.8627 | 0.13172
|  | 375.9757 | 0.12882
|  | 376.0888 | 0.12682
|  | 376.2018 | 0.12164
|  | 376.3148 | 0.11671
|  | 376.4279 | 0.11301
|  | 376.5409 | 0.10782
|  | 376.6539 | 0.10243
|  | 376.7669 | 0.09997
|  | 376.88 | 0.09488
|  | 376.993 | 0.08672
|  | 377.106 | 0.08649
|  | 377.219 | 0.08392
|  | 377.332 | 0.08096
|  | 377.445 | 0.07782
|  | 377.5581 | 0.07463
|  | 377.6711 | 0.07283
|  | 377.7841 | 0.06978
|  | 377.8971 | 0.06808
|  | 378.0101 | 0.06473
|  | 378.1231 | 0.06209
|  | 378.2361 | 0.05974
|  | 378.3491 | 0.05843
|  | 378.4621 | 0.05633
|  | 378.5751 | 0.05264
|  | 378.6881 | 0.05191
|  | 378.8011 | 0.05088
|  | 378.9141 | 0.04603
|  | 379.0271 | 0.04451
|  | 379.1401 | 0.0445
|  | 379.2531 | 0.04191
|  | 379.3661 | 0.04179
|  | 379.4791 | 0.03932
|  | 379.592 | 0.03658
|  | 379.705 | 0.03549
|  | 379.818 | 0.03273
|  | 379.931 | 0.03338
|  | 380.044 | 0.03261
|  | 380.157 | 0.03135
|  | 380.2699 | 0.02973
|  | 380.3829 | 0.0287
|  | 380.4959 | 0.02623
|  | 380.6089 | 0.02897
|  | 380.7218 | 0.02636
|  | 380.8348 | 0.02577
|  | 380.9478 | 0.02664
|  | 381.0608 | 0.02395
|  | 381.1737 | 0.02229
|  | 381.2867 | 0.02323
|  | 381.3997 | 0.0196
|  | 381.5126 | 0.02183
|  | 381.6256 | 0.01913
|  | 381.7385 | 0.01888
|  | 381.8515 | 0.01881
|  | 381.9645 | 0.01692
|  | 382.0774 | 0.01655
|  | 382.1904 | 0.01625
|  | 382.3033 | 0.0141
|  | 382.4163 | 0.01098
|  | 382.5292 | 0.01331
|  | 382.6422 | 0.01168
|  | 382.7551 | 0.01119
|  | 382.8681 | 0.00977
|  | 382.981 | 0.00866
|  | 383.094 | 0.00783
|  | 383.2069 | 0.00882
|  | 383.3199 | 0.00678
|  | 383.4328 | 0.00673
|  | 383.5458 | 0.0074
|  | 383.6587 | 0.00618
|  | 383.7716 | 0.00621
|  | 383.8846 | 0.00417
|  | 383.9975 | 0.0059
|  | 384.1104 | 0.00492
|  | 384.2234 | 0.00416
|  | 384.3363 | 0.00337
|  | 384.4492 | 0.00403
|  | 384.5622 | 0.00451
|  | 384.6751 | 0.00329
|  | 384.788 | 0.00364
|  | 384.901 | 0.00301
|  | 385.0139 | 0.00289
|  | 385.1268 | 0.0032
|  | 385.2397 | 0.00255
|  | 385.3526 | 0.00238
|  | 385.4656 | 0.00185
|  | 385.5785 | 0.0016
|  | 385.6914 | 0.00134
|  | 385.8043 | 0.00175
|  | 385.9172 | 0.00102
|  | 386.0302 | 0.00266
|  | 386.1431 | 0.00167
|  | 386.256 | 0.00196
|  | 386.3689 | 0.00199
|  | 386.4818 | 0.00084583
|  | 386.5947 | 0.00149
|  | 386.7076 | 0.00086383
|  | 386.8205 | 0.00136
|  | 386.9334 | 0.00082784
|  | 387.0463 | 0.00067977
|  | 387.1592 | 0
|  | 387.2721 | 0.00104
|  | 387.385 | 0.00175
|  | 387.4979 | 0.00066181
|  | 387.6108 | 0.00071986
|  | 387.7237 | 0.00104
|  | 387.8366 | 0
|  | 387.9495 | 0.0004462
|  | 388.0624 | 0.00059388
|  | 388.1753 | 0.00014075
|  | 388.2882 | 0.00021596
|  | 388.4011 | 0.00124
|  | 388.514 | 0.00062987
|  | 388.6269 | 0.00012278
|  | 388.7398 | 0.00071986
|  | 388.8527 | 0.00037433
|  | 388.9656 | 0.00014397
|  | 389.0784 | 0
|  | 389.1913 | 0
|  | 389.3042 | 0
|  | 389.4171 | 0.00062987
|  | 389.53 | 0
|  | 389.6429 | 0.0011
|  | 389.7557 | 3.2945e-05
|  | 389.8686 | 0
|  | 389.9815 | 0.00116
|  | 390.0944 | 0.00077385
|  | 390.2072 | 0.00019465
|  | 390.3201 | 0.00023396
|  | 390.433 | 0
|  | 390.5459 | 0.00077385
|  | 390.6587 | 0.00028449
|  | 390.7716 | 0.00025195
|  | 390.8845 | 0.00053603
|  | 390.9974 | 0.00053989
|  | 391.1102 | 0
|  | 391.2231 | 0.00041391
|  | 391.336 | 0.00116
|  | 391.4488 | 0
|  | 391.5617 | 0.00037433
|  | 391.6745 | 0
|  | 391.7874 | 0.00024855
|  | 391.9003 | 0.00089982
|  | 392.0131 | 0
|  | 392.126 | 0.00019796
|  | 392.2389 | 0.00048213
|  | 392.3517 | 0.00077385
|  | 392.4646 | 0.00039229
|  | 392.5774 | 0.00041391
|  | 392.6903 | 0.00026652
|  | 392.8031 | 1.7997e-05
|  | 392.916 | 0
|  | 393.0288 | 0.00091782
|  | 393.1417 | 0.00010482
|  | 393.2545 | 0.00041391
|  | 393.3674 | 0.00076961
|  | 393.4802 | 0
|  | 393.5931 | 0
|  | 393.7059 | 0
|  | 393.8188 | 0
|  | 393.9316 | 0
|  | 394.0445 | 0.0006079
|  | 394.1573 | 0
|  | 394.2702 | 0
|  | 394.383 | 0.00032394
|  | 394.4959 | 0
|  | 394.6087 | 0.00019796
|  | 394.7215 | 0
|  | 394.8344 | 0
|  | 394.9472 | 6.8875e-05
|  | 395.0601 | 0
|  | 395.1729 | 0
|  | 395.2857 | 0
|  | 395.3986 | 0.00039229
|  | 395.5114 | 0.00025195
|  | 395.6242 | 0
|  | 395.7371 | 0
|  | 395.8499 | 0.00094928
|  | 395.9627 | 0.00037793
|  | 396.0756 | 0
|  | 396.1884 | 0
|  | 396.3012 | 0
|  | 396.414 | 0
|  | 396.5269 | 0
|  | 396.6397 | 0
|  | 396.7525 | 5.091e-05
|  | 396.8654 | 0
|  | 396.9782 | 0.00096726
|  | 397.091 | 0.00079184
|  | 397.2038 | 3.2945e-05
|  | 397.3167 | 0
|  | 397.4295 | 0
|  | 397.5423 | 0.00091782
|  | 397.6551 | 0.00116
|  | 397.7679 | 7.1987e-05
|  | 397.8808 | 0
|  | 397.9936 | 0.00055789
|  | 398.1064 | 0
|  | 398.2192 | 0.00034194
|  | 398.332 | 0
|  | 398.4448 | 0.00070186
|  | 398.5577 | 0.00051807
|  | 398.6705 | 0
|  | 398.7833 | 0.00015871
|  | 398.8961 | 0.0004679
|  | 399.0089 | 0
|  | 399.1217 | 0
|  | 399.2345 | 0.00058994
|  | 399.3474 | 0
|  | 399.4602 | 0.00051807
|  | 399.573 | 0
|  | 399.6858 | 0
|  | 399.7986 | 0.00026995
|  | 399.9114 | 0.00133
|  | 400.0242 | 0.00068386
|  | 400.137 | 0
|  | 400.2498 | 0.00064787
|  | 400.3626 | 0.000554
|  | 400.4754 | 0.00066587
|  | 400.5882 | 0.00037433
|  | 400.701 | 0
|  | 400.8139 | 0
|  | 400.9267 | 0
|  | 401.0395 | 0
|  | 401.1523 | 0.00035993
|  | 401.2651 | 0
|  | 401.3779 | 0.00028795
|  | 401.4907 | 0
|  | 401.6035 | 0.00034194
|  | 401.7163 | 0
|  | 401.8291 | 0.00057588
|  | 401.9419 | 0
|  | 402.0547 | 0.00044991
|  | 402.1675 | 0.00026652
|  | 402.2803 | 0
|  | 402.3931 | 0
|  | 402.5058 | 0
|  | 402.6186 | 0.0007157
|  | 402.7314 | 0
|  | 402.8442 | 0
|  | 402.957 | 0.00104
|  | 403.0698 | 0
|  | 403.1826 | 0
|  | 403.2954 | 0.00075165
|  | 403.4082 | 0.00026995
|  | 403.521 | 0.00032042
|  | 403.6338 | 0
|  | 403.7466 | 0
|  | 403.8594 | 7.1987e-05
|  | 403.9721 | 0.00023058
|  | 404.0849 | 5.399e-05
|  | 404.1977 | 0
|  | 404.3105 | 0.00025195
|  | 404.4233 | 0
|  | 404.5361 | 0
|  | 404.6489 | 0
|  | 404.7617 | 0
|  | 404.8745 | 0.00048213
|  | 404.9872 | 0.00041391
|  | 405.1 | 0
|  | 405.2128 | 0.00079184
|  | 405.3256 | 0
|  | 405.4384 | 0
|  | 405.5512 | 0
|  | 405.6639 | 0
|  | 405.7767 | 0
|  | 405.8895 | 0
|  | 406.0023 | 0.00057197
|  | 406.1151 | 0.0004859
|  | 406.2279 | 0
|  | 406.3406 | 0
|  | 406.4534 | 0.00057197
|  | 406.5662 | 0
|  | 406.679 | 0.00058994
|  | 406.7918 | 0
|  | 406.9045 | 0
|  | 407.0173 | 0
|  | 407.1301 | 0
|  | 407.2429 | 0
|  | 407.3557 | 0.00134
|  | 407.4684 | 0
|  | 407.5812 | 0.00151
|  | 407.694 | 0
|  | 407.8068 | 0.00098522
|  | 407.9196 | 0
|  | 408.0323 | 0.00075165
|  | 408.1451 | 0
|  | 408.2579 | 0.00118
|  | 408.3707 | 0
|  | 408.4834 | 0.00046416
|  | 408.5962 | 0
|  | 408.709 | 0.00115
|  | 408.8218 | 0
|  | 408.9345 | 0.00122
|  | 409.0473 | 0
|  | 409.1601 | 0.00058994
|  | 409.2729 | 0
|  | 409.3856 | 0.00075165
|  | 409.4984 | 0
|  | 409.6112 | 0
|  | 409.724 | 0
|  | 409.8367 | 0.00058994
|  | 409.9495 | 0
|  | 410.0623 | 5.091e-05
|  | 410.175 | 0
|  | 410.2878 | 0.00178
|  | 410.4006 | 0
|  | 410.5134 | 0
|  | 410.6261 | 0.00041391
|  | 410.7389 | 0.0004462
|  | 410.8517 | 0
|  | 410.9645 | 0.00035636
|  | 411.0772 | 0
|  | 411.19 | 0
|  | 411.3028 | 0
|  | 411.4155 | 0.00041025
|  | 411.5283 | 0
|  | 411.6411 | 8.684e-05
|  | 411.7538 | 0
|  | 411.8666 | 0.00098522
|  | 411.9794 | 0
|  | 412.0922 | 0.00039229
|  | 412.2049 | 0
|  | 412.3177 | 0.00145
|  | 412.4305 | 0
|  | 412.5432 | 0.00026652
|  | 412.656 | 0
|  | 412.7688 | 0.00030245
|  | 412.8815 | 0
|  | 412.9943 | 0
|  | 413.1071 | 0
|  | 413.2199 | 0.0014
|  | 413.3326 | 0
|  | 413.4454 | 3.2945e-05
|  | 413.5582 | 0
|  | 413.6709 | 0.00127
|  | 413.7837 | 0
|  | 413.8965 | 0.00142
|  | 414.0092 | 0
|  | 414.122 | 0.00032042
|  | 414.2348 | 0
|  | 414.3475 | 0.00067977
|  | 414.4603 | 0
|  | 414.5731 | 0.00073368
|  | 414.6858 | 0
|  | 414.7986 | 0.00122
|  | 414.9114 | 0
|  | 415.0242 | 0.00041025
|  | 415.1369 | 0
|  | 415.2497 | 0.00147
|  | 415.3625 | 0
|  | 415.4752 | 0.00046416
|  | 415.588 | 0
|  | 415.7008 | 0.00041025
|  | 415.8135 | 0
|  | 415.9263 | 0.0005001
|  | 416.0391 | 0
|  | 416.1518 | 0.00075165
|  | 416.2646 | 0
|  | 416.3774 | 0.00058994
|  | 416.4901 | 0
|  | 416.6029 | 0.00224
|  | 416.7157 | 0
|  | 416.8285 | 0.00131
|  | 416.9412 | 0
|  | 417.054 | 0.00069774
|  | 417.1668 | 0
|  | 417.2795 | 0.00076961
|  | 417.3923 | 0
|  | 417.5051 | 0.00015871
|  | 417.6178 | 0
|  | 417.7306 | 0.00042823
|  | 417.8434 | 0
|  | 417.9561 | 1.4969e-05
|  | 418.0689 | 0
|  | 418.1817 | 0.00064383
|  | 418.2945 | 0
|  | 418.4072 | 0.00076961
|  | 418.52 | 0
|  | 418.6328 | 0.00064383
|  | 418.7455 | 0
|  | 418.8583 | 0.00089539
|  | 418.9711 | 0
|  | 419.0839 | 0
|  | 419.1966 | 0
|  | 419.3094 | 8.684e-05
|  | 419.4222 | 0
|  | 419.5349 | 0
|  | 419.6477 | 0
|  | 419.7605 | 0.00075165
|  | 419.8733 | 0
|  | 419.986 | 0.00046416
|  | 420.0988 | 0
|  | 420.2116 | 0.0004462
|  | 420.3243 | 0
|  | 420.4371 | 0.00051807
|  | 420.5499 | 0
|  | 420.6627 | 0.00109
|  | 420.7754 | 0
|  | 420.8882 | 0.000554
|  | 421.001 | 0
|  | 421.1138 | 0
|  | 421.2265 | 0
|  | 421.3393 | 0.00125
|  | 421.4521 | 0
|  | 421.5649 | 0.00080555
|  | 421.6776 | 0
|  | 421.7904 | 0.00125
|  | 421.9032 | 0
|  | 422.016 | 0
|  | 422.1288 | 0
|  | 422.2415 | 1.4969e-05
|  | 422.3543 | 0
|  | 422.4671 | 0.00102
|  | 422.5799 | 0
|  | 422.6926 | 0.00104
|  | 422.8054 | 0
|  | 422.9182 | 0.00084148
|  | 423.031 | 0
|  | 423.1438 | 0.0014
|  | 423.2565 | 0.00106
|  | 423.3693 | 0
|  | 423.4821 | 0
|  | 423.5949 | 0.00084148
|  | 423.7077 | 0.00037793
|  | 423.8204 | 0.00084148
|  | 423.9332 | 0
|  | 424.046 | 0.00012278
|  | 424.1588 | 0
|  | 424.2716 | 0.00080555
|  | 424.3844 | 0
|  | 424.4971 | 0.00073368
|  | 424.6099 | 0
|  | 424.7227 | 0.00093132
|  | 424.8355 | 0
|  | 424.9483 | 0.00073368
|  | 425.0611 | 0
|  | 425.1739 | 0.00048213
|  | 425.2866 | 0
|  | 425.3994 | 0.00136
|  | 425.5122 | 0
|  | 425.625 | 0.00125
|  | 425.7378 | 0
|  | 425.8506 | 0.000554
|  | 425.9634 | 0
|  | 426.0762 | 0.00219
|  | 426.189 | 0
|  | 426.3017 | 0.00012278
|  | 426.4145 | 0
|  | 426.5273 | 0.00109
|  | 426.6401 | 0
|  | 426.7529 | 0
|  | 426.8657 | 0
|  | 426.9785 | 0.0017
|  | 427.0913 | 0
|  | 427.2041 | 0.00024855
|  | 427.3169 | 0
|  | 427.4297 | 0.00124
|  | 427.5425 | 0
|  | 427.6553 | 0.00032042
|  | 427.7681 | 0
|  | 427.8809 | 0
|  | 427.9937 | 0
|  | 428.1065 | 0.0012
|  | 428.2193 | 0
|  | 428.3321 | 0
|  | 428.4449 | 0
|  | 428.5577 | 0.0016
|  | 428.6705 | 0
|  | 428.7833 | 3.2945e-05
|  | 428.8961 | 0
|  | 429.0089 | 0.00076961
|  | 429.1217 | 0
|  | 429.2345 | 0.00017668
|  | 429.3473 | 0
|  | 429.4601 | 0.00129
|  | 429.5729 | 0
|  | 429.6857 | 0.00089539
|  | 429.7985 | 0
|  | 429.9113 | 0.00048213
|  | 430.0241 | 0
|  | 430.1369 | 0.00113
|  | 430.2497 | 0
|  | 430.3625 | 0.00131
|  | 430.4753 | 0
|  | 430.5881 | 0.00042823
|  | 430.701 | 0
|  | 430.8138 | 0.00024855
|  | 430.9266 | 0
|  | 431.0394 | 0.00098522
|  | 431.1522 | 0
|  | 431.265 | 0.00102
|  | 431.3778 | 0
|  | 431.4907 | 0.00094928
|  | 431.6035 | 0
|  | 431.7163 | 0.00094928
|  | 431.8291 | 0
|  | 431.9419 | 0.00115
|  | 432.0547 | 0
|  | 432.1676 | 0.00066181
|  | 432.2804 | 0
|  | 432.3932 | 0.00041025
|  | 432.506 | 0
|  | 432.6188 | 0.00102
|  | 432.7317 | 0
|  | 432.8445 | 0.000554
|  | 432.9573 | 0
|  | 433.0701 | 0.00041025
|  | 433.183 | 0
|  | 433.2958 | 0.00233
|  | 433.4086 | 0
|  | 433.5214 | 0.00098522
|  | 433.6343 | 0
|  | 433.7471 | 0
|  | 433.8599 | 0
|  | 433.9728 | 0.00042823
|  | 434.0856 | 0
|  | 434.1984 | 0
|  | 434.3113 | 0
|  | 434.4241 | 0.0006079
|  | 434.5369 | 0.00019796
|  | 434.6498 | 0
|  | 434.7626 | 0
|  | 434.8754 | 0.00152
|  | 434.9883 | 0
|  | 435.1011 | 0.00026652
|  | 435.214 | 0
|  | 435.3268 | 0.0004462
|  | 435.4396 | 0
|  | 435.5525 | 0.0005001
|  | 435.6653 | 0
|  | 435.7782 | 0.00046416
|  | 435.891 | 0
|  | 436.0039 | 0.00058994
|  | 436.1167 | 0
|  | 436.2295 | 0.0014
|  | 436.3424 | 0
|  | 436.4552 | 0.00057197
|  | 436.5681 | 0
|  | 436.6809 | 0.00073368
|  | 436.7938 | 0
|  | 436.9066 | 0.00067977
|  | 437.0195 | 0
|  | 437.1323 | 0.00098522
|  | 437.2452 | 0
|  | 437.3581 | 0.00035636
|  | 437.4709 | 0
|  | 437.5838 | 0.00149
|  | 437.6966 | 0
|  | 437.8095 | 0.0005001
|  | 437.9223 | 0
|  | 438.0352 | 0.00094928
|  | 438.1481 | 0
|  | 438.2609 | 5.091e-05
|  | 438.3738 | 0
|  | 438.4867 | 0.00125
|  | 438.5995 | 0
|  | 438.7124 | 0.00066181
|  | 438.8252 | 0
|  | 438.9381 | 0.00156
|  | 439.051 | 0
|  | 439.1639 | 0.00113
|  | 439.2767 | 0
|  | 439.3896 | 0.00264
|  | 439.5025 | 0
|  | 439.6153 | 0.00093132
|  | 439.7282 | 0
|  | 439.8411 | 0.00233
|  | 439.954 | 0
|  | 440.0668 | 0.00087741
|  | 440.1797 | 0
|  | 440.2926 | 0.00089539
|  | 440.4055 | 0
|  | 440.5184 | 0.0012
|  | 440.6312 | 0
|  | 440.7441 | 0.00058994
|  | 440.857 | 0
|  | 440.9699 | 0.00145
|  | 441.0828 | 0
|  | 441.1957 | 0.00026652
|  | 441.3086 | 0
|  | 441.4215 | 0.0006079
|  | 441.5343 | 0
|  | 441.6472 | 0.00104
|  | 441.7601 | 0
|  | 441.873 | 0.00048213
|  | 441.9859 | 0
|  | 442.0988 | 0.00085945
|  | 442.2117 | 0
|  | 442.3246 | 0.00053603
|  | 442.4375 | 0
|  | 442.5504 | 0.00035636
|  | 442.6633 | 0
|  | 442.7762 | 0.00030245
|  | 442.8891 | 0
|  | 443.002 | 0.00030245
|  | 443.1149 | 0
|  | 443.2278 | 0.00136
|  | 443.3407 | 0
|  | 443.4536 | 0.0012
|  | 443.5665 | 0
|  | 443.6795 | 0.00124
|  | 443.7924 | 0
|  | 443.9053 | 0.00058994
|  | 444.0182 | 0
|  | 444.1311 | 0.00091335
|  | 444.244 | 0
|  | 444.3569 | 0.00115
|  | 444.4699 | 0
|  | 444.5828 | 0.00053603
|  | 444.6957 | 0
|  | 444.8086 | 0.00089539
|  | 444.9216 | 0
|  | 445.0345 | 0.00019465
|  | 445.1474 | 0
|  | 445.2603 | 0.00098522
|  | 445.3733 | 0
|  | 445.4862 | 0.00087741
|  | 445.5991 | 0
|  | 445.7121 | 0.00082352
|  | 445.825 | 0
|  | 445.9379 | 0.00089539
|  | 446.0509 | 0
|  | 446.1638 | 0.00176
|  | 446.2767 | 0
|  | 446.3897 | 0.00048213
|  | 446.5026 | 0
|  | 446.6156 | 0.000554
|  | 446.7285 | 0
|  | 446.8414 | 0.00039229
|  | 446.9544 | 0
|  | 447.0673 | 0.00163
|  | 447.1803 | 0
|  | 447.2932 | 0
|  | 447.4062 | 0
|  | 447.5191 | 0.00015871
|  | 447.6321 | 0
|  | 447.745 | 0.00030245
|  | 447.858 | 0
|  | 447.9709 | 0.00058994
|  | 448.0839 | 0
|  | 448.1969 | 0.00084148
|  | 448.3098 | 0
|  | 448.4228 | 0.00084148
|  | 448.5358 | 0
|  | 448.6487 | 0.00094928
|  | 448.7617 | 0
|  | 448.8746 | 0.00129
|  | 448.9876 | 0
|  | 449.1006 | 0.00138
|  | 449.2136 | 0
|  | 449.3265 | 0.00098522
|  | 449.4395 | 0
|  | 449.5525 | 0.001
|  | 449.6655 | 0
|  | 449.7784 | 0.00163
|  | 449.8914 | 0
|  | 450.0044 | 0.00073368
|  | 450.1174 | 0
|  | 450.2304 | 0.00019465
|  | 450.3433 | 0
|  | 450.4563 | 0.00042823
|  | 450.5693 | 0
|  | 450.6823 | 0
|  | 450.7953 | 0
|  | 450.9083 | 0.00066181
|  | 451.0213 | 0
|  | 451.1343 | 0.00156
|  | 451.2473 | 0
|  | 451.3603 | 0.00019465
|  | 451.4733 | 0
|  | 451.5863 | 0
|  | 451.6993 | 0
|  | 451.8123 | 5.091e-05
|  | 451.9253 | 0
|  | 452.0383 | 0.00129
|  | 452.1513 | 0
|  | 452.2643 | 0.00058994
|  | 452.3773 | 0
|  | 452.4903 | 0.00188
|  | 452.6033 | 0
|  | 452.7164 | 0.00030245
|  | 452.8294 | 0
|  | 452.9424 | 0
|  | 453.0554 | 0
|  | 453.1684 | 0.00048213
|  | 453.2815 | 0
|  | 453.3945 | 0.00026652
|  | 453.5075 | 0.00016197
|  | 453.6205 | 0.00109
|  | 453.7336 | 0
|  | 453.8466 | 0.00096726
|  | 453.9596 | 0
|  | 454.0726 | 0.00037433
|  | 454.1857 | 0
|  | 454.2987 | 0.00080555
|  | 454.4118 | 0
|  | 454.5248 | 0.00161
|  | 454.6378 | 0
|  | 454.7509 | 5.091e-05
|  | 454.8639 | 0
|  | 454.977 | 0.0006079
|  | 455.09 | 0
|  | 455.2031 | 8.684e-05
|  | 455.3161 | 0
|  | 455.4292 | 0.00030245
|  | 455.5422 | 0
|  | 455.6553 | 0.00124
|  | 455.7683 | 0
|  | 455.8814 | 0.00131
|  | 455.9944 | 0
|  | 456.1075 | 0.00138
|  | 456.2206 | 0
|  | 456.3336 | 0.00098522
|  | 456.4467 | 0
|  | 456.5598 | 0.00026652
|  | 456.6728 | 0
|  | 456.7859 | 0.00023058
|  | 456.899 | 0
|  | 457.0121 | 0.00075165
|  | 457.1251 | 0
|  | 457.2382 | 0.00073368
|  | 457.3513 | 0
|  | 457.4644 | 0.00073368
|  | 457.5775 | 0
|  | 457.6905 | 0
|  | 457.8036 | 0
|  | 457.9167 | 0.00116
|  | 458.0298 | 0
|  | 458.1429 | 0.00152
|  | 458.256 | 0
|  | 458.3691 | 0.00057197
|  | 458.4822 | 0
|  | 458.5953 | 0.00094928
|  | 458.7084 | 0
|  | 458.8215 | 0.00042823
|  | 458.9346 | 0.00044991
|  | 459.0477 | 0.00078757
|  | 459.1608 | 0
|  | 459.2739 | 0.0012
|  | 459.387 | 0
|  | 459.5001 | 0.00188
|  | 459.6132 | 0
|  | 459.7263 | 0.00015871
|  | 459.8395 | 0
|  | 459.9526 | 0.00051807
|  | 460.0657 | 0
|  | 460.1788 | 0.00076961
|  | 460.2919 | 0
|  | 460.4051 | 0
|  | 460.5182 | 0
|  | 460.6313 | 0.00023058
|  | 460.7445 | 0
|  | 460.8576 | 0.00078757
|  | 460.9707 | 0
|  | 461.0839 | 0.00093132
|  | 461.197 | 0
|  | 461.3101 | 0.00033839
|  | 461.4233 | 0
|  | 461.5364 | 0
|  | 461.6496 | 0
|  | 461.7627 | 0
|  | 461.8759 | 0
|  | 461.989 | 0.00041025
|  | 462.1022 | 0
|  | 462.2153 | 0.00015871
|  | 462.3285 | 8.9983e-05
|  | 462.4416 | 0.0006079
|  | 462.5548 | 0
|  | 462.668 | 0.00087741
|  | 462.7811 | 0
|  | 462.8943 | 0
|  | 463.0075 | 0
|  | 463.1206 | 0.00087741
|  | 463.2338 | 0
|  | 463.347 | 1.4969e-05
|  | 463.4601 | 0
|  | 463.5733 | 0.00102
|  | 463.6865 | 0
|  | 463.7997 | 0
|  | 463.9129 | 0
|  | 464.026 | 0
|  | 464.1392 | 0
|  | 464.2524 | 0.00012278
|  | 464.3656 | 0
|  | 464.4788 | 0.00041025
|  | 464.592 | 0
|  | 464.7052 | 0
|  | 464.8184 | 0
|  | 464.9316 | 0.00048213
|  | 465.0448 | 0
|  | 465.158 | 0.0005001
|  | 465.2712 | 0
|  | 465.3844 | 0.0016
|  | 465.4976 | 0
|  | 465.6108 | 0.00073368
|  | 465.7241 | 0
|  | 465.8373 | 0.00066181
|  | 465.9505 | 0
|  | 466.0637 | 0.00075165
|  | 466.1769 | 0
|  | 466.2902 | 0.00064383
|  | 466.4034 | 0
|  | 466.5166 | 0.00012278
|  | 466.6298 | 0
|  | 466.7431 | 0
|  | 466.8563 | 0
|  | 466.9695 | 0.00104
|  | 467.0828 | 0
|  | 467.196 | 0.00057197
|  | 467.3093 | 0
|  | 467.4225 | 0.00066181
|  | 467.5357 | 0
|  | 467.649 | 0.00041025
|  | 467.7622 | 0
|  | 467.8755 | 0.00023058
|  | 467.9888 | 0
|  | 468.102 | 0.00023058
|  | 468.2153 | 0
|  | 468.3285 | 0
|  | 468.4418 | 0
|  | 468.5551 | 0.00026652
|  | 468.6683 | 0
|  | 468.7816 | 0.0006079
|  | 468.8949 | 0
|  | 469.0081 | 0.00124
|  | 469.1214 | 0
|  | 469.2347 | 0.00073368
|  | 469.348 | 0
|  | 469.4613 | 0
|  | 469.5745 | 0
|  | 469.6878 | 0.001
|  | 469.8011 | 0
|  | 469.9144 | 0.00030245
|  | 470.0277 | 0
|  | 470.141 | 0.00028449
|  | 470.2543 | 0
|  | 470.3676 | 0.0006079
|  | 470.4809 | 0
|  | 470.5942 | 0.00021262
|  | 470.7075 | 0
|  | 470.8208 | 0.00115
|  | 470.9341 | 0
|  | 471.0474 | 0
|  | 471.1607 | 0
|  | 471.2741 | 0.00075165
|  | 471.3874 | 0
|  | 471.5007 | 0.00080555
|  | 471.614 | 0
|  | 471.7273 | 0
|  | 471.8407 | 0
|  | 471.954 | 0.000554
|  | 472.0673 | 0
|  | 472.1807 | 0.00076961
|  | 472.294 | 0
|  | 472.4073 | 0.00091335
|  | 472.5207 | 0
|  | 472.634 | 0.00104
|  | 472.7474 | 0
|  | 472.8607 | 0.00080555
|  | 472.9741 | 0
|  | 473.0874 | 0.00039229
|  | 473.2008 | 0
|  | 473.3141 | 0
|  | 473.4275 | 0
|  | 473.5409 | 0.00051807
|  | 473.6542 | 0
|  | 473.7676 | 0.00127
|  | 473.881 | 0
|  | 473.9943 | 0.0004462
|  | 474.1077 | 0
|  | 474.2211 | 0.00026652
|  | 474.3345 | 0
|  | 474.4478 | 0.00015871
|  | 474.5612 | 0
|  | 474.6746 | 0.00058994
|  | 474.788 | 0
|  | 474.9014 | 0.00075165
|  | 475.0148 | 0
|  | 475.1282 | 0.00023058
|  | 475.2416 | 0
|  | 475.355 | 0.00051807
|  | 475.4684 | 0
|  | 475.5818 | 0.0004462
|  | 475.6952 | 0
|  | 475.8086 | 0.00053603
|  | 475.922 | 0
|  | 476.0354 | 5.091e-05
|  | 476.1488 | 0
|  | 476.2622 | 0
|  | 476.3757 | 0
|  | 476.4891 | 0.00124
|  | 476.6025 | 0
|  | 476.7159 | 0.00108
|  | 476.8294 | 0
|  | 476.9428 | 0.00015871
|  | 477.0562 | 0
|  | 477.1697 | 0.00116
|  | 477.2831 | 0
|  | 477.3965 | 0.00019465
|  | 477.51 | 0
|  | 477.6234 | 0.0006079
|  | 477.7369 | 0
|  | 477.8503 | 0.00098522
|  | 477.9638 | 0
|  | 478.0772 | 0.00053603
|  | 478.1907 | 0.00016197
|  | 478.3042 | 0.00046416
|  | 478.4176 | 0
|  | 478.5311 | 0.00131
|  | 478.6446 | 0
|  | 478.758 | 0.00113
|  | 478.8715 | 0
|  | 478.985 | 0.00032042
|  | 479.0985 | 0
|  | 479.212 | 0.00113
|  | 479.3254 | 0
|  | 479.4389 | 0.00145
|  | 479.5524 | 0
|  | 479.6659 | 0.00089539
|  | 479.7794 | 0
|  | 479.8929 | 0
|  | 480.0064 | 0
|  | 480.1199 | 0.00158
|  | 480.2334 | 0
|  | 480.3469 | 0.00024855
|  | 480.4604 | 0
|  | 480.5739 | 0
|  | 480.6874 | 0
|  | 480.801 | 0.00037433
|  | 480.9145 | 0
|  | 481.028 | 0.00032042
|  | 481.1415 | 0
|  | 481.2551 | 0.00091335
|  | 481.3686 | 0
|  | 481.4821 | 0.00062587
|  | 481.5957 | 0
|  | 481.7092 | 0.00127
|  | 481.8227 | 0
|  | 481.9363 | 0.00094928
|  | 482.0498 | 0.00016197
|  | 482.1634 | 0.00015871
|  | 482.2769 | 0
|  | 482.3905 | 0.00109
|  | 482.504 | 0
|  | 482.6176 | 0.00080555
|  | 482.7312 | 0
|  | 482.8447 | 0
|  | 482.9583 | 0
|  | 483.0719 | 0.00069774
|  | 483.1854 | 0
|  | 483.299 | 0.00033839
|  | 483.4126 | 0
|  | 483.5262 | 0.00064383
|  | 483.6397 | 0
|  | 483.7533 | 0.00156
|  | 483.8669 | 0
|  | 483.9805 | 0.00037433
|  | 484.0941 | 0
|  | 484.2077 | 6.8875e-05
|  | 484.3213 | 0
|  | 484.4349 | 5.091e-05
|  | 484.5485 | 0
|  | 484.6621 | 0.00116
|  | 484.7757 | 0
|  | 484.8893 | 0.00030245
|  | 485.0029 | 0
|  | 485.1166 | 3.2945e-05
|  | 485.2302 | 0.0004679
|  | 485.3438 | 0.00165
|  | 485.4574 | 0
|  | 485.5711 | 0
|  | 485.6847 | 0
|  | 485.7983 | 0.00096726
|  | 485.912 | 0
|  | 486.0256 | 0.00033839
|  | 486.1393 | 0
|  | 486.2529 | 0.00199
|  | 486.3666 | 0
|  | 486.4802 | 0.00058994
|  | 486.5939 | 0
|  | 486.7075 | 0
|  | 486.8212 | 0
|  | 486.9348 | 0.00075165
|  | 487.0485 | 0
|  | 487.1622 | 0.00084148
|  | 487.2758 | 0
|  | 487.3895 | 0.0004462
|  | 487.5032 | 0
|  | 487.6169 | 0.00136
|  | 487.7306 | 0
|  | 487.8442 | 0
|  | 487.9579 | 0
|  | 488.0716 | 0
|  | 488.1853 | 0
|  | 488.299 | 0.00037433
|  | 488.4127 | 0
|  | 488.5264 | 0.00152
|  | 488.6401 | 0
|  | 488.7538 | 0
|  | 488.8675 | 0
|  | 488.9813 | 0.0005001
|  | 489.095 | 0
|  | 489.2087 | 0.00026652
|  | 489.3224 | 0
|  | 489.4361 | 0.00091335
|  | 489.5499 | 0
|  | 489.6636 | 0.00058994
|  | 489.7773 | 0
|  | 489.8911 | 0.00041025
|  | 490.0048 | 0
|  | 490.1186 | 0.0012
|  | 490.2323 | 0
|  | 490.346 | 0.00082352
|  | 490.4598 | 0
|  | 490.5736 | 0.00087741
|  | 490.6873 | 0
|  | 490.8011 | 0.00096726
|  | 490.9148 | 0
|  | 491.0286 | 0.00109
|  | 491.1424 | 0
|  | 491.2561 | 0.00015871
|  | 491.3699 | 0
|  | 491.4837 | 0
|  | 491.5975 | 0
|  | 491.7113 | 0.00080555
|  | 491.8251 | 0
|  | 491.9388 | 0.00087741
|  | 492.0526 | 0
|  | 492.1664 | 0.0004462
|  | 492.2802 | 0
|  | 492.394 | 0
|  | 492.5078 | 0
|  | 492.6217 | 0.00116
|  | 492.7355 | 0
|  | 492.8493 | 0.00115
|  | 492.9631 | 0
|  | 493.0769 | 0.00091335
|  | 493.1907 | 0
|  | 493.3046 | 0.00042823
|  | 493.4184 | 0
|  | 493.5322 | 0.0016
|  | 493.6461 | 5.399e-05
|  | 493.7599 | 0.0016
|  | 493.8738 | 0
|  | 493.9876 | 0.0004462
|  | 494.1015 | 0
|  | 494.2153 | 0.00085945
|  | 494.3292 | 0
|  | 494.443 | 0.00149
|  | 494.5569 | 0
|  | 494.6707 | 0.0006079
|  | 494.7846 | 0
|  | 494.8985 | 0.00041025
|  | 495.0124 | 0
|  | 495.1262 | 0.00116
|  | 495.2401 | 0
|  | 495.354 | 0.00024855
|  | 495.4679 | 0
|  | 495.5818 | 0.00046416
|  | 495.6957 | 0
|  | 495.8096 | 0.00057197
|  | 495.9235 | 0
|  | 496.0374 | 0.00010482
|  | 496.1513 | 0
|  | 496.2652 | 0.00080555
|  | 496.3791 | 0
|  | 496.493 | 0.00089539
|  | 496.6069 | 0
|  | 496.7208 | 0.00145
|  | 496.8348 | 0
|  | 496.9487 | 0.00046416
|  | 497.0626 | 0
|  | 497.1766 | 0.00042823
|  | 497.2905 | 0
|  | 497.4044 | 0.0017
|  | 497.5184 | 0
|  | 497.6323 | 0.00080555
|  | 497.7463 | 0.00012598
|  | 497.8602 | 0.00104
|  | 497.9742 | 0
|  | 498.0881 | 0.00048213
|  | 498.2021 | 0
|  | 498.3161 | 0.00096726
|  | 498.43 | 0
|  | 498.544 | 0.00024855
|  | 498.658 | 0
|  | 498.772 | 0.00046416
|  | 498.8859 | 0
|  | 498.9999 | 0.00113
|  | 499.1139 | 0
|  | 499.2279 | 0.00116
|  | 499.3419 | 0
|  | 499.4559 | 0.0006079
|  | 499.5699 | 0
|  | 499.6839 | 0.00089539
|  | 499.7979 | 0
|  | 499.9119 | 0.00093132
|  | 500.026 | 0
|  | 500.14 | 0.00116
|  | 500.254 | 0
|  | 500.368 | 0.00037433
|  | 500.4821 | 0
|  | 500.5961 | 0.00035636
|  | 500.7101 | 0
|  | 500.8242 | 0.000554
|  | 500.9382 | 0
|  | 501.0522 | 0
|  | 501.1663 | 0
|  | 501.2803 | 0.00142
|  | 501.3944 | 0
|  | 501.5085 | 0.00219
|  | 501.6225 | 0
|  | 501.7366 | 8.684e-05
|  | 501.8507 | 0
|  | 501.9647 | 0.00076961
|  | 502.0788 | 0
|  | 502.1929 | 0.00115
|  | 502.307 | 0
|  | 502.4211 | 0.00127
|  | 502.5351 | 0
|  | 502.6492 | 0.00080555
|  | 502.7633 | 0
|  | 502.8774 | 0.00048213
|  | 502.9915 | 0
|  | 503.1056 | 0.00023058
|  | 503.2198 | 0
|  | 503.3339 | 0.00019465
|  | 503.448 | 0
|  | 503.5621 | 0
|  | 503.6762 | 0
|  | 503.7904 | 0.0006079
|  | 503.9045 | 0
|  | 504.0186 | 0.00062587
|  | 504.1328 | 0
|  | 504.2469 | 0.00147
|  | 504.3611 | 0
|  | 504.4752 | 0.00169
|  | 504.5894 | 0
|  | 504.7035 | 0.00084148
|  | 504.8177 | 0
|  | 504.9318 | 0.000554
|  | 505.046 | 0
|  | 505.1602 | 0.00149
|  | 505.2743 | 0
|  | 505.3885 | 0.00098522
|  | 505.5027 | 0
|  | 505.6169 | 0.0005001
|  | 505.7311 | 0
|  | 505.8453 | 0
|  | 505.9594 | 0
|  | 506.0736 | 0.00109
|  | 506.1878 | 0
|  | 506.3021 | 0.00051807
|  | 506.4163 | 0
|  | 506.5305 | 0.00131
|  | 506.6447 | 0
|  | 506.7589 | 0.00024855
|  | 506.8731 | 0
|  | 506.9874 | 0
|  | 507.1016 | 0
|  | 507.2158 | 0.00064383
|  | 507.3301 | 0
|  | 507.4443 | 0.00138
|  | 507.5585 | 0
|  | 507.6728 | 0.00066181
|  | 507.787 | 0
|  | 507.9013 | 0.00134
|  | 508.0156 | 0
|  | 508.1298 | 0.00082352
|  | 508.2441 | 0
|  | 508.3584 | 0.00075165
|  | 508.4726 | 0
|  | 508.5869 | 0.00156
|  | 508.7012 | 0
|  | 508.8155 | 0.00058994
|  | 508.9298 | 0
|  | 509.0441 | 0.00111
|  | 509.1583 | 0
|  | 509.2726 | 0.00051807
|  | 509.387 | 0
|  | 509.5013 | 0.00124
|  | 509.6156 | 0
|  | 509.7299 | 0.00098522
|  | 509.8442 | 0
|  | 509.9585 | 0.00037433
|  | 510.0728 | 0
|  | 510.1872 | 0.001
|  | 510.3015 | 0
|  | 510.4158 | 0.00084148
|  | 510.5302 | 0
|  | 510.6445 | 0.00085945
|  | 510.7589 | 0
|  | 510.8732 | 0.00023058
|  | 510.9876 | 0
|  | 511.1019 | 0
|  | 511.2163 | 0
|  | 511.3307 | 0.00131
|  | 511.445 | 0
|  | 511.5594 | 0.00124
|  | 511.6738 | 0
|  | 511.7882 | 0.00058994
|  | 511.9026 | 0
|  | 512.0169 | 0.00062587
|  | 512.1313 | 0
|  | 512.2457 | 0.00058994
|  | 512.3601 | 0
|  | 512.4745 | 0.00085945
|  | 512.5889 | 0
|  | 512.7034 | 0.00073368
|  | 512.8178 | 0
|  | 512.9322 | 0.00080555
|  | 513.0466 | 0
|  | 513.161 | 0.0006079
|  | 513.2755 | 0
|  | 513.3899 | 0.00032042
|  | 513.5043 | 0
|  | 513.6188 | 0.00039229
|  | 513.7332 | 0
|  | 513.8477 | 0.00037433
|  | 513.9621 | 0
|  | 514.0766 | 0.00037433
|  | 514.1911 | 0
|  | 514.3055 | 0.0006079
|  | 514.42 | 0
|  | 514.5345 | 0.00041025
|  | 514.6489 | 0
|  | 514.7634 | 0.00041025
|  | 514.8779 | 0
|  | 514.9924 | 0
|  | 515.1069 | 0
|  | 515.2214 | 0.00116
|  | 515.3359 | 0
|  | 515.4504 | 0.00176
|  | 515.5649 | 0
|  | 515.6794 | 0.00010482
|  | 515.7939 | 0
|  | 515.9084 | 0.00098522
|  | 516.023 | 0
|  | 516.1375 | 0.00142
|  | 516.252 | 0
|  | 516.3666 | 0
|  | 516.4811 | 0
|  | 516.5957 | 0.0005001
|  | 516.7102 | 0
|  | 516.8248 | 0.00098522
|  | 516.9393 | 0
|  | 517.0539 | 0.0006079
|  | 517.1684 | 0
|  | 517.283 | 0.00062587
|  | 517.3976 | 0
|  | 517.5121 | 0.00021262
|  | 517.6267 | 0
|  | 517.7413 | 0.00075165
|  | 517.8559 | 0
|  | 517.9705 | 0.00073368
|  | 518.0851 | 0
|  | 518.1997 | 0.00109
|  | 518.3143 | 0
|  | 518.4289 | 0.00127
|  | 518.5435 | 0
|  | 518.6581 | 0.00084148
|  | 518.7727 | 0.00016197
|  | 518.8874 | 0.00075165
|  | 519.002 | 0
|  | 519.1166 | 0.00089539
|  | 519.2313 | 0
|  | 519.3459 | 0.00037433
|  | 519.4606 | 0
|  | 519.5752 | 0.00057197
|  | 519.6899 | 0
|  | 519.8045 | 0.00041025
|  | 519.9192 | 0
|  | 520.0338 | 0.00118
|  | 520.1485 | 0
|  | 520.2632 | 0.00073368
|  | 520.3779 | 0
|  | 520.4925 | 0.00015871
|  | 520.6072 | 0
|  | 520.7219 | 0.00014075
|  | 520.8366 | 0
|  | 520.9513 | 0.00096726
|  | 521.066 | 0
|  | 521.1807 | 0.00076961
|  | 521.2954 | 0
|  | 521.4101 | 0
|  | 521.5249 | 0
|  | 521.6396 | 0.0012
|  | 521.7543 | 0
|  | 521.869 | 0.00109
|  | 521.9838 | 0
|  | 522.0985 | 8.684e-05
|  | 522.2132 | 0
|  | 522.328 | 0.000554
|  | 522.4427 | 0
|  | 522.5575 | 0.00116
|  | 522.6723 | 0.00030594
|  | 522.787 | 0.00037433
|  | 522.9018 | 0
|  | 523.0166 | 0.00028449
|  | 523.1313 | 0
|  | 523.2461 | 0.0006079
|  | 523.3609 | 0
|  | 523.4757 | 0.00066181
|  | 523.5905 | 0
|  | 523.7053 | 0.0014
|  | 523.8201 | 0
|  | 523.9349 | 0.00015871
|  | 524.0497 | 0
|  | 524.1645 | 0.00131
|  | 524.2794 | 0
|  | 524.3942 | 0
|  | 524.509 | 0
|  | 524.6238 | 6.8875e-05
|  | 524.7387 | 0.00052189
|  | 524.8535 | 0
|  | 524.9684 | 0
|  | 525.0832 | 0.00069774
|  | 525.1981 | 0
|  | 525.3129 | 0.00041025
|  | 525.4278 | 0
|  | 525.5426 | 0.00197
|  | 525.6575 | 0
|  | 525.7724 | 0
|  | 525.8873 | 0
|  | 526.0022 | 0.00010482
|  | 526.117 | 0
|  | 526.2319 | 0.0014
|  | 526.3468 | 0
|  | 526.4617 | 0.00127
|  | 526.5766 | 0
|  | 526.6916 | 0.00163
|  | 526.8065 | 0
|  | 526.9214 | 0.00084148
|  | 527.0363 | 0
|  | 527.1512 | 6.8875e-05
|  | 527.2662 | 0
|  | 527.3811 | 0.00067977
|  | 527.496 | 0
|  | 527.611 | 0.0016
|  | 527.7259 | 0
|  | 527.8409 | 0.0004462
|  | 527.9558 | 0
|  | 528.0708 | 0.00085945
|  | 528.1858 | 0
|  | 528.3007 | 0.00138
|  | 528.4157 | 0
|  | 528.5307 | 0.00127
|  | 528.6457 | 0
|  | 528.7607 | 0.00019465
|  | 528.8757 | 0
|  | 528.9907 | 0
|  | 529.1057 | 0
|  | 529.2207 | 0.00026652
|  | 529.3357 | 0
|  | 529.4507 | 0
|  | 529.5657 | 0
|  | 529.6807 | 0.00134
|  | 529.7958 | 0
|  | 529.9108 | 0.00073368
|  | 530.0258 | 0
|  | 530.1409 | 5.091e-05
|  | 530.2559 | 0
|  | 530.371 | 0.00104
|  | 530.486 | 0
|  | 530.6011 | 0.00098522
|  | 530.7162 | 0
|  | 530.8312 | 0.00085945
|  | 530.9463 | 0
|  | 531.0614 | 0.00091335
|  | 531.1765 | 0
|  | 531.2916 | 0
|  | 531.4067 | 0
|  | 531.5218 | 0.00169
|  | 531.6369 | 0
|  | 531.752 | 0
|  | 531.8671 | 0
|  | 531.9822 | 0.00033839
|  | 532.0973 | 0
|  | 532.2124 | 0.00062587
|  | 532.3276 | 0
|  | 532.4427 | 0.00084148
|  | 532.5578 | 0
|  | 532.673 | 0
|  | 532.7881 | 0
|  | 532.9033 | 0.0007157
|  | 533.0184 | 0
|  | 533.1336 | 0
|  | 533.2488 | 0
|  | 533.3639 | 8.684e-05
|  | 533.4791 | 0
|  | 533.5943 | 0.00152
|  | 533.7095 | 0
|  | 533.8246 | 0.000554
|  | 533.9398 | 0
|  | 534.055 | 3.2945e-05
|  | 534.1702 | 0
|  | 534.2854 | 0.0005001
|  | 534.4007 | 0
|  | 534.5159 | 0.00021262
|  | 534.6311 | 0
|  | 534.7463 | 0.000554
|  | 534.8615 | 0
|  | 534.9768 | 0.00019465
|  | 535.092 | 0
|  | 535.2073 | 0.00057197
|  | 535.3225 | 0
|  | 535.4378 | 0
|  | 535.553 | 0
|  | 535.6683 | 1.4969e-05
|  | 535.7836 | 0
|  | 535.8988 | 0
|  | 536.0141 | 0
|  | 536.1294 | 0.00051807
|  | 536.2447 | 0
|  | 536.36 | 0.00039229
|  | 536.4753 | 1.7997e-05
|  | 536.5906 | 0.00024855
|  | 536.7059 | 0
|  | 536.8212 | 5.091e-05
|  | 536.9365 | 0
|  | 537.0518 | 0.00035636
|  | 537.1671 | 0
|  | 537.2825 | 5.091e-05
|  | 537.3978 | 0
|  | 537.5131 | 0.00026652
|  | 537.6285 | 0
|  | 537.7438 | 6.8875e-05
|  | 537.8592 | 0
|  | 537.9745 | 0.00084148
|  | 538.0899 | 0
|  | 538.2053 | 0.00026652
|  | 538.3206 | 0
|  | 538.436 | 0.00053603
|  | 538.5514 | 0
|  | 538.6668 | 0.00057197
|  | 538.7822 | 0
|  | 538.8976 | 0.00062587
|  | 539.013 | 0
|  | 539.1284 | 0
|  | 539.2438 | 0
|  | 539.3592 | 0.00046416
|  | 539.4746 | 0
|  | 539.5901 | 0.00030245
|  | 539.7055 | 0
|  | 539.8209 | 0.00026652
|  | 539.9364 | 0
|  | 540.0518 | 0.00032042
|  | 540.1673 | 0
|  | 540.2827 | 0.00134
|  | 540.3982 | 0
|  | 540.5136 | 0.00062587
|  | 540.6291 | 0
|  | 540.7446 | 0.00136
|  | 540.8601 | 0
|  | 540.9755 | 0.00116
|  | 541.091 | 0
|  | 541.2065 | 0
|  | 541.322 | 0
|  | 541.4375 | 0
|  | 541.553 | 0
|  | 541.6685 | 0.00176
|  | 541.7841 | 0
|  | 541.8996 | 0
|  | 542.0151 | 0
|  | 542.1307 | 0.00115
|  | 542.2462 | 0
|  | 542.3617 | 0.00087741
|  | 542.4773 | 0
|  | 542.5928 | 0.00058994
|  | 542.7084 | 0
|  | 542.824 | 0.00032042
|  | 542.9395 | 0
|  | 543.0551 | 0.00023058
|  | 543.1707 | 0
|  | 543.2863 | 0.00118
|  | 543.4018 | 0
|  | 543.5174 | 0.00151
|  | 543.633 | 0
|  | 543.7486 | 0
|  | 543.8642 | 0
|  | 543.9799 | 0.00089539
|  | 544.0955 | 0
|  | 544.2111 | 0
|  | 544.3267 | 0
|  | 544.4424 | 0
|  | 544.558 | 0
|  | 544.6736 | 8.684e-05
|  | 544.7893 | 0
|  | 544.9049 | 0
|  | 545.0206 | 0
|  | 545.1363 | 0.0004462
|  | 545.2519 | 0
|  | 545.3676 | 0.00035636
|  | 545.4833 | 0
|  | 545.599 | 0.0006079
|  | 545.7147 | 0
|  | 545.8303 | 0.00163
|  | 545.946 | 0
|  | 546.0617 | 0
|  | 546.1775 | 0
|  | 546.2932 | 0.00076961
|  | 546.4089 | 0
|  | 546.5246 | 0.00057197
|  | 546.6403 | 0
|  | 546.7561 | 0.00073368
|  | 546.8718 | 0
|  | 546.9876 | 0.00106
|  | 547.1033 | 0
|  | 547.2191 | 0.0005001
|  | 547.3348 | 0
|  | 547.4506 | 0
|  | 547.5664 | 0
|  | 547.6821 | 0.00102
|  | 547.7979 | 0
|  | 547.9137 | 0.00024855
|  | 548.0295 | 0
|  | 548.1453 | 0.00076961
|  | 548.2611 | 0
|  | 548.3769 | 0.00042823
|  | 548.4927 | 0
|  | 548.6085 | 0.00030245
|  | 548.7244 | 0
|  | 548.8402 | 0.00106
|  | 548.956 | 0
|  | 549.0718 | 0.0006079
|  | 549.1877 | 0
|  | 549.3035 | 0.00075165
|  | 549.4194 | 0
|  | 549.5353 | 0.00106
|  | 549.6511 | 0
|  | 549.767 | 5.091e-05
|  | 549.8829 | 0
|  | 549.9987 | 0.00041025
|  | 550.1146 | 0
|  | 550.2305 | 0.00149
|  | 550.3464 | 0
|  | 550.4623 | 0
|  | 550.5782 | 0
|  | 550.6941 | 0.00053603
|  | 550.81 | 0
|  | 550.926 | 0
|  | 551.0419 | 0
|  | 551.1578 | 0.00023058
|  | 551.2738 | 0
|  | 551.3897 | 0.000554
|  | 551.5057 | 0
|  | 551.6216 | 0.00085945
|  | 551.7376 | 0
|  | 551.8535 | 0.00058994
|  | 551.9695 | 0
|  | 552.0855 | 0.00028449
|  | 552.2015 | 0
|  | 552.3174 | 0.00131
|  | 552.4334 | 0
|  | 552.5494 | 0.00094928
|  | 552.6654 | 0
|  | 552.7814 | 0.00041025
|  | 552.8974 | 0
|  | 553.0135 | 0.00113
|  | 553.1295 | 0
|  | 553.2455 | 0.00037433
|  | 553.3616 | 0
|  | 553.4776 | 0.00053603
|  | 553.5936 | 0
|  | 553.7097 | 0.0005001
|  | 553.8257 | 0
|  | 553.9418 | 0.00131
|  | 554.0579 | 0
|  | 554.1739 | 0.00205
|  | 554.29 | 0
|  | 554.4061 | 0.00035636
|  | 554.5222 | 0
|  | 554.6383 | 0.00176
|  | 554.7544 | 0
|  | 554.8705 | 0.00032042
|  | 554.9866 | 0
|  | 555.1027 | 0.00098522
|  | 555.2188 | 0
|  | 555.335 | 0
|  | 555.4511 | 0
|  | 555.5672 | 0.00073368
|  | 555.6834 | 0
|  | 555.7995 | 0.00032042
|  | 555.9157 | 0
|  | 556.0318 | 0.00075165
|  | 556.148 | 0
|  | 556.2642 | 0.00094928
|  | 556.3803 | 0
|  | 556.4965 | 0.00094928
|  | 556.6127 | 0
|  | 556.7289 | 0.00094928
|  | 556.8451 | 0
|  | 556.9613 | 0.00080555
|  | 557.0775 | 0
|  | 557.1937 | 0.0012
|  | 557.3099 | 0
|  | 557.4262 | 0
|  | 557.5424 | 0
|  | 557.6586 | 0.00127
|  | 557.7749 | 0
|  | 557.8911 | 0
|  | 558.0074 | 0
|  | 558.1236 | 0.000554
|  | 558.2399 | 0
|  | 558.3561 | 0.00127
|  | 558.4724 | 0
|  | 558.5887 | 0.00058994
|  | 558.705 | 0
|  | 558.8213 | 0.00138
|  | 558.9376 | 0
|  | 559.0539 | 0.00187
|  | 559.1702 | 0
|  | 559.2865 | 0.00125
|  | 559.4028 | 0
|  | 559.5191 | 0.00051807
|  | 559.6355 | 0
|  | 559.7518 | 0.00089539
|  | 559.8682 | 0
|  | 559.9845 | 0.00057197
|  | 560.1009 | 0
|  | 560.2172 | 0.00106
|  | 560.3336 | 0
|  | 560.4499 | 0.00087741
|  | 560.5663 | 0
|  | 560.6827 | 0.00033839
|  | 560.7991 | 0
|  | 560.9155 | 0.00124
|  | 561.0319 | 0
|  | 561.1483 | 0.00174
|  | 561.2647 | 0
|  | 561.3811 | 0.00084148
|  | 561.4975 | 0
|  | 561.614 | 0.00125
|  | 561.7304 | 0
|  | 561.8468 | 0.00073368
|  | 561.9633 | 0
|  | 562.0797 | 0.00033839
|  | 562.1962 | 0
|  | 562.3126 | 0.00111
|  | 562.4291 | 0
|  | 562.5456 | 0.00057197
|  | 562.6621 | 0
|  | 562.7785 | 0.00094928
|  | 562.895 | 0
|  | 563.0115 | 0
|  | 563.128 | 0
|  | 563.2445 | 0.00096726
|  | 563.361 | 0
|  | 563.4776 | 0.00080555
|  | 563.5941 | 0
|  | 563.7106 | 0.00023058
|  | 563.8272 | 0
|  | 563.9437 | 0.00058994
|  | 564.0602 | 0
|  | 564.1768 | 0.00037433
|  | 564.2934 | 0
|  | 564.4099 | 0.00048213
|  | 564.5265 | 0
|  | 564.6431 | 0.00058994
|  | 564.7596 | 0
|  | 564.8762 | 0.00156
|  | 564.9928 | 0
|  | 565.1094 | 0.00030245
|  | 565.226 | 0
|  | 565.3426 | 0
|  | 565.4593 | 0
|  | 565.5759 | 0.00158
|  | 565.6925 | 0
|  | 565.8091 | 0.00066181
|  | 565.9258 | 0
|  | 566.0424 | 0.00124
|  | 566.1591 | 0
|  | 566.2757 | 0
|  | 566.3924 | 0
|  | 566.5091 | 0.00046416
|  | 566.6257 | 0
|  | 566.7424 | 0.00062587
|  | 566.8591 | 0
|  | 566.9758 | 0.00147
|  | 567.0925 | 0
|  | 567.2092 | 0
|  | 567.3259 | 0
|  | 567.4426 | 0.00085945
|  | 567.5594 | 0
|  | 567.6761 | 0.0016
|  | 567.7928 | 0
|  | 567.9096 | 0.00073368
|  | 568.0263 | 0
|  | 568.1431 | 0.00058994
|  | 568.2598 | 0
|  | 568.3766 | 0.00111
|  | 568.4934 | 0
|  | 568.6101 | 0
|  | 568.7269 | 0
|  | 568.8437 | 0.00113
|  | 568.9605 | 0
|  | 569.0773 | 0.00058994
|  | 569.1941 | 0
|  | 569.3109 | 0.00129
|  | 569.4277 | 0
|  | 569.5446 | 0.0016
|  | 569.6614 | 0.00010798
|  | 569.7782 | 0.00019465
|  | 569.8951 | 0
|  | 570.0119 | 0.00127
|  | 570.1288 | 0
|  | 570.2456 | 0.00019465
|  | 570.3625 | 0
|  | 570.4794 | 0.00084148
|  | 570.5962 | 0
|  | 570.7131 | 0.00080555
|  | 570.83 | 0
|  | 570.9469 | 0.00206
|  | 571.0638 | 0
|  | 571.1807 | 0.00156
|  | 571.2976 | 0
|  | 571.4146 | 0.00046416
|  | 571.5315 | 0
|  | 571.6484 | 0.00158
|  | 571.7654 | 0
|  | 571.8823 | 0
|  | 571.9992 | 0
|  | 572.1162 | 0.00069774
|  | 572.2332 | 0
|  | 572.3501 | 0
|  | 572.4671 | 0
|  | 572.5841 | 0.00046416
|  | 572.7011 | 0
|  | 572.8181 | 0
|  | 572.9351 | 0
|  | 573.0521 | 0.00026652
|  | 573.1691 | 0
|  | 573.2861 | 0.00151
|  | 573.4031 | 0
|  | 573.5202 | 0.00113
|  | 573.6372 | 0
|  | 573.7542 | 0.00134
|  | 573.8713 | 0
|  | 573.9883 | 0.00024855
|  | 574.1054 | 0
|  | 574.2225 | 0.00032042
|  | 574.3395 | 0
|  | 574.4566 | 0.00035636
|  | 574.5737 | 0
|  | 574.6908 | 0.00161
|  | 574.8079 | 0
|  | 574.925 | 0.00136
|  | 575.0421 | 0
|  | 575.1592 | 0.00109
|  | 575.2764 | 0
|  | 575.3935 | 0.00087741
|  | 575.5106 | 0
|  | 575.6278 | 0.00085945
|  | 575.7449 | 0
|  | 575.8621 | 0.00015871
|  | 575.9792 | 0
|  | 576.0964 | 0
|  | 576.2136 | 0
|  | 576.3307 | 0.00091335
|  | 576.4479 | 0
|  | 576.5651 | 0.0016
|  | 576.6823 | 0
|  | 576.7995 | 0.00239
|  | 576.9167 | 0
|  | 577.0339 | 0.00023058
|  | 577.1512 | 0
|  | 577.2684 | 0
|  | 577.3856 | 0
|  | 577.5029 | 0.00041025
|  | 577.6201 | 0
|  | 577.7374 | 0.00066181
|  | 577.8546 | 0
|  | 577.9719 | 6.8875e-05
|  | 578.0892 | 0
|  | 578.2064 | 0.00026652
|  | 578.3237 | 0
|  | 578.441 | 0.00127
|  | 578.5583 | 0
|  | 578.6756 | 0.00057197
|  | 578.7929 | 0
|  | 578.9103 | 0
|  | 579.0276 | 0
|  | 579.1449 | 0.00048213
|  | 579.2622 | 0
|  | 579.3796 | 0.00066181
|  | 579.4969 | 0
|  | 579.6143 | 0.00118
|  | 579.7317 | 0
|  | 579.849 | 0.00115
|  | 579.9664 | 8.9983e-05
|  | 580.0838 | 0.00057197
|  | 580.2012 | 0
|  | 580.3186 | 0.00134
|  | 580.436 | 0
|  | 580.5534 | 0.00037433
|  | 580.6708 | 0
|  | 580.7882 | 0.00194
|  | 580.9056 | 0
|  | 581.0231 | 0.00122
|  | 581.1405 | 0
|  | 581.2579 | 0.00023058
|  | 581.3754 | 0
|  | 581.4929 | 0.00127
|  | 581.6103 | 0
|  | 581.7278 | 0.00116
|  | 581.8453 | 0
|  | 581.9627 | 0.00087741
|  | 582.0802 | 0
|  | 582.1977 | 0
|  | 582.3152 | 0
|  | 582.4327 | 0.00037433
|  | 582.5503 | 0
|  | 582.6678 | 0.00091335
|  | 582.7853 | 0
|  | 582.9029 | 0.00019465
|  | 583.0204 | 0
|  | 583.1379 | 0.00096726
|  | 583.2555 | 0
|  | 583.3731 | 0.00149
|  | 583.4906 | 0
|  | 583.6082 | 0.00084148
|  | 583.7258 | 0
|  | 583.8434 | 0.00010482
|  | 583.961 | 0
|  | 584.0786 | 0.00115
|  | 584.1962 | 0
|  | 584.3138 | 0.0014
|  | 584.4314 | 0
|  | 584.549 | 0.00066181
|  | 584.6667 | 0
|  | 584.7843 | 0.00037433
|  | 584.902 | 0
|  | 585.0196 | 6.8875e-05
|  | 585.1373 | 0
|  | 585.2549 | 1.4969e-05
|  | 585.3726 | 0
|  | 585.4903 | 0.00039229
|  | 585.608 | 0
|  | 585.7257 | 0
|  | 585.8434 | 0
|  | 585.9611 | 0.00041025
|  | 586.0788 | 0
|  | 586.1965 | 0.00046416
|  | 586.3142 | 0
|  | 586.432 | 0.00064383
|  | 586.5497 | 0
|  | 586.6674 | 0.00093132
|  | 586.7852 | 0
|  | 586.903 | 0.00032042
|  | 587.0207 | 0
|  | 587.1385 | 0.00106
|  | 587.2563 | 0
|  | 587.3741 | 0.00089539
|  | 587.4919 | 0
|  | 587.6097 | 0.00064383
|  | 587.7275 | 0
|  | 587.8453 | 1.4969e-05
|  | 587.9631 | 0
|  | 588.0809 | 0.00098522
|  | 588.1987 | 0.00043191
|  | 588.3166 | 0.00066181
|  | 588.4344 | 0
|  | 588.5523 | 0.00163
|  | 588.6701 | 0
|  | 588.788 | 0
|  | 588.9059 | 0
|  | 589.0238 | 0.0004462
|  | 589.1416 | 0
|  | 589.2595 | 0.001
|  | 589.3774 | 0
|  | 589.4953 | 0.00131
|  | 589.6133 | 0
|  | 589.7312 | 0.00075165
|  | 589.8491 | 0
|  | 589.967 | 0.00091335
|  | 590.085 | 0
|  | 590.2029 | 0.00124
|  | 590.3209 | 0
|  | 590.4388 | 0.00051807
|  | 590.5568 | 0
|  | 590.6748 | 0
|  | 590.7928 | 0
|  | 590.9108 | 0.00057197
|  | 591.0287 | 0
|  | 591.1467 | 0
|  | 591.2648 | 0
|  | 591.3828 | 0.00199
|  | 591.5008 | 0
|  | 591.6188 | 0
|  | 591.7369 | 0
|  | 591.8549 | 0.00109
|  | 591.9729 | 0
|  | 592.091 | 0.00098522
|  | 592.2091 | 0
|  | 592.3271 | 0.0007157
|  | 592.4452 | 0
|  | 592.5633 | 0.00089539
|  | 592.6814 | 0
|  | 592.7995 | 0.00152
|  | 592.9176 | 0
|  | 593.0357 | 0.00102
|  | 593.1538 | 0
|  | 593.2719 | 0.00033839
|  | 593.3901 | 0
|  | 593.5082 | 6.8875e-05
|  | 593.6264 | 0
|  | 593.7445 | 0.00076961
|  | 593.8627 | 0
|  | 593.9808 | 0
|  | 594.099 | 0.00019796
|  | 594.2172 | 0.00024855
|  | 594.3354 | 0
|  | 594.4536 | 0
|  | 594.5718 | 0
|  | 594.69 | 0.00037433
|  | 594.8082 | 0
|  | 594.9264 | 0.00089539
|  | 595.0446 | 0
|  | 595.1629 | 0.00124
|  | 595.2811 | 0
|  | 595.3994 | 0.00075165
|  | 595.5176 | 0
|  | 595.6359 | 0.00048213
|  | 595.7541 | 0
|  | 595.8724 | 8.684e-05
|  | 595.9907 | 0
|  | 596.109 | 0.00023058
|  | 596.2273 | 0
|  | 596.3456 | 0.001
|  | 596.4639 | 0
|  | 596.5822 | 0.00116
|  | 596.7006 | 0
|  | 596.8189 | 0.00066181
|  | 596.9372 | 0
|  | 597.0556 | 0.00030245
|  | 597.1739 | 0
|  | 597.2923 | 0.00163
|  | 597.4107 | 0
|  | 597.529 | 0.00185
|  | 597.6474 | 0
|  | 597.7658 | 0.00106
|  | 597.8842 | 0
|  | 598.0026 | 0.00085945
|  | 598.121 | 5.399e-05
|  | 598.2394 | 0.00048213
|  | 598.3579 | 0
|  | 598.4763 | 0.00037433
|  | 598.5947 | 0
|  | 598.7132 | 0.00078757
|  | 598.8316 | 0
|  | 598.9501 | 0.000554
|  | 599.0686 | 0
|  | 599.187 | 0.0007157
|  | 599.3055 | 0
|  | 599.424 | 0.00118
|  | 599.5425 | 0
|  | 599.661 | 0.00111
|  | 599.7795 | 0
|  | 599.898 | 0.00030245
|  | 600.0166 | 0
|  | 600.1351 | 0.00093132
|  | 600.2536 | 0
|  | 600.3722 | 0
|  | 600.4907 | 0
|  | 600.6093 | 0.00147
|  | 600.7278 | 0
|  | 600.8464 | 0
|  | 600.965 | 0
|  | 601.0836 | 0.00037433
|  | 601.2022 | 0
|  | 601.3208 | 0
|  | 601.4394 | 0
|  | 601.558 | 0.00073368
|  | 601.6766 | 0
|  | 601.7953 | 0.00064383
|  | 601.9139 | 0
|  | 602.0326 | 0.00131
|  | 602.1512 | 0
|  | 602.2699 | 0
|  | 602.3885 | 0
|  | 602.5072 | 0.00026652
|  | 602.6259 | 0
|  | 602.7446 | 0.00046416
|  | 602.8633 | 0
|  | 602.982 | 0.00021262
|  | 603.1007 | 0
|  | 603.2194 | 0.00131
|  | 603.3381 | 0
|  | 603.4569 | 0.00010482
|  | 603.5756 | 0
|  | 603.6944 | 0.000554
|  | 603.8131 | 0
|  | 603.9319 | 0.0017
|  | 604.0506 | 0
|  | 604.1694 | 0.00082352
|  | 604.2882 | 0
|  | 604.407 | 0.00037433
|  | 604.5258 | 0
|  | 604.6446 | 0.0006079
|  | 604.7634 | 0
|  | 604.8822 | 0.0005001
|  | 605.0011 | 0
|  | 605.1199 | 0
|  | 605.2387 | 0
|  | 605.3576 | 0.00091335
|  | 605.4764 | 0
|  | 605.5953 | 0
|  | 605.7142 | 0
|  | 605.8331 | 0.00115
|  | 605.952 | 0
|  | 606.0708 | 0.00145
|  | 606.1897 | 0
|  | 606.3087 | 0.00127
|  | 606.4276 | 0
|  | 606.5465 | 0.00091335
|  | 606.6654 | 0
|  | 606.7844 | 0.00080555
|  | 606.9033 | 0
|  | 607.0223 | 0.00033839
|  | 607.1412 | 0
|  | 607.2602 | 6.8875e-05
|  | 607.3792 | 0
|  | 607.4981 | 0.00154
|  | 607.6171 | 0
|  | 607.7361 | 0.00064383
|  | 607.8551 | 0
|  | 607.9742 | 0.00015871
|  | 608.0932 | 0
|  | 608.2122 | 0.00116
|  | 608.3312 | 0
|  | 608.4503 | 0.00145
|  | 608.5693 | 0
|  | 608.6884 | 0.00041025
|  | 608.8074 | 0
|  | 608.9265 | 0.00109
|  | 609.0456 | 0
|  | 609.1647 | 0.00122
|  | 609.2838 | 0
|  | 609.4029 | 0.00039229
|  | 609.522 | 0
|  | 609.6411 | 0.00041025
|  | 609.7602 | 0
|  | 609.8794 | 0.00145
|  | 609.9985 | 0
|  | 610.1176 | 6.8875e-05
|  | 610.2368 | 0
|  | 610.356 | 0.00051807
|  | 610.4751 | 0
|  | 610.5943 | 0.0005001
|  | 610.7135 | 0
|  | 610.8327 | 0.00076961
|  | 610.9519 | 0
|  | 611.0711 | 0.00037433
|  | 611.1903 | 0
|  | 611.3095 | 0.00118
|  | 611.4288 | 0
|  | 611.548 | 0.00039229
|  | 611.6672 | 0
|  | 611.7865 | 0.000554
|  | 611.9058 | 0
|  | 612.025 | 0.00073368
|  | 612.1443 | 0
|  | 612.2636 | 0.00116
|  | 612.3829 | 0
|  | 612.5022 | 0.00115
|  | 612.6215 | 0
|  | 612.7408 | 0
|  | 612.8601 | 0
|  | 612.9794 | 0.00076961
|  | 613.0988 | 0
|  | 613.2181 | 0.00046416
|  | 613.3375 | 0
|  | 613.4568 | 0.00127
|  | 613.5762 | 0
|  | 613.6956 | 0.00066181
|  | 613.815 | 0
|  | 613.9343 | 0.00124
|  | 614.0537 | 0
|  | 614.1731 | 0.00116
|  | 614.2926 | 0
|  | 614.412 | 0
|  | 614.5314 | 0
|  | 614.6508 | 0.00075165
|  | 614.7703 | 0
|  | 614.8897 | 6.8875e-05
|  | 615.0092 | 0
|  | 615.1287 | 0.00188
|  | 615.2481 | 0
|  | 615.3676 | 0.00041025
|  | 615.4871 | 0
|  | 615.6066 | 0.00087741
|  | 615.7261 | 0
|  | 615.8456 | 0.00073368
|  | 615.9651 | 0
|  | 616.0847 | 0.00174
|  | 616.2042 | 0
|  | 616.3237 | 0.00058994
|  | 616.4433 | 0
|  | 616.5629 | 0.00167
|  | 616.6824 | 0
|  | 616.802 | 0.00078757
|  | 616.9216 | 0
|  | 617.0412 | 0.0012
|  | 617.1608 | 0
|  | 617.2804 | 0.00042823
|  | 617.4 | 0
|  | 617.5196 | 0.00098522
|  | 617.6392 | 0
|  | 617.7589 | 0
|  | 617.8785 | 0
|  | 617.9982 | 0.00041025
|  | 618.1178 | 0
|  | 618.2375 | 0.0005001
|  | 618.3572 | 0
|  | 618.4769 | 0.00147
|  | 618.5966 | 0
|  | 618.7162 | 0.0006079
|  | 618.836 | 0
|  | 618.9557 | 0.0012
|  | 619.0754 | 0
|  | 619.1951 | 0.0021
|  | 619.3149 | 0
|  | 619.4346 | 0.000554
|  | 619.5544 | 0
|  | 619.6741 | 0.00109
|  | 619.7939 | 0
|  | 619.9137 | 0.00080555
|  | 620.0335 | 0
|  | 620.1533 | 0.00069774
|  | 620.2731 | 0
|  | 620.3929 | 0.00069774
|  | 620.5127 | 0
|  | 620.6325 | 0.00080555
|  | 620.7523 | 0
|  | 620.8722 | 0.00109
|  | 620.992 | 0
|  | 621.1119 | 0.00167
|  | 621.2318 | 0
|  | 621.3516 | 0.00046416
|  | 621.4715 | 0
|  | 621.5914 | 0.00102
|  | 621.7113 | 0
|  | 621.8312 | 0.00048213
|  | 621.9511 | 0
|  | 622.071 | 0.00181
|  | 622.191 | 0
|  | 622.3109 | 0.00102
|  | 622.4308 | 0
|  | 622.5508 | 0.00129
|  | 622.6707 | 0
|  | 622.7907 | 0.00102
|  | 622.9107 | 0
|  | 623.0307 | 0.00142
|  | 623.1507 | 0
|  | 623.2707 | 0.00042823
|  | 623.3907 | 0
|  | 623.5107 | 0.00127
|  | 623.6307 | 0
|  | 623.7508 | 0.00179
|  | 623.8708 | 0
|  | 623.9908 | 0.00136
|  | 624.1109 | 0
|  | 624.231 | 0.00066181
|  | 624.351 | 0
|  | 624.4711 | 0
|  | 624.5912 | 0
|  | 624.7113 | 0.00152
|  | 624.8314 | 0
|  | 624.9515 | 0.00098522
|  | 625.0716 | 0
|  | 625.1918 | 5.091e-05
|  | 625.3119 | 0
|  | 625.432 | 0.00102
|  | 625.5522 | 0
|  | 625.6724 | 0.00084148
|  | 625.7925 | 0
|  | 625.9127 | 0.00066181
|  | 626.0329 | 0
|  | 626.1531 | 0.00134
|  | 626.2733 | 0
|  | 626.3935 | 0.0012
|  | 626.5137 | 0
|  | 626.6339 | 0.00116
|  | 626.7542 | 0
|  | 626.8744 | 0.00051807
|  | 626.9947 | 0
|  | 627.1149 | 0.00106
|  | 627.2352 | 0
|  | 627.3555 | 0.00041025
|  | 627.4757 | 0
|  | 627.596 | 0.00076961
|  | 627.7163 | 0
|  | 627.8366 | 0.0004462
|  | 627.957 | 0.00014397
|  | 628.0773 | 0.00042823
|  | 628.1976 | 0
|  | 628.318 | 0.00048213
|  | 628.4383 | 0
|  | 628.5587 | 0.00084148
|  | 628.679 | 0
|  | 628.7994 | 0.00073368
|  | 628.9198 | 0
|  | 629.0402 | 0.00021262
|  | 629.1606 | 0
|  | 629.281 | 0.00116
|  | 629.4014 | 0
|  | 629.5218 | 0.00019465
|  | 629.6422 | 0
|  | 629.7627 | 0.00185
|  | 629.8831 | 0
|  | 630.0036 | 0.00051807
|  | 630.124 | 0
|  | 630.2445 | 0
|  | 630.365 | 0
|  | 630.4855 | 0.00015871
|  | 630.606 | 0
|  | 630.7265 | 0.0016
|  | 630.847 | 0
|  | 630.9675 | 0.00066181
|  | 631.0881 | 0
|  | 631.2086 | 0.00102
|  | 631.3291 | 0
|  | 631.4497 | 0.00127
|  | 631.5703 | 0
|  | 631.6908 | 0.0017
|  | 631.8114 | 0
|  | 631.932 | 0.00176
|  | 632.0526 | 0
|  | 632.1732 | 0.00012278
|  | 632.2938 | 0
|  | 632.4144 | 0.0012
|  | 632.5351 | 0
|  | 632.6557 | 0.00053603
|  | 632.7763 | 0
|  | 632.897 | 0.00235
|  | 633.0177 | 0
|  | 633.1383 | 0.00062587
|  | 633.259 | 0
|  | 633.3797 | 0.00048213
|  | 633.5004 | 0
|  | 633.6211 | 0
|  | 633.7418 | 0
|  | 633.8625 | 0.00118
|  | 633.9833 | 0
|  | 634.104 | 0.00046416
|  | 634.2247 | 0
|  | 634.3455 | 0.00115
|  | 634.4663 | 0
|  | 634.587 | 0
|  | 634.7078 | 0
|  | 634.8286 | 0.00037433
|  | 634.9494 | 0
|  | 635.0702 | 0.00030245
|  | 635.191 | 0
|  | 635.3118 | 0.0004462
|  | 635.4327 | 0
|  | 635.5535 | 0.00051807
|  | 635.6744 | 0
|  | 635.7952 | 0.00048213
|  | 635.9161 | 0
|  | 636.037 | 0.00019465
|  | 636.1578 | 0
|  | 636.2787 | 0.00030245
|  | 636.3996 | 0
|  | 636.5205 | 0.00084148
|  | 636.6414 | 0
|  | 636.7624 | 0.00174
|  | 636.8833 | 0
|  | 637.0042 | 0.00109
|  | 637.1252 | 0
|  | 637.2462 | 0.00051807
|  | 637.3671 | 0
|  | 637.4881 | 0.00131
|  | 637.6091 | 0
|  | 637.7301 | 0
|  | 637.8511 | 0
|  | 637.9721 | 0.00109
|  | 638.0931 | 0
|  | 638.2141 | 0
|  | 638.3352 | 0
|  | 638.4562 | 0.00142
|  | 638.5773 | 0
|  | 638.6983 | 0.00196
|  | 638.8194 | 0
|  | 638.9405 | 0.00106
|  | 639.0615 | 0
|  | 639.1826 | 0.00023058
|  | 639.3037 | 0
|  | 639.4249 | 0
|  | 639.546 | 0
|  | 639.6671 | 5.091e-05
|  | 639.7882 | 0
|  | 639.9094 | 0.00192
|  | 640.0305 | 0.00010798
|  | 640.1517 | 0.000554
|  | 640.2729 | 0
|  | 640.3941 | 0.00094928
|  | 640.5153 | 0
|  | 640.6365 | 8.684e-05
|  | 640.7577 | 0
|  | 640.8789 | 1.4969e-05
|  | 641.0001 | 0
|  | 641.1213 | 0.00167
|  | 641.2426 | 0
|  | 641.3638 | 0
|  | 641.4851 | 0
|  | 641.6063 | 0.00116
|  | 641.7276 | 0
|  | 641.8489 | 0.00080555
|  | 641.9702 | 0
|  | 642.0915 | 0.00058994
|  | 642.2128 | 0
|  | 642.3341 | 0.00037433
|  | 642.4555 | 0
|  | 642.5768 | 0.00062587
|  | 642.6981 | 0
|  | 642.8195 | 0
|  | 642.9409 | 0
|  | 643.0622 | 0.00075165
|  | 643.1836 | 0
|  | 643.305 | 0.0012
|  | 643.4264 | 0
|  | 643.5478 | 0.00019465
|  | 643.6692 | 0
|  | 643.7907 | 0.0012
|  | 643.9121 | 0
|  | 644.0335 | 1.4969e-05
|  | 644.155 | 0
|  | 644.2764 | 0.0004462
|  | 644.3979 | 0
|  | 644.5194 | 0.00138
|  | 644.6409 | 0
|  | 644.7624 | 0.000554
|  | 644.8839 | 0
|  | 645.0054 | 0.00078757
|  | 645.1269 | 0
|  | 645.2484 | 0.00149
|  | 645.37 | 0
|  | 645.4915 | 0.00073368
|  | 645.6131 | 0
|  | 645.7346 | 0.0004462
|  | 645.8562 | 0
|  | 645.9778 | 0
|  | 646.0994 | 0
|  | 646.221 | 0.00062587
|  | 646.3426 | 0
|  | 646.4642 | 0
|  | 646.5858 | 0
|  | 646.7075 | 0.00118
|  | 646.8291 | 0
|  | 646.9508 | 0.00115
|  | 647.0724 | 0
|  | 647.1941 | 0.0006079
|  | 647.3158 | 0
|  | 647.4375 | 0.000554
|  | 647.5592 | 0
|  | 647.6809 | 0
|  | 647.8026 | 0
|  | 647.9243 | 0.00041025
|  | 648.0461 | 0
|  | 648.1678 | 0.00205
|  | 648.2895 | 0
|  | 648.4113 | 0.00091335
|  | 648.5331 | 0
|  | 648.6549 | 0
|  | 648.7766 | 0
|  | 648.8984 | 0.0016
|  | 649.0202 | 0
|  | 649.1421 | 0.00076961
|  | 649.2639 | 0
|  | 649.3857 | 0
|  | 649.5075 | 0
|  | 649.6294 | 0.00091335
|  | 649.7513 | 0
|  | 649.8731 | 0.00091335
|  | 649.995 | 0
|  | 650.1169 | 0
|  | 650.2388 | 0
|  | 650.3607 | 0.00152
|  | 650.4826 | 0
|  | 650.6045 | 5.091e-05
|  | 650.7264 | 0
|  | 650.8484 | 6.8875e-05
|  | 650.9703 | 0
|  | 651.0923 | 0.0004462
|  | 651.2143 | 0
|  | 651.3362 | 0.00102
|  | 651.4582 | 0
|  | 651.5802 | 0.00035636
|  | 651.7022 | 0
|  | 651.8242 | 0.00084148
|  | 651.9462 | 0
|  | 652.0683 | 0.00030245
|  | 652.1903 | 0
|  | 652.3124 | 0.0004462
|  | 652.4344 | 0
|  | 652.5565 | 0.00094928
|  | 652.6786 | 0
|  | 652.8006 | 0.0005001
|  | 652.9227 | 0
|  | 653.0448 | 0.00113
|  | 653.167 | 0
|  | 653.2891 | 0.00115
|  | 653.4112 | 0
|  | 653.5333 | 0.00084148
|  | 653.6555 | 0
|  | 653.7776 | 0.0006079
|  | 653.8998 | 0
|  | 654.022 | 0.00116
|  | 654.1442 | 0
|  | 654.2664 | 0.00051807
|  | 654.3886 | 0
|  | 654.5108 | 0.00010482
|  | 654.633 | 0
|  | 654.7552 | 0.0004462
|  | 654.8775 | 0
|  | 654.9997 | 0.00109
|  | 655.122 | 0
|  | 655.2442 | 0.0014
|  | 655.3665 | 0
|  | 655.4888 | 0.00091335
|  | 655.6111 | 0
|  | 655.7334 | 0.00115
|  | 655.8557 | 0
|  | 655.978 | 0.00039229
|  | 656.1004 | 0
|  | 656.2227 | 0.00057197
|  | 656.3451 | 0
|  | 656.4674 | 0.00104
|  | 656.5898 | 0
|  | 656.7122 | 0.00015871
|  | 656.8345 | 0
|  | 656.9569 | 0.00136
|  | 657.0793 | 0
|  | 657.2018 | 0.00127
|  | 657.3242 | 0
|  | 657.4466 | 0.00058994
|  | 657.5691 | 0
|  | 657.6915 | 0.00080555
|  | 657.814 | 0
|  | 657.9364 | 0.00066181
|  | 658.0589 | 0
|  | 658.1814 | 0.00051807
|  | 658.3039 | 0
|  | 658.4264 | 0.00098522
|  | 658.5489 | 0
|  | 658.6715 | 0.00030245
|  | 658.794 | 0
|  | 658.9165 | 0
|  | 659.0391 | 0
|  | 659.1616 | 0
|  | 659.2842 | 0
|  | 659.4068 | 1.4969e-05
|  | 659.5294 | 0
|  | 659.652 | 0.00087741
|  | 659.7746 | 0
|  | 659.8972 | 0.00033839
|  | 660.0198 | 0
|  | 660.1425 | 0
|  | 660.2651 | 0
|  | 660.3878 | 0.00062587
|  | 660.5104 | 0
|  | 660.6331 | 0.00188
|  | 660.7558 | 0
|  | 660.8785 | 0.00048213
|  | 661.0012 | 0
|  | 661.1239 | 0.00116
|  | 661.2466 | 0
|  | 661.3694 | 0.00035636
|  | 661.4921 | 0
|  | 661.6149 | 0.00019465
|  | 661.7376 | 0
|  | 661.8604 | 0.00032042
|  | 661.9832 | 0
|  | 662.1059 | 0.00087741
|  | 662.2287 | 0
|  | 662.3516 | 0
|  | 662.4744 | 0
|  | 662.5972 | 0.0004462
|  | 662.72 | 0
|  | 662.8429 | 0.00073368
|  | 662.9657 | 0
|  | 663.0886 | 0.0012
|  | 663.2115 | 0
|  | 663.3343 | 0.00082352
|  | 663.4572 | 0
|  | 663.5801 | 0.00087741
|  | 663.703 | 0
|  | 663.826 | 0.00104
|  | 663.9489 | 0
|  | 664.0718 | 0.00108
|  | 664.1948 | 0
|  | 664.3177 | 0.00069774
|  | 664.4407 | 0
|  | 664.5637 | 0.00124
|  | 664.6867 | 0
|  | 664.8097 | 0
|  | 664.9327 | 0
|  | 665.0557 | 0.00073368
|  | 665.1787 | 0
|  | 665.3017 | 0.00024855
|  | 665.4248 | 0
|  | 665.5478 | 0
|  | 665.6709 | 0
|  | 665.794 | 6.8875e-05
|  | 665.917 | 0
|  | 666.0401 | 0.00017668
|  | 666.1632 | 0
|  | 666.2863 | 0.00073368
|  | 666.4095 | 0
|  | 666.5326 | 0.00048213
|  | 666.6557 | 0
|  | 666.7789 | 0
|  | 666.902 | 0
|  | 667.0252 | 0.00019465
|  | 667.1484 | 0.00014397
|  | 667.2716 | 0.00078757
|  | 667.3948 | 0
|  | 667.518 | 0.00057197
|  | 667.6412 | 0
|  | 667.7644 | 0.00066181
|  | 667.8876 | 0
|  | 668.0109 | 0.00084148
|  | 668.1341 | 0
|  | 668.2574 | 5.091e-05
|  | 668.3807 | 0
|  | 668.504 | 0.00041025
|  | 668.6273 | 0
|  | 668.7506 | 0.00165
|  | 668.8739 | 0
|  | 668.9972 | 5.091e-05
|  | 669.1205 | 0
|  | 669.2439 | 0.00010482
|  | 669.3672 | 0
|  | 669.4906 | 0
|  | 669.6139 | 5.399e-05
|  | 669.7373 | 0.0004462
|  | 669.8607 | 0
|  | 669.9841 | 0.00089539
|  | 670.1075 | 0
|  | 670.2309 | 0
|  | 670.3544 | 0
|  | 670.4778 | 0.00106
|  | 670.6013 | 0
|  | 670.7247 | 0.00075165
|  | 670.8482 | 0
|  | 670.9717 | 0.00199
|  | 671.0951 | 0
|  | 671.2186 | 0.00096726
|  | 671.3421 | 0
|  | 671.4657 | 0.00087741
|  | 671.5892 | 0
|  | 671.7127 | 0.00075165
|  | 671.8363 | 0
|  | 671.9598 | 0
|  | 672.0834 | 0
|  | 672.207 | 0.00062587
|  | 672.3305 | 0
|  | 672.4541 | 0.00167
|  | 672.5777 | 0
|  | 672.7014 | 0.00019465
|  | 672.825 | 0
|  | 672.9486 | 1.4969e-05
|  | 673.0723 | 0
|  | 673.1959 | 0.00057197
|  | 673.3196 | 0
|  | 673.4432 | 0.00087741
|  | 673.5669 | 0
|  | 673.6906 | 0.000554
|  | 673.8143 | 0
|  | 673.938 | 0.00073368
|  | 674.0617 | 0
|  | 674.1855 | 0.00102
|  | 674.3092 | 0
|  | 674.433 | 0.00084148
|  | 674.5567 | 0
|  | 674.6805 | 0.00142
|  | 674.8043 | 0
|  | 674.9281 | 0.00082352
|  | 675.0519 | 0
|  | 675.1757 | 0.00179
|  | 675.2995 | 0
|  | 675.4233 | 0.00129
|  | 675.5472 | 0
|  | 675.671 | 0.00064383
|  | 675.7949 | 0
|  | 675.9188 | 0.00069774
|  | 676.0426 | 0
|  | 676.1665 | 0.00023058
|  | 676.2904 | 0
|  | 676.4143 | 0.00082352
|  | 676.5383 | 0
|  | 676.6622 | 0
|  | 676.7861 | 0
|  | 676.9101 | 0.00087741
|  | 677.034 | 0
|  | 677.158 | 0.00058994
|  | 677.282 | 0
|  | 677.406 | 0.00188
|  | 677.53 | 0
|  | 677.654 | 0.00127
|  | 677.778 | 0
|  | 677.902 | 0.00102
|  | 678.0261 | 0
|  | 678.1501 | 0.00015871
|  | 678.2742 | 0
|  | 678.3982 | 0.00104
|  | 678.5223 | 0
|  | 678.6464 | 8.684e-05
|  | 678.7705 | 0
|  | 678.8946 | 0.00032042
|  | 679.0187 | 0
|  | 679.1429 | 0.00098522
|  | 679.267 | 0
|  | 679.3911 | 0.00094928
|  | 679.5153 | 0
|  | 679.6395 | 0.00087741
|  | 679.7637 | 0
|  | 679.8878 | 0.00069774
|  | 680.012 | 0
|  | 680.1363 | 0.00057197
|  | 680.2605 | 0
|  | 680.3847 | 0.00149
|  | 680.5089 | 0
|  | 680.6332 | 0.00087741
|  | 680.7575 | 0
|  | 680.8817 | 0.00109
|  | 681.006 | 0
|  | 681.1303 | 0.00087741
|  | 681.2546 | 0
|  | 681.3789 | 0.00098522
|  | 681.5032 | 0
|  | 681.6276 | 0.00087741
|  | 681.7519 | 0
|  | 681.8762 | 0.000554
|  | 682.0006 | 0
|  | 682.125 | 0.00033839
|  | 682.2494 | 0
|  | 682.3737 | 0.00021262
|  | 682.4981 | 0
|  | 682.6226 | 0.00152
|  | 682.747 | 0
|  | 682.8714 | 8.684e-05
|  | 682.9959 | 0
|  | 683.1203 | 0
|  | 683.2448 | 0
|  | 683.3692 | 0.00023058
|  | 683.4937 | 0
|  | 683.6182 | 0.00129
|  | 683.7427 | 0
|  | 683.8672 | 0.00124
|  | 683.9918 | 0
|  | 684.1163 | 0.00098522
|  | 684.2408 | 0
|  | 684.3654 | 0.00062587
|  | 684.49 | 0
|  | 684.6145 | 0.00136
|  | 684.7391 | 0
|  | 684.8637 | 0.00165
|  | 684.9883 | 0
|  | 685.1129 | 0.00106
|  | 685.2376 | 0
|  | 685.3622 | 0.00138
|  | 685.4868 | 0
|  | 685.6115 | 0.00082352
|  | 685.7362 | 0
|  | 685.8608 | 0.00064383
|  | 685.9855 | 0
|  | 686.1102 | 1.4969e-05
|  | 686.2349 | 0
|  | 686.3596 | 0.00069774
|  | 686.4844 | 0
|  | 686.6091 | 0.000554
|  | 686.7339 | 0
|  | 686.8586 | 0.00102
|  | 686.9834 | 0
|  | 687.1082 | 0.00163
|  | 687.233 | 0
|  | 687.3578 | 0.00076961
|  | 687.4826 | 0
|  | 687.6074 | 0.00048213
|  | 687.7322 | 0
|  | 687.8571 | 0.00199
|  | 687.9819 | 0
|  | 688.1068 | 6.8875e-05
|  | 688.2317 | 0
|  | 688.3565 | 0.0004462
|  | 688.4814 | 0
|  | 688.6063 | 0.00156
|  | 688.7312 | 0
|  | 688.8562 | 0.00147
|  | 688.9811 | 0
|  | 689.1061 | 0.00073368
|  | 689.231 | 0
|  | 689.356 | 0.00039229
|  | 689.4809 | 0
|  | 689.6059 | 0.00127
|  | 689.7309 | 0
|  | 689.8559 | 0
|  | 689.981 | 0
|  | 690.106 | 0.00169
|  | 690.231 | 0
|  | 690.3561 | 0.00073368
|  | 690.4811 | 0
|  | 690.6062 | 0.000554
|  | 690.7313 | 0
|  | 690.8564 | 0.000554
|  | 690.9815 | 0
|  | 691.1066 | 0.00098522
|  | 691.2317 | 0
|  | 691.3568 | 0.00066181
|  | 691.482 | 0
|  | 691.6071 | 0.00015871
|  | 691.7323 | 0
|  | 691.8575 | 0.00057197
|  | 691.9827 | 0
|  | 692.1079 | 0.00032042
|  | 692.2331 | 0
|  | 692.3583 | 0.00087741
|  | 692.4835 | 0
|  | 692.6088 | 0.00169
|  | 692.734 | 0
|  | 692.8593 | 0.00167
|  | 692.9845 | 0
|  | 693.1098 | 0.00069774
|  | 693.2351 | 0
|  | 693.3604 | 0.00102
|  | 693.4857 | 0
|  | 693.611 | 0.00094928
|  | 693.7364 | 0
|  | 693.8617 | 0.00138
|  | 693.9871 | 0
|  | 694.1124 | 0.00113
|  | 694.2378 | 0
|  | 694.3632 | 0.0005001
|  | 694.4886 | 0
|  | 694.614 | 0.0016
|  | 694.7394 | 0
|  | 694.8648 | 0.00094928
|  | 694.9903 | 0
|  | 695.1157 | 0.000554
|  | 695.2412 | 0
|  | 695.3667 | 0.00098522
|  | 695.4921 | 0
|  | 695.6176 | 0.00127
|  | 695.7431 | 0
|  | 695.8686 | 0.00116
|  | 695.9942 | 0
|  | 696.1197 | 0
|  | 696.2452 | 0
|  | 696.3708 | 0.00062587
|  | 696.4964 | 0
|  | 696.6219 | 0.00051807
|  | 696.7475 | 0
|  | 696.8731 | 0.00035636
|  | 696.9987 | 0
|  | 697.1243 | 0.00094928
|  | 697.25 | 0
|  | 697.3756 | 8.684e-05
|  | 697.5013 | 0
|  | 697.6269 | 0.00042823
|  | 697.7526 | 0
|  | 697.8783 | 0
|  | 698.004 | 0
|  | 698.1297 | 0.00039229
|  | 698.2554 | 0
|  | 698.3811 | 0.00082352
|  | 698.5069 | 0
|  | 698.6326 | 0.00084148
|  | 698.7584 | 0
|  | 698.8841 | 0
|  | 699.0099 | 0
|  | 699.1357 | 0.00030245
|  | 699.2615 | 0
|  | 699.3873 | 0.00098522
|  | 699.5131 | 0
|  | 699.639 | 0.00087741
|  | 699.7648 | 0
|  | 699.8907 | 0.00076961
|  | 700.0165 | 0