## Frequency
EF513
| Frequency (Hz) | Relative Response (dB)
| 1000000 | -58.696
| 1100466.4138 | -57.7528
| 1211026.3278 | -57.1588
| 1332693.8 | -56.8944
Product Raw Data | 1466584.7667 | -57.2023
DC to 6.7 MHz High-Pass Filter | 1613927.2787 | -58.401
| 1776072.7645 | -61.5041
EF513 | 1954508.4258 | -71.7557
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. | 2150870.878 | -63.9431
| 2366961.1616 | -57.2112
| 2604761.261 | -58.0677
| 2841613.5061 | -49.5695
| 2866452.2837 | -48.0523
| 2993941.145 | -40.5509
This data may be used in publications. However, please cite Thorlabs as the source. | 3020111.4309 | -39.0866
| 3323531.1956 | -25.8361
| 3657434.4559 | -15.0479
Additional Information: | 3990006.8014 | -5.7293
All data presetned here has been measured. | 4024883.7793 | -4.9765
| 4131354.5706 | -3.2302
| 4240641.8482 | -2.1791
| 5003179.1547 | -0.59472
| 5271379.7617 | -0.31885
| 5553957.5405 | -0.13553
| 5800976.382 | -0.044338
| 6328462.0677 | -0.00172
| 6667705.8397 | -0.035262
| 6725988.8052 | -0.044877
| 7210971.9692 | -0.13951
| 7663934.1787 | -0.22826
| 8433902.1611 | -0.36126
| 9281226.0653 | -0.48672
| 10950143.5024 | -0.61125
| 12050265.1504 | -0.65743
| 13260912.075 | -0.67143
| 14593188.3546 | -0.67244
| 16059313.6541 | -0.65862
| 17672735.3045 | -0.63441
| 19448251.6421 | -0.59936
| 21402147.7387 | -0.55018
| 23552344.7691 | -0.50622
| 25918564.384 | -0.46837
| 28522509.5978 | -0.41682
| 31388063.8488 | -0.38121
| 32218376.519 | -0.37073

## Group Delay
EF513
| Frequency (Hz) | Group Delay Variation (ns)
| 3657434.4559 | 315.508
| 3990006.8014 | 521.397
| 4024883.7793 | 528.005
| 4131354.5706 | 504.893
Product Raw Data | 4240641.8482 | 440.38
DC to 6.7 MHz High-Pass Filter | 5003179.1547 | 176.492
| 5271379.7617 | 144.022
EF513 | 5553957.5405 | 122.079
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. | 5800976.382 | 108.823
| 6328462.0677 | 88.358
| 6667705.8397 | 77.963
| 6725988.8052 | 76.225
| 7210971.9692 | 63.764
| 7663934.1787 | 55.271
This data may be used in publications. However, please cite Thorlabs as the source. | 8433902.1611 | 44.572
| 9281226.0653 | 34.984
| 10950143.5024 | 23.907
Additional Information: | 12050265.1504 | 18.738
All data presetned here has been measured. | 13260912.075 | 14.997
| 14593188.3546 | 12.251
| 16059313.6541 | 9.816
| 17672735.3045 | 8.039
| 19448251.6421 | 6.626
| 21402147.7387 | 5.402
| 23552344.7691 | 4.515
| 25918564.384 | 3.796
| 28522509.5978 | 3.115
| 31388063.8488 | 2.666
| 32218376.519 | 2.585