## Sheet1
|  | Wavelength (nm) | % Transmission
|  | 1800 | 90.2096
|  | 1795 | 90.1926
|  | 1790 | 90.1851
|  | 1785 | 90.2727
Product Raw Data |  | 1780 | 90.2392
400 nm Longpass Colored Glass Filter |  | 1775 | 90.2943
|  | 1770 | 90.2503
Item # | FGL400, FGL400S & FGL400M | 1765 | 90.2452
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1760 | 90.2585
|  | 1755 | 90.2657
|  | 1750 | 90.2898
|  | 1745 | 90.2947
|  | 1740 | 90.2823
|  | 1735 | 90.272
|  | 1730 | 90.2959
Additional Information: |  | 1725 | 90.3382
Measurements Made at Normal Incidence |  | 1720 | 90.3234
|  | 1715 | 90.3021
|  | 1710 | 90.3193
|  | 1705 | 90.322
|  | 1700 | 90.3351
|  | 1695 | 90.3279
|  | 1690 | 90.3217
|  | 1685 | 90.3234
|  | 1680 | 90.3487
|  | 1675 | 90.3595
|  | 1670 | 90.2971
|  | 1665 | 90.2956
|  | 1660 | 90.3041
|  | 1655 | 90.3009
|  | 1650 | 90.2662
|  | 1645 | 90.2477
|  | 1640 | 90.2642
|  | 1635 | 90.2604
|  | 1630 | 90.2684
|  | 1625 | 90.2207
|  | 1620 | 90.2226
|  | 1615 | 90.2105
|  | 1610 | 90.2223
|  | 1605 | 90.1949
|  | 1600 | 90.1852
|  | 1595 | 90.1623
|  | 1590 | 90.1556
|  | 1585 | 90.1342
|  | 1580 | 90.1081
|  | 1575 | 90.1025
|  | 1570 | 90.0623
|  | 1565 | 90.0549
|  | 1560 | 90.0337
|  | 1555 | 90.0166
|  | 1550 | 89.993
|  | 1545 | 89.9848
|  | 1540 | 89.9555
|  | 1535 | 89.9241
|  | 1530 | 89.8894
|  | 1525 | 89.8578
|  | 1520 | 89.8486
|  | 1515 | 89.8059
|  | 1510 | 89.7865
|  | 1505 | 89.7627
|  | 1500 | 89.7299
|  | 1495 | 89.708
|  | 1490 | 89.6747
|  | 1485 | 89.664
|  | 1480 | 89.6336
|  | 1475 | 89.6041
|  | 1470 | 89.5531
|  | 1465 | 89.5239
|  | 1460 | 89.5165
|  | 1455 | 89.4817
|  | 1450 | 89.4588
|  | 1445 | 89.4152
|  | 1440 | 89.3512
|  | 1435 | 89.3147
|  | 1430 | 89.2841
|  | 1425 | 89.2144
|  | 1420 | 89.1479
|  | 1415 | 89.1067
|  | 1410 | 89.0554
|  | 1405 | 89.037
|  | 1400 | 89.0518
|  | 1395 | 89.1223
|  | 1390 | 89.0906
|  | 1385 | 89.124
|  | 1380 | 89.1224
|  | 1375 | 89.1109
|  | 1370 | 89.1004
|  | 1365 | 89.1066
|  | 1360 | 89.1143
|  | 1355 | 89.028
|  | 1350 | 88.9912
|  | 1345 | 88.9926
|  | 1340 | 88.972
|  | 1335 | 88.9515
|  | 1330 | 88.9494
|  | 1325 | 88.9491
|  | 1320 | 88.9465
|  | 1315 | 88.9205
|  | 1310 | 88.8855
|  | 1305 | 88.8392
|  | 1300 | 88.8277
|  | 1295 | 88.8223
|  | 1290 | 88.8141
|  | 1285 | 88.8148
|  | 1280 | 88.7977
|  | 1275 | 88.7576
|  | 1270 | 88.7322
|  | 1265 | 88.7086
|  | 1260 | 88.6998
|  | 1255 | 88.694
|  | 1250 | 88.6809
|  | 1245 | 88.6753
|  | 1240 | 88.6644
|  | 1235 | 88.6512
|  | 1230 | 88.6263
|  | 1225 | 88.6098
|  | 1220 | 88.5963
|  | 1215 | 88.5811
|  | 1210 | 88.5813
|  | 1205 | 88.5705
|  | 1200 | 88.5714
|  | 1195 | 88.5573
|  | 1190 | 88.5289
|  | 1185 | 88.5355
|  | 1180 | 88.5505
|  | 1175 | 88.5382
|  | 1170 | 88.5178
|  | 1165 | 88.5088
|  | 1160 | 88.5033
|  | 1155 | 88.494
|  | 1150 | 88.5059
|  | 1145 | 88.4849
|  | 1140 | 88.4939
|  | 1135 | 88.5019
|  | 1130 | 88.4801
|  | 1125 | 88.4836
|  | 1120 | 88.4904
|  | 1115 | 88.4654
|  | 1110 | 88.4713
|  | 1105 | 88.4754
|  | 1100 | 88.4911
|  | 1095 | 88.4933
|  | 1090 | 88.473
|  | 1085 | 88.4624
|  | 1080 | 88.4752
|  | 1075 | 88.4991
|  | 1070 | 88.5125
|  | 1065 | 88.5143
|  | 1060 | 88.5147
|  | 1055 | 88.5295
|  | 1050 | 88.5399
|  | 1045 | 88.5298
|  | 1040 | 88.5375
|  | 1035 | 88.5493
|  | 1030 | 88.5576
|  | 1025 | 88.5643
|  | 1020 | 88.5819
|  | 1015 | 88.5985
|  | 1010 | 88.6025
|  | 1005 | 88.6288
|  | 1000 | 88.6418
|  | 995 | 88.6399
|  | 990 | 88.6511
|  | 985 | 88.6733
|  | 980 | 88.6989
|  | 975 | 88.7146
|  | 970 | 88.7146
|  | 965 | 88.723
|  | 960 | 88.7457
|  | 955 | 88.7669
|  | 950 | 88.7747
|  | 945 | 88.7839
|  | 940 | 88.7985
|  | 935 | 88.8165
|  | 930 | 88.8361
|  | 925 | 88.8528
|  | 920 | 88.8687
|  | 915 | 88.8909
|  | 910 | 88.9022
|  | 905 | 88.9139
|  | 900 | 88.9459
|  | 895 | 88.9458
|  | 890 | 88.9552
|  | 885 | 88.9906
|  | 880 | 88.9962
|  | 875 | 89.0199
|  | 870 | 89.0758
|  | 865 | 89.0843
|  | 860 | 89.109
|  | 855 | 89.0048
|  | 850 | 88.8543
|  | 845 | 88.8761
|  | 840 | 88.9773
|  | 835 | 89.0219
|  | 830 | 89.0431
|  | 825 | 89.0764
|  | 820 | 89.1043
|  | 815 | 89.1738
|  | 810 | 89.224
|  | 805 | 89.2598
|  | 800 | 89.3207
|  | 795 | 89.3496
|  | 790 | 89.4064
|  | 785 | 89.4796
|  | 780 | 89.5213
|  | 775 | 89.5792
|  | 770 | 89.6524
|  | 765 | 89.7129
|  | 760 | 89.7434
|  | 755 | 89.7857
|  | 750 | 89.8632
|  | 745 | 89.9245
|  | 740 | 89.9699
|  | 735 | 90.0258
|  | 730 | 90.1121
|  | 725 | 90.1649
|  | 720 | 90.1993
|  | 715 | 90.2598
|  | 710 | 90.313
|  | 705 | 90.3481
|  | 700 | 90.383
|  | 695 | 90.4318
|  | 690 | 90.4856
|  | 685 | 90.5433
|  | 680 | 90.5793
|  | 675 | 90.6289
|  | 670 | 90.6522
|  | 665 | 90.6732
|  | 660 | 90.7181
|  | 655 | 90.7669
|  | 650 | 90.796
|  | 645 | 90.839
|  | 640 | 90.8741
|  | 635 | 90.9387
|  | 630 | 90.973
|  | 625 | 90.9653
|  | 620 | 90.9826
|  | 615 | 91.0125
|  | 610 | 91.0321
|  | 605 | 91.0686
|  | 600 | 91.0927
|  | 595 | 91.0894
|  | 590 | 91.08
|  | 585 | 91.0616
|  | 580 | 91.0772
|  | 575 | 91.0706
|  | 570 | 91.0388
|  | 565 | 91.0173
|  | 560 | 90.9902
|  | 555 | 90.9501
|  | 550 | 90.8823
|  | 545 | 90.8557
|  | 540 | 90.8141
|  | 535 | 90.7276
|  | 530 | 90.6333
|  | 525 | 90.5531
|  | 520 | 90.445
|  | 515 | 90.3358
|  | 510 | 90.1986
|  | 505 | 90.0634
|  | 500 | 89.9396
|  | 495 | 89.8136
|  | 490 | 89.6106
|  | 485 | 89.3999
|  | 480 | 89.2182
|  | 475 | 88.9861
|  | 470 | 88.7216
|  | 465 | 88.4794
|  | 460 | 88.2152
|  | 455 | 87.9179
|  | 450 | 87.5927
|  | 445 | 87.2483
|  | 440 | 86.8395
|  | 435 | 86.3494
|  | 430 | 85.7613
|  | 425 | 85.0511
|  | 420 | 83.9773
|  | 415 | 82.0205
|  | 410 | 77.0642
|  | 405 | 62.379
|  | 400 | 32.3634
|  | 395 | 7.7168
|  | 390 | 0.42934
|  | 385 | 0.016025
|  | 380 | 0.011553
|  | 375 | 0.011564
|  | 370 | 0.009997
|  | 365 | 0.008642
|  | 360 | 0.01114
|  | 355 | 0.014465
|  | 350 | 0.012901
|  | 345 | 0.012279
|  | 340 | 0.012066
|  | 335 | 0.014448
|  | 330 | 0.012362
|  | 325 | 0.009653
|  | 320 | 0.01182
|  | 315 | 0.010808
|  | 310 | 0.009046
|  | 305 | 0.010072
|  | 300 | 0.010782
|  | 295 | 0.009727
|  | 290 | 0.008678
|  | 285 | 0.010005
|  | 280 | 0.011022
|  | 275 | 0.010483
|  | 270 | 0.00963
|  | 265 | 0.009798
|  | 260 | 0.008338
|  | 255 | 0.007595
|  | 250 | 0.009468
|  | 245 | 0.010496
|  | 240 | 0.009879
|  | 235 | 0.008478
|  | 230 | 0.008291
|  | 225 | 0.009674
|  | 220 | 0.009245
|  | 215 | 0.009107
|  | 210 | 0.008328
|  | 205 | 0.01002
|  | 200 | 0.009688