## Sheet1
|  | Wavelength (nm) | % Transmission
|  | 1800 | 90.273
|  | 1795 | 90.2815
|  | 1790 | 90.2972
|  | 1785 | 90.3383
Product Raw Data |  | 1780 | 90.3124
590 nm Longpass Colored Glass Filter |  | 1775 | 90.3569
|  | 1770 | 90.3193
Item # | FGL590, FGL590S & FGL590M | 1765 | 90.3179
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1760 | 90.3359
|  | 1755 | 90.3351
|  | 1750 | 90.3359
|  | 1745 | 90.3604
|  | 1740 | 90.3399
|  | 1735 | 90.3797
|  | 1730 | 90.4036
Additional Information: |  | 1725 | 90.4179
Measurements Made at Normal Incidence |  | 1720 | 90.4152
|  | 1715 | 90.4062
|  | 1710 | 90.378
|  | 1705 | 90.3752
|  | 1700 | 90.3907
|  | 1695 | 90.4097
|  | 1690 | 90.3973
|  | 1685 | 90.3747
|  | 1680 | 90.3825
|  | 1675 | 90.3775
|  | 1670 | 90.3578
|  | 1665 | 90.3576
|  | 1660 | 90.3683
|  | 1655 | 90.3432
|  | 1650 | 90.2973
|  | 1645 | 90.3105
|  | 1640 | 90.3208
|  | 1635 | 90.3046
|  | 1630 | 90.2927
|  | 1625 | 90.2506
|  | 1620 | 90.2619
|  | 1615 | 90.2486
|  | 1610 | 90.2539
|  | 1605 | 90.2092
|  | 1600 | 90.2227
|  | 1595 | 90.1717
|  | 1590 | 90.1585
|  | 1585 | 90.1383
|  | 1580 | 90.1088
|  | 1575 | 90.096
|  | 1570 | 90.058
|  | 1565 | 90.0461
|  | 1560 | 90.0222
|  | 1555 | 89.9972
|  | 1550 | 89.9714
|  | 1545 | 89.9803
|  | 1540 | 89.9433
|  | 1535 | 89.9204
|  | 1530 | 89.9044
|  | 1525 | 89.8592
|  | 1520 | 89.8507
|  | 1515 | 89.8228
|  | 1510 | 89.7871
|  | 1505 | 89.7717
|  | 1500 | 89.7696
|  | 1495 | 89.7257
|  | 1490 | 89.6873
|  | 1485 | 89.6656
|  | 1480 | 89.6525
|  | 1475 | 89.6159
|  | 1470 | 89.5719
|  | 1465 | 89.5512
|  | 1460 | 89.5345
|  | 1455 | 89.5068
|  | 1450 | 89.5041
|  | 1445 | 89.4532
|  | 1440 | 89.3912
|  | 1435 | 89.3602
|  | 1430 | 89.3164
|  | 1425 | 89.3094
|  | 1420 | 89.2778
|  | 1415 | 89.247
|  | 1410 | 89.2001
|  | 1405 | 89.1791
|  | 1400 | 89.1695
|  | 1395 | 89.1607
|  | 1390 | 89.1408
|  | 1385 | 89.203
|  | 1380 | 89.1605
|  | 1375 | 89.1888
|  | 1370 | 89.1818
|  | 1365 | 89.1796
|  | 1360 | 89.1661
|  | 1355 | 89.1438
|  | 1350 | 89.0991
|  | 1345 | 89.0607
|  | 1340 | 89.0639
|  | 1335 | 89.0533
|  | 1330 | 89.0543
|  | 1325 | 89.0382
|  | 1320 | 89.0192
|  | 1315 | 88.9871
|  | 1310 | 88.9797
|  | 1305 | 88.9535
|  | 1300 | 88.9296
|  | 1295 | 88.9306
|  | 1290 | 88.9283
|  | 1285 | 88.935
|  | 1280 | 88.9179
|  | 1275 | 88.8808
|  | 1270 | 88.8586
|  | 1265 | 88.8496
|  | 1260 | 88.8336
|  | 1255 | 88.8404
|  | 1250 | 88.8538
|  | 1245 | 88.8352
|  | 1240 | 88.8234
|  | 1235 | 88.7954
|  | 1230 | 88.7861
|  | 1225 | 88.7782
|  | 1220 | 88.7658
|  | 1215 | 88.7456
|  | 1210 | 88.7291
|  | 1205 | 88.7272
|  | 1200 | 88.7159
|  | 1195 | 88.7118
|  | 1190 | 88.6967
|  | 1185 | 88.6807
|  | 1180 | 88.6797
|  | 1175 | 88.6713
|  | 1170 | 88.6676
|  | 1165 | 88.666
|  | 1160 | 88.6465
|  | 1155 | 88.6358
|  | 1150 | 88.642
|  | 1145 | 88.6236
|  | 1140 | 88.6202
|  | 1135 | 88.6259
|  | 1130 | 88.6277
|  | 1125 | 88.6334
|  | 1120 | 88.6315
|  | 1115 | 88.6153
|  | 1110 | 88.6167
|  | 1105 | 88.6089
|  | 1100 | 88.6166
|  | 1095 | 88.6124
|  | 1090 | 88.5954
|  | 1085 | 88.5954
|  | 1080 | 88.6031
|  | 1075 | 88.5978
|  | 1070 | 88.6003
|  | 1065 | 88.6063
|  | 1060 | 88.6034
|  | 1055 | 88.6142
|  | 1050 | 88.6214
|  | 1045 | 88.6127
|  | 1040 | 88.6109
|  | 1035 | 88.6245
|  | 1030 | 88.6383
|  | 1025 | 88.6352
|  | 1020 | 88.6337
|  | 1015 | 88.6497
|  | 1010 | 88.6711
|  | 1005 | 88.6851
|  | 1000 | 88.6921
|  | 995 | 88.7016
|  | 990 | 88.7152
|  | 985 | 88.7338
|  | 980 | 88.7482
|  | 975 | 88.759
|  | 970 | 88.778
|  | 965 | 88.7892
|  | 960 | 88.794
|  | 955 | 88.8166
|  | 950 | 88.8446
|  | 945 | 88.8523
|  | 940 | 88.857
|  | 935 | 88.8776
|  | 930 | 88.914
|  | 925 | 88.9263
|  | 920 | 88.925
|  | 915 | 88.9567
|  | 910 | 88.995
|  | 905 | 89.0242
|  | 900 | 89.0659
|  | 895 | 89.0779
|  | 890 | 89.0888
|  | 885 | 89.1262
|  | 880 | 89.1376
|  | 875 | 89.1694
|  | 870 | 89.2132
|  | 865 | 89.2272
|  | 860 | 89.2406
|  | 855 | 89.1623
|  | 850 | 89.0696
|  | 845 | 89.0871
|  | 840 | 89.1677
|  | 835 | 89.2369
|  | 830 | 89.2594
|  | 825 | 89.2864
|  | 820 | 89.2968
|  | 815 | 89.3437
|  | 810 | 89.4044
|  | 805 | 89.4412
|  | 800 | 89.4856
|  | 795 | 89.5152
|  | 790 | 89.5605
|  | 785 | 89.6061
|  | 780 | 89.6347
|  | 775 | 89.6902
|  | 770 | 89.7533
|  | 765 | 89.8133
|  | 760 | 89.8513
|  | 755 | 89.8898
|  | 750 | 89.95
|  | 745 | 89.9959
|  | 740 | 90.0298
|  | 735 | 90.0838
|  | 730 | 90.1656
|  | 725 | 90.2169
|  | 720 | 90.2405
|  | 715 | 90.2874
|  | 710 | 90.3281
|  | 705 | 90.3532
|  | 700 | 90.3919
|  | 695 | 90.4425
|  | 690 | 90.4684
|  | 685 | 90.5111
|  | 680 | 90.5452
|  | 675 | 90.5643
|  | 670 | 90.5747
|  | 665 | 90.5818
|  | 660 | 90.6033
|  | 655 | 90.6284
|  | 650 | 90.6274
|  | 645 | 90.6125
|  | 640 | 90.5786
|  | 635 | 90.5306
|  | 630 | 90.4169
|  | 625 | 90.1733
|  | 620 | 89.8037
|  | 615 | 89.1319
|  | 610 | 87.8865
|  | 605 | 85.5782
|  | 600 | 81.1435
|  | 595 | 73.1635
|  | 590 | 60.1645
|  | 585 | 42.4275
|  | 580 | 23.8878
|  | 575 | 10.2118
|  | 570 | 3.3503
|  | 565 | 0.93384
|  | 560 | 0.26736
|  | 555 | 0.090843
|  | 550 | 0.035478
|  | 545 | 0.018359
|  | 540 | 0.013484
|  | 535 | 0.010474
|  | 530 | 0.004251
|  | 525 | 0.001659
|  | 520 | 0.001763
|  | 515 | 0.000934
|  | 510 | -0.001557
|  | 505 | -0.002179
|  | 500 | -0.001452
|  | 495 | -0.001452
|  | 490 | -0.002177
|  | 485 | -0.0029
|  | 480 | -0.002693
|  | 475 | -0.001036
|  | 470 | 0.000104
|  | 465 | -0.001036
|  | 460 | -0.001969
|  | 455 | -0.000311
|  | 450 | 0.001659
|  | 445 | -0.000311
|  | 440 | -0.002594
|  | 435 | -0.001349
|  | 430 | -0.001349
|  | 425 | -0.001039
|  | 420 | -0.003117
|  | 415 | -0.002286
|  | 410 | 0.001247
|  | 405 | 0.000208
|  | 400 | -0.00208
|  | 395 | -0.001664
|  | 390 | 0.000832
|  | 385 | 0.000832
|  | 380 | -0.002186
|  | 375 | -0.001042
|  | 370 | 0.000417
|  | 365 | -0.001562
|  | 360 | -0.001562
|  | 355 | 0.002706
|  | 350 | 0.001353
|  | 345 | -0.000416
|  | 340 | -0.00104
|  | 335 | 0.001871
|  | 330 | 0.00135
|  | 325 | -0.001349
|  | 320 | -0.002799
|  | 315 | -0.00343
|  | 310 | -0.002287
|  | 305 | 0.000208
|  | 300 | 0
|  | 295 | -0.001656
|  | 290 | -0.001653
|  | 285 | -0.001031
|  | 280 | -0.000412
|  | 275 | -0.000514
|  | 270 | -0.001844
|  | 265 | -0.000817
|  | 260 | 0.000102
|  | 255 | -0.002329
|  | 250 | -0.003223
|  | 245 | -0.001899
|  | 240 | -0.001284
|  | 235 | -0.001657
|  | 230 | -0.001061
|  | 225 | 0.000287
|  | 220 | 0.001144
|  | 215 | 0.000285
|  | 210 | -0.002082
|  | 205 | -0.001418
|  | 200 | -0.00348