## Sheet1
|  | Wavelength (nm) | % Transmission
|  | 1800 | 89.2642
|  | 1795 | 89.2792
|  | 1790 | 89.2742
|  | 1785 | 89.3051
Product Raw Data |  | 1780 | 89.2855
715 nm Longpass Colored Glass Filter |  | 1775 | 89.3517
|  | 1770 | 89.3107
Item # | FGL715, FGL715S & FGL715M | 1765 | 89.3146
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1760 | 89.3458
|  | 1755 | 89.3501
|  | 1750 | 89.3626
|  | 1745 | 89.3582
|  | 1740 | 89.3682
|  | 1735 | 89.3583
|  | 1730 | 89.4361
Additional Information: |  | 1725 | 89.4548
Measurements Made at Normal Incidence |  | 1720 | 89.4357
|  | 1715 | 89.4387
|  | 1710 | 89.4273
|  | 1705 | 89.4256
|  | 1700 | 89.4557
|  | 1695 | 89.4573
|  | 1690 | 89.4832
|  | 1685 | 89.4575
|  | 1680 | 89.5033
|  | 1675 | 89.5087
|  | 1670 | 89.5103
|  | 1665 | 89.5023
|  | 1660 | 89.4942
|  | 1655 | 89.478
|  | 1650 | 89.4894
|  | 1645 | 89.5046
|  | 1640 | 89.5254
|  | 1635 | 89.5111
|  | 1630 | 89.5161
|  | 1625 | 89.4863
|  | 1620 | 89.5047
|  | 1615 | 89.5204
|  | 1610 | 89.5304
|  | 1605 | 89.5094
|  | 1600 | 89.5342
|  | 1595 | 89.5115
|  | 1590 | 89.5028
|  | 1585 | 89.4885
|  | 1580 | 89.4683
|  | 1575 | 89.4802
|  | 1570 | 89.4494
|  | 1565 | 89.4526
|  | 1560 | 89.4461
|  | 1555 | 89.4199
|  | 1550 | 89.4263
|  | 1545 | 89.4406
|  | 1540 | 89.4177
|  | 1535 | 89.404
|  | 1530 | 89.3876
|  | 1525 | 89.3795
|  | 1520 | 89.3485
|  | 1515 | 89.3057
|  | 1510 | 89.3139
|  | 1505 | 89.3098
|  | 1500 | 89.3218
|  | 1495 | 89.2767
|  | 1490 | 89.2462
|  | 1485 | 89.2581
|  | 1480 | 89.2323
|  | 1475 | 89.2034
|  | 1470 | 89.1772
|  | 1465 | 89.1465
|  | 1460 | 89.1341
|  | 1455 | 89.1166
|  | 1450 | 89.1072
|  | 1445 | 89.0694
|  | 1440 | 89.0134
|  | 1435 | 88.9877
|  | 1430 | 88.9406
|  | 1425 | 88.8953
|  | 1420 | 88.8702
|  | 1415 | 88.8273
|  | 1410 | 88.8007
|  | 1405 | 88.8136
|  | 1400 | 88.8666
|  | 1395 | 88.9227
|  | 1390 | 88.8527
|  | 1385 | 88.9107
|  | 1380 | 88.8598
|  | 1375 | 88.8754
|  | 1370 | 88.8537
|  | 1365 | 88.8538
|  | 1360 | 88.8509
|  | 1355 | 88.8016
|  | 1350 | 88.7243
|  | 1345 | 88.7119
|  | 1340 | 88.725
|  | 1335 | 88.7007
|  | 1330 | 88.7035
|  | 1325 | 88.6915
|  | 1320 | 88.6686
|  | 1315 | 88.6268
|  | 1310 | 88.6018
|  | 1305 | 88.5652
|  | 1300 | 88.5487
|  | 1295 | 88.5229
|  | 1290 | 88.4818
|  | 1285 | 88.4732
|  | 1280 | 88.4514
|  | 1275 | 88.4231
|  | 1270 | 88.3978
|  | 1265 | 88.3787
|  | 1260 | 88.3409
|  | 1255 | 88.317
|  | 1250 | 88.3035
|  | 1245 | 88.2729
|  | 1240 | 88.2345
|  | 1235 | 88.2026
|  | 1230 | 88.1707
|  | 1225 | 88.1469
|  | 1220 | 88.1164
|  | 1215 | 88.0768
|  | 1210 | 88.0533
|  | 1205 | 88.0161
|  | 1200 | 87.9898
|  | 1195 | 87.9693
|  | 1190 | 87.9314
|  | 1185 | 87.9065
|  | 1180 | 87.8968
|  | 1175 | 87.8616
|  | 1170 | 87.8247
|  | 1165 | 87.7977
|  | 1160 | 87.7632
|  | 1155 | 87.7293
|  | 1150 | 87.7092
|  | 1145 | 87.6782
|  | 1140 | 87.6308
|  | 1135 | 87.6022
|  | 1130 | 87.5742
|  | 1125 | 87.5474
|  | 1120 | 87.5287
|  | 1115 | 87.4832
|  | 1110 | 87.4621
|  | 1105 | 87.425
|  | 1100 | 87.3986
|  | 1095 | 87.3802
|  | 1090 | 87.3412
|  | 1085 | 87.3239
|  | 1080 | 87.2965
|  | 1075 | 87.2579
|  | 1070 | 87.2334
|  | 1065 | 87.2104
|  | 1060 | 87.1821
|  | 1055 | 87.1612
|  | 1050 | 87.1423
|  | 1045 | 87.0989
|  | 1040 | 87.0598
|  | 1035 | 87.0415
|  | 1030 | 87.0158
|  | 1025 | 86.8789
|  | 1020 | 86.6656
|  | 1015 | 86.5401
|  | 1010 | 86.4856
|  | 1005 | 86.4391
|  | 1000 | 86.3939
|  | 995 | 86.3569
|  | 990 | 86.3266
|  | 985 | 86.3001
|  | 980 | 86.2491
|  | 975 | 86.2055
|  | 970 | 86.2381
|  | 965 | 86.3184
|  | 960 | 86.3057
|  | 955 | 86.1573
|  | 950 | 86.0402
|  | 945 | 86.0068
|  | 940 | 85.9777
|  | 935 | 85.9376
|  | 930 | 85.9188
|  | 925 | 85.9151
|  | 920 | 85.8831
|  | 915 | 85.8495
|  | 910 | 85.8322
|  | 905 | 85.8008
|  | 900 | 85.8
|  | 895 | 85.8322
|  | 890 | 85.9059
|  | 885 | 85.9567
|  | 880 | 85.8806
|  | 875 | 85.7841
|  | 870 | 85.696
|  | 865 | 85.5742
|  | 860 | 85.5105
|  | 855 | 85.909
|  | 850 | 86.2171
|  | 845 | 86.1936
|  | 840 | 86.1714
|  | 835 | 86.1158
|  | 830 | 86.0448
|  | 825 | 85.9496
|  | 820 | 85.8633
|  | 815 | 85.8211
|  | 810 | 85.7647
|  | 805 | 85.6816
|  | 800 | 85.6026
|  | 795 | 85.504
|  | 790 | 85.3991
|  | 785 | 85.3154
|  | 780 | 85.1802
|  | 775 | 85.0479
|  | 770 | 84.8978
|  | 765 | 84.649
|  | 760 | 84.2975
|  | 755 | 83.8373
|  | 750 | 83.1803
|  | 745 | 82.0924
|  | 740 | 80.3308
|  | 735 | 77.5531
|  | 730 | 73.133
|  | 725 | 66.2636
|  | 720 | 56.2706
|  | 715 | 43.2731
|  | 710 | 28.9175
|  | 705 | 16.1637
|  | 700 | 7.4579
|  | 695 | 2.9314
|  | 690 | 1.0615
|  | 685 | 0.38758
|  | 680 | 0.14998
|  | 675 | 0.066292
|  | 670 | 0.032846
|  | 665 | 0.014924
|  | 660 | 0.005806
|  | 655 | 0.003838
|  | 650 | -0.000104
|  | 645 | -0.003321
|  | 640 | -0.003738
|  | 635 | 0.000312
|  | 630 | 0.000519
|  | 625 | -0.001974
|  | 620 | -0.003324
|  | 615 | -0.004155
|  | 610 | -0.003428
|  | 605 | -0.001766
|  | 600 | -0.00187
|  | 595 | -0.001974
|  | 590 | -0.002181
|  | 585 | -0.002493
|  | 580 | -0.002702
|  | 575 | -0.002702
|  | 570 | -0.001247
|  | 565 | -0.001766
|  | 560 | -0.000415
|  | 555 | -0.000519
|  | 550 | -0.003942
|  | 545 | -0.002697
|  | 540 | -0.000934
|  | 535 | -0.002281
|  | 530 | -0.0028
|  | 525 | -0.002074
|  | 520 | -0.002801
|  | 515 | -0.00249
|  | 510 | -0.004047
|  | 505 | -0.003943
|  | 500 | -0.001452
|  | 495 | -0.001245
|  | 490 | -0.001244
|  | 485 | -0.001139
|  | 480 | -0.001347
|  | 475 | -0.001554
|  | 470 | -0.001347
|  | 465 | -0.00259
|  | 460 | -0.002799
|  | 455 | -0.001037
|  | 450 | -0.000622
|  | 445 | -0.001556
|  | 440 | -0.003112
|  | 435 | -0.001556
|  | 430 | -0.001349
|  | 425 | -0.000727
|  | 420 | -0.002286
|  | 415 | -0.002182
|  | 410 | -0.001143
|  | 405 | -0.001976
|  | 400 | -0.003328
|  | 395 | -0.001976
|  | 390 | -0.000208
|  | 385 | -0.003122
|  | 380 | -0.003747
|  | 375 | -0.00125
|  | 370 | -0.000625
|  | 365 | -0.002082
|  | 360 | -0.001353
|  | 355 | 0.001145
|  | 350 | -0.000624
|  | 345 | -0.000104
|  | 340 | -0.000104
|  | 335 | -0.000416
|  | 330 | -0.001039
|  | 325 | -0.00218
|  | 320 | 0.000415
|  | 315 | -0.001039
|  | 310 | -0.002599
|  | 305 | -0.001765
|  | 300 | -0.004251
|  | 295 | -0.00445
|  | 290 | -0.001859
|  | 285 | -0.002166
|  | 280 | -0.001957
|  | 275 | -0.000411
|  | 270 | -0.001332
|  | 265 | -0.002041
|  | 260 | -0.002847
|  | 255 | -0.003241
|  | 250 | -0.002619
|  | 245 | -0.0007
|  | 240 | -0.000988
|  | 235 | -0.002631
|  | 230 | -0.001735
|  | 225 | 0.000192
|  | 220 | -0.001144
|  | 215 | -0.001897
|  | 210 | -0.001514
|  | 205 | 0.001134
|  | 200 | 0.000564