## Throughput
Herriott Cell Throughput, 31.2 m OPL
|  | Wavelength (µm) | Throughput (%)
|  | 0.355 | 4.1677e-54
|  | 0.365 | 1.4743e-59
|  | 0.375 | 8.6225e-66
|  | 0.385 | 2.3433e-71
Product Raw Data |  | 0.395 | 1.9936e-76
Herriott Cell Throughput, 31.2 m OPL |  | 0.405 | 7.7062e-79
|  | 0.415 | 8.1188e-77
Item # | HC30L-M02, HC30L/M-M02 | 0.425 | 1.0362e-71
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 0.435 | 1.0026e-65
|  | 0.445 | 1.0047e-59
|  | 0.455 | 1.4651e-53
|  | 0.465 | 9.6792e-47
|  | 0.475 | 1.5632e-39
|  | 0.485 | 4.4277e-32
This data may be used in publications. However, please cite Thorlabs as the source. |  | 0.495 | 3.4371e-24
|  | 0.505 | 6.0008e-17
|  | 0.515 | 8.4353e-12
Additional Information: |  | 0.525 | 1.1581e-08
This data is calculated using measured mirror reflectance values and window transmission values. |  | 0.535 | 8.9028e-07
|  | 0.545 | 1.2269e-05
|  | 0.555 | 6.1963e-05
|  | 0.565 | 0.00017839
|  | 0.575 | 0.00038605
|  | 0.585 | 0.00075618
|  | 0.595 | 0.0015005
|  | 0.605 | 0.0032814
|  | 0.615 | 0.0076673
|  | 0.625 | 0.017904
|  | 0.635 | 0.039202
|  | 0.645 | 0.07799
|  | 0.655 | 0.14024
|  | 0.665 | 0.23155
|  | 0.675 | 0.34861
|  | 0.685 | 0.47032
|  | 0.695 | 0.55977
|  | 0.705 | 0.64335
|  | 0.715 | 0.6905
|  | 0.725 | 0.78857
|  | 0.735 | 0.7696
|  | 0.745 | 0.74393
|  | 0.755 | 0.71363
|  | 0.765 | 0.65184
|  | 0.775 | 0.58698
|  | 0.785 | 0.52958
|  | 0.795 | 0.45334
|  | 0.805 | 0.38392
|  | 0.815 | 0.3342
|  | 0.825 | 0.27525
|  | 0.835 | 0.22789
|  | 0.845 | 0.18659
|  | 0.855 | 0.15243
|  | 0.865 | 0.12236
|  | 0.875 | 0.10021
|  | 0.885 | 0.080053
|  | 0.895 | 0.065573
|  | 0.905 | 0.052902
|  | 0.915 | 0.043428
|  | 0.925 | 0.035979
|  | 0.935 | 0.029975
|  | 0.945 | 0.025308
|  | 0.955 | 0.021836
|  | 0.965 | 0.019231
|  | 0.975 | 0.017332
|  | 0.985 | 0.015971
|  | 0.995 | 0.015076
|  | 1.005 | 0.01455
|  | 1.015 | 0.014396
|  | 1.025 | 0.014564
|  | 1.035 | 0.014912
|  | 1.045 | 0.015924
|  | 1.055 | 0.019178
|  | 1.065 | 0.020846
|  | 1.075 | 0.023135
|  | 1.085 | 0.025944
|  | 1.095 | 0.029318
|  | 1.105 | 0.03352
|  | 1.115 | 0.038791
|  | 1.125 | 0.044876
|  | 1.135 | 0.053735
|  | 1.145 | 0.063159
|  | 1.155 | 0.073676
|  | 1.165 | 0.087221
|  | 1.175 | 0.10229
|  | 1.185 | 0.12118
|  | 1.195 | 0.14294
|  | 1.205 | 0.16848
|  | 1.215 | 0.19538
|  | 1.225 | 0.22635
|  | 1.235 | 0.25878
|  | 1.245 | 0.3032
|  | 1.255 | 0.352
|  | 1.265 | 0.40478
|  | 1.275 | 0.45624
|  | 1.285 | 0.5204
|  | 1.295 | 0.59598
|  | 1.305 | 0.67035
|  | 1.315 | 0.75362
|  | 1.325 | 0.83244
|  | 1.335 | 0.93388
|  | 1.345 | 1.0432
|  | 1.355 | 1.1432
|  | 1.365 | 1.2842
|  | 1.375 | 1.392
|  | 1.385 | 1.5497
|  | 1.395 | 1.7223
|  | 1.405 | 1.8221
|  | 1.415 | 1.9867
|  | 1.425 | 2.1485
|  | 1.435 | 2.3557
|  | 1.445 | 2.5478
|  | 1.455 | 2.6981
|  | 1.465 | 2.91
|  | 1.475 | 3.1214
|  | 1.485 | 3.3105
|  | 1.495 | 3.5689
|  | 1.505 | 3.7717
|  | 1.515 | 3.9894
|  | 1.525 | 4.2681
|  | 1.535 | 4.4487
|  | 1.545 | 4.7063
|  | 1.555 | 4.8901
|  | 1.565 | 5.2173
|  | 1.575 | 5.3211
|  | 1.585 | 5.6356
|  | 1.595 | 5.8764
|  | 1.605 | 6.2602
|  | 1.615 | 6.3005
|  | 1.625 | 6.6432
|  | 1.635 | 6.896
|  | 1.645 | 7.0734
|  | 1.655 | 7.5573
|  | 1.665 | 7.6864
|  | 1.675 | 7.7264
|  | 1.685 | 8.276
|  | 1.695 | 8.2479
|  | 1.705 | 8.5136
|  | 1.715 | 8.7778
|  | 1.725 | 9.1601
|  | 1.735 | 9.2284
|  | 1.745 | 9.5921
|  | 1.755 | 9.8163
|  | 1.765 | 10.1785
|  | 1.775 | 10.3959
|  | 1.785 | 10.5393
|  | 1.795 | 10.7087
|  | 1.805 | 10.8674
|  | 1.815 | 11.0208
|  | 1.825 | 11.0699
|  | 1.835 | 11.5297
|  | 1.845 | 11.7039
|  | 1.855 | 11.9281
|  | 1.865 | 12.1799
|  | 1.875 | 12.4692
|  | 1.885 | 12.5027
|  | 1.895 | 13.0442
|  | 1.905 | 12.9359
|  | 1.915 | 13.6752
|  | 1.925 | 13.9957
|  | 1.935 | 13.6924
|  | 1.945 | 13.7787
|  | 1.955 | 14.0414
|  | 1.965 | 14.0379
|  | 1.975 | 14.9331
|  | 1.985 | 14.571
|  | 1.995 | 15.0788
|  | 2.005 | 15.0397
|  | 2.015 | 15.542
|  | 2.025 | 16.0189
|  | 2.035 | 16.0799
|  | 2.045 | 16.3733
|  | 2.055 | 16.8332
|  | 2.065 | 16.6044
|  | 2.075 | 16.6293
|  | 2.085 | 16.3952
|  | 2.095 | 16.7997
|  | 2.105 | 16.7308
|  | 2.115 | 16.6598
|  | 2.125 | 16.5904
|  | 2.135 | 16.8879
|  | 2.145 | 16.6064
|  | 2.155 | 17.1438
|  | 2.165 | 17.4659
|  | 2.175 | 17.0933
|  | 2.185 | 18.0889
|  | 2.195 | 18.7151
|  | 2.205 | 18.3575
|  | 2.215 | 17.3654
|  | 2.225 | 19.0609
|  | 2.235 | 18.3473
|  | 2.245 | 18.063
|  | 2.255 | 21.2353
|  | 2.265 | 18.2534
|  | 2.275 | 19.4912
|  | 2.285 | 18.3868
|  | 2.295 | 20.1223
|  | 2.305 | 19.94
|  | 2.315 | 20.6705
|  | 2.325 | 19.267
|  | 2.335 | 20.1523
|  | 2.345 | 20.8074
|  | 2.355 | 21.6652
|  | 2.365 | 18.741
|  | 2.375 | 19.5143
|  | 2.385 | 22.0466
|  | 2.395 | 22.3864
|  | 2.405 | 22.1656
|  | 2.415 | 20.6458
|  | 2.425 | 20.8317
|  | 2.435 | 23.0088
|  | 2.445 | 21.1877
|  | 2.455 | 26.3111
|  | 2.465 | 23.5806
|  | 2.475 | 26.2641
|  | 2.485 | 29.2727
|  | 2.495 | 18.9044
|  | 2.505 | 23.4764
|  | 2.515 | 23.4647
|  | 2.525 | 23.4645
|  | 2.535 | 23.8453
|  | 2.545 | 23.7697
|  | 2.555 | 23.8684
|  | 2.565 | 24.0164
|  | 2.575 | 23.9988
|  | 2.585 | 23.791
|  | 2.595 | 24.4719
|  | 2.61 | 24.0685
|  | 2.619 | 24.4037
|  | 2.63 | 24.7295
|  | 2.64 | 25.0535
|  | 2.65 | 24.8773
|  | 2.659 | 24.9506
|  | 2.67 | 24.2887
|  | 2.68 | 23.7384
|  | 2.689 | 24.2383
|  | 2.7 | 25.0258
|  | 2.71 | 25.0019
|  | 2.719 | 25.5427
|  | 2.73 | 25.0256
|  | 2.739 | 24.711
|  | 2.749 | 25.8707
|  | 2.76 | 24.9913
|  | 2.769 | 25.3398
|  | 2.78 | 25.6286
|  | 2.789 | 25.5235
|  | 2.8 | 26.1331
|  | 2.809 | 26.3109
|  | 2.82 | 26.1841
|  | 2.829 | 26.3859
|  | 2.839 | 26.4751
|  | 2.849 | 26.5862
|  | 2.859 | 26.5163
|  | 2.87 | 26.7144
|  | 2.879 | 26.8244
|  | 2.889 | 26.9831
|  | 2.899 | 26.9626
|  | 2.909 | 27.1178
|  | 2.919 | 27.0468
|  | 2.929 | 27.1428
|  | 2.939 | 27.2638
|  | 2.949 | 27.1461
|  | 2.959 | 27.3714
|  | 2.969 | 27.6567
|  | 2.979 | 27.5152
|  | 2.989 | 27.5908
|  | 2.999 | 27.5994
|  | 3.009 | 27.6439
|  | 3.019 | 27.8192
|  | 3.029 | 27.6815
|  | 3.039 | 27.8456
|  | 3.049 | 27.9927
|  | 3.059 | 27.9086
|  | 3.069 | 28.0857
|  | 3.079 | 28.0468
|  | 3.089 | 28.2157
|  | 3.099 | 28.3005
|  | 3.109 | 28.3694
|  | 3.119 | 28.5681
|  | 3.129 | 28.4963
|  | 3.139 | 28.5961
|  | 3.149 | 28.6449
|  | 3.159 | 28.7288
|  | 3.169 | 28.8574
|  | 3.179 | 29.0149
|  | 3.189 | 28.9445
|  | 3.199 | 28.8768
|  | 3.209 | 29.117
|  | 3.219 | 29.2617
|  | 3.229 | 29.3666
|  | 3.239 | 29.4409
|  | 3.249 | 29.6161
|  | 3.259 | 29.7271
|  | 3.269 | 29.6818
|  | 3.279 | 29.8488
|  | 3.289 | 29.8419
|  | 3.299 | 29.9589
|  | 3.309 | 30.0615
|  | 3.319 | 30.0377
|  | 3.329 | 30.1309
|  | 3.339 | 30.2049
|  | 3.349 | 30.4168
|  | 3.359 | 30.6402
|  | 3.369 | 30.4797
|  | 3.379 | 30.4952
|  | 3.389 | 30.6621
|  | 3.399 | 30.6403
|  | 3.409 | 30.6708
|  | 3.419 | 30.6567
|  | 3.429 | 30.5877
|  | 3.439 | 30.8525
|  | 3.449 | 30.8808
|  | 3.459 | 31.0522
|  | 3.469 | 31.121
|  | 3.479 | 31.3269
|  | 3.489 | 31.2136
|  | 3.499 | 31.2803
|  | 3.509 | 31.3091
|  | 3.519 | 31.3785
|  | 3.529 | 31.2119
|  | 3.539 | 31.4488
|  | 3.549 | 31.7056
|  | 3.559 | 31.8507
|  | 3.569 | 31.6483
|  | 3.579 | 31.7573
|  | 3.589 | 31.771
|  | 3.599 | 31.7873
|  | 3.609 | 31.8733
|  | 3.619 | 32.0711
|  | 3.629 | 32.1136
|  | 3.639 | 32.0521
|  | 3.649 | 32.2669
|  | 3.659 | 32.2129
|  | 3.669 | 32.2085
|  | 3.679 | 32.1989
|  | 3.689 | 32.462
|  | 3.699 | 32.5682
|  | 3.709 | 32.6034
|  | 3.719 | 32.6864
|  | 3.729 | 32.8625
|  | 3.739 | 32.7227
|  | 3.749 | 32.6018
|  | 3.759 | 32.6689
|  | 3.769 | 32.9008
|  | 3.779 | 32.7687
|  | 3.789 | 32.8919
|  | 3.799 | 32.8928
|  | 3.809 | 33.0192
|  | 3.819 | 32.9665
|  | 3.829 | 33.112
|  | 3.839 | 33.0619
|  | 3.849 | 33.1592
|  | 3.859 | 33.2946
|  | 3.869 | 33.1905
|  | 3.879 | 33.2936
|  | 3.889 | 33.3025
|  | 3.899 | 33.4817
|  | 3.909 | 33.5313
|  | 3.919 | 33.4561
|  | 3.929 | 33.2596
|  | 3.939 | 33.3224
|  | 3.949 | 33.3744
|  | 3.959 | 33.5703
|  | 3.968 | 33.6853
|  | 3.979 | 33.7489
|  | 3.989 | 33.6023
|  | 3.999 | 33.6573
|  | 4.009 | 33.8274
|  | 4.018 | 33.8115
|  | 4.029 | 34.1037
|  | 4.039 | 33.9746
|  | 4.049 | 33.9916
|  | 4.058 | 34.2435
|  | 4.069 | 34.2135
|  | 4.078 | 34.1946
|  | 4.089 | 34.0459
|  | 4.098 | 34.2093
|  | 4.109 | 34.2485
|  | 4.118 | 34.4073
|  | 4.129 | 34.4858
|  | 4.138 | 34.6119
|  | 4.148 | 34.5115
|  | 4.159 | 34.7501
|  | 4.168 | 34.6463
|  | 4.178 | 34.6269
|  | 4.189 | 34.0239
|  | 4.198 | 32.4412
|  | 4.208 | 30.3129
|  | 4.218 | 28.0275
|  | 4.228 | 22.2849
|  | 4.238 | 21.4883
|  | 4.248 | 23.2182
|  | 4.258 | 27.0262
|  | 4.268 | 25.3457
|  | 4.278 | 25.2839
|  | 4.288 | 25.6418
|  | 4.298 | 26.7941
|  | 4.308 | 27.859
|  | 4.318 | 28.9211
|  | 4.328 | 31.0082
|  | 4.338 | 32.1599
|  | 4.348 | 32.9243
|  | 4.358 | 34.4714
|  | 4.368 | 34.8612
|  | 4.378 | 34.9596
|  | 4.388 | 35.1665
|  | 4.398 | 35.5293
|  | 4.408 | 35.3767
|  | 4.418 | 35.3303
|  | 4.428 | 35.4127
|  | 4.438 | 35.4579
|  | 4.448 | 35.5434
|  | 4.458 | 35.6378
|  | 4.468 | 35.8104
|  | 4.478 | 35.7054
|  | 4.488 | 35.6122
|  | 4.498 | 35.747
|  | 4.508 | 35.7807
|  | 4.518 | 35.8609
|  | 4.528 | 35.9151
|  | 4.538 | 35.946
|  | 4.548 | 35.9448
|  | 4.558 | 35.8362
|  | 4.568 | 36.024
|  | 4.578 | 35.982
|  | 4.588 | 36.0215
|  | 4.598 | 35.9794
|  | 4.608 | 35.9372
|  | 4.618 | 35.9882
|  | 4.628 | 36.0976
|  | 4.638 | 36.0727
|  | 4.648 | 36.3377
|  | 4.658 | 36.4245
|  | 4.668 | 36.2405
|  | 4.678 | 36.2066
|  | 4.688 | 36.2194
|  | 4.698 | 36.2998
|  | 4.708 | 36.2305
|  | 4.718 | 36.3402
|  | 4.728 | 36.4531
|  | 4.738 | 36.5398
|  | 4.748 | 36.5673
|  | 4.758 | 36.5564
|  | 4.768 | 36.747
|  | 4.778 | 36.724
|  | 4.788 | 36.5912
|  | 4.798 | 36.7195
|  | 4.808 | 36.5955
|  | 4.818 | 36.6495
|  | 4.828 | 36.7183
|  | 4.838 | 36.7783
|  | 4.848 | 36.7282
|  | 4.858 | 36.7137
|  | 4.868 | 36.8689
|  | 4.878 | 36.8513
|  | 4.888 | 36.8456
|  | 4.898 | 36.81
|  | 4.908 | 37.0703
|  | 4.918 | 37.0493
|  | 4.928 | 36.9985
|  | 4.938 | 37.0974
|  | 4.948 | 37.1124
|  | 4.958 | 37.0673
|  | 4.968 | 37.0972
|  | 4.978 | 37.112
|  | 4.988 | 37.1387
|  | 4.998 | 37.0454
|  | 5.008 | 36.9792
|  | 5.018 | 37.0866
|  | 5.028 | 37.1584
|  | 5.038 | 37.4567
|  | 5.048 | 37.4622
|  | 5.058 | 37.4161
|  | 5.068 | 37.3974
|  | 5.078 | 37.2487
|  | 5.088 | 37.2901
|  | 5.098 | 37.4344
|  | 5.107 | 37.6461
|  | 5.118 | 37.5389
|  | 5.128 | 37.459
|  | 5.138 | 37.5155
|  | 5.147 | 37.363
|  | 5.158 | 37.4588
|  | 5.168 | 37.5395
|  | 5.178 | 37.5626
|  | 5.187 | 37.7471
|  | 5.198 | 37.7794
|  | 5.208 | 37.5616
|  | 5.218 | 37.6819
|  | 5.227 | 37.7506
|  | 5.238 | 37.7064
|  | 5.248 | 37.8055
|  | 5.257 | 37.8314
|  | 5.268 | 37.7472
|  | 5.278 | 37.6996
|  | 5.288 | 37.7008
|  | 5.297 | 37.6897
|  | 5.308 | 37.9602
|  | 5.318 | 37.9367
|  | 5.327 | 37.9285
|  | 5.337 | 38.0123
|  | 5.348 | 37.6857
|  | 5.358 | 37.6652
|  | 5.367 | 37.9013
|  | 5.378 | 38.1605
|  | 5.388 | 38.1766
|  | 5.397 | 38.1186
|  | 5.407 | 37.9315
|  | 5.418 | 37.7514
|  | 5.428 | 37.5721
|  | 5.437 | 37.7309
|  | 5.448 | 38.1209
|  | 5.458 | 38.0564
|  | 5.467 | 37.7592
|  | 5.477 | 37.7502
|  | 5.488 | 37.9279
|  | 5.497 | 38.094
|  | 5.507 | 38.1618
|  | 5.518 | 38.0754
|  | 5.527 | 38.1493
|  | 5.537 | 38.3316
|  | 5.548 | 38.1766
|  | 5.558 | 38.0161
|  | 5.567 | 38.1081
|  | 5.578 | 37.9415
|  | 5.588 | 38.1102
|  | 5.597 | 38.3509
|  | 5.608 | 38.3627
|  | 5.618 | 38.3775
|  | 5.627 | 38.4731
|  | 5.637 | 38.3947
|  | 5.648 | 37.9062
|  | 5.657 | 38.022
|  | 5.667 | 38.2369
|  | 5.678 | 38.2884
|  | 5.687 | 38.2502
|  | 5.697 | 38.432
|  | 5.707 | 38.4338
|  | 5.717 | 37.6144
|  | 5.727 | 37.7533
|  | 5.737 | 38.0677
|  | 5.747 | 38.363
|  | 5.758 | 38.4265
|  | 5.767 | 38.1185
|  | 5.777 | 37.7883
|  | 5.788 | 38.3345
|  | 5.797 | 38.5971
|  | 5.807 | 38.7704
|  | 5.818 | 38.2451
|  | 5.827 | 37.7757
|  | 5.837 | 37.9237
|  | 5.847 | 38.5586
|  | 5.857 | 38.4598
|  | 5.867 | 38.2125
|  | 5.877 | 37.9175
|  | 5.887 | 37.159
|  | 5.898 | 37.4249
|  | 5.907 | 37.9313
|  | 5.917 | 38.2553
|  | 5.927 | 38.1288
|  | 5.937 | 37.715
|  | 5.947 | 37.4507
|  | 5.957 | 38.1848
|  | 5.967 | 38.3427
|  | 5.978 | 38.33
|  | 5.987 | 38.0981
|  | 5.997 | 38.138
|  | 6.007 | 38.2983
|  | 6.017 | 38.2577
|  | 6.027 | 38.5399
|  | 6.037 | 38.8332
|  | 6.047 | 38.6009
|  | 6.057 | 37.6258
|  | 6.067 | 37.5764
|  | 6.077 | 37.6181
|  | 6.087 | 38.3419
|  | 6.097 | 38.543
|  | 6.107 | 38.3736
|  | 6.117 | 37.8606
|  | 6.127 | 38.0127
|  | 6.137 | 38.2114
|  | 6.147 | 38.1759
|  | 6.157 | 37.9892
|  | 6.167 | 38.1785
|  | 6.177 | 38.418
|  | 6.187 | 38.2611
|  | 6.197 | 38.321
|  | 6.207 | 38.4303
|  | 6.217 | 38.4436
|  | 6.227 | 38.5561
|  | 6.237 | 38.6849
|  | 6.247 | 38.8077
|  | 6.257 | 38.8423
|  | 6.267 | 38.636
|  | 6.277 | 38.4115
|  | 6.287 | 38.3403
|  | 6.297 | 38.5981
|  | 6.307 | 38.9397
|  | 6.317 | 39.3569
|  | 6.327 | 39.4553
|  | 6.337 | 38.9951
|  | 6.347 | 38.5021
|  | 6.357 | 38.6512
|  | 6.367 | 38.6655
|  | 6.377 | 38.5802
|  | 6.387 | 38.6974
|  | 6.397 | 39.1367
|  | 6.407 | 38.8416
|  | 6.417 | 37.9276
|  | 6.427 | 37.553
|  | 6.437 | 37.8839
|  | 6.446 | 38.2021
|  | 6.457 | 38.7095
|  | 6.467 | 38.7418
|  | 6.477 | 38.5389
|  | 6.487 | 38.115
|  | 6.497 | 37.6857
|  | 6.507 | 37.9645
|  | 6.517 | 38.1734
|  | 6.527 | 38.3406
|  | 6.537 | 38.5045
|  | 6.547 | 38.5448
|  | 6.557 | 38.4254
|  | 6.567 | 37.8971
|  | 6.577 | 37.6725
|  | 6.587 | 37.6808
|  | 6.597 | 38.179
|  | 6.607 | 38.4722
|  | 6.617 | 38.6196
|  | 6.627 | 37.9984
|  | 6.637 | 37.5467
|  | 6.647 | 37.7397
|  | 6.657 | 38.2344
|  | 6.666 | 38.6548
|  | 6.677 | 38.5796
|  | 6.686 | 38.5831
|  | 6.697 | 38.7011
|  | 6.706 | 38.5044
|  | 6.717 | 38.2581
|  | 6.726 | 38.3661
|  | 6.737 | 39.0088
|  | 6.746 | 39.166
|  | 6.757 | 39.2019
|  | 6.766 | 38.9699
|  | 6.777 | 38.6973
|  | 6.787 | 38.417
|  | 6.797 | 38.6675
|  | 6.807 | 38.9434
|  | 6.816 | 39.0608
|  | 6.827 | 38.9875
|  | 6.836 | 38.8713
|  | 6.847 | 38.8418
|  | 6.856 | 38.5256
|  | 6.867 | 38.0502
|  | 6.876 | 38.2747
|  | 6.887 | 38.5893
|  | 6.897 | 38.7242
|  | 6.906 | 38.5384
|  | 6.917 | 38.5009
|  | 6.926 | 38.5611
|  | 6.937 | 38.7479
|  | 6.946 | 38.6483
|  | 6.956 | 38.3916
|  | 6.967 | 38.0962
|  | 6.976 | 38.2161
|  | 6.987 | 38.3346
|  | 6.996 | 38.3305
|  | 7.007 | 38.2811
|  | 7.016 | 38.2423
|  | 7.026 | 38.1678
|  | 7.037 | 37.9638
|  | 7.046 | 37.8539
|  | 7.057 | 37.8249
|  | 7.066 | 38.1226
|  | 7.076 | 38.2315
|  | 7.087 | 38.2691
|  | 7.096 | 38.24
|  | 7.107 | 38.1378
|  | 7.116 | 38.1359
|  | 7.126 | 38.1534
|  | 7.137 | 38.0718
|  | 7.146 | 37.9152
|  | 7.156 | 37.8242
|  | 7.166 | 37.8266
|  | 7.176 | 38.0597
|  | 7.187 | 38.1425
|  | 7.196 | 38.1499
|  | 7.206 | 37.9916
|  | 7.217 | 38.0114
|  | 7.226 | 38.1037
|  | 7.236 | 38.3018
|  | 7.246 | 38.2575
|  | 7.256 | 38.1613
|  | 7.266 | 38.0464
|  | 7.276 | 37.9612
|  | 7.286 | 38.0546
|  | 7.296 | 38.1754
|  | 7.306 | 38.2954
|  | 7.316 | 38.1838
|  | 7.327 | 38.0136
|  | 7.336 | 37.8002
|  | 7.346 | 37.5941
|  | 7.357 | 37.613
|  | 7.366 | 37.6887
|  | 7.376 | 37.847
|  | 7.386 | 37.9164
|  | 7.396 | 38.0127
|  | 7.406 | 38.1244
|  | 7.416 | 38.0877
|  | 7.426 | 38.0196
|  | 7.436 | 37.9451
|  | 7.446 | 37.7661
|  | 7.456 | 37.56
|  | 7.466 | 37.3786
|  | 7.476 | 37.3542
|  | 7.486 | 37.4956
|  | 7.496 | 37.6094
|  | 7.506 | 37.6772
|  | 7.516 | 37.5954
|  | 7.526 | 37.5161
|  | 7.536 | 37.4725
|  | 7.546 | 37.5195
|  | 7.556 | 37.52
|  | 7.566 | 37.4834
|  | 7.576 | 37.431
|  | 7.586 | 37.3967
|  | 7.596 | 37.3671
|  | 7.606 | 37.3308
|  | 7.616 | 37.2614
|  | 7.626 | 37.1966
|  | 7.636 | 37.1462
|  | 7.646 | 37.1731
|  | 7.656 | 37.1581
|  | 7.666 | 37.0724
|  | 7.676 | 36.8965
|  | 7.686 | 36.8247
|  | 7.696 | 36.8098
|  | 7.706 | 36.8286
|  | 7.716 | 36.8943
|  | 7.726 | 36.837
|  | 7.736 | 36.7238
|  | 7.746 | 36.5496
|  | 7.756 | 36.4784
|  | 7.766 | 36.4241
|  | 7.776 | 36.3882
|  | 7.786 | 36.3322
|  | 7.796 | 36.2578
|  | 7.806 | 36.168
|  | 7.816 | 36.0822
|  | 7.826 | 36.0725
|  | 7.836 | 36.0881
|  | 7.846 | 36.2049
|  | 7.855 | 36.2089
|  | 7.866 | 36.1893
|  | 7.876 | 36.1482
|  | 7.886 | 36.0245
|  | 7.896 | 35.8538
|  | 7.905 | 35.6854
|  | 7.916 | 35.4998
|  | 7.926 | 35.4056
|  | 7.936 | 35.3505
|  | 7.946 | 35.32
|  | 7.955 | 35.3742
|  | 7.966 | 35.3472
|  | 7.976 | 35.2991
|  | 7.986 | 35.2699
|  | 7.996 | 35.2053
|  | 8.005 | 35.1231
|  | 8.016 | 34.98
|  | 8.026 | 34.8617
|  | 8.036 | 34.7509
|  | 8.046 | 34.6617
|  | 8.056 | 34.6077
|  | 8.065 | 34.5591
|  | 8.075 | 34.514
|  | 8.086 | 34.4676
|  | 8.096 | 34.3449
|  | 8.106 | 34.213
|  | 8.116 | 34.0803
|  | 8.125 | 34.0197
|  | 8.135 | 33.981
|  | 8.146 | 33.9575
|  | 8.156 | 34.0424
|  | 8.166 | 34.0214
|  | 8.176 | 33.999
|  | 8.186 | 33.9751
|  | 8.195 | 33.8999
|  | 8.205 | 33.8458
|  | 8.215 | 33.763
|  | 8.226 | 33.5973
|  | 8.236 | 33.4065
|  | 8.246 | 33.2126
|  | 8.256 | 33.1518
|  | 8.266 | 33.1137
|  | 8.275 | 33.0583
|  | 8.285 | 32.9931
|  | 8.295 | 32.8201
|  | 8.305 | 32.6226
|  | 8.315 | 32.4482
|  | 8.326 | 32.2991
|  | 8.336 | 32.1749
|  | 8.346 | 32.0754
|  | 8.356 | 31.9486
|  | 8.366 | 31.7692
|  | 8.375 | 31.6238
|  | 8.385 | 31.4427
|  | 8.395 | 31.3114
|  | 8.405 | 31.204
|  | 8.415 | 31.1202
|  | 8.425 | 31.085
|  | 8.435 | 30.9477
|  | 8.445 | 30.8091
|  | 8.455 | 30.5949
|  | 8.465 | 30.454
|  | 8.476 | 30.2872
|  | 8.486 | 30.1438
|  | 8.496 | 30.0232
|  | 8.506 | 29.9011
|  | 8.516 | 29.9956
|  | 8.526 | 30.1328
|  | 8.536 | 29.6403
|  | 8.555 | 29.3924
|  | 8.565 | 30.4834
|  | 8.575 | 29.3274
|  | 8.585 | 29.1458
|  | 8.595 | 28.6921
|  | 8.605 | 28.5127
|  | 8.615 | 28.3024
|  | 8.625 | 28.8871
|  | 8.635 | 28.3641
|  | 8.645 | 27.9747
|  | 8.655 | 27.6263
|  | 8.665 | 27.8886
|  | 8.675 | 28.2663
|  | 8.685 | 27.9763
|  | 8.695 | 27.473
|  | 8.705 | 27.1907
|  | 8.715 | 27.3656
|  | 8.735 | 26.6217
|  | 8.745 | 26.3264
|  | 8.755 | 26.1535
|  | 8.765 | 26.2671
|  | 8.775 | 25.7664
|  | 8.785 | 25.6053
|  | 8.795 | 25.4618
|  | 8.805 | 24.8952
|  | 8.815 | 25.403
|  | 8.825 | 25.2876
|  | 8.835 | 25.2336
|  | 8.845 | 25.3491
|  | 8.855 | 25.5133
|  | 8.865 | 24.7756
|  | 8.875 | 24.2546
|  | 8.885 | 23.5786
|  | 8.895 | 24.0157
|  | 8.905 | 23.3799
|  | 8.925 | 23.2434
|  | 8.935 | 22.8505
|  | 8.945 | 23.0484
|  | 8.955 | 22.0711
|  | 8.965 | 22.7103
|  | 8.975 | 22.8466
|  | 8.985 | 22.1824
|  | 8.995 | 21.857
|  | 9.005 | 21.952
|  | 9.015 | 21.7063
|  | 9.035 | 21.521
|  | 9.045 | 21.1728
|  | 9.055 | 20.6794
|  | 9.065 | 20.251
|  | 9.075 | 20.4811
|  | 9.085 | 19.6646
|  | 9.095 | 19.89
|  | 9.115 | 19.1039
|  | 9.125 | 19.3298
|  | 9.135 | 19.105
|  | 9.145 | 18.6954
|  | 9.155 | 19.0892
|  | 9.175 | 18.3662
|  | 9.185 | 18.5122
|  | 9.195 | 17.8965
|  | 9.205 | 17.7395
|  | 9.215 | 17.5867
|  | 9.235 | 17.4417
|  | 9.245 | 17.3474
|  | 9.255 | 16.9768
|  | 9.265 | 16.8593
|  | 9.275 | 16.473
|  | 9.295 | 16.0703
|  | 9.305 | 15.5669
|  | 9.314 | 15.5211
|  | 9.325 | 15.249
|  | 9.345 | 15.0694
|  | 9.355 | 14.9196
|  | 9.364 | 14.8882
|  | 9.375 | 14.2539
|  | 9.385 | 14.4205
|  | 9.395 | 13.931
|  | 9.404 | 13.8685
|  | 9.415 | 14.2198
|  | 9.425 | 13.5214
|  | 9.435 | 13.7239
|  | 9.444 | 13.4403
|  | 9.455 | 13.3078
|  | 9.465 | 12.6966
|  | 9.475 | 12.3384
|  | 9.484 | 12.3787
|  | 9.495 | 12.0324
|  | 9.505 | 12.1297
|  | 9.515 | 11.9033
|  | 9.524 | 12.2265
|  | 9.535 | 11.6948
|  | 9.545 | 11.7754
|  | 9.554 | 11.4808
|  | 9.564 | 11.0339
|  | 9.575 | 10.8206
|  | 9.585 | 10.7938
|  | 9.594 | 10.5353
|  | 9.605 | 10.1922
|  | 9.615 | 10.14
|  | 9.624 | 9.7489
|  | 9.634 | 9.7014
|  | 9.645 | 9.4026
|  | 9.654 | 9.4955
|  | 9.664 | 9.6047
|  | 9.675 | 9.0985
|  | 9.684 | 9.2616
|  | 9.694 | 8.7576
|  | 9.705 | 8.6867
|  | 9.714 | 8.6683
|  | 9.724 | 8.3673
|  | 9.735 | 8.09
|  | 9.744 | 7.8462
|  | 9.754 | 8.1065
|  | 9.765 | 7.7882
|  | 9.774 | 7.5789
|  | 9.784 | 7.4277
|  | 9.795 | 7.1176
|  | 9.804 | 7.2531
|  | 9.815 | 7.009
|  | 9.824 | 6.8315
|  | 9.834 | 6.8212
|  | 9.845 | 6.6581
|  | 9.854 | 6.5533
|  | 9.864 | 6.2483
|  | 9.875 | 5.9906
|  | 9.884 | 6.0981
|  | 9.895 | 5.848
|  | 9.904 | 5.8231
|  | 9.914 | 5.8239
|  | 9.924 | 5.5364
|  | 9.934 | 5.4103
|  | 9.945 | 5.2352
|  | 9.954 | 5.1652
|  | 9.964 | 4.8706
|  | 9.974 | 4.823
|  | 9.984 | 4.6397
|  | 9.994 | 4.7118
|  | 10.004 | 4.6933
|  | 10.015 | 4.5371
|  | 10.024 | 4.6393
|  | 10.034 | 4.3215
|  | 10.044 | 4.3774
|  | 10.054 | 4.1998
|  | 10.064 | 3.9884
|  | 10.074 | 3.9321
|  | 10.084 | 3.8412
|  | 10.094 | 3.6624
|  | 10.104 | 3.677
|  | 10.114 | 3.3259
|  | 10.124 | 3.4647
|  | 10.134 | 3.3156
|  | 10.144 | 3.2235
|  | 10.154 | 3.06
|  | 10.164 | 3.1008
|  | 10.174 | 3.0191
|  | 10.184 | 3.0511
|  | 10.194 | 2.7484
|  | 10.204 | 2.753
|  | 10.214 | 2.6645
|  | 10.224 | 2.5723
|  | 10.234 | 2.4445
|  | 10.244 | 2.3293
|  | 10.254 | 2.4118
|  | 10.264 | 2.3555
|  | 10.274 | 2.1636
|  | 10.284 | 2.1956
|  | 10.294 | 2.18
|  | 10.304 | 2.0122
|  | 10.314 | 1.9133
|  | 10.324 | 1.919
|  | 10.334 | 1.8717
|  | 10.344 | 1.7314
|  | 10.354 | 1.7008
|  | 10.364 | 1.5856
|  | 10.374 | 1.6674
|  | 10.384 | 1.6
|  | 10.394 | 1.5072
|  | 10.404 | 1.4325
|  | 10.414 | 1.5266
|  | 10.424 | 1.3485
|  | 10.434 | 1.3456
|  | 10.444 | 1.2443
|  | 10.454 | 1.1831
|  | 10.464 | 1.1917
|  | 10.474 | 1.1546
|  | 10.484 | 1.1427
|  | 10.494 | 1.0209
|  | 10.504 | 0.96707
|  | 10.514 | 1.0021
|  | 10.524 | 0.98506
|  | 10.534 | 0.88176
|  | 10.544 | 0.84079
|  | 10.554 | 0.85065
|  | 10.564 | 0.71115
|  | 10.574 | 0.72751
|  | 10.584 | 0.73908
|  | 10.594 | 0.72106
|  | 10.604 | 0.62077
|  | 10.614 | 0.57509
|  | 10.624 | 0.65276
|  | 10.634 | 0.62564
|  | 10.644 | 0.55806
|  | 10.654 | 0.55743
|  | 10.664 | 0.49643
|  | 10.674 | 0.53401
|  | 10.684 | 0.45363
|  | 10.694 | 0.41948
|  | 10.704 | 0.4388
|  | 10.714 | 0.45971
|  | 10.723 | 0.37475
|  | 10.734 | 0.3173
|  | 10.744 | 0.32766
|  | 10.754 | 0.3002
|  | 10.763 | 0.31868
|  | 10.774 | 0.33549
|  | 10.784 | 0.25157
|  | 10.794 | 0.29101
|  | 10.803 | 0.23771
|  | 10.814 | 0.23563
|  | 10.824 | 0.20471
|  | 10.834 | 0.21452
|  | 10.843 | 0.21845
|  | 10.854 | 0.19604
|  | 10.864 | 0.15868
|  | 10.874 | 0.14998
|  | 10.883 | 0.17095
|  | 10.893 | 0.19225
|  | 10.904 | 0.13075
|  | 10.914 | 0.15384
|  | 10.924 | 0.125
|  | 10.933 | 0.11795
|  | 10.943 | 0.11214
|  | 10.954 | 0.10664
|  | 10.964 | 0.10137
|  | 10.974 | 0.096338
|  | 10.984 | 0.091663
|  | 10.993 | 0.087399
|  | 11.003 | 0.08304
|  | 11.014 | 0.078896
|  | 11.024 | 0.075022
|  | 11.034 | 0.071116
|  | 11.044 | 0.067394
|  | 11.053 | 0.063975
|  | 11.063 | 0.060479
|  | 11.073 | 0.057166
|  | 11.083 | 0.05407
|  | 11.094 | 0.051104
|  | 11.104 | 0.048395
|  | 11.114 | 0.045819
|  | 11.124 | 0.04341
|  | 11.133 | 0.041244
|  | 11.143 | 0.038994
|  | 11.153 | 0.036824
|  | 11.163 | 0.03479
|  | 11.173 | 0.032804
|  | 11.183 | 0.03092
|  | 11.193 | 0.029057
|  | 11.204 | 0.02733
|  | 11.214 | 0.025698
|  | 11.224 | 0.024087
|  | 11.234 | 0.022625
|  | 11.244 | 0.021278
|  | 11.254 | 0.020017
|  | 11.264 | 0.018854
|  | 11.273 | 0.017842
|  | 11.283 | 0.016809
|  | 11.293 | 0.015862
|  | 11.303 | 0.014929
|  | 11.313 | 0.014018
|  | 11.323 | 0.013146
|  | 11.333 | 0.012321
|  | 11.343 | 0.011524
|  | 11.353 | 0.010775
|  | 11.363 | 0.010066
|  | 11.373 | 0.0094103
|  | 11.383 | 0.0087939
|  | 11.393 | 0.0082278
|  | 11.403 | 0.0076893
|  | 11.413 | 0.0071822
|  | 11.423 | 0.0067132
|  | 11.433 | 0.0062617
|  | 11.443 | 0.005832
|  | 11.453 | 0.0054326
|  | 11.464 | 0.0050244
|  | 11.474 | 0.0046698
|  | 11.483 | 0.0043335
|  | 11.493 | 0.0040184
|  | 11.503 | 0.003723
|  | 11.513 | 0.0034484
|  | 11.523 | 0.003192
|  | 11.533 | 0.0029526
|  | 11.543 | 0.0027303
|  | 11.553 | 0.002523
|  | 11.563 | 0.0023311
|  | 11.573 | 0.00215
|  | 11.583 | 0.0019808
|  | 11.593 | 0.0018156
|  | 11.603 | 0.0016704
|  | 11.613 | 0.0015362
|  | 11.623 | 0.001411
|  | 11.633 | 0.0012987
|  | 11.643 | 0.0011898
|  | 11.653 | 0.0010895
|  | 11.663 | 0.0009977
|  | 11.673 | 0.00090365
|  | 11.683 | 0.00082295
|  | 11.693 | 0.00074758
|  | 11.703 | 0.00067896
|  | 11.713 | 0.00061404
|  | 11.723 | 0.00055422
|  | 11.733 | 0.00049565
|  | 11.743 | 0.00044429
|  | 11.753 | 0.0003973
|  | 11.763 | 0.00035355
|  | 11.773 | 0.00031424
|  | 11.783 | 0.00027606
|  | 11.793 | 0.00024382
|  | 11.803 | 0.00021479
|  | 11.813 | 0.00018867
|  | 11.823 | 0.00016505
|  | 11.833 | 0.00014266
|  | 11.843 | 0.00012382
|  | 11.853 | 0.00010663
|  | 11.863 | 9.1218e-05
|  | 11.873 | 7.6669e-05
|  | 11.883 | 6.4581e-05
|  | 11.893 | 5.3987e-05
|  | 11.903 | 4.4693e-05
|  | 11.913 | 3.6152e-05
|  | 11.923 | 2.9258e-05
|  | 11.933 | 2.3424e-05
|  | 11.943 | 1.8364e-05
|  | 11.953 | 1.382e-05
|  | 11.963 | 1.0269e-05
|  | 11.973 | 7.3725e-06
|  | 11.983 | 4.8736e-06
|  | 11.993 | 3.0641e-06
|  | 12.003 | 1.7225e-06
|  | 12.013 | 7.4588e-07
|  | 12.023 | 2.1325e-07
|  | 12.033 | 5.9525e-09
|  | 12.043 | 9.8551e-08
|  | 12.053 | 4.3984e-07
|  | 12.063 | 9.9173e-07
|  | 12.073 | 1.7704e-06
|  | 12.083 | 2.6536e-06
|  | 12.093 | 3.6588e-06
|  | 12.103 | 4.8274e-06
|  | 12.113 | 6.01e-06
|  | 12.122 | 7.2634e-06
|  | 12.133 | 8.6546e-06
|  | 12.143 | 9.9892e-06
|  | 12.153 | 1.1451e-05
|  | 12.163 | 1.2831e-05
|  | 12.172 | 1.4218e-05
|  | 12.183 | 1.5677e-05
|  | 12.193 | 1.7026e-05
|  | 12.203 | 1.845e-05
|  | 12.213 | 1.9725e-05
|  | 12.223 | 2.1042e-05
|  | 12.233 | 2.2247e-05
|  | 12.242 | 2.3448e-05
|  | 12.253 | 2.4635e-05
|  | 12.262 | 2.5739e-05
|  | 12.273 | 2.6986e-05
|  | 12.282 | 2.8012e-05
|  | 12.293 | 2.9093e-05
|  | 12.302 | 3.0062e-05
|  | 12.313 | 3.1183e-05
|  | 12.323 | 3.1979e-05
|  | 12.333 | 3.276e-05
|  | 12.342 | 3.3499e-05
|  | 12.353 | 3.4056e-05
|  | 12.362 | 3.4548e-05
|  | 12.373 | 3.4957e-05
|  | 12.382 | 3.5283e-05
|  | 12.393 | 3.5611e-05
|  | 12.402 | 3.5835e-05
|  | 12.413 | 3.6085e-05
|  | 12.422 | 3.6274e-05
|  | 12.433 | 3.6429e-05
|  | 12.442 | 3.6534e-05
|  | 12.452 | 3.6605e-05
|  | 12.463 | 3.6634e-05
|  | 12.472 | 3.648e-05
|  | 12.483 | 3.638e-05
|  | 12.492 | 3.6255e-05
|  | 12.503 | 3.6063e-05
|  | 12.513 | 3.5731e-05
|  | 12.522 | 3.5525e-05
|  | 12.533 | 3.5287e-05
|  | 12.542 | 3.5012e-05
|  | 12.552 | 3.4789e-05
|  | 12.563 | 3.4548e-05
|  | 12.572 | 3.4306e-05
|  | 12.583 | 3.4062e-05
|  | 12.593 | 3.3775e-05
|  | 12.602 | 3.3523e-05
|  | 12.613 | 3.3295e-05
|  | 12.622 | 3.305e-05
|  | 12.632 | 3.2774e-05
|  | 12.643 | 3.2545e-05
|  | 12.653 | 3.2257e-05
|  | 12.662 | 3.1986e-05
|  | 12.672 | 3.1686e-05
|  | 12.683 | 3.1335e-05
|  | 12.692 | 3.1005e-05
|  | 12.702 | 3.0652e-05
|  | 12.713 | 3.018e-05
|  | 12.722 | 2.978e-05
|  | 12.732 | 2.9386e-05
|  | 12.742 | 2.8998e-05
|  | 12.753 | 2.8565e-05
|  | 12.762 | 2.8228e-05
|  | 12.772 | 2.7919e-05
|  | 12.782 | 2.7659e-05
|  | 12.793 | 2.7381e-05
|  | 12.802 | 2.7146e-05
|  | 12.812 | 2.6942e-05
|  | 12.822 | 2.6696e-05
|  | 12.832 | 2.6436e-05
|  | 12.843 | 2.616e-05
|  | 12.852 | 2.593e-05
|  | 12.862 | 2.5624e-05
|  | 12.872 | 2.5327e-05
|  | 12.882 | 2.5037e-05
|  | 12.892 | 2.4774e-05
|  | 12.902 | 2.4515e-05
|  | 12.912 | 2.4266e-05
|  | 12.922 | 2.4044e-05
|  | 12.932 | 2.3829e-05
|  | 12.942 | 2.3602e-05
|  | 12.952 | 2.3419e-05
|  | 12.962 | 2.3206e-05
|  | 12.972 | 2.303e-05
|  | 12.982 | 2.2867e-05
|  | 12.992 | 2.2673e-05
|  | 13.002 | 2.2503e-05
|  | 13.012 | 2.2338e-05
|  | 13.022 | 2.2217e-05
|  | 13.032 | 2.2065e-05
|  | 13.042 | 2.1937e-05
|  | 13.052 | 2.1815e-05
|  | 13.062 | 2.168e-05
|  | 13.072 | 2.1533e-05
|  | 13.082 | 2.1382e-05
|  | 13.092 | 2.1228e-05
|  | 13.102 | 2.1062e-05
|  | 13.112 | 2.0901e-05
|  | 13.122 | 2.0713e-05
|  | 13.132 | 2.0545e-05
|  | 13.142 | 2.0399e-05
|  | 13.152 | 2.0223e-05
|  | 13.162 | 2.0087e-05
|  | 13.172 | 1.9952e-05
|  | 13.182 | 1.982e-05
|  | 13.192 | 1.9692e-05
|  | 13.202 | 1.9566e-05
|  | 13.212 | 1.9461e-05
|  | 13.222 | 1.934e-05
|  | 13.232 | 1.9237e-05
|  | 13.242 | 1.9151e-05
|  | 13.252 | 1.9046e-05
|  | 13.262 | 1.8963e-05
|  | 13.272 | 1.8865e-05
|  | 13.282 | 1.8784e-05
|  | 13.292 | 1.8718e-05
|  | 13.302 | 1.8637e-05
|  | 13.312 | 1.8555e-05
|  | 13.322 | 1.8534e-05
|  | 13.332 | 1.848e-05
|  | 13.342 | 1.8442e-05
|  | 13.352 | 1.8387e-05
|  | 13.362 | 1.8399e-05
|  | 13.372 | 1.8371e-05
|  | 13.382 | 1.8324e-05
|  | 13.392 | 1.8263e-05
|  | 13.402 | 1.8169e-05
|  | 13.412 | 1.8089e-05
|  | 13.422 | 1.7914e-05
|  | 13.432 | 1.7756e-05
|  | 13.442 | 1.7611e-05
|  | 13.452 | 1.7451e-05
|  | 13.462 | 1.726e-05
|  | 13.472 | 1.7103e-05
|  | 13.482 | 1.6949e-05
|  | 13.492 | 1.6846e-05
|  | 13.502 | 1.6726e-05
|  | 13.512 | 1.6616e-05
|  | 13.522 | 1.6533e-05
|  | 13.532 | 1.6441e-05
|  | 13.542 | 1.6332e-05
|  | 13.551 | 1.6232e-05
|  | 13.562 | 1.6129e-05
|  | 13.572 | 1.6006e-05
|  | 13.582 | 1.5866e-05
|  | 13.592 | 1.5736e-05
|  | 13.602 | 1.5585e-05
|  | 13.612 | 1.5431e-05
|  | 13.621 | 1.5272e-05
|  | 13.632 | 1.511e-05
|  | 13.642 | 1.4954e-05
|  | 13.651 | 1.4782e-05
|  | 13.662 | 1.4593e-05
|  | 13.672 | 1.4388e-05
|  | 13.682 | 1.4155e-05
|  | 13.692 | 1.3909e-05
|  | 13.701 | 1.3629e-05
|  | 13.712 | 1.3324e-05
|  | 13.722 | 1.3042e-05
|  | 13.731 | 1.2657e-05
|  | 13.742 | 1.2323e-05
|  | 13.751 | 1.2014e-05
|  | 13.762 | 1.1592e-05
|  | 13.772 | 1.1333e-05
|  | 13.782 | 1.106e-05
|  | 13.792 | 1.0801e-05
|  | 13.801 | 1.0519e-05
|  | 13.812 | 1.0304e-05
|  | 13.821 | 1.0102e-05
|  | 13.832 | 9.9015e-06
|  | 13.841 | 9.7041e-06
|  | 13.852 | 9.4975e-06
|  | 13.861 | 9.337e-06
|  | 13.872 | 9.1233e-06
|  | 13.881 | 8.9096e-06
|  | 13.892 | 8.6775e-06
|  | 13.901 | 8.4761e-06
|  | 13.912 | 8.2393e-06
|  | 13.921 | 7.9992e-06
|  | 13.932 | 7.7431e-06
|  | 13.941 | 7.5046e-06
|  | 13.951 | 7.2537e-06
|  | 13.962 | 7.0065e-06
|  | 13.971 | 6.7757e-06
|  | 13.982 | 6.5311e-06
|  | 13.991 | 6.3124e-06
|  | 14.001 | 6.11e-06
|  | 14.012 | 5.8841e-06
|  | 14.021 | 5.6784e-06
|  | 14.032 | 5.4775e-06
|  | 14.041 | 5.2739e-06
|  | 14.051 | 5.059e-06
|  | 14.062 | 4.8501e-06
|  | 14.071 | 4.6349e-06
|  | 14.081 | 4.4143e-06
|  | 14.092 | 4.1947e-06
|  | 14.101 | 3.9763e-06
|  | 14.111 | 3.7527e-06
|  | 14.122 | 3.5357e-06
|  | 14.131 | 3.3214e-06
|  | 14.141 | 3.1123e-06
|  | 14.151 | 2.9124e-06
|  | 14.162 | 2.7203e-06
|  | 14.171 | 2.5291e-06
|  | 14.181 | 2.361e-06
|  | 14.191 | 2.1997e-06
|  | 14.202 | 2.0378e-06
|  | 14.211 | 1.8993e-06
|  | 14.221 | 1.7719e-06
|  | 14.231 | 1.6492e-06
|  | 14.241 | 1.5378e-06
|  | 14.251 | 1.431e-06
|  | 14.261 | 1.326e-06
|  | 14.271 | 1.2346e-06
|  | 14.281 | 1.1368e-06
|  | 14.291 | 1.0435e-06
|  | 14.301 | 9.4989e-07
|  | 14.311 | 8.6459e-07
|  | 14.321 | 7.7989e-07
|  | 14.331 | 7.0042e-07
|  | 14.341 | 6.1972e-07
|  | 14.351 | 5.4781e-07
|  | 14.361 | 4.8204e-07
|  | 14.371 | 4.1956e-07
|  | 14.381 | 3.6465e-07
|  | 14.391 | 3.1474e-07
|  | 14.401 | 2.7202e-07
|  | 14.411 | 2.3043e-07
|  | 14.421 | 1.9419e-07
|  | 14.431 | 1.6191e-07
|  | 14.441 | 1.3299e-07
|  | 14.451 | 1.0797e-07
|  | 14.461 | 8.6215e-08
|  | 14.471 | 6.731e-08
|  | 14.481 | 5.1473e-08
|  | 14.491 | 3.8251e-08
|  | 14.501 | 2.7402e-08
|  | 14.511 | 1.8656e-08
|  | 14.521 | 1.1889e-08
|  | 14.531 | 6.8516e-09
|  | 14.541 | 3.3403e-09
|  | 14.551 | 1.1627e-09
|  | 14.561 | 1.365e-10
|  | 14.571 | 1.1297e-10
|  | 14.581 | 9.1883e-10
|  | 14.591 | 2.3668e-09
|  | 14.601 | 4.3068e-09
|  | 14.611 | 6.5814e-09
|  | 14.621 | 9.0716e-09
|  | 14.631 | 1.1654e-08
|  | 14.641 | 1.4178e-08
|  | 14.651 | 1.6634e-08
|  | 14.661 | 1.9036e-08
|  | 14.671 | 2.1029e-08
|  | 14.681 | 2.2659e-08
|  | 14.691 | 2.3973e-08
|  | 14.701 | 2.4972e-08
|  | 14.711 | 2.562e-08
|  | 14.721 | 2.5747e-08
|  | 14.731 | 2.5414e-08
|  | 14.741 | 2.4834e-08
|  | 14.751 | 2.3706e-08
|  | 14.761 | 2.208e-08
|  | 14.771 | 2.0196e-08
|  | 14.781 | 1.8041e-08
|  | 14.791 | 1.5599e-08
|  | 14.801 | 1.2877e-08
|  | 14.811 | 1.0294e-08
|  | 14.821 | 7.7226e-09
|  | 14.831 | 5.213e-09
|  | 14.841 | 3.1579e-09
|  | 14.851 | 1.5243e-09
|  | 14.861 | 3.9004e-10
|  | 14.871 | 2.1928e-13
|  | 14.881 | 3.9104e-10
|  | 14.891 | 1.7826e-09
|  | 14.901 | 4.1369e-09
|  | 14.911 | 7.5918e-09
|  | 14.921 | 1.2585e-08
|  | 14.931 | 1.8646e-08
|  | 14.941 | 2.6579e-08
|  | 14.951 | 3.5297e-08
|  | 14.96 | 4.5568e-08
|  | 14.971 | 5.805e-08
|  | 14.981 | 7.0934e-08
|  | 14.991 | 8.6362e-08
|  | 15.001 | 1.0231e-07
|  | 15.011 | 1.2065e-07
|  | 15.021 | 1.3816e-07
|  | 15.031 | 1.5973e-07
|  | 15.041 | 1.8195e-07
|  | 15.051 | 2.07e-07
|  | 15.06 | 2.3165e-07
|  | 15.071 | 2.5875e-07
|  | 15.08 | 2.9057e-07
|  | 15.091 | 3.2245e-07
|  | 15.101 | 3.552e-07
|  | 15.111 | 3.8687e-07
|  | 15.121 | 4.2393e-07
|  | 15.13 | 4.5542e-07
|  | 15.141 | 4.8789e-07
|  | 15.151 | 5.2381e-07
|  | 15.161 | 5.5042e-07
|  | 15.171 | 5.7514e-07
|  | 15.18 | 5.9599e-07
|  | 15.191 | 6.1671e-07
|  | 15.201 | 6.3122e-07
|  | 15.21 | 6.3674e-07
|  | 15.22 | 6.3571e-07
|  | 15.231 | 6.3142e-07
|  | 15.241 | 6.2153e-07
|  | 15.25 | 6.0143e-07
|  | 15.261 | 5.7782e-07
|  | 15.271 | 5.486e-07
|  | 15.281 | 5.1396e-07
|  | 15.29 | 4.7336e-07
|  | 15.3 | 4.3061e-07
|  | 15.311 | 3.8373e-07
|  | 15.321 | 3.3176e-07
|  | 15.33 | 2.8238e-07
|  | 15.34 | 2.3024e-07
|  | 15.35 | 1.7859e-07
|  | 15.36 | 1.2863e-07
|  | 15.371 | 8.2879e-08
|  | 15.381 | 4.4081e-08
|  | 15.391 | 1.5624e-08
|  | 15.4 | 1.3636e-09
|  | 15.41 | 4.1727e-09
|  | 15.42 | 3.0749e-08
|  | 15.43 | 8.7241e-08
|  | 15.44 | 1.8077e-07
|  | 15.45 | 3.1941e-07
|  | 15.46 | 5.1483e-07
|  | 15.47 | 7.7391e-07
|  | 15.48 | 1.1102e-06
|  | 15.49 | 1.5444e-06
|  | 15.5 | 2.0789e-06
|  | 15.51 | 2.7365e-06
|  | 15.52 | 3.5468e-06
|  | 15.53 | 4.5046e-06
|  | 15.54 | 5.6468e-06
|  | 15.55 | 6.9928e-06
|  | 15.56 | 8.601e-06
|  | 15.57 | 1.0433e-05
|  | 15.58 | 1.2547e-05
|  | 15.59 | 1.4993e-05
|  | 15.6 | 1.7787e-05
|  | 15.61 | 2.0979e-05
|  | 15.621 | 2.4805e-05
|  | 15.63 | 2.8903e-05
|  | 15.64 | 3.3554e-05
|  | 15.65 | 3.876e-05
|  | 15.66 | 4.4636e-05
|  | 15.67 | 5.1177e-05
|  | 15.68 | 5.8958e-05
|  | 15.69 | 6.7146e-05
|  | 15.7 | 7.6245e-05
|  | 15.71 | 8.6405e-05
|  | 15.72 | 9.7661e-05
|  | 15.73 | 0.00011075
|  | 15.74 | 0.00012446
|  | 15.75 | 0.00013967
|  | 15.76 | 0.00015626
|  | 15.77 | 0.00017569
|  | 15.78 | 0.00019577
|  | 15.79 | 0.00021775
|  | 15.8 | 0.00024297
|  | 15.81 | 0.00026906
|  | 15.82 | 0.00029726
|  | 15.83 | 0.00032942
|  | 15.84 | 0.00036289
|  | 15.85 | 0.00040085
|  | 15.86 | 0.00043773
|  | 15.87 | 0.00047927
|  | 15.88 | 0.00052678
|  | 15.89 | 0.00057527
|  | 15.9 | 0.00062888
|  | 15.91 | 0.00068565
|  | 15.92 | 0.00075035
|  | 15.93 | 0.00081366
|  | 15.94 | 0.00088916
|  | 15.95 | 0.00096906
|  | 15.96 | 0.0010609
|  | 15.97 | 0.0011538
|  | 15.98 | 0.0012595
|  | 15.99 | 0.0013673
|  | 16 | 0.0014991