## Unpolarized Data
Unpolarized Transmission of 1 mm Thick Infrasil® Windows
|  | Wavelength (nm) | % Transmission (Unpol.)
|  | 200 | 77.2973
|  | 205 | 79.3813
|  | 210 | 82.7887
|  | 215 | 86.3003
Product Raw Data |  | 220 | 88.8041
Unpolarized Transmission of 1 mm Thick Infrasil® Windows |  | 225 | 89.7034
|  | 230 | 89.2956
Item # | UDP05, UDP10 | 235 | 88.231
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 240 | 87.5913
|  | 245 | 88.3068
|  | 250 | 90.2098
|  | 255 | 92.0818
|  | 260 | 93.3498
|  | 265 | 93.9511
This data may be used in publications. However, please cite Thorlabs as the source. |  | 270 | 94.2151
|  | 275 | 94.3068
|  | 280 | 94.38
Additional Information: |  | 285 | 94.4275
Measured at normal incidence. The substrate thickness was 1 mm. See the other tab below for polarized data from 500 - 1600 nm. |  | 290 | 94.4866
|  | 295 | 94.5239
|  | 300 | 94.5812
|  | 305 | 94.5964
|  | 310 | 94.634
|  | 315 | 93.0944
|  | 320 | 93.1457
|  | 325 | 93.1709
|  | 330 | 93.2009
|  | 335 | 93.2394
|  | 340 | 93.2602
|  | 345 | 93.2792
|  | 350 | 93.3121
|  | 355 | 93.3247
|  | 360 | 93.3453
|  | 365 | 93.3642
|  | 370 | 93.3784
|  | 375 | 93.4137
|  | 380 | 93.4326
|  | 385 | 93.4503
|  | 390 | 93.4434
|  | 395 | 93.4707
|  | 400 | 93.4637
|  | 405 | 93.5068
|  | 410 | 93.5011
|  | 415 | 93.5245
|  | 420 | 93.5384
|  | 425 | 93.5378
|  | 430 | 93.5543
|  | 435 | 93.5641
|  | 440 | 93.5655
|  | 445 | 93.5833
|  | 450 | 93.5875
|  | 455 | 93.6071
|  | 460 | 93.611
|  | 465 | 93.6179
|  | 470 | 93.61
|  | 475 | 93.6355
|  | 480 | 93.6243
|  | 485 | 93.6414
|  | 490 | 93.6442
|  | 495 | 93.6554
|  | 500 | 93.6582
|  | 505 | 93.6669
|  | 510 | 93.6504
|  | 515 | 93.689
|  | 520 | 93.682
|  | 525 | 93.6963
|  | 530 | 93.6999
|  | 535 | 93.6975
|  | 540 | 93.7071
|  | 545 | 93.7045
|  | 550 | 93.706
|  | 555 | 93.7218
|  | 560 | 93.7132
|  | 565 | 93.7135
|  | 570 | 93.7144
|  | 575 | 93.7285
|  | 580 | 93.7168
|  | 585 | 93.7336
|  | 590 | 93.7213
|  | 595 | 93.7294
|  | 600 | 93.7377
|  | 605 | 93.7512
|  | 610 | 93.7414
|  | 615 | 93.7598
|  | 620 | 93.7514
|  | 625 | 93.7546
|  | 630 | 93.7432
|  | 635 | 93.7746
|  | 640 | 93.7524
|  | 645 | 93.757
|  | 650 | 93.7629
|  | 655 | 93.7696
|  | 660 | 93.7793
|  | 665 | 93.7874
|  | 670 | 93.7823
|  | 675 | 93.7727
|  | 680 | 93.779
|  | 685 | 93.8002
|  | 690 | 93.7819
|  | 695 | 93.7895
|  | 700 | 93.7964
|  | 705 | 93.8033
|  | 710 | 93.81
|  | 715 | 93.7938
|  | 720 | 93.8293
|  | 725 | 93.8082
|  | 730 | 93.825
|  | 735 | 93.8222
|  | 740 | 93.8213
|  | 745 | 93.842
|  | 750 | 93.8398
|  | 755 | 93.8367
|  | 760 | 93.8373
|  | 765 | 93.8402
|  | 770 | 93.8559
|  | 775 | 93.857
|  | 780 | 93.8605
|  | 785 | 93.8743
|  | 790 | 93.8775
|  | 795 | 93.8838
|  | 800 | 93.8845
|  | 805 | 93.8989
|  | 810 | 93.8997
|  | 815 | 93.9173
|  | 820 | 93.9189
|  | 825 | 93.9458
|  | 830 | 93.9803
|  | 835 | 93.9725
|  | 840 | 93.9989
|  | 845 | 93.968
|  | 850 | 93.9496
|  | 855 | 93.9772
|  | 860 | 94.2757
|  | 865 | 94.2566
|  | 870 | 94.2218
|  | 875 | 94.1944
|  | 880 | 94.1423
|  | 885 | 94.094
|  | 890 | 94.08
|  | 895 | 94.055
|  | 900 | 94.0093
|  | 905 | 94.0215
|  | 910 | 94.0383
|  | 915 | 94.0428
|  | 920 | 94.0435
|  | 925 | 94.0359
|  | 930 | 94.0674
|  | 935 | 94.0602
|  | 940 | 94.0806
|  | 945 | 94.1089
|  | 950 | 94.1106
|  | 955 | 94.1198
|  | 960 | 94.1297
|  | 965 | 94.136
|  | 970 | 94.1688
|  | 975 | 94.1726
|  | 980 | 94.1836
|  | 985 | 94.1922
|  | 990 | 94.2034
|  | 995 | 94.1891
|  | 1000 | 94.1782
|  | 1005 | 94.1942
|  | 1010 | 94.2073
|  | 1015 | 94.1959
|  | 1020 | 94.2109
|  | 1025 | 94.2027
|  | 1030 | 94.1948
|  | 1035 | 94.2072
|  | 1040 | 94.2114
|  | 1045 | 94.228
|  | 1050 | 94.2113
|  | 1055 | 94.2164
|  | 1060 | 94.2018
|  | 1065 | 94.2072
|  | 1070 | 94.2234
|  | 1075 | 94.229
|  | 1080 | 94.2032
|  | 1085 | 94.214
|  | 1090 | 94.2211
|  | 1095 | 94.2269
|  | 1100 | 94.2376
|  | 1105 | 94.2063
|  | 1110 | 94.2072
|  | 1115 | 94.2313
|  | 1120 | 94.2498
|  | 1125 | 94.2277
|  | 1130 | 94.2236
|  | 1135 | 94.235
|  | 1140 | 94.2452
|  | 1145 | 94.2391
|  | 1150 | 94.2413
|  | 1155 | 94.2569
|  | 1160 | 94.2541
|  | 1165 | 94.2662
|  | 1170 | 94.2628
|  | 1175 | 94.247
|  | 1180 | 94.2392
|  | 1185 | 94.2702
|  | 1190 | 94.2697
|  | 1195 | 94.2617
|  | 1200 | 94.2972
|  | 1205 | 94.2826
|  | 1210 | 94.2634
|  | 1215 | 94.2714
|  | 1220 | 94.2889
|  | 1225 | 94.2945
|  | 1230 | 94.2755
|  | 1235 | 94.264
|  | 1240 | 94.2991
|  | 1245 | 94.3166
|  | 1250 | 94.2959
|  | 1255 | 94.3237
|  | 1260 | 94.3254
|  | 1265 | 94.2982
|  | 1270 | 94.3253
|  | 1275 | 94.3221
|  | 1280 | 94.3106
|  | 1285 | 94.3358
|  | 1290 | 94.3343
|  | 1295 | 94.3477
|  | 1300 | 94.3395
|  | 1305 | 94.3264
|  | 1310 | 94.3489
|  | 1315 | 94.3402
|  | 1320 | 94.3657
|  | 1325 | 94.3528
|  | 1330 | 94.3703
|  | 1335 | 94.3459
|  | 1340 | 94.3651
|  | 1345 | 94.3473
|  | 1350 | 94.3378
|  | 1355 | 94.3167
|  | 1360 | 94.3372
|  | 1365 | 94.3465
|  | 1370 | 94.3253
|  | 1375 | 94.3347
|  | 1380 | 94.3063
|  | 1385 | 94.3072
|  | 1390 | 94.3316
|  | 1395 | 94.321
|  | 1400 | 94.3904
|  | 1405 | 94.3839
|  | 1410 | 94.3457
|  | 1415 | 94.3663
|  | 1420 | 94.3371
|  | 1425 | 94.3264
|  | 1430 | 94.3613
|  | 1435 | 94.378
|  | 1440 | 94.3369
|  | 1445 | 94.3373
|  | 1450 | 94.3596
|  | 1455 | 94.357
|  | 1460 | 94.3331
|  | 1465 | 94.3342
|  | 1470 | 94.3638
|  | 1475 | 94.3735
|  | 1480 | 94.3484
|  | 1485 | 94.32
|  | 1490 | 94.3274
|  | 1495 | 94.3509
|  | 1500 | 94.3651
|  | 1505 | 94.3481
|  | 1510 | 94.3167
|  | 1515 | 94.289
|  | 1520 | 94.296
|  | 1525 | 94.3205
|  | 1530 | 94.3307
|  | 1535 | 94.3321
|  | 1540 | 94.3274
|  | 1545 | 94.3245
|  | 1550 | 94.3014
|  | 1555 | 94.277
|  | 1560 | 94.2722
|  | 1565 | 94.2594
|  | 1570 | 94.2414
|  | 1575 | 94.2556
|  | 1580 | 94.2683
|  | 1585 | 94.2874
|  | 1590 | 94.3066
|  | 1595 | 94.3134
|  | 1600 | 94.3221
|  | 1605 | 94.3251
|  | 1610 | 94.3266
|  | 1615 | 94.3193
|  | 1620 | 94.3063
|  | 1625 | 94.3126
|  | 1630 | 94.3155
|  | 1635 | 94.3111
|  | 1640 | 94.3141
|  | 1645 | 94.3024
|  | 1650 | 94.2931
|  | 1655 | 94.2934
|  | 1660 | 94.2838
|  | 1665 | 94.2478
|  | 1670 | 94.2134
|  | 1675 | 94.2119
|  | 1680 | 94.1971
|  | 1685 | 94.1826
|  | 1690 | 94.2148
|  | 1695 | 94.2394
|  | 1700 | 94.2474
|  | 1705 | 94.255
|  | 1710 | 94.2588
|  | 1715 | 94.2819
|  | 1720 | 94.2805
|  | 1725 | 94.2412
|  | 1730 | 94.2142
|  | 1735 | 94.2137
|  | 1740 | 94.2381
|  | 1745 | 94.2729
|  | 1750 | 94.2894
|  | 1755 | 94.297
|  | 1760 | 94.2677
|  | 1765 | 94.2251
|  | 1770 | 94.2119
|  | 1775 | 94.2381
|  | 1780 | 94.3117
|  | 1785 | 94.3436
|  | 1790 | 94.3023
|  | 1795 | 94.2683
|  | 1800 | 94.2439
|  | 1805 | 94.2528
|  | 1810 | 94.2927
|  | 1815 | 94.3214
|  | 1820 | 94.2584
|  | 1825 | 94.2192
|  | 1830 | 94.2945
|  | 1835 | 94.3467
|  | 1840 | 94.2934
|  | 1845 | 94.2718
|  | 1850 | 94.2765
|  | 1855 | 94.2928
|  | 1860 | 94.3212
|  | 1865 | 94.3292
|  | 1870 | 94.2731
|  | 1875 | 94.2992
|  | 1880 | 94.3611
|  | 1885 | 94.3323
|  | 1890 | 94.3311
|  | 1895 | 94.4085
|  | 1900 | 94.3921
|  | 1905 | 94.3539
|  | 1910 | 94.417
|  | 1915 | 94.4643
|  | 1920 | 94.3979
|  | 1925 | 94.3509
|  | 1930 | 94.3881
|  | 1935 | 94.3699
|  | 1940 | 94.2989
|  | 1945 | 94.3162
|  | 1950 | 94.377
|  | 1955 | 94.3331
|  | 1960 | 94.3433
|  | 1965 | 94.4306
|  | 1970 | 94.3689
|  | 1975 | 94.3584
|  | 1980 | 94.4446
|  | 1985 | 94.4023
|  | 1990 | 94.3677
|  | 1995 | 94.4525
|  | 2000.0658 | 94.6699
|  | 2004.8635 | 94.613
|  | 2009.9427 | 94.8377
|  | 2015.021 | 95.1498
|  | 2020.0986 | 94.9197
|  | 2024.8933 | 94.5839
|  | 2029.9693 | 94.8832
|  | 2035.0445 | 94.7075
|  | 2039.837 | 94.9997
|  | 2044.9106 | 94.8366
|  | 2049.9835 | 94.821
|  | 2054.7737 | 94.6042
|  | 2059.845 | 94.7612
|  | 2064.9154 | 94.6712
|  | 2069.985 | 94.763
|  | 2074.7723 | 94.6448
|  | 2079.8403 | 94.5483
|  | 2084.9075 | 94.661
|  | 2089.9739 | 94.5554
|  | 2094.7581 | 94.7735
|  | 2099.8228 | 94.8709
|  | 2104.8868 | 94.668
|  | 2109.9499 | 94.7991
|  | 2114.731 | 94.6037
|  | 2119.7925 | 94.6332
|  | 2124.8531 | 94.8815
|  | 2129.913 | 94.8949
|  | 2134.6909 | 94.2831
|  | 2139.7491 | 94.5514
|  | 2144.8064 | 94.7684
|  | 2149.8629 | 94.5227
|  | 2154.6377 | 94.8449
|  | 2159.6926 | 94.8916
|  | 2164.7466 | 94.5713
|  | 2169.7997 | 94.3205
|  | 2174.5713 | 94.5896
|  | 2179.6228 | 94.9707
|  | 2184.6734 | 94.6446
|  | 2189.7232 | 95.0022
|  | 2194.772 | 94.8402
|  | 2199.5396 | 94.777
|  | 2204.5868 | 94.702
|  | 2209.6331 | 94.8059
|  | 2214.6786 | 95.0415
|  | 2219.7232 | 94.6416
|  | 2224.4867 | 94.9383
|  | 2229.5296 | 94.3309
|  | 2234.5716 | 94.4198
|  | 2239.6127 | 94.775
|  | 2244.6529 | 94.4058
|  | 2249.6922 | 94.6054
|  | 2254.4508 | 94.606
|  | 2259.4884 | 95.0149
|  | 2264.5251 | 94.7604
|  | 2269.561 | 94.4195
|  | 2274.5959 | 94.4147
|  | 2279.6299 | 94.7448
|  | 2284.663 | 94.7427
|  | 2289.4157 | 94.7322
|  | 2294.4471 | 94.6408
|  | 2299.4776 | 94.7561
|  | 2304.5071 | 94.8429
|  | 2309.5358 | 94.6545
|  | 2314.5635 | 94.6924
|  | 2319.5904 | 94.81
|  | 2324.3371 | 94.7036
|  | 2329.3621 | 94.5231
|  | 2334.3862 | 94.9162
|  | 2339.4094 | 94.6317
|  | 2344.4317 | 94.7083
|  | 2349.4531 | 94.4256
|  | 2354.4735 | 94.7365
|  | 2359.493 | 94.6967
|  | 2364.5116 | 94.7533
|  | 2369.2505 | 94.7337
|  | 2374.2672 | 94.6434
|  | 2379.283 | 94.3814
|  | 2384.2979 | 94.7135
|  | 2389.3118 | 94.4861
|  | 2394.3248 | 94.8736
|  | 2399.3368 | 94.5434
|  | 2404.3479 | 94.7979
|  | 2409.3581 | 94.2855
|  | 2414.3673 | 94.658
|  | 2419.3755 | 94.7053
|  | 2424.3828 | 94.7697
|  | 2429.3891 | 94.493
|  | 2434.3945 | 94.69
|  | 2439.3989 | 94.7584
|  | 2444.1244 | 94.6487
|  | 2449.127 | 95.1145
|  | 2454.1285 | 94.6614
|  | 2459.1291 | 94.7482
|  | 2464.1287 | 94.7545
|  | 2469.1274 | 94.7062
|  | 2474.1251 | 94.4215
|  | 2479.1218 | 94.7787
|  | 2484.1175 | 94.7179
|  | 2489.1123 | 94.7021
|  | 2494.106 | 94.4373
|  | 2499.0988 | 94.9331
|  | 2504.0906 | 94.8035
|  | 2509.0814 | 95.0129
|  | 2514.0712 | 94.613
|  | 2519.06 | 94.8179
|  | 2524.0478 | 94.3966
|  | 2529.0347 | 94.6226
|  | 2534.0205 | 94.9949
|  | 2539.0053 | 94.8468
|  | 2543.9891 | 94.7646
|  | 2548.972 | 94.612
|  | 2553.9538 | 94.5602
|  | 2558.9346 | 94.6622
|  | 2564.191 | 94.7408
|  | 2569.1697 | 94.52
|  | 2574.1475 | 94.8087
|  | 2579.1242 | 94.4644
|  | 2584.0998 | 94.5107
|  | 2589.0745 | 94.6522
|  | 2594.0481 | 94.5057
|  | 2599.0207 | 94.7277
|  | 2603.9923 | 94.4266
|  | 2608.9629 | 94.8577
|  | 2613.9324 | 94.8738
|  | 2618.9009 | 94.8739
|  | 2623.8684 | 94.6348
|  | 2628.8348 | 94.3263
|  | 2634.076 | 94.7142
|  | 2639.0403 | 94.898
|  | 2644.0036 | 94.7263
|  | 2648.9658 | 94.9493
|  | 2653.9269 | 94.5032
|  | 2658.887 | 94.7203
|  | 2663.8461 | 94.7108
|  | 2668.8041 | 94.1027
|  | 2673.7611 | 94.4582
|  | 2678.9923 | 94.5647
|  | 2683.9471 | 94.5939
|  | 2688.9008 | 94.2487
|  | 2693.8535 | 94.4149
|  | 2698.8051 | 94.1946
|  | 2703.7556 | 94.2526
|  | 2708.7051 | 93.5869
|  | 2713.9283 | 93.9919
|  | 2718.8756 | 94.1502
|  | 2723.8218 | 93.8005
|  | 2728.7669 | 93.6895
|  | 2733.711 | 93.6827
|  | 2738.6539 | 93.5545
|  | 2743.8703 | 93.7435
|  | 2748.8111 | 93.4971
|  | 2753.7507 | 94.114
|  | 2758.6893 | 94.1254
|  | 2763.6268 | 94.0464
|  | 2768.8374 | 93.8848
|  | 2773.7726 | 93.3823
|  | 2778.7067 | 94.1266
|  | 2783.6398 | 93.8475
|  | 2788.5717 | 94
|  | 2793.7765 | 93.8321
|  | 2798.7061 | 93.9076
|  | 2803.6347 | 93.8601
|  | 2808.5622 | 94.0479
|  | 2813.7622 | 94.0105
|  | 2818.6874 | 94.1557
|  | 2823.6115 | 93.8298
|  | 2828.5344 | 93.8798
|  | 2833.7297 | 94.0907
|  | 2838.6503 | 93.9614
|  | 2843.5698 | 94.0674
|  | 2848.4883 | 93.9333
|  | 2853.6787 | 94.096
|  | 2858.5948 | 93.8419
|  | 2863.5098 | 93.8939
|  | 2868.4236 | 93.7691
|  | 2873.6092 | 93.8252
|  | 2878.5207 | 93.7865
|  | 2883.4311 | 93.9028
|  | 2888.6131 | 93.7441
|  | 2893.5211 | 93.7695
|  | 2898.428 | 93.8007
|  | 2903.6062 | 93.5278
|  | 2908.5108 | 93.7376
|  | 2913.4142 | 93.8669
|  | 2918.5887 | 93.8332
|  | 2923.4897 | 93.7735
|  | 2928.3896 | 93.7363
|  | 2933.5604 | 93.8666
|  | 2938.4579 | 93.9972
|  | 2943.3543 | 93.7512
|  | 2948.5214 | 93.6541
|  | 2953.4153 | 93.2952
|  | 2958.3081 | 93.6635
|  | 2963.4714 | 93.381
|  | 2968.3618 | 93.5772
|  | 2973.251 | 93.6385
|  | 2978.4105 | 93.533
|  | 2983.2973 | 93.41
|  | 2988.4543 | 93.5585
|  | 2993.3387 | 93.7392
|  | 2998.2218 | 93.4056
|  | 3003.375 | 93.3217
|  | 3008.2558 | 93.8723
|  | 3013.4064 | 93.3107
|  | 3018.2847 | 93.5853
|  | 3023.1618 | 93.2422
|  | 3028.3086 | 93.3708
|  | 3033.1832 | 93.1143
|  | 3038.3274 | 93.6663
|  | 3043.1996 | 93.5284
|  | 3048.3411 | 93.4097
|  | 3053.2109 | 93.456
|  | 3058.3498 | 93.2736
|  | 3063.217 | 93.5757
|  | 3068.3534 | 93.5706
|  | 3073.2181 | 93.4603
|  | 3078.0817 | 93.4549
|  | 3083.2141 | 93.5673
|  | 3088.0751 | 93.3075
|  | 3093.2049 | 93.3322
|  | 3098.0634 | 93.4381
|  | 3103.1906 | 93.8099
|  | 3108.0466 | 93.3166
|  | 3113.171 | 93.0665
|  | 3118.0245 | 93.5113
|  | 3123.1463 | 93.4042
|  | 3127.9973 | 93.7536
|  | 3133.1164 | 93.517
|  | 3138.2341 | 93.644
|  | 3143.0812 | 93.6654
|  | 3148.1963 | 93.2063
|  | 3153.0408 | 93.4107
|  | 3158.1532 | 93.501
|  | 3162.9952 | 93.2608
|  | 3168.1048 | 93.3687
|  | 3172.9443 | 93.2545
|  | 3178.0512 | 93.432
|  | 3183.1567 | 92.9736
|  | 3187.9922 | 93.8857
|  | 3193.095 | 93.7092
|  | 3197.928 | 93.466
|  | 3203.028 | 93.4062
|  | 3207.8584 | 93.655
|  | 3212.9557 | 93.7543
|  | 3218.0516 | 93.6526
|  | 3222.878 | 93.3808
|  | 3227.9711 | 93.6627
|  | 3233.0628 | 93.3737
|  | 3237.8853 | 93.505
|  | 3242.9742 | 93.6181
|  | 3247.794 | 93.7172
|  | 3252.8802 | 93.7858
|  | 3257.9649 | 93.7848
|  | 3262.7807 | 93.2874
|  | 3267.8627 | 93.7326
|  | 3272.9432 | 93.6491
|  | 3277.755 | 93.7467
|  | 3282.8327 | 93.8592
|  | 3287.909 | 93.6067
|  | 3292.7167 | 93.7613
|  | 3297.7902 | 93.6705
|  | 3302.8621 | 93.7434
|  | 3307.9327 | 93.4375
|  | 3312.735 | 93.4158
|  | 3317.8027 | 93.9796
|  | 3322.869 | 93.7397
|  | 3327.6672 | 93.6522
|  | 3332.7306 | 93.9858
|  | 3337.7925 | 93.7589
|  | 3342.853 | 93.7181
|  | 3347.6458 | 93.824
|  | 3352.7034 | 93.2183
|  | 3357.7595 | 93.6267
|  | 3362.8141 | 93.5968
|  | 3367.6014 | 93.7308
|  | 3372.6531 | 93.6608
|  | 3377.7034 | 93.8137
|  | 3382.7522 | 93.7095
|  | 3387.7995 | 93.4503
|  | 3392.5798 | 93.4294
|  | 3397.6242 | 93.3728
|  | 3402.6671 | 93.2767
|  | 3407.7085 | 93.5793
|  | 3412.7484 | 93.4403
|  | 3417.5217 | 93.5586
|  | 3422.5587 | 92.4322
|  | 3427.5942 | 92.7601
|  | 3432.6281 | 93.1162
|  | 3437.6606 | 92.9545
|  | 3442.6916 | 92.9681
|  | 3447.4563 | 92.8725
|  | 3452.4843 | 92.5273
|  | 3457.5108 | 92.5753
|  | 3462.5358 | 92.4326
|  | 3467.5592 | 92.4389
|  | 3472.5811 | 92.1291
|  | 3477.6015 | 91.8843
|  | 3482.6204 | 91.8184
|  | 3487.6377 | 91.7164
|  | 3492.3895 | 92.053
|  | 3497.4039 | 90.8709
|  | 3502.4167 | 90.7384
|  | 3507.4279 | 90.6382
|  | 3512.4376 | 90.5884
|  | 3517.4458 | 90.8274
|  | 3522.4524 | 90.0225
|  | 3527.4575 | 90.2193
|  | 3532.461 | 89.5397
|  | 3537.463 | 89.543
|  | 3542.4634 | 88.9724
|  | 3547.4622 | 89.0452
|  | 3552.4595 | 88.8327
|  | 3557.4552 | 88.3882
|  | 3562.4494 | 88.4623
|  | 3567.442 | 88.1431
|  | 3572.433 | 88.0853
|  | 3577.4225 | 87.9565
|  | 3582.4104 | 87.7933
|  | 3587.3967 | 88.033
|  | 3592.3814 | 87.5146
|  | 3597.3645 | 86.9961
|  | 3602.3461 | 87.1032
|  | 3607.3261 | 86.7064
|  | 3612.3045 | 86.2578
|  | 3617.2813 | 86.0751
|  | 3622.2565 | 86.1303
|  | 3627.2301 | 85.4633
|  | 3632.2021 | 85.3313
|  | 3637.1726 | 85.2783
|  | 3642.1414 | 84.769
|  | 3647.37 | 84.4148
|  | 3652.3356 | 84.6237
|  | 3657.2995 | 83.5301
|  | 3662.2618 | 83.5733
|  | 3667.2225 | 83.2589
|  | 3672.1816 | 82.9244
|  | 3677.1391 | 82.0644
|  | 3682.095 | 81.6242
|  | 3687.3099 | 81.9168
|  | 3692.2624 | 81.1172
|  | 3697.2134 | 81.3494
|  | 3702.1626 | 80.5586
|  | 3707.1103 | 79.6208
|  | 3712.0563 | 79.6498
|  | 3717.2609 | 78.9935
|  | 3722.2036 | 78.5964
|  | 3727.1446 | 77.8741
|  | 3732.084 | 78.2927
|  | 3737.0218 | 78.2804
|  | 3742.2176 | 77.9086
|  | 3747.152 | 77.5766
|  | 3752.0848 | 77.6727
|  | 3757.0158 | 76.8815
|  | 3761.9453 | 77.064
|  | 3767.1323 | 77.4067
|  | 3772.0584 | 77.5076
|  | 3776.9827 | 76.9729
|  | 3781.9055 | 78.0763
|  | 3787.0855 | 77.3273
|  | 3792.0048 | 77.5226
|  | 3796.9224 | 77.3059
|  | 3802.097 | 76.7614
|  | 3807.0112 | 77.4958
|  | 3811.9237 | 77.2164
|  | 3817.093 | 77.5069
|  | 3822.0021 | 77.7782
|  | 3826.9095 | 77.7707
|  | 3832.0733 | 77.8858
|  | 3836.9773 | 77.6753
|  | 3841.8795 | 77.8415
|  | 3847.0379 | 77.4813
|  | 3851.9367 | 77.824
|  | 3856.8338 | 77.1098
|  | 3861.9868 | 77.6064
|  | 3866.8804 | 77.3667
|  | 3871.7723 | 77.0705
|  | 3876.9198 | 77.5701
|  | 3881.8082 | 77.3493
|  | 3886.952 | 77.253
|  | 3891.8369 | 77.8949
|  | 3896.7201 | 76.6911
|  | 3901.8585 | 77.7559
|  | 3906.7381 | 76.9153
|  | 3911.8727 | 76.8754
|  | 3916.7489 | 77.1169
|  | 3921.8798 | 76.9755
|  | 3926.7524 | 77.1534
|  | 3931.8796 | 76.7503
|  | 3936.7486 | 76.31
|  | 3941.872 | 76.8464
|  | 3946.7375 | 77.28
|  | 3951.8572 | 76.2738
|  | 3956.7191 | 76.7238
|  | 3961.8351 | 76.1043
|  | 3966.6934 | 76.7626
|  | 3971.8056 | 75.7951
|  | 3976.6603 | 75.3378
|  | 3981.7687 | 75.9289
|  | 3986.6199 | 76.2428
|  | 3991.7245 | 75.4521
|  | 3996.5721 | 75.2677
|  | 4001.6729 | 74.3581
|  | 4006.7717 | 74.5528
|  | 4011.6138 | 74.4384
|  | 4016.7089 | 73.8782
|  | 4021.5473 | 73.9257
|  | 4026.6386 | 73.4567
|  | 4031.7278 | 73.1904
|  | 4036.5608 | 72.0846
|  | 4041.6462 | 72.4253
|  | 4046.4756 | 72.4964
|  | 4051.5571 | 70.7893
|  | 4056.6367 | 70.1998
|  | 4061.4605 | 70.2731
|  | 4066.5363 | 70.3786
|  | 4071.6101 | 69.6356
|  | 4076.4283 | 69.3792
|  | 4081.4982 | 67.6656
|  | 4086.5661 | 68.3294
|  | 4091.632 | 67.8745
|  | 4096.4428 | 67.32
|  | 4101.5048 | 66.8472
|  | 4106.5648 | 66.2412
|  | 4111.37 | 65.6017
|  | 4116.4261 | 65.0095
|  | 4121.4803 | 64.9063
|  | 4126.5324 | 63.5559
|  | 4131.33 | 64.0326
|  | 4136.3782 | 63.366
|  | 4141.4243 | 63.5834
|  | 4146.4685 | 62.5232
|  | 4151.5106 | 61.6712
|  | 4156.2988 | 62.2582
|  | 4161.3369 | 61.1361
|  | 4166.3731 | 60.979
|  | 4171.4072 | 60.6573
|  | 4176.4393 | 60.5881
|  | 4181.4693 | 60.272
|  | 4186.246 | 59.8175
|  | 4191.2721 | 59.6545
|  | 4196.2961 | 59.9834
|  | 4201.3181 | 57.768
|  | 4206.338 | 58.1749
|  | 4211.3559 | 59.1662
|  | 4216.3718 | 59.8884
|  | 4221.3855 | 57.2975
|  | 4226.3973 | 58.2526
|  | 4231.1565 | 57.016
|  | 4236.1642 | 55.5781
|  | 4241.1698 | 54.4192
|  | 4246.1734 | 54.3244
|  | 4251.1749 | 54.0051
|  | 4256.1743 | 53.4876
|  | 4261.1717 | 52.0652
|  | 4266.167 | 52.962
|  | 4271.1602 | 50.581
|  | 4276.1513 | 52.4382
|  | 4281.1403 | 50.4959
|  | 4286.1273 | 49.0565
|  | 4291.1121 | 48.6745
|  | 4296.0949 | 47.1099
|  | 4301.0756 | 45.2913
|  | 4306.0542 | 45.9803
|  | 4311.0306 | 45.3219
|  | 4316.2537 | 41.7659
|  | 4321.2258 | 42.2113
|  | 4326.1959 | 41.4453
|  | 4331.1639 | 41.3346
|  | 4336.1297 | 39.5277
|  | 4341.0934 | 38.8628
|  | 4346.0551 | 38.0543
|  | 4351.0145 | 36.6016
|  | 4355.9719 | 36.5316
|  | 4361.1749 | 35.3782
|  | 4366.1279 | 35.6692
|  | 4371.0788 | 35.1157
|  | 4376.0276 | 34.0418
|  | 4380.9742 | 33.9154
|  | 4385.9187 | 32.3714
|  | 4391.1081 | 32.9803
|  | 4396.0482 | 31.8681
|  | 4400.9862 | 32.0777
|  | 4405.922 | 31.8743
|  | 4411.1023 | 31.7119
|  | 4416.0337 | 31.5385
|  | 4420.963 | 31.1903
|  | 4425.8901 | 31.0052
|  | 4431.0612 | 31.5103
|  | 4435.9839 | 31.4686
|  | 4440.9044 | 31.5116
|  | 4445.8228 | 31.4681
|  | 4450.9847 | 31.7559
|  | 4455.8987 | 32.3884
|  | 4460.8104 | 32.4251
|  | 4465.9654 | 33.3449
|  | 4470.8727 | 33.4014
|  | 4475.7778 | 34.1712
|  | 4480.9258 | 34.7166
|  | 4485.8264 | 34.9428
|  | 4490.9697 | 35.9413
|  | 4495.8659 | 35.768
|  | 4500.7598 | 35.9078
|  | 4505.8961 | 37.5012
|  | 4510.7856 | 37.8319
|  | 4515.9171 | 38.1743
|  | 4520.8021 | 37.8243
|  | 4525.6848 | 39.1754
|  | 4530.8093 | 39.2292
|  | 4535.6875 | 39.7292
|  | 4540.8073 | 40.0968
|  | 4545.681 | 40.0154
|  | 4550.7959 | 40.0491
|  | 4555.6651 | 40.5517
|  | 4560.7753 | 40.2564
|  | 4565.6399 | 40.0145
|  | 4570.7453 | 41.0552
|  | 4575.6053 | 40.6844
|  | 4580.7059 | 40.5701
|  | 4585.8041 | 39.6665
|  | 4590.6572 | 40.2623
|  | 4595.7505 | 39.4853
|  | 4600.599 | 39.2422
|  | 4605.6876 | 39.2896
|  | 4610.5315 | 39.4997
|  | 4615.6152 | 37.9005
|  | 4620.6964 | 38.0934
|  | 4625.5333 | 36.983
|  | 4630.6097 | 37.115
|  | 4635.6835 | 36.4933
|  | 4640.5135 | 35.5368
|  | 4645.5825 | 34.9437
|  | 4650.649 | 34.5077
|  | 4655.4719 | 33.9776
|  | 4660.5335 | 32.646
|  | 4665.5926 | 33.1513
|  | 4670.6492 | 31.327
|  | 4675.4627 | 30.6062
|  | 4680.5144 | 29.765
|  | 4685.5636 | 28.8719
|  | 4690.6103 | 27.7206
|  | 4695.4143 | 26.9581
|  | 4700.4561 | 25.8705
|  | 4705.4953 | 25.0839
|  | 4710.532 | 23.7976
|  | 4715.5662 | 22.2196
|  | 4720.3583 | 21.7601
|  | 4725.3875 | 20.6316
|  | 4730.4142 | 19.7628
|  | 4735.4383 | 18.1604
|  | 4740.4599 | 16.0624
|  | 4745.479 | 15.3141
|  | 4750.4955 | 14.9214
|  | 4755.5094 | 12.407
|  | 4760.2822 | 10.8324
|  | 4765.2912 | 10.2764
|  | 4770.2976 | 8.8426
|  | 4775.3014 | 8.1346
|  | 4780.3026 | 6.8702
|  | 4785.3013 | 5.7887
|  | 4790.2975 | 4.2327
|  | 4795.291 | 3.71
|  | 4800.282 | 3.1033
|  | 4805.2704 | 2.3843
|  | 4810.2562 | 1.7248
|  | 4815.2394 | 1.9112
|  | 4820.22 | 1.5523
|  | 4825.1981 | 1.235
|  | 4830.1735 | 0.95533
|  | 4835.3831 | 0.22315
|  | 4840.3533 | 0.053713
|  | 4845.3208 | 0.18268
|  | 4850.2858 | 0.1188
|  | 4855.2481 | 0.31302
|  | 4860.2078 | 0.47437
|  | 4865.1649 | 0.65848
|  | 4870.1194 | 0.17981
|  | 4875.307 | 0.32947
|  | 4880.2561 | 0.49246
|  | 4885.2026 | 0.2616
|  | 4890.1465 | 0.43891
|  | 4895.0878 | 0.40955
|  | 4900.2615 | 0.35145
|  | 4905.1974 | 0.72703
|  | 4910.1306 | 0.37991
|  | 4915.0612 | 0.11317
|  | 4920.2238 | 0.38229
|  | 4925.1489 | 0.38611
|  | 4930.0715 | 0.28923
|  | 4934.9914 | 0.81298
|  | 4940.1427 | 0.63072
|  | 4945.0571 | 0.23438
|  | 4949.9689 | 0.060184
|  | 4955.1118 | 0.23859
|  | 4960.0181 | 0.87528
|  | 4965.1552 | 0.031244
|  | 4970.0561 | 0.8326
|  | 4974.9543 | 0.092597
|  | 4980.0829 | 0.025511
|  | 4984.9757 | 0.53111
|  | 4990.0985 | 0.25284
|  | 4994.9858 | 1.0109
|  | 5000.1029 | 1.2712

## Polarized Data
Polarized Transmission of 1 mm Thick Infrasil® Windows
|  | Wavelength (nm) | % Transmission (P-Pol.) | % Transmission (S-Pol.)
|  | 1600 | 94.0432 | 93.8788
|  | 1599 | 94.0431 | 93.8787
|  | 1598 | 94.043 | 93.8786
|  | 1597 | 94.043 | 93.8786
Product Raw Data |  | 1596 | 94.0429 | 93.8785
Polarized Transmission of 1 mm Thick Infrasil® Windows |  | 1595 | 94.0429 | 93.8784
|  | 1594 | 94.0428 | 93.8784
Item # | UDP05, UDP10 | 1593 | 94.0427 | 93.8783
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1592 | 94.0427 | 93.8782
|  | 1591 | 94.0426 | 93.8781
|  | 1590 | 94.0425 | 93.8781
|  | 1589 | 94.0425 | 93.878
|  | 1588 | 94.0424 | 93.8779
|  | 1587 | 94.0424 | 93.8779
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1586 | 94.0423 | 93.8778
|  | 1585 | 94.0422 | 93.8777
|  | 1584 | 94.0422 | 93.8776
Additional Information: |  | 1583 | 94.0421 | 93.8776
Measured at normal incidence. The substrate thickness was 1 mm. See the other tab below for unpolarized data from 200 nm - 5 µm. |  | 1582 | 94.042 | 93.8775
|  | 1581 | 94.0419 | 93.8774
|  | 1580 | 94.0419 | 93.8773
|  | 1579 | 94.0418 | 93.8772
|  | 1578 | 94.0417 | 93.8772
|  | 1577 | 94.0417 | 93.8771
|  | 1576 | 94.0416 | 93.877
|  | 1575 | 94.0415 | 93.8769
|  | 1574 | 94.0414 | 93.8768
|  | 1573 | 94.0414 | 93.8767
|  | 1572 | 94.0413 | 93.8767
|  | 1571 | 94.0412 | 93.8766
|  | 1570 | 94.0411 | 93.8765
|  | 1569 | 94.0411 | 93.8764
|  | 1568 | 94.041 | 93.8763
|  | 1567 | 94.0409 | 93.8762
|  | 1566 | 94.0408 | 93.8762
|  | 1565 | 94.0408 | 93.8761
|  | 1564 | 94.0407 | 93.876
|  | 1563 | 94.0406 | 93.8759
|  | 1562 | 94.0405 | 93.8758
|  | 1561 | 94.0404 | 93.8757
|  | 1560 | 94.0404 | 93.8756
|  | 1559 | 94.0403 | 93.8755
|  | 1558 | 94.0402 | 93.8754
|  | 1557 | 94.0401 | 93.8753
|  | 1556 | 94.04 | 93.8752
|  | 1555 | 94.0399 | 93.8752
|  | 1554 | 94.0399 | 93.8751
|  | 1553 | 94.0398 | 93.875
|  | 1552 | 94.0397 | 93.8749
|  | 1551 | 94.0396 | 93.8748
|  | 1550 | 94.0395 | 93.8747
|  | 1549 | 94.0394 | 93.8746
|  | 1548 | 94.0393 | 93.8745
|  | 1547 | 94.0393 | 93.8744
|  | 1546 | 94.0392 | 93.8743
|  | 1545 | 94.0391 | 93.8742
|  | 1544 | 94.039 | 93.8741
|  | 1543 | 94.0389 | 93.874
|  | 1542 | 94.0388 | 93.8739
|  | 1541 | 94.0387 | 93.8738
|  | 1540 | 94.0386 | 93.8737
|  | 1539 | 94.0385 | 93.8736
|  | 1538 | 94.0384 | 93.8735
|  | 1537 | 94.0383 | 93.8734
|  | 1536 | 94.0382 | 93.8733
|  | 1535 | 94.0381 | 93.8732
|  | 1534 | 94.038 | 93.873
|  | 1533 | 94.0379 | 93.8729
|  | 1532 | 94.0378 | 93.8728
|  | 1531 | 94.0377 | 93.8727
|  | 1530 | 94.0376 | 93.8726
|  | 1529 | 94.0375 | 93.8725
|  | 1528 | 94.0374 | 93.8724
|  | 1527 | 94.0373 | 93.8723
|  | 1526 | 94.0372 | 93.8722
|  | 1525 | 94.0371 | 93.8721
|  | 1524 | 94.037 | 93.872
|  | 1523 | 94.0369 | 93.8718
|  | 1522 | 94.0368 | 93.8717
|  | 1521 | 94.0367 | 93.8716
|  | 1520 | 94.0366 | 93.8715
|  | 1519 | 94.0365 | 93.8714
|  | 1518 | 94.0364 | 93.8713
|  | 1517 | 94.0363 | 93.8712
|  | 1516 | 94.0362 | 93.871
|  | 1515 | 94.0361 | 93.8709
|  | 1514 | 94.036 | 93.8708
|  | 1513 | 94.0359 | 93.8707
|  | 1512 | 94.0358 | 93.8706
|  | 1511 | 94.0356 | 93.8704
|  | 1510 | 94.0355 | 93.8703
|  | 1509 | 94.0354 | 93.8702
|  | 1508 | 94.0353 | 93.8701
|  | 1507 | 94.0352 | 93.87
|  | 1506 | 94.0351 | 93.8698
|  | 1505 | 94.035 | 93.8697
|  | 1504 | 94.0349 | 93.8696
|  | 1503 | 94.0347 | 93.8695
|  | 1502 | 94.0346 | 93.8693
|  | 1501 | 94.0345 | 93.8692
|  | 1500 | 94.0344 | 93.8691
|  | 1499 | 94.0343 | 93.869
|  | 1498 | 94.0342 | 93.8688
|  | 1497 | 94.034 | 93.8687
|  | 1496 | 94.0339 | 93.8686
|  | 1495 | 94.0338 | 93.8684
|  | 1494 | 94.0337 | 93.8683
|  | 1493 | 94.0336 | 93.8682
|  | 1492 | 94.0334 | 93.868
|  | 1491 | 94.0333 | 93.8679
|  | 1490 | 94.0332 | 93.8678
|  | 1489 | 94.0331 | 93.8676
|  | 1488 | 94.0329 | 93.8675
|  | 1487 | 94.0328 | 93.8674
|  | 1486 | 94.0327 | 93.8672
|  | 1485 | 94.0326 | 93.8671
|  | 1484 | 94.0324 | 93.867
|  | 1483 | 94.0323 | 93.8668
|  | 1482 | 94.0322 | 93.8667
|  | 1481 | 94.0321 | 93.8666
|  | 1480 | 94.0319 | 93.8664
|  | 1479 | 94.0318 | 93.8663
|  | 1478 | 94.0317 | 93.8661
|  | 1477 | 94.0315 | 93.866
|  | 1476 | 94.0314 | 93.8659
|  | 1475 | 94.0313 | 93.8657
|  | 1474 | 94.0311 | 93.8656
|  | 1473 | 94.031 | 93.8654
|  | 1472 | 94.0309 | 93.8653
|  | 1471 | 94.0307 | 93.8651
|  | 1470 | 94.0306 | 93.865
|  | 1469 | 94.0305 | 93.8648
|  | 1468 | 94.0303 | 93.8647
|  | 1467 | 94.0302 | 93.8646
|  | 1466 | 94.0301 | 93.8644
|  | 1465 | 94.0299 | 93.8643
|  | 1464 | 94.0298 | 93.8641
|  | 1463 | 94.0296 | 93.864
|  | 1462 | 94.0295 | 93.8638
|  | 1461 | 94.0294 | 93.8637
|  | 1460 | 94.0292 | 93.8635
|  | 1459 | 94.0291 | 93.8634
|  | 1458 | 94.0289 | 93.8632
|  | 1457 | 94.0288 | 93.8631
|  | 1456 | 94.0287 | 93.8629
|  | 1455 | 94.0285 | 93.8628
|  | 1454 | 94.0284 | 93.8626
|  | 1453 | 94.0282 | 93.8624
|  | 1452 | 94.0281 | 93.8623
|  | 1451 | 94.0279 | 93.8621
|  | 1450 | 94.0278 | 93.862
|  | 1449 | 94.0276 | 93.8618
|  | 1448 | 94.0275 | 93.8617
|  | 1447 | 94.0273 | 93.8615
|  | 1446 | 94.0272 | 93.8613
|  | 1445 | 94.027 | 93.8612
|  | 1444 | 94.0269 | 93.861
|  | 1443 | 94.0267 | 93.8609
|  | 1442 | 94.0266 | 93.8607
|  | 1441 | 94.0264 | 93.8605
|  | 1440 | 94.0263 | 93.8604
|  | 1439 | 94.0261 | 93.8602
|  | 1438 | 94.026 | 93.86
|  | 1437 | 94.0258 | 93.8599
|  | 1436 | 94.0257 | 93.8597
|  | 1435 | 94.0255 | 93.8595
|  | 1434 | 94.0254 | 93.8594
|  | 1433 | 94.0252 | 93.8592
|  | 1432 | 94.025 | 93.859
|  | 1431 | 94.0249 | 93.8589
|  | 1430 | 94.0247 | 93.8587
|  | 1429 | 94.0246 | 93.8585
|  | 1428 | 94.0244 | 93.8584
|  | 1427 | 94.0242 | 93.8582
|  | 1426 | 94.0241 | 93.858
|  | 1425 | 94.0239 | 93.8579
|  | 1424 | 94.0238 | 93.8577
|  | 1423 | 94.0236 | 93.8575
|  | 1422 | 94.0234 | 93.8573
|  | 1421 | 94.0233 | 93.8572
|  | 1420 | 94.0231 | 93.857
|  | 1419 | 94.0229 | 93.8568
|  | 1418 | 94.0228 | 93.8566
|  | 1417 | 94.0226 | 93.8565
|  | 1416 | 94.0224 | 93.8563
|  | 1415 | 94.0223 | 93.8561
|  | 1414 | 94.0221 | 93.8559
|  | 1413 | 94.0219 | 93.8557
|  | 1412 | 94.0218 | 93.8556
|  | 1411 | 94.0216 | 93.8554
|  | 1410 | 94.0214 | 93.8552
|  | 1409 | 94.0213 | 93.855
|  | 1408 | 94.0211 | 93.8548
|  | 1407 | 94.0209 | 93.8547
|  | 1406 | 94.0207 | 93.8545
|  | 1405 | 94.0206 | 93.8543
|  | 1404 | 94.0204 | 93.8541
|  | 1403 | 94.0202 | 93.8539
|  | 1402 | 94.02 | 93.8537
|  | 1401 | 94.0199 | 93.8535
|  | 1400 | 94.0197 | 93.8534
|  | 1399 | 94.0195 | 93.8532
|  | 1398 | 94.0193 | 93.853
|  | 1397 | 94.0191 | 93.8528
|  | 1396 | 94.019 | 93.8526
|  | 1395 | 94.0188 | 93.8524
|  | 1394 | 94.0186 | 93.8522
|  | 1393 | 94.0184 | 93.852
|  | 1392 | 94.0182 | 93.8518
|  | 1391 | 94.0181 | 93.8517
|  | 1390 | 94.0179 | 93.8515
|  | 1389 | 94.0177 | 93.8513
|  | 1388 | 94.0175 | 93.8511
|  | 1387 | 94.0173 | 93.8509
|  | 1386 | 94.0171 | 93.8507
|  | 1385 | 94.017 | 93.8505
|  | 1384 | 94.0168 | 93.8503
|  | 1383 | 94.0166 | 93.8501
|  | 1382 | 94.0164 | 93.8499
|  | 1381 | 94.0162 | 93.8497
|  | 1380 | 94.016 | 93.8495
|  | 1379 | 94.0158 | 93.8493
|  | 1378 | 94.0156 | 93.8491
|  | 1377 | 94.0155 | 93.8489
|  | 1376 | 94.0153 | 93.8487
|  | 1375 | 94.0151 | 93.8485
|  | 1374 | 94.0149 | 93.8483
|  | 1373 | 94.0147 | 93.8481
|  | 1372 | 94.0145 | 93.8479
|  | 1371 | 94.0143 | 93.8477
|  | 1370 | 94.0141 | 93.8475
|  | 1369 | 94.0139 | 93.8473
|  | 1368 | 94.0137 | 93.8471
|  | 1367 | 94.0135 | 93.8469
|  | 1366 | 94.0133 | 93.8466
|  | 1365 | 94.0131 | 93.8464
|  | 1364 | 94.0129 | 93.8462
|  | 1363 | 94.0127 | 93.846
|  | 1362 | 94.0125 | 93.8458
|  | 1361 | 94.0123 | 93.8456
|  | 1360 | 94.0121 | 93.8454
|  | 1359 | 94.0119 | 93.8452
|  | 1358 | 94.0117 | 93.845
|  | 1357 | 94.0115 | 93.8448
|  | 1356 | 94.0113 | 93.8445
|  | 1355 | 94.0111 | 93.8443
|  | 1354 | 94.0109 | 93.8441
|  | 1353 | 94.0107 | 93.8439
|  | 1352 | 94.0105 | 93.8437
|  | 1351 | 94.0103 | 93.8435
|  | 1350 | 94.0101 | 93.8432
|  | 1349 | 94.0099 | 93.843
|  | 1348 | 94.0097 | 93.8428
|  | 1347 | 94.0095 | 93.8426
|  | 1346 | 94.0093 | 93.8424
|  | 1345 | 94.0091 | 93.8422
|  | 1344 | 94.0088 | 93.8419
|  | 1343 | 94.0086 | 93.8417
|  | 1342 | 94.0084 | 93.8415
|  | 1341 | 94.0082 | 93.8413
|  | 1340 | 94.008 | 93.841
|  | 1339 | 94.0078 | 93.8408
|  | 1338 | 94.0076 | 93.8406
|  | 1337 | 94.0074 | 93.8404
|  | 1336 | 94.0071 | 93.8401
|  | 1335 | 94.0069 | 93.8399
|  | 1334 | 94.0067 | 93.8397
|  | 1333 | 94.0065 | 93.8395
|  | 1332 | 94.0063 | 93.8392
|  | 1331 | 94.0061 | 93.839
|  | 1330 | 94.0058 | 93.8388
|  | 1329 | 94.0056 | 93.8386
|  | 1328 | 94.0054 | 93.8383
|  | 1327 | 94.0052 | 93.8381
|  | 1326 | 94.005 | 93.8379
|  | 1325 | 94.0047 | 93.8376
|  | 1324 | 94.0045 | 93.8374
|  | 1323 | 94.0043 | 93.8372
|  | 1322 | 94.0041 | 93.8369
|  | 1321 | 94.0039 | 93.8367
|  | 1320 | 94.0036 | 93.8365
|  | 1319 | 94.0034 | 93.8362
|  | 1318 | 94.0032 | 93.836
|  | 1317 | 94.003 | 93.8357
|  | 1316 | 94.0027 | 93.8355
|  | 1315 | 94.0025 | 93.8353
|  | 1314 | 94.0023 | 93.835
|  | 1313 | 94.002 | 93.8348
|  | 1312 | 94.0018 | 93.8346
|  | 1311 | 94.0016 | 93.8343
|  | 1310 | 94.0014 | 93.8341
|  | 1309 | 94.0011 | 93.8338
|  | 1308 | 94.0009 | 93.8336
|  | 1307 | 94.0007 | 93.8333
|  | 1306 | 94.0004 | 93.8331
|  | 1305 | 94.0002 | 93.8329
|  | 1304 | 94 | 93.8326
|  | 1303 | 93.9997 | 93.8324
|  | 1302 | 93.9995 | 93.8321
|  | 1301 | 93.9993 | 93.8319
|  | 1300 | 93.999 | 93.8316
|  | 1299 | 93.9988 | 93.8314
|  | 1298 | 93.9985 | 93.8311
|  | 1297 | 93.9983 | 93.8309
|  | 1296 | 93.9981 | 93.8306
|  | 1295 | 93.9978 | 93.8304
|  | 1294 | 93.9976 | 93.8301
|  | 1293 | 93.9974 | 93.8299
|  | 1292 | 93.9971 | 93.8296
|  | 1291 | 93.9969 | 93.8294
|  | 1290 | 93.9966 | 93.8291
|  | 1289 | 93.9964 | 93.8289
|  | 1288 | 93.9961 | 93.8286
|  | 1287 | 93.9959 | 93.8284
|  | 1286 | 93.9957 | 93.8281
|  | 1285 | 93.9954 | 93.8279
|  | 1284 | 93.9952 | 93.8276
|  | 1283 | 93.9949 | 93.8273
|  | 1282 | 93.9947 | 93.8271
|  | 1281 | 93.9944 | 93.8268
|  | 1280 | 93.9942 | 93.8266
|  | 1279 | 93.9939 | 93.8263
|  | 1278 | 93.9937 | 93.826
|  | 1277 | 93.9934 | 93.8258
|  | 1276 | 93.9932 | 93.8255
|  | 1275 | 93.9929 | 93.8253
|  | 1274 | 93.9927 | 93.825
|  | 1273 | 93.9924 | 93.8247
|  | 1272 | 93.9922 | 93.8245
|  | 1271 | 93.9919 | 93.8242
|  | 1270 | 93.9917 | 93.8239
|  | 1269 | 93.9914 | 93.8237
|  | 1268 | 93.9912 | 93.8234
|  | 1267 | 93.9909 | 93.8231
|  | 1266 | 93.9906 | 93.8229
|  | 1265 | 93.9904 | 93.8226
|  | 1264 | 93.9901 | 93.8223
|  | 1263 | 93.9899 | 93.8221
|  | 1262 | 93.9896 | 93.8218
|  | 1261 | 93.9894 | 93.8215
|  | 1260 | 93.9891 | 93.8213
|  | 1259 | 93.9888 | 93.821
|  | 1258 | 93.9886 | 93.8207
|  | 1257 | 93.9883 | 93.8204
|  | 1256 | 93.988 | 93.8202
|  | 1255 | 93.9878 | 93.8199
|  | 1254 | 93.9875 | 93.8196
|  | 1253 | 93.9873 | 93.8193
|  | 1252 | 93.987 | 93.8191
|  | 1251 | 93.9867 | 93.8188
|  | 1250 | 93.9865 | 93.8185
|  | 1249 | 93.9862 | 93.8182
|  | 1248 | 93.9859 | 93.818
|  | 1247 | 93.9857 | 93.8177
|  | 1246 | 93.9854 | 93.8174
|  | 1245 | 93.9851 | 93.8171
|  | 1244 | 93.9849 | 93.8168
|  | 1243 | 93.9846 | 93.8165
|  | 1242 | 93.9843 | 93.8163
|  | 1241 | 93.984 | 93.816
|  | 1240 | 93.9838 | 93.8157
|  | 1239 | 93.9835 | 93.8154
|  | 1238 | 93.9832 | 93.8151
|  | 1237 | 93.983 | 93.8148
|  | 1236 | 93.9827 | 93.8146
|  | 1235 | 93.9824 | 93.8143
|  | 1234 | 93.9821 | 93.814
|  | 1233 | 93.9819 | 93.8137
|  | 1232 | 93.9816 | 93.8134
|  | 1231 | 93.9813 | 93.8131
|  | 1230 | 93.981 | 93.8128
|  | 1229 | 93.9807 | 93.8125
|  | 1228 | 93.9805 | 93.8123
|  | 1227 | 93.9802 | 93.812
|  | 1226 | 93.9799 | 93.8117
|  | 1225 | 93.9796 | 93.8114
|  | 1224 | 93.9793 | 93.8111
|  | 1223 | 93.9791 | 93.8108
|  | 1222 | 93.9788 | 93.8105
|  | 1221 | 93.9785 | 93.8102
|  | 1220 | 93.9782 | 93.8099
|  | 1219 | 93.9779 | 93.8096
|  | 1218 | 93.9776 | 93.8093
|  | 1217 | 93.9774 | 93.809
|  | 1216 | 93.9771 | 93.8087
|  | 1215 | 93.9768 | 93.8084
|  | 1214 | 93.9765 | 93.8081
|  | 1213 | 93.9762 | 93.8078
|  | 1212 | 93.9759 | 93.8075
|  | 1211 | 93.9756 | 93.8072
|  | 1210 | 93.9753 | 93.8069
|  | 1209 | 93.9751 | 93.8066
|  | 1208 | 93.9748 | 93.8063
|  | 1207 | 93.9745 | 93.806
|  | 1206 | 93.9742 | 93.8057
|  | 1205 | 93.9739 | 93.8054
|  | 1204 | 93.9736 | 93.8051
|  | 1203 | 93.9733 | 93.8048
|  | 1202 | 93.973 | 93.8045
|  | 1201 | 93.9727 | 93.8042
|  | 1200 | 93.9724 | 93.8039
|  | 1199 | 93.9721 | 93.8036
|  | 1198 | 93.9718 | 93.8033
|  | 1197 | 93.9715 | 93.803
|  | 1196 | 93.9712 | 93.8026
|  | 1195 | 93.9709 | 93.8023
|  | 1194 | 93.9706 | 93.802
|  | 1193 | 93.9703 | 93.8017
|  | 1192 | 93.97 | 93.8014
|  | 1191 | 93.9697 | 93.8011
|  | 1190 | 93.9694 | 93.8008
|  | 1189 | 93.9691 | 93.8005
|  | 1188 | 93.9688 | 93.8001
|  | 1187 | 93.9685 | 93.7998
|  | 1186 | 93.9682 | 93.7995
|  | 1185 | 93.9679 | 93.7992
|  | 1184 | 93.9676 | 93.7989
|  | 1183 | 93.9673 | 93.7986
|  | 1182 | 93.967 | 93.7982
|  | 1181 | 93.9667 | 93.7979
|  | 1180 | 93.9664 | 93.7976
|  | 1179 | 93.9661 | 93.7973
|  | 1178 | 93.9658 | 93.797
|  | 1177 | 93.9655 | 93.7966
|  | 1176 | 93.9651 | 93.7963
|  | 1175 | 93.9648 | 93.796
|  | 1174 | 93.9645 | 93.7957
|  | 1173 | 93.9642 | 93.7954
|  | 1172 | 93.9639 | 93.795
|  | 1171 | 93.9636 | 93.7947
|  | 1170 | 93.9633 | 93.7944
|  | 1169 | 93.963 | 93.7941
|  | 1168 | 93.9626 | 93.7937
|  | 1167 | 93.9623 | 93.7934
|  | 1166 | 93.962 | 93.7931
|  | 1165 | 93.9617 | 93.7927
|  | 1164 | 93.9614 | 93.7924
|  | 1163 | 93.9611 | 93.7921
|  | 1162 | 93.9607 | 93.7918
|  | 1161 | 93.9604 | 93.7914
|  | 1160 | 93.9601 | 93.7911
|  | 1159 | 93.9598 | 93.7908
|  | 1158 | 93.9595 | 93.7904
|  | 1157 | 93.9591 | 93.7901
|  | 1156 | 93.9588 | 93.7898
|  | 1155 | 93.9585 | 93.7894
|  | 1154 | 93.9582 | 93.7891
|  | 1153 | 93.9579 | 93.7888
|  | 1152 | 93.9575 | 93.7884
|  | 1151 | 93.9572 | 93.7881
|  | 1150 | 93.9569 | 93.7877
|  | 1149 | 93.9566 | 93.7874
|  | 1148 | 93.9562 | 93.7871
|  | 1147 | 93.9559 | 93.7867
|  | 1146 | 93.9556 | 93.7864
|  | 1145 | 93.9552 | 93.7861
|  | 1144 | 93.9549 | 93.7857
|  | 1143 | 93.9546 | 93.7854
|  | 1142 | 93.9543 | 93.785
|  | 1141 | 93.9539 | 93.7847
|  | 1140 | 93.9536 | 93.7843
|  | 1139 | 93.9533 | 93.784
|  | 1138 | 93.9529 | 93.7837
|  | 1137 | 93.9526 | 93.7833
|  | 1136 | 93.9523 | 93.783
|  | 1135 | 93.9519 | 93.7826
|  | 1134 | 93.9516 | 93.7823
|  | 1133 | 93.9513 | 93.7819
|  | 1132 | 93.9509 | 93.7816
|  | 1131 | 93.9506 | 93.7812
|  | 1130 | 93.9502 | 93.7809
|  | 1129 | 93.9499 | 93.7805
|  | 1128 | 93.9496 | 93.7802
|  | 1127 | 93.9492 | 93.7798
|  | 1126 | 93.9489 | 93.7795
|  | 1125 | 93.9486 | 93.7791
|  | 1124 | 93.9482 | 93.7788
|  | 1123 | 93.9479 | 93.7784
|  | 1122 | 93.9475 | 93.7781
|  | 1121 | 93.9472 | 93.7777
|  | 1120 | 93.9468 | 93.7773
|  | 1119 | 93.9465 | 93.777
|  | 1118 | 93.9462 | 93.7766
|  | 1117 | 93.9458 | 93.7763
|  | 1116 | 93.9455 | 93.7759
|  | 1115 | 93.9451 | 93.7756
|  | 1114 | 93.9448 | 93.7752
|  | 1113 | 93.9444 | 93.7748
|  | 1112 | 93.9441 | 93.7745
|  | 1111 | 93.9437 | 93.7741
|  | 1110 | 93.9434 | 93.7738
|  | 1109 | 93.943 | 93.7734
|  | 1108 | 93.9427 | 93.773
|  | 1107 | 93.9423 | 93.7727
|  | 1106 | 93.942 | 93.7723
|  | 1105 | 93.9416 | 93.7719
|  | 1104 | 93.9413 | 93.7716
|  | 1103 | 93.9409 | 93.7712
|  | 1102 | 93.9406 | 93.7708
|  | 1101 | 93.9402 | 93.7705
|  | 1100 | 93.9399 | 93.7701
|  | 1099 | 93.9395 | 93.7697
|  | 1098 | 93.9391 | 93.7694
|  | 1097 | 93.9388 | 93.769
|  | 1096 | 93.9384 | 93.7686
|  | 1095 | 93.9381 | 93.7683
|  | 1094 | 93.9377 | 93.7679
|  | 1093 | 93.9374 | 93.7675
|  | 1092 | 93.937 | 93.7671
|  | 1091 | 93.9366 | 93.7668
|  | 1090 | 93.9363 | 93.7664
|  | 1089 | 93.9359 | 93.766
|  | 1088 | 93.9355 | 93.7657
|  | 1087 | 93.9352 | 93.7653
|  | 1086 | 93.9348 | 93.7649
|  | 1085 | 93.9345 | 93.7645
|  | 1084 | 93.9341 | 93.7641
|  | 1083 | 93.9337 | 93.7638
|  | 1082 | 93.9334 | 93.7634
|  | 1081 | 93.933 | 93.763
|  | 1080 | 93.9326 | 93.7626
|  | 1079 | 93.9323 | 93.7623
|  | 1078 | 93.9319 | 93.7619
|  | 1077 | 93.9315 | 93.7615
|  | 1076 | 93.9312 | 93.7611
|  | 1075 | 93.9308 | 93.7607
|  | 1074 | 93.9304 | 93.7603
|  | 1073 | 93.93 | 93.76
|  | 1072 | 93.9297 | 93.7596
|  | 1071 | 93.9293 | 93.7592
|  | 1070 | 93.9289 | 93.7588
|  | 1069 | 93.9286 | 93.7584
|  | 1068 | 93.9282 | 93.758
|  | 1067 | 93.9278 | 93.7576
|  | 1066 | 93.9274 | 93.7573
|  | 1065 | 93.9271 | 93.7569
|  | 1064 | 93.9267 | 93.7565
|  | 1063 | 93.9263 | 93.7561
|  | 1062 | 93.9259 | 93.7557
|  | 1061 | 93.9255 | 93.7553
|  | 1060 | 93.9252 | 93.7549
|  | 1059 | 93.9248 | 93.7545
|  | 1058 | 93.9244 | 93.7541
|  | 1057 | 93.924 | 93.7537
|  | 1056 | 93.9236 | 93.7533
|  | 1055 | 93.9233 | 93.753
|  | 1054 | 93.9229 | 93.7526
|  | 1053 | 93.9225 | 93.7522
|  | 1052 | 93.9221 | 93.7518
|  | 1051 | 93.9217 | 93.7514
|  | 1050 | 93.9213 | 93.751
|  | 1049 | 93.921 | 93.7506
|  | 1048 | 93.9206 | 93.7502
|  | 1047 | 93.9202 | 93.7498
|  | 1046 | 93.9198 | 93.7494
|  | 1045 | 93.9194 | 93.749
|  | 1044 | 93.919 | 93.7486
|  | 1043 | 93.9186 | 93.7482
|  | 1042 | 93.9182 | 93.7478
|  | 1041 | 93.9179 | 93.7474
|  | 1040 | 93.9175 | 93.747
|  | 1039 | 93.9171 | 93.7466
|  | 1038 | 93.9167 | 93.7462
|  | 1037 | 93.9163 | 93.7457
|  | 1036 | 93.9159 | 93.7453
|  | 1035 | 93.9155 | 93.7449
|  | 1034 | 93.9151 | 93.7445
|  | 1033 | 93.9147 | 93.7441
|  | 1032 | 93.9143 | 93.7437
|  | 1031 | 93.9139 | 93.7433
|  | 1030 | 93.9135 | 93.7429
|  | 1029 | 93.9131 | 93.7425
|  | 1028 | 93.9127 | 93.7421
|  | 1027 | 93.9123 | 93.7417
|  | 1026 | 93.9119 | 93.7412
|  | 1025 | 93.9115 | 93.7408
|  | 1024 | 93.9111 | 93.7404
|  | 1023 | 93.9107 | 93.74
|  | 1022 | 93.9103 | 93.7396
|  | 1021 | 93.9099 | 93.7392
|  | 1020 | 93.9095 | 93.7388
|  | 1019 | 93.9091 | 93.7383
|  | 1018 | 93.9087 | 93.7379
|  | 1017 | 93.9083 | 93.7375
|  | 1016 | 93.9079 | 93.7371
|  | 1015 | 93.9075 | 93.7367
|  | 1014 | 93.9071 | 93.7363
|  | 1013 | 93.9067 | 93.7358
|  | 1012 | 93.9063 | 93.7354
|  | 1011 | 93.9059 | 93.735
|  | 1010 | 93.9055 | 93.7346
|  | 1009 | 93.9051 | 93.7342
|  | 1008 | 93.9046 | 93.7337
|  | 1007 | 93.9042 | 93.7333
|  | 1006 | 93.9038 | 93.7329
|  | 1005 | 93.9034 | 93.7325
|  | 1004 | 93.903 | 93.732
|  | 1003 | 93.9026 | 93.7316
|  | 1002 | 93.9022 | 93.7312
|  | 1001 | 93.9018 | 93.7308
|  | 1000 | 93.9013 | 93.7303
|  | 999 | 93.9009 | 93.7299
|  | 998 | 93.9005 | 93.7295
|  | 997 | 93.9001 | 93.729
|  | 996 | 93.8997 | 93.7286
|  | 995 | 93.8993 | 93.7282
|  | 994 | 93.8988 | 93.7277
|  | 993 | 93.8984 | 93.7273
|  | 992 | 93.898 | 93.7269
|  | 991 | 93.8976 | 93.7264
|  | 990 | 93.8972 | 93.726
|  | 989 | 93.8967 | 93.7256
|  | 988 | 93.8963 | 93.7251
|  | 987 | 93.8959 | 93.7247
|  | 986 | 93.8955 | 93.7243
|  | 985 | 93.8951 | 93.7238
|  | 984 | 93.8946 | 93.7234
|  | 983 | 93.8942 | 93.723
|  | 982 | 93.8938 | 93.7225
|  | 981 | 93.8934 | 93.7221
|  | 980 | 93.8929 | 93.7216
|  | 979 | 93.8925 | 93.7212
|  | 978 | 93.8921 | 93.7208
|  | 977 | 93.8916 | 93.7203
|  | 976 | 93.8912 | 93.7199
|  | 975 | 93.8908 | 93.7194
|  | 974 | 93.8904 | 93.719
|  | 973 | 93.8899 | 93.7185
|  | 972 | 93.8895 | 93.7181
|  | 971 | 93.8891 | 93.7177
|  | 970 | 93.8886 | 93.7172
|  | 969 | 93.8882 | 93.7168
|  | 968 | 93.8878 | 93.7163
|  | 967 | 93.8873 | 93.7159
|  | 966 | 93.8869 | 93.7154
|  | 965 | 93.8865 | 93.715
|  | 964 | 93.886 | 93.7145
|  | 963 | 93.8856 | 93.7141
|  | 962 | 93.8851 | 93.7136
|  | 961 | 93.8847 | 93.7132
|  | 960 | 93.8843 | 93.7127
|  | 959 | 93.8838 | 93.7123
|  | 958 | 93.8834 | 93.7118
|  | 957 | 93.883 | 93.7114
|  | 956 | 93.8825 | 93.7109
|  | 955 | 93.8821 | 93.7105
|  | 954 | 93.8816 | 93.71
|  | 953 | 93.8812 | 93.7095
|  | 952 | 93.8807 | 93.7091
|  | 951 | 93.8803 | 93.7086
|  | 950 | 93.8799 | 93.7082
|  | 949 | 93.8794 | 93.7077
|  | 948 | 93.879 | 93.7073
|  | 947 | 93.8785 | 93.7068
|  | 946 | 93.8781 | 93.7063
|  | 945 | 93.8776 | 93.7059
|  | 944 | 93.8772 | 93.7054
|  | 943 | 93.8767 | 93.705
|  | 942 | 93.8763 | 93.7045
|  | 941 | 93.8758 | 93.704
|  | 940 | 93.8754 | 93.7036
|  | 939 | 93.8749 | 93.7031
|  | 938 | 93.8745 | 93.7026
|  | 937 | 93.874 | 93.7022
|  | 936 | 93.8736 | 93.7017
|  | 935 | 93.8731 | 93.7012
|  | 934 | 93.8727 | 93.7008
|  | 933 | 93.8722 | 93.7003
|  | 932 | 93.8718 | 93.6998
|  | 931 | 93.8713 | 93.6994
|  | 930 | 93.8708 | 93.6989
|  | 929 | 93.8704 | 93.6984
|  | 928 | 93.8699 | 93.698
|  | 927 | 93.8695 | 93.6975
|  | 926 | 93.869 | 93.697
|  | 925 | 93.8686 | 93.6965
|  | 924 | 93.8681 | 93.6961
|  | 923 | 93.8676 | 93.6956
|  | 922 | 93.8672 | 93.6951
|  | 921 | 93.8667 | 93.6946
|  | 920 | 93.8663 | 93.6942
|  | 919 | 93.8658 | 93.6937
|  | 918 | 93.8653 | 93.6932
|  | 917 | 93.8649 | 93.6927
|  | 916 | 93.8644 | 93.6923
|  | 915 | 93.8639 | 93.6918
|  | 914 | 93.8635 | 93.6913
|  | 913 | 93.863 | 93.6908
|  | 912 | 93.8625 | 93.6903
|  | 911 | 93.8621 | 93.6899
|  | 910 | 93.8616 | 93.6894
|  | 909 | 93.8611 | 93.6889
|  | 908 | 93.8607 | 93.6884
|  | 907 | 93.8602 | 93.6879
|  | 906 | 93.8597 | 93.6874
|  | 905 | 93.8592 | 93.687
|  | 904 | 93.8588 | 93.6865
|  | 903 | 93.8583 | 93.686
|  | 902 | 93.8578 | 93.6855
|  | 901 | 93.8574 | 93.685
|  | 900 | 93.8569 | 93.6845
|  | 899 | 93.8564 | 93.684
|  | 898 | 93.8559 | 93.6835
|  | 897 | 93.8555 | 93.6831
|  | 896 | 93.855 | 93.6826
|  | 895 | 93.8545 | 93.6821
|  | 894 | 93.854 | 93.6816
|  | 893 | 93.8535 | 93.6811
|  | 892 | 93.8531 | 93.6806
|  | 891 | 93.8526 | 93.6801
|  | 890 | 93.8521 | 93.6796
|  | 889 | 93.8516 | 93.6791
|  | 888 | 93.8511 | 93.6786
|  | 887 | 93.8507 | 93.6781
|  | 886 | 93.8502 | 93.6776
|  | 885 | 93.8497 | 93.6771
|  | 884 | 93.8492 | 93.6766
|  | 883 | 93.8487 | 93.6761
|  | 882 | 93.8482 | 93.6756
|  | 881 | 93.8478 | 93.6751
|  | 880 | 93.8473 | 93.6746
|  | 879 | 93.8468 | 93.6741
|  | 878 | 93.8463 | 93.6736
|  | 877 | 93.8458 | 93.6731
|  | 876 | 93.8453 | 93.6726
|  | 875 | 93.8448 | 93.6721
|  | 874 | 93.8443 | 93.6716
|  | 873 | 93.8439 | 93.6711
|  | 872 | 93.8434 | 93.6706
|  | 871 | 93.8429 | 93.6701
|  | 870 | 93.8424 | 93.6696
|  | 869 | 93.8419 | 93.6691
|  | 868 | 93.8414 | 93.6686
|  | 867 | 93.8409 | 93.6681
|  | 866 | 93.8404 | 93.6676
|  | 865 | 93.8399 | 93.6671
|  | 864 | 93.8394 | 93.6666
|  | 863 | 93.8389 | 93.666
|  | 862 | 93.8384 | 93.6655
|  | 861 | 93.8379 | 93.665
|  | 860 | 93.8374 | 93.6645
|  | 859 | 93.8369 | 93.664
|  | 858 | 93.8364 | 93.6635
|  | 857 | 93.8359 | 93.663
|  | 856 | 93.8354 | 93.6625
|  | 855 | 93.8349 | 93.6619
|  | 854 | 93.8344 | 93.6614
|  | 853 | 93.8339 | 93.6609
|  | 852 | 93.8334 | 93.6604
|  | 851 | 93.8329 | 93.6599
|  | 850 | 93.8324 | 93.6594
|  | 849 | 93.8319 | 93.6588
|  | 848 | 93.8314 | 93.6583
|  | 847 | 93.8309 | 93.6578
|  | 846 | 93.8304 | 93.6573
|  | 845 | 93.8299 | 93.6568
|  | 844 | 93.8294 | 93.6562
|  | 843 | 93.8289 | 93.6557
|  | 842 | 93.8284 | 93.6552
|  | 841 | 93.8279 | 93.6547
|  | 840 | 93.8274 | 93.6541
|  | 839 | 93.8268 | 93.6536
|  | 838 | 93.8263 | 93.6531
|  | 837 | 93.8258 | 93.6526
|  | 836 | 93.8253 | 93.652
|  | 835 | 93.8248 | 93.6515
|  | 834 | 93.8243 | 93.651
|  | 833 | 93.8238 | 93.6505
|  | 832 | 93.8233 | 93.6499
|  | 831 | 93.8227 | 93.6494
|  | 830 | 93.8222 | 93.6489
|  | 829 | 93.8217 | 93.6483
|  | 828 | 93.8212 | 93.6478
|  | 827 | 93.8207 | 93.6473
|  | 826 | 93.8202 | 93.6467
|  | 825 | 93.8196 | 93.6462
|  | 824 | 93.8191 | 93.6457
|  | 823 | 93.8186 | 93.6451
|  | 822 | 93.8181 | 93.6446
|  | 821 | 93.8176 | 93.6441
|  | 820 | 93.817 | 93.6435
|  | 819 | 93.8165 | 93.643
|  | 818 | 93.816 | 93.6425
|  | 817 | 93.8155 | 93.6419
|  | 816 | 93.8149 | 93.6414
|  | 815 | 93.8144 | 93.6409
|  | 814 | 93.8139 | 93.6403
|  | 813 | 93.8134 | 93.6398
|  | 812 | 93.8128 | 93.6392
|  | 811 | 93.8123 | 93.6387
|  | 810 | 93.8118 | 93.6381
|  | 809 | 93.8113 | 93.6376
|  | 808 | 93.8107 | 93.6371
|  | 807 | 93.8102 | 93.6365
|  | 806 | 93.8097 | 93.636
|  | 805 | 93.8091 | 93.6354
|  | 804 | 93.8086 | 93.6349
|  | 803 | 93.8081 | 93.6343
|  | 802 | 93.8075 | 93.6338
|  | 801 | 93.807 | 93.6332
|  | 800 | 93.8065 | 93.6327
|  | 799 | 93.8059 | 93.6321
|  | 798 | 93.8054 | 93.6316
|  | 797 | 93.8049 | 93.631
|  | 796 | 93.8043 | 93.6305
|  | 795 | 93.8038 | 93.6299
|  | 794 | 93.8033 | 93.6294
|  | 793 | 93.8027 | 93.6288
|  | 792 | 93.8022 | 93.6283
|  | 791 | 93.8016 | 93.6277
|  | 790 | 93.8011 | 93.6272
|  | 789 | 93.8006 | 93.6266
|  | 788 | 93.8 | 93.6261
|  | 787 | 93.7995 | 93.6255
|  | 786 | 93.7989 | 93.625
|  | 785 | 93.7984 | 93.6244
|  | 784 | 93.7979 | 93.6238
|  | 783 | 93.7973 | 93.6233
|  | 782 | 93.7968 | 93.6227
|  | 781 | 93.7962 | 93.6222
|  | 780 | 93.7957 | 93.6216
|  | 779 | 93.7951 | 93.621
|  | 778 | 93.7946 | 93.6205
|  | 777 | 93.794 | 93.6199
|  | 776 | 93.7935 | 93.6194
|  | 775 | 93.7929 | 93.6188
|  | 774 | 93.7924 | 93.6182
|  | 773 | 93.7918 | 93.6177
|  | 772 | 93.7913 | 93.6171
|  | 771 | 93.7907 | 93.6165
|  | 770 | 93.7902 | 93.616
|  | 769 | 93.7896 | 93.6154
|  | 768 | 93.7891 | 93.6148
|  | 767 | 93.7885 | 93.6143
|  | 766 | 93.788 | 93.6137
|  | 765 | 93.7874 | 93.6131
|  | 764 | 93.7869 | 93.6126
|  | 763 | 93.7863 | 93.612
|  | 762 | 93.7858 | 93.6114
|  | 761 | 93.7852 | 93.6109
|  | 760 | 93.7846 | 93.6103
|  | 759 | 93.7841 | 93.6097
|  | 758 | 93.7835 | 93.6091
|  | 757 | 93.783 | 93.6086
|  | 756 | 93.7824 | 93.608
|  | 755 | 93.7818 | 93.6074
|  | 754 | 93.7813 | 93.6068
|  | 753 | 93.7807 | 93.6063
|  | 752 | 93.7802 | 93.6057
|  | 751 | 93.7796 | 93.6051
|  | 750 | 93.779 | 93.6045
|  | 749 | 93.7785 | 93.6039
|  | 748 | 93.7779 | 93.6034
|  | 747 | 93.7773 | 93.6028
|  | 746 | 93.7768 | 93.6022
|  | 745 | 93.7762 | 93.6016
|  | 744 | 93.7756 | 93.601
|  | 743 | 93.7751 | 93.6005
|  | 742 | 93.7745 | 93.5999
|  | 741 | 93.7739 | 93.5993
|  | 740 | 93.7734 | 93.5987
|  | 739 | 93.7728 | 93.5981
|  | 738 | 93.7722 | 93.5975
|  | 737 | 93.7717 | 93.597
|  | 736 | 93.7711 | 93.5964
|  | 735 | 93.7705 | 93.5958
|  | 734 | 93.7699 | 93.5952
|  | 733 | 93.7694 | 93.5946
|  | 732 | 93.7688 | 93.594
|  | 731 | 93.7682 | 93.5934
|  | 730 | 93.7676 | 93.5928
|  | 729 | 93.7671 | 93.5922
|  | 728 | 93.7665 | 93.5917
|  | 727 | 93.7659 | 93.5911
|  | 726 | 93.7653 | 93.5905
|  | 725 | 93.7648 | 93.5899
|  | 724 | 93.7642 | 93.5893
|  | 723 | 93.7636 | 93.5887
|  | 722 | 93.763 | 93.5881
|  | 721 | 93.7624 | 93.5875
|  | 720 | 93.7619 | 93.5869
|  | 719 | 93.7613 | 93.5863
|  | 718 | 93.7607 | 93.5857
|  | 717 | 93.7601 | 93.5851
|  | 716 | 93.7595 | 93.5845
|  | 715 | 93.7589 | 93.5839
|  | 714 | 93.7584 | 93.5833
|  | 713 | 93.7578 | 93.5827
|  | 712 | 93.7572 | 93.5821
|  | 711 | 93.7566 | 93.5815
|  | 710 | 93.756 | 93.5809
|  | 709 | 93.7554 | 93.5803
|  | 708 | 93.7548 | 93.5797
|  | 707 | 93.7543 | 93.5791
|  | 706 | 93.7537 | 93.5785
|  | 705 | 93.7531 | 93.5779
|  | 704 | 93.7525 | 93.5773
|  | 703 | 93.7519 | 93.5767
|  | 702 | 93.7513 | 93.5761
|  | 701 | 93.7507 | 93.5755
|  | 700 | 93.7501 | 93.5749
|  | 699 | 93.7495 | 93.5742
|  | 698 | 93.7489 | 93.5736
|  | 697 | 93.7483 | 93.573
|  | 696 | 93.7477 | 93.5724
|  | 695 | 93.7471 | 93.5718
|  | 694 | 93.7465 | 93.5712
|  | 693 | 93.7459 | 93.5706
|  | 692 | 93.7453 | 93.57
|  | 691 | 93.7447 | 93.5694
|  | 690 | 93.7441 | 93.5687
|  | 689 | 93.7436 | 93.5681
|  | 688 | 93.743 | 93.5675
|  | 687 | 93.7423 | 93.5669
|  | 686 | 93.7417 | 93.5663
|  | 685 | 93.7411 | 93.5657
|  | 684 | 93.7405 | 93.565
|  | 683 | 93.7399 | 93.5644
|  | 682 | 93.7393 | 93.5638
|  | 681 | 93.7387 | 93.5632
|  | 680 | 93.7381 | 93.5626
|  | 679 | 93.7375 | 93.5619
|  | 678 | 93.7369 | 93.5613
|  | 677 | 93.7363 | 93.5607
|  | 676 | 93.7357 | 93.5601
|  | 675 | 93.7351 | 93.5595
|  | 674 | 93.7345 | 93.5588
|  | 673 | 93.7339 | 93.5582
|  | 672 | 93.7333 | 93.5576
|  | 671 | 93.7327 | 93.557
|  | 670 | 93.732 | 93.5563
|  | 669 | 93.7314 | 93.5557
|  | 668 | 93.7308 | 93.5551
|  | 667 | 93.7302 | 93.5544
|  | 666 | 93.7296 | 93.5538
|  | 665 | 93.729 | 93.5532
|  | 664 | 93.7284 | 93.5526
|  | 663 | 93.7278 | 93.5519
|  | 662 | 93.7271 | 93.5513
|  | 661 | 93.7265 | 93.5507
|  | 660 | 93.7259 | 93.55
|  | 659 | 93.7253 | 93.5494
|  | 658 | 93.7247 | 93.5488
|  | 657 | 93.724 | 93.5481
|  | 656 | 93.7234 | 93.5475
|  | 655 | 93.7228 | 93.5469
|  | 654 | 93.7222 | 93.5462
|  | 653 | 93.7216 | 93.5456
|  | 652 | 93.7209 | 93.545
|  | 651 | 93.7203 | 93.5443
|  | 650 | 93.7197 | 93.5437
|  | 649 | 93.7191 | 93.543
|  | 648 | 93.7185 | 93.5424
|  | 647 | 93.7178 | 93.5418
|  | 646 | 93.7172 | 93.5411
|  | 645 | 93.7166 | 93.5405
|  | 644 | 93.716 | 93.5398
|  | 643 | 93.7153 | 93.5392
|  | 642 | 93.7147 | 93.5386
|  | 641 | 93.7141 | 93.5379
|  | 640 | 93.7134 | 93.5373
|  | 639 | 93.7128 | 93.5366
|  | 638 | 93.7122 | 93.536
|  | 637 | 93.7116 | 93.5353
|  | 636 | 93.7109 | 93.5347
|  | 635 | 93.7103 | 93.534
|  | 634 | 93.7097 | 93.5334
|  | 633 | 93.709 | 93.5327
|  | 632 | 93.7084 | 93.5321
|  | 631 | 93.7078 | 93.5314
|  | 630 | 93.7071 | 93.5308
|  | 629 | 93.7065 | 93.5301
|  | 628 | 93.7058 | 93.5295
|  | 627 | 93.7052 | 93.5288
|  | 626 | 93.7046 | 93.5282
|  | 625 | 93.7039 | 93.5275
|  | 624 | 93.7033 | 93.5269
|  | 623 | 93.7027 | 93.5262
|  | 622 | 93.702 | 93.5256
|  | 621 | 93.7014 | 93.5249
|  | 620 | 93.7007 | 93.5243
|  | 619 | 93.7001 | 93.5236
|  | 618 | 93.6995 | 93.5229
|  | 617 | 93.6988 | 93.5223
|  | 616 | 93.6982 | 93.5216
|  | 615 | 93.6975 | 93.521
|  | 614 | 93.6969 | 93.5203
|  | 613 | 93.6962 | 93.5196
|  | 612 | 93.6956 | 93.519
|  | 611 | 93.6949 | 93.5183
|  | 610 | 93.6943 | 93.5177
|  | 609 | 93.6937 | 93.517
|  | 608 | 93.693 | 93.5163
|  | 607 | 93.6924 | 93.5157
|  | 606 | 93.6917 | 93.515
|  | 605 | 93.6911 | 93.5143
|  | 604 | 93.6904 | 93.5137
|  | 603 | 93.6898 | 93.513
|  | 602 | 93.6891 | 93.5123
|  | 601 | 93.6885 | 93.5117
|  | 600 | 93.6878 | 93.511
|  | 599 | 93.6872 | 93.5103
|  | 598 | 93.6865 | 93.5097
|  | 597 | 93.6858 | 93.509
|  | 596 | 93.6852 | 93.5083
|  | 595 | 93.6845 | 93.5076
|  | 594 | 93.6839 | 93.507
|  | 593 | 93.6832 | 93.5063
|  | 592 | 93.6826 | 93.5056
|  | 591 | 93.6819 | 93.505
|  | 590 | 93.6812 | 93.5043
|  | 589 | 93.6806 | 93.5036
|  | 588 | 93.6799 | 93.5029
|  | 587 | 93.6793 | 93.5023
|  | 586 | 93.6786 | 93.5016
|  | 585 | 93.6779 | 93.5009
|  | 584 | 93.6773 | 93.5002
|  | 583 | 93.6766 | 93.4995
|  | 582 | 93.676 | 93.4989
|  | 581 | 93.6753 | 93.4982
|  | 580 | 93.6746 | 93.4975
|  | 579 | 93.674 | 93.4968
|  | 578 | 93.6733 | 93.4961
|  | 577 | 93.6726 | 93.4955
|  | 576 | 93.672 | 93.4948
|  | 575 | 93.6713 | 93.4941
|  | 574 | 93.6706 | 93.4934
|  | 573 | 93.67 | 93.4927
|  | 572 | 93.6693 | 93.492
|  | 571 | 93.6686 | 93.4914
|  | 570 | 93.668 | 93.4907
|  | 569 | 93.6673 | 93.49
|  | 568 | 93.6666 | 93.4893
|  | 567 | 93.6659 | 93.4886
|  | 566 | 93.6653 | 93.4879
|  | 565 | 93.6646 | 93.4872
|  | 564 | 93.6639 | 93.4865
|  | 563 | 93.6632 | 93.4858
|  | 562 | 93.6626 | 93.4852
|  | 561 | 93.6619 | 93.4845
|  | 560 | 93.6612 | 93.4838
|  | 559 | 93.6605 | 93.4831
|  | 558 | 93.6599 | 93.4824
|  | 557 | 93.6592 | 93.4817
|  | 556 | 93.6585 | 93.481
|  | 555 | 93.6578 | 93.4803
|  | 554 | 93.6571 | 93.4796
|  | 553 | 93.6565 | 93.4789
|  | 552 | 93.6558 | 93.4782
|  | 551 | 93.6551 | 93.4775
|  | 550 | 93.6544 | 93.4768
|  | 549 | 93.6537 | 93.4761
|  | 548 | 93.6531 | 93.4754
|  | 547 | 93.6524 | 93.4747
|  | 546 | 93.6517 | 93.474
|  | 545 | 93.651 | 93.4733
|  | 544 | 93.6503 | 93.4726
|  | 543 | 93.6496 | 93.4719
|  | 542 | 93.6489 | 93.4712
|  | 541 | 93.6482 | 93.4705
|  | 540 | 93.6476 | 93.4698
|  | 539 | 93.6469 | 93.4691
|  | 538 | 93.6462 | 93.4684
|  | 537 | 93.6455 | 93.4677
|  | 536 | 93.6448 | 93.467
|  | 535 | 93.6441 | 93.4663
|  | 534 | 93.6434 | 93.4656
|  | 533 | 93.6427 | 93.4648
|  | 532 | 93.642 | 93.4641
|  | 531 | 93.6413 | 93.4634
|  | 530 | 93.6406 | 93.4627
|  | 529 | 93.64 | 93.462
|  | 528 | 93.6393 | 93.4613
|  | 527 | 93.6386 | 93.4606
|  | 526 | 93.6379 | 93.4599
|  | 525 | 93.6372 | 93.4592
|  | 524 | 93.6365 | 93.4584
|  | 523 | 93.6358 | 93.4577
|  | 522 | 93.6351 | 93.457
|  | 521 | 93.6344 | 93.4563
|  | 520 | 93.6337 | 93.4556
|  | 519 | 93.633 | 93.4549
|  | 518 | 93.6323 | 93.4541
|  | 517 | 93.6316 | 93.4534
|  | 516 | 93.6309 | 93.4527
|  | 515 | 93.6302 | 93.452
|  | 514 | 93.6295 | 93.4513
|  | 513 | 93.6288 | 93.4505
|  | 512 | 93.628 | 93.4498
|  | 511 | 93.6273 | 93.4491
|  | 510 | 93.6266 | 93.4484
|  | 509 | 93.6259 | 93.4477
|  | 508 | 93.6252 | 93.4469
|  | 507 | 93.6245 | 93.4462
|  | 506 | 93.6238 | 93.4455
|  | 505 | 93.6231 | 93.4448
|  | 504 | 93.6224 | 93.444
|  | 503 | 93.6217 | 93.4433
|  | 502 | 93.621 | 93.4426
|  | 501 | 93.6203 | 93.4418
|  | 500 | 93.6195 | 93.4411