## BP209-VIS Responsivity
|  | Wavelength (nm) | Responsivity (A/W)
|  | 200 | 0.12418
|  | 205 | 0.12493
|  | 210 | 0.12555
|  | 215 | 0.12535
Product Raw Data |  | 220 | 0.12594
Dual Scanning Slit Beam Profiler, 200 - 1100 nm, Ø2.5 µm - Ø9 mm |  | 225 | 0.12613
|  | 230 | 0.12822
Item # | BP209-VIS | 235 | 0.1335
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 240 | 0.13252
|  | 245 | 0.12783
|  | 250 | 0.12146
|  | 255 | 0.11535
|  | 260 | 0.10911
|  | 265 | 0.10317
|  | 270 | 0.097618
|  | 275 | 0.09642
|  | 280 | 0.098976
|  | 285 | 0.10426
|  | 290 | 0.1107
|  | 295 | 0.11906
|  | 300 | 0.1259
|  | 305 | 0.13086
|  | 310 | 0.13394
|  | 315 | 0.13686
|  | 320 | 0.13931
|  | 325 | 0.14092
|  | 330 | 0.14264
|  | 335 | 0.14367
|  | 340 | 0.1447
|  | 345 | 0.14532
|  | 350 | 0.14686
|  | 355 | 0.14477
|  | 360 | 0.14268
|  | 365 | 0.14266
|  | 370 | 0.14263
|  | 375 | 0.14822
|  | 380 | 0.1538
|  | 385 | 0.16065
|  | 390 | 0.16749
|  | 395 | 0.17274
|  | 400 | 0.17799
|  | 405 | 0.18271
|  | 410 | 0.18743
|  | 415 | 0.19172
|  | 420 | 0.19601
|  | 425 | 0.19987
|  | 430 | 0.20373
|  | 435 | 0.20739
|  | 440 | 0.21104
|  | 445 | 0.21451
|  | 450 | 0.21798
|  | 455 | 0.22136
|  | 460 | 0.22475
|  | 465 | 0.22804
|  | 470 | 0.23133
|  | 475 | 0.23455
|  | 480 | 0.23777
|  | 485 | 0.24092
|  | 490 | 0.24407
|  | 495 | 0.24715
|  | 500 | 0.25023
|  | 505 | 0.25326
|  | 510 | 0.2563
|  | 515 | 0.25927
|  | 520 | 0.26224
|  | 525 | 0.26523
|  | 530 | 0.26822
|  | 535 | 0.27121
|  | 540 | 0.27419
|  | 545 | 0.2771
|  | 550 | 0.28
|  | 555 | 0.28289
|  | 560 | 0.28577
|  | 565 | 0.28866
|  | 570 | 0.29156
|  | 575 | 0.29442
|  | 580 | 0.29727
|  | 585 | 0.30009
|  | 590 | 0.3029
|  | 595 | 0.30564
|  | 600 | 0.30839
|  | 605 | 0.31114
|  | 610 | 0.3139
|  | 615 | 0.31669
|  | 620 | 0.31948
|  | 625 | 0.32226
|  | 630 | 0.32504
|  | 635 | 0.32787
|  | 640 | 0.33069
|  | 645 | 0.33343
|  | 650 | 0.33617
|  | 655 | 0.33894
|  | 660 | 0.34172
|  | 665 | 0.34434
|  | 670 | 0.34697
|  | 675 | 0.34988
|  | 680 | 0.35278
|  | 685 | 0.35551
|  | 690 | 0.35824
|  | 695 | 0.36101
|  | 700 | 0.36377
|  | 705 | 0.36657
|  | 710 | 0.36937
|  | 715 | 0.37217
|  | 720 | 0.37498
|  | 725 | 0.37787
|  | 730 | 0.38076
|  | 735 | 0.38361
|  | 740 | 0.38646
|  | 745 | 0.38923
|  | 750 | 0.39201
|  | 755 | 0.39482
|  | 760 | 0.39762
|  | 765 | 0.40041
|  | 770 | 0.40321
|  | 775 | 0.40593
|  | 780 | 0.40866
|  | 785 | 0.41155
|  | 790 | 0.41443
|  | 795 | 0.41719
|  | 800 | 0.41994
|  | 805 | 0.42269
|  | 810 | 0.42543
|  | 815 | 0.42813
|  | 820 | 0.43083
|  | 825 | 0.43352
|  | 830 | 0.43621
|  | 835 | 0.439
|  | 840 | 0.4418
|  | 845 | 0.44447
|  | 850 | 0.44713
|  | 855 | 0.44991
|  | 860 | 0.45269
|  | 865 | 0.45537
|  | 870 | 0.45805
|  | 875 | 0.46083
|  | 880 | 0.4636
|  | 885 | 0.46624
|  | 890 | 0.46888
|  | 895 | 0.47157
|  | 900 | 0.47426
|  | 905 | 0.47704
|  | 910 | 0.47982
|  | 915 | 0.4824
|  | 920 | 0.48499
|  | 925 | 0.48759
|  | 930 | 0.49019
|  | 935 | 0.49245
|  | 940 | 0.49472
|  | 945 | 0.49651
|  | 950 | 0.49831
|  | 955 | 0.49954
|  | 960 | 0.50078
|  | 965 | 0.50057
|  | 970 | 0.50037
|  | 975 | 0.49866
|  | 980 | 0.49695
|  | 985 | 0.49257
|  | 990 | 0.48819
|  | 995 | 0.48045
|  | 1000 | 0.47271
|  | 1005 | 0.46106
|  | 1010 | 0.44941
|  | 1015 | 0.43307
|  | 1020 | 0.41673
|  | 1025 | 0.39563
|  | 1030 | 0.37452
|  | 1035 | 0.34884
|  | 1040 | 0.32316
|  | 1045 | 0.29635
|  | 1050 | 0.26954
|  | 1055 | 0.24214
|  | 1060 | 0.21474
|  | 1065 | 0.19466
|  | 1070 | 0.17458
|  | 1075 | 0.15891
|  | 1080 | 0.14324
|  | 1085 | 0.13036
|  | 1090 | 0.11748
|  | 1095 | 0.10563
|  | 1100 | 0.093785

## BP209-IR Responsivity
|  | Wavelength (nm) | Responsivity (A/W)
|  | 700 | 0.10556
|  | 705 | 0.10831
|  | 710 | 0.11105
|  | 715 | 0.11411
Product Raw Data |  | 720 | 0.11716
Dual Scanning Slit Beam Profiler, 900 - 1700 nm, Ø2.5 µm - Ø9 mm |  | 725 | 0.12033
|  | 730 | 0.1235
Item # | BP209-IR | 735 | 0.12676
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 740 | 0.13003
|  | 745 | 0.13338
|  | 750 | 0.13674
|  | 755 | 0.14027
|  | 760 | 0.1438
|  | 765 | 0.14749
|  | 770 | 0.15117
|  | 775 | 0.15501
|  | 780 | 0.15885
|  | 785 | 0.16307
|  | 790 | 0.1673
|  | 795 | 0.17179
|  | 800 | 0.17629
|  | 805 | 0.18091
|  | 810 | 0.18553
|  | 815 | 0.19059
|  | 820 | 0.19564
|  | 825 | 0.20142
|  | 830 | 0.2072
|  | 835 | 0.21361
|  | 840 | 0.22001
|  | 845 | 0.22796
|  | 850 | 0.23592
|  | 855 | 0.24544
|  | 860 | 0.25496
|  | 865 | 0.26476
|  | 870 | 0.27456
|  | 875 | 0.28399
|  | 880 | 0.29341
|  | 885 | 0.30247
|  | 890 | 0.31152
|  | 895 | 0.32125
|  | 900 | 0.33099
|  | 905 | 0.34253
|  | 910 | 0.35406
|  | 915 | 0.37174
|  | 920 | 0.38942
|  | 925 | 0.41448
|  | 930 | 0.43954
|  | 935 | 0.45994
|  | 940 | 0.48033
|  | 945 | 0.49274
|  | 950 | 0.50516
|  | 955 | 0.51246
|  | 960 | 0.51977
|  | 965 | 0.5242
|  | 970 | 0.52864
|  | 975 | 0.53216
|  | 980 | 0.53569
|  | 985 | 0.53961
|  | 990 | 0.54352
|  | 995 | 0.54777
|  | 1000 | 0.55202
|  | 1005 | 0.55689
|  | 1010 | 0.56175
|  | 1015 | 0.56692
|  | 1020 | 0.57208
|  | 1025 | 0.57814
|  | 1030 | 0.5842
|  | 1035 | 0.59034
|  | 1040 | 0.59649
|  | 1045 | 0.60332
|  | 1050 | 0.61016
|  | 1055 | 0.61688
|  | 1060 | 0.6236
|  | 1065 | 0.63013
|  | 1070 | 0.63666
|  | 1075 | 0.64346
|  | 1080 | 0.65026
|  | 1085 | 0.65717
|  | 1090 | 0.66408
|  | 1095 | 0.67076
|  | 1100 | 0.67743
|  | 1105 | 0.68335
|  | 1110 | 0.68926
|  | 1115 | 0.6952
|  | 1120 | 0.70114
|  | 1125 | 0.70668
|  | 1130 | 0.71222
|  | 1135 | 0.71748
|  | 1140 | 0.72274
|  | 1145 | 0.7279
|  | 1150 | 0.73306
|  | 1155 | 0.73759
|  | 1160 | 0.74212
|  | 1165 | 0.74653
|  | 1170 | 0.75094
|  | 1175 | 0.75486
|  | 1180 | 0.75879
|  | 1185 | 0.76257
|  | 1190 | 0.76634
|  | 1195 | 0.7702
|  | 1200 | 0.77405
|  | 1205 | 0.77779
|  | 1210 | 0.78153
|  | 1215 | 0.78521
|  | 1220 | 0.78888
|  | 1225 | 0.79234
|  | 1230 | 0.7958
|  | 1235 | 0.79955
|  | 1240 | 0.80329
|  | 1245 | 0.80706
|  | 1250 | 0.81083
|  | 1255 | 0.81447
|  | 1260 | 0.81812
|  | 1265 | 0.82192
|  | 1270 | 0.82572
|  | 1275 | 0.82957
|  | 1280 | 0.83342
|  | 1285 | 0.83717
|  | 1290 | 0.84093
|  | 1295 | 0.84456
|  | 1300 | 0.8482
|  | 1305 | 0.8523
|  | 1310 | 0.85641
|  | 1315 | 0.85993
|  | 1320 | 0.86345
|  | 1325 | 0.86729
|  | 1330 | 0.87114
|  | 1335 | 0.87438
|  | 1340 | 0.87763
|  | 1345 | 0.88078
|  | 1350 | 0.88392
|  | 1355 | 0.88711
|  | 1360 | 0.89029
|  | 1365 | 0.89411
|  | 1370 | 0.89794
|  | 1375 | 0.90157
|  | 1380 | 0.90521
|  | 1385 | 0.9077
|  | 1390 | 0.9102
|  | 1395 | 0.91197
|  | 1400 | 0.91374
|  | 1405 | 0.9162
|  | 1410 | 0.91866
|  | 1415 | 0.92142
|  | 1420 | 0.92419
|  | 1425 | 0.92684
|  | 1430 | 0.92948
|  | 1435 | 0.93203
|  | 1440 | 0.93459
|  | 1445 | 0.93724
|  | 1450 | 0.9399
|  | 1455 | 0.94173
|  | 1460 | 0.94356
|  | 1465 | 0.94412
|  | 1470 | 0.94467
|  | 1475 | 0.94588
|  | 1480 | 0.9471
|  | 1485 | 0.94892
|  | 1490 | 0.95074
|  | 1495 | 0.95252
|  | 1500 | 0.95431
|  | 1505 | 0.95532
|  | 1510 | 0.95633
|  | 1515 | 0.957
|  | 1520 | 0.95767
|  | 1525 | 0.95802
|  | 1530 | 0.95837
|  | 1535 | 0.95879
|  | 1540 | 0.95922
|  | 1545 | 0.95994
|  | 1550 | 0.96066
|  | 1555 | 0.96127
|  | 1560 | 0.96188
|  | 1565 | 0.96258
|  | 1570 | 0.96327
|  | 1575 | 0.96426
|  | 1580 | 0.96524
|  | 1585 | 0.9652
|  | 1590 | 0.96516
|  | 1595 | 0.9637
|  | 1600 | 0.96225
|  | 1605 | 0.9597
|  | 1610 | 0.95716
|  | 1615 | 0.95295
|  | 1620 | 0.94874
|  | 1625 | 0.94327
|  | 1630 | 0.93781
|  | 1635 | 0.93165
|  | 1640 | 0.9255
|  | 1645 | 0.91771
|  | 1650 | 0.90992
|  | 1655 | 0.89827
|  | 1660 | 0.88663
|  | 1665 | 0.83291
|  | 1670 | 0.77919
|  | 1675 | 0.66127
|  | 1680 | 0.54335
|  | 1685 | 0.44458
|  | 1690 | 0.3458
|  | 1695 | 0.28614
|  | 1700 | 0.22649
|  | 1705 | 0.18998
|  | 1710 | 0.15348
|  | 1715 | 0.1306
|  | 1720 | 0.10772
|  | 1725 | 0.092513
|  | 1730 | 0.077304
|  | 1735 | 0.06695
|  | 1740 | 0.056596
|  | 1745 | 0.049575
|  | 1750 | 0.042555
|  | 1755 | 0.037861
|  | 1760 | 0.033166
|  | 1765 | 0.029937
|  | 1770 | 0.026709
|  | 1775 | 0.024558
|  | 1780 | 0.022407
|  | 1785 | 0.020989
|  | 1790 | 0.01957
|  | 1795 | 0.018877
|  | 1800 | 0.018184

## BP209-IR2 Responsivity
|  | Wavelength (nm) | Responsivity (A/W)
|  | 800 | 0.33
|  | 850 | 0.32
|  | 900 | 0.34
|  | 950 | 0.37
Product Raw Data |  | 1000 | 0.41
Dual Scanning Slit Beam Profiler, 900 - 2700 nm, Ø2.5 µm - Ø9 mm |  | 1050 | 0.43
|  | 1100 | 0.47
Item # | BP209-IR2 | 1150 | 0.53
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1200 | 0.58
|  | 1250 | 0.64
|  | 1300 | 0.7
|  | 1350 | 0.75
|  | 1400 | 0.8
|  | 1450 | 0.85
|  | 1500 | 0.89
|  | 1550 | 0.93
|  | 1600 | 0.98
|  | 1650 | 1.05
|  | 1700 | 1.08
|  | 1750 | 1.11
|  | 1800 | 1.13
|  | 1850 | 1.15
|  | 1900 | 1.16
|  | 1950 | 1.17
|  | 2000 | 1.18
|  | 2050 | 1.18
|  | 2100 | 1.195
|  | 2150 | 1.2
|  | 2200 | 1.2
|  | 2250 | 1.19
|  | 2300 | 1.175
|  | 2350 | 1.16
|  | 2400 | 1.14
|  | 2450 | 1.1
|  | 2500 | 1
|  | 2550 | 0.88
|  | 2600 | 0.64
|  | 2650 | 0.33
|  | 2700 | 0.17
|  | 2750 | 0.07
|  | 2800 | 0.03