## Transmission
Collimation Adapter Transmission
|  | Wavelength (nm) | Transmission (%)
|  | 300 | 0.0269
|  | 301 | 0.0104
|  | 302 | 0.0107
|  | 303 | 0.0099
Product Raw Data |  | 304 | 0.0038
Collimation Adapter |  | 305 | 0.0137
Item # | LLG3A6, LLG5A6, LLG3A7, LLG5A7 | 306 | 0.0405
|  | 307 | 0.1231
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 308 | 0.3388
|  | 309 | 0.6835
|  | 310 | 1.2265
|  | 311 | 2.0725
|  | 312 | 3.2336
|  | 313 | 4.8003
This data may be used in publications. However, please cite Thorlabs as the source. |  | 314 | 6.8503
|  | 315 | 9.3121
|  | 316 | 12.1934
Additional Information: |  | 317 | 15.5155
This data was acquired using the LLG3A6 adapter and is a typical example of transmission through the lens assembly. Individual variations in transmission may occur. |  | 318 | 18.8808
|  | 319 | 22.701
|  | 320 | 26.8471
|  | 321 | 30.9897
|  | 322 | 35.1893
|  | 323 | 39.1842
|  | 324 | 43.1226
|  | 325 | 47.1114
|  | 326 | 50.9045
|  | 327 | 54.5018
|  | 328 | 57.9046
|  | 329 | 60.9904
|  | 330 | 64.2041
|  | 331 | 67.1284
|  | 332 | 69.6254
|  | 333 | 71.9618
|  | 334 | 74.2823
|  | 335 | 76.5638
|  | 336 | 78.7245
|  | 337 | 80.5648
|  | 338 | 82.1453
|  | 339 | 83.5047
|  | 340 | 85.037
|  | 341 | 86.3432
|  | 342 | 87.5193
|  | 343 | 88.4348
|  | 344 | 89.2491
|  | 345 | 90.1539
|  | 346 | 91.0512
|  | 347 | 91.7131
|  | 348 | 92.3585
|  | 349 | 92.9215
|  | 350 | 93.3676
|  | 351 | 93.8055
|  | 352 | 94.1361
|  | 353 | 94.5307
|  | 354 | 94.9169
|  | 355 | 95.159
|  | 356 | 95.2598
|  | 357 | 95.4242
|  | 358 | 95.5531
|  | 359 | 95.7132
|  | 360 | 95.997
|  | 361 | 95.9966
|  | 362 | 95.9144
|  | 363 | 96.0028
|  | 364 | 96.164
|  | 365 | 96.1525
|  | 366 | 96.0963
|  | 367 | 96.1088
|  | 368 | 96.0634
|  | 369 | 95.9244
|  | 370 | 95.9221
|  | 371 | 95.9504
|  | 372 | 95.7925
|  | 373 | 95.7366
|  | 374 | 95.5654
|  | 375 | 95.572
|  | 376 | 95.4117
|  | 377 | 95.2789
|  | 378 | 95.4238
|  | 379 | 95.3617
|  | 380 | 95.3819
|  | 381 | 95.3991
|  | 382 | 95.3905
|  | 383 | 95.5088
|  | 384 | 95.3434
|  | 385 | 95.3176
|  | 386 | 95.4094
|  | 387 | 95.517
|  | 388 | 95.4463
|  | 389 | 95.3855
|  | 390 | 95.4435
|  | 391 | 95.667
|  | 392 | 95.5139
|  | 393 | 95.6042
|  | 394 | 95.5367
|  | 395 | 95.4418
|  | 396 | 95.4701
|  | 397 | 95.4245
|  | 398 | 95.4692
|  | 399 | 95.4199
|  | 400 | 95.404
|  | 401 | 95.341
|  | 402 | 95.3917
|  | 403 | 95.3813
|  | 404 | 95.3251
|  | 405 | 95.2953
|  | 406 | 95.2837
|  | 407 | 95.323
|  | 408 | 95.3565
|  | 409 | 95.3217
|  | 410 | 95.3432
|  | 411 | 95.3141
|  | 412 | 95.3466
|  | 413 | 95.3083
|  | 414 | 95.4117
|  | 415 | 95.3012
|  | 416 | 95.273
|  | 417 | 95.287
|  | 418 | 95.3506
|  | 419 | 95.3126
|  | 420 | 95.2581
|  | 421 | 95.3267
|  | 422 | 95.3164
|  | 423 | 95.3456
|  | 424 | 95.383
|  | 425 | 95.4624
|  | 426 | 95.3745
|  | 427 | 95.3304
|  | 428 | 95.4076
|  | 429 | 95.4033
|  | 430 | 95.4225
|  | 431 | 95.42
|  | 432 | 95.3687
|  | 433 | 95.4242
|  | 434 | 95.4979
|  | 435 | 95.4906
|  | 436 | 95.3648
|  | 437 | 95.475
|  | 438 | 95.387
|  | 439 | 95.4123
|  | 440 | 95.3852
|  | 441 | 95.4737
|  | 442 | 95.3571
|  | 443 | 95.4279
|  | 444 | 95.3763
|  | 445 | 95.4295
|  | 446 | 95.4247
|  | 447 | 95.4576
|  | 448 | 95.5186
|  | 449 | 95.4323
|  | 450 | 95.4452
|  | 451 | 95.5216
|  | 452 | 95.6231
|  | 453 | 95.533
|  | 454 | 95.4991
|  | 455 | 95.4953
|  | 456 | 95.5014
|  | 457 | 95.6934
|  | 458 | 95.6706
|  | 459 | 95.562
|  | 460 | 95.6074
|  | 461 | 95.7416
|  | 462 | 95.7472
|  | 463 | 95.829
|  | 464 | 95.7012
|  | 465 | 95.7453
|  | 466 | 95.8563
|  | 467 | 95.7974
|  | 468 | 95.8165
|  | 469 | 95.6128
|  | 470 | 95.633
|  | 471 | 95.7089
|  | 472 | 95.6514
|  | 473 | 95.6457
|  | 474 | 95.6103
|  | 475 | 95.5262
|  | 476 | 95.5403
|  | 477 | 95.4896
|  | 478 | 95.5492
|  | 479 | 95.3876
|  | 480 | 95.4529
|  | 481 | 95.2853
|  | 482 | 95.2831
|  | 483 | 95.3911
|  | 484 | 95.359
|  | 485 | 95.5069
|  | 486 | 95.4194
|  | 487 | 95.3691
|  | 488 | 95.5749
|  | 489 | 95.4665
|  | 490 | 95.5005
|  | 491 | 95.5234
|  | 492 | 95.4925
|  | 493 | 95.5486
|  | 494 | 95.6283
|  | 495 | 95.608
|  | 496 | 95.5922
|  | 497 | 95.6958
|  | 498 | 95.7203
|  | 499 | 95.7087
|  | 500 | 95.7544
|  | 501 | 95.7575
|  | 502 | 95.8247
|  | 503 | 95.9438
|  | 504 | 96.0592
|  | 505 | 95.9849
|  | 506 | 96.012
|  | 507 | 95.9886
|  | 508 | 96.0139
|  | 509 | 96.0277
|  | 510 | 96.0406
|  | 511 | 95.9631
|  | 512 | 96.0775
|  | 513 | 95.9397
|  | 514 | 96.0456
|  | 515 | 95.9796
|  | 516 | 96.0361
|  | 517 | 95.9602
|  | 518 | 95.8944
|  | 519 | 95.8316
|  | 520 | 95.7756
|  | 521 | 95.8207
|  | 522 | 95.7343
|  | 523 | 95.8006
|  | 524 | 95.7537
|  | 525 | 95.6091
|  | 526 | 95.6776
|  | 527 | 95.6713
|  | 528 | 95.5513
|  | 529 | 95.5312
|  | 530 | 95.587
|  | 531 | 95.4927
|  | 532 | 95.3926
|  | 533 | 95.4057
|  | 534 | 95.4749
|  | 535 | 95.4116
|  | 536 | 95.4872
|  | 537 | 95.5228
|  | 538 | 95.4828
|  | 539 | 95.5127
|  | 540 | 95.4503
|  | 541 | 95.5685
|  | 542 | 95.5816
|  | 543 | 95.564
|  | 544 | 95.5755
|  | 545 | 95.517
|  | 546 | 95.5644
|  | 547 | 95.7086
|  | 548 | 95.6797
|  | 549 | 95.6521
|  | 550 | 95.6794
|  | 551 | 95.7254
|  | 552 | 95.7576
|  | 553 | 95.8072
|  | 554 | 95.865
|  | 555 | 95.854
|  | 556 | 95.8058
|  | 557 | 95.8868
|  | 558 | 95.8833
|  | 559 | 95.9462
|  | 560 | 95.9361
|  | 561 | 96.0022
|  | 562 | 95.8829
|  | 563 | 95.8278
|  | 564 | 95.9044
|  | 565 | 95.8416
|  | 566 | 95.9157
|  | 567 | 96.0213
|  | 568 | 96.0431
|  | 569 | 96.1041
|  | 570 | 96.0774
|  | 571 | 96.1125
|  | 572 | 96.1268
|  | 573 | 96.126
|  | 574 | 96.1374
|  | 575 | 96.19
|  | 576 | 96.2245
|  | 577 | 96.2336
|  | 578 | 96.3188
|  | 579 | 96.3563
|  | 580 | 96.348
|  | 581 | 96.4082
|  | 582 | 96.3904
|  | 583 | 96.488
|  | 584 | 96.4758
|  | 585 | 96.5682
|  | 586 | 96.5572
|  | 587 | 96.6213
|  | 588 | 96.6244
|  | 589 | 96.6174
|  | 590 | 96.5828
|  | 591 | 96.6605
|  | 592 | 96.7151
|  | 593 | 96.6569
|  | 594 | 96.7812
|  | 595 | 96.7507
|  | 596 | 96.798
|  | 597 | 96.7576
|  | 598 | 96.806
|  | 599 | 96.8345
|  | 600 | 96.8389
|  | 601 | 96.8032
|  | 602 | 96.9099
|  | 603 | 96.9802
|  | 604 | 96.9964
|  | 605 | 96.9885
|  | 606 | 97.0147
|  | 607 | 97.0006
|  | 608 | 96.9571
|  | 609 | 97.0306
|  | 610 | 97.0452
|  | 611 | 97.0981
|  | 612 | 97.1049
|  | 613 | 97.1118
|  | 614 | 97.1699
|  | 615 | 97.1608
|  | 616 | 97.1666
|  | 617 | 97.1406
|  | 618 | 97.1636
|  | 619 | 97.2122
|  | 620 | 97.2472
|  | 621 | 97.3173
|  | 622 | 97.298
|  | 623 | 97.2083
|  | 624 | 97.2511
|  | 625 | 97.2931
|  | 626 | 97.2867
|  | 627 | 97.2994
|  | 628 | 97.2662
|  | 629 | 97.221
|  | 630 | 97.1942
|  | 631 | 97.2743
|  | 632 | 97.2852
|  | 633 | 97.2477
|  | 634 | 97.3007
|  | 635 | 97.2754
|  | 636 | 97.2825
|  | 637 | 97.2846
|  | 638 | 97.2165
|  | 639 | 97.2725
|  | 640 | 97.3591
|  | 641 | 97.3679
|  | 642 | 97.3276
|  | 643 | 97.3478
|  | 644 | 97.3085
|  | 645 | 97.2762
|  | 646 | 97.2371
|  | 647 | 97.1502
|  | 648 | 97.2228
|  | 649 | 97.2267
|  | 650 | 97.1462
|  | 651 | 97.1925
|  | 652 | 97.2557
|  | 653 | 97.2916
|  | 654 | 97.2264
|  | 655 | 97.2047
|  | 656 | 97.1729
|  | 657 | 97.1556
|  | 658 | 97.116
|  | 659 | 97.0954
|  | 660 | 97.1285
|  | 661 | 97.1223
|  | 662 | 97.0925
|  | 663 | 97.0831
|  | 664 | 97.0975
|  | 665 | 97.0984
|  | 666 | 97.091
|  | 667 | 97.1574
|  | 668 | 97.125
|  | 669 | 97.0636
|  | 670 | 97.0401
|  | 671 | 97.0346
|  | 672 | 97.011
|  | 673 | 96.9614
|  | 674 | 96.9402
|  | 675 | 96.9423
|  | 676 | 96.9386
|  | 677 | 96.8828
|  | 678 | 96.856
|  | 679 | 96.8934
|  | 680 | 96.848
|  | 681 | 96.7777
|  | 682 | 96.7621
|  | 683 | 96.7442
|  | 684 | 96.7143
|  | 685 | 96.7363
|  | 686 | 96.6568
|  | 687 | 96.5892
|  | 688 | 96.682
|  | 689 | 96.5881
|  | 690 | 96.4663
|  | 691 | 96.4869
|  | 692 | 96.4445
|  | 693 | 96.4169
|  | 694 | 96.3252
|  | 695 | 96.2182
|  | 696 | 96.2353
|  | 697 | 96.2811
|  | 698 | 96.2333
|  | 699 | 96.1787
|  | 700 | 96.1379
|  | 701 | 96.0284
|  | 702 | 95.9994
|  | 703 | 96.0258
|  | 704 | 95.9348
|  | 705 | 95.8482
|  | 706 | 95.8945
|  | 707 | 95.7996
|  | 708 | 95.6239
|  | 709 | 95.6298
|  | 710 | 95.6636
|  | 711 | 95.5405
|  | 712 | 95.5561
|  | 713 | 95.5101
|  | 714 | 95.3682
|  | 715 | 95.4076
|  | 716 | 95.3852
|  | 717 | 95.3157
|  | 718 | 95.2366
|  | 719 | 95.2522
|  | 720 | 95.1942
|  | 721 | 95.1273
|  | 722 | 94.9802
|  | 723 | 94.843
|  | 724 | 94.8533
|  | 725 | 94.8456
|  | 726 | 94.7843
|  | 727 | 94.8526
|  | 728 | 94.7382
|  | 729 | 94.6456
|  | 730 | 94.6026
|  | 731 | 94.4971
|  | 732 | 94.4192
|  | 733 | 94.3856
|  | 734 | 94.3222
|  | 735 | 94.2918
|  | 736 | 94.2662
|  | 737 | 94.2219
|  | 738 | 94.1264
|  | 739 | 93.9586
|  | 740 | 93.927
|  | 741 | 93.8821
|  | 742 | 93.8474
|  | 743 | 93.768
|  | 744 | 93.7418
|  | 745 | 93.6927
|  | 746 | 93.6265
|  | 747 | 93.5487
|  | 748 | 93.4761
|  | 749 | 93.4241
|  | 750 | 93.2656
|  | 751 | 93.2165
|  | 752 | 93.1366
|  | 753 | 93.0428
|  | 754 | 93.0219
|  | 755 | 92.9013
|  | 756 | 92.8709
|  | 757 | 92.8485
|  | 758 | 92.7388
|  | 759 | 92.5776
|  | 760 | 92.5534
|  | 761 | 92.5089
|  | 762 | 92.4597
|  | 763 | 92.2082
|  | 764 | 92.2475
|  | 765 | 92.1176
|  | 766 | 92.1144
|  | 767 | 91.9454
|  | 768 | 91.8672
|  | 769 | 91.8203
|  | 770 | 91.79
|  | 771 | 91.6094
|  | 772 | 91.5834
|  | 773 | 91.4167
|  | 774 | 91.3241
|  | 775 | 91.2748
|  | 776 | 91.1687
|  | 777 | 91.1363
|  | 778 | 90.997
|  | 779 | 90.833
|  | 780 | 90.728
|  | 781 | 90.8539
|  | 782 | 90.5923
|  | 783 | 90.4516
|  | 784 | 90.4234
|  | 785 | 90.3409
|  | 786 | 90.2702
|  | 787 | 90.2903
|  | 788 | 90.0558
|  | 789 | 90.0294
|  | 790 | 89.9436
|  | 791 | 89.8164
|  | 792 | 89.5856
|  | 793 | 89.3629
|  | 794 | 89.4156
|  | 795 | 89.413
|  | 796 | 89.3633
|  | 797 | 89.104
|  | 798 | 88.9859
|  | 799 | 88.9762
|  | 800 | 88.8856
|  | 801 | 88.7967
|  | 802 | 88.7641
|  | 803 | 88.4911
|  | 804 | 88.3388
|  | 805 | 88.2605
|  | 806 | 88.4317
|  | 807 | 88.3461
|  | 808 | 88.0526
|  | 809 | 88.0023
|  | 810 | 87.8489
|  | 811 | 87.8693
|  | 812 | 87.6529
|  | 813 | 87.5053
|  | 814 | 87.4519
|  | 815 | 87.3237
|  | 816 | 87.3326
|  | 817 | 87.284
|  | 818 | 87.2123
|  | 819 | 86.8546
|  | 820 | 86.7604
|  | 821 | 86.8277
|  | 822 | 86.7389
|  | 823 | 86.475
|  | 824 | 86.499
|  | 825 | 86.3521
|  | 826 | 86.2117
|  | 827 | 86.0735
|  | 828 | 86.1023
|  | 829 | 85.8351
|  | 830 | 86.0047
|  | 831 | 85.8841
|  | 832 | 85.6059
|  | 833 | 85.4469
|  | 834 | 85.4019
|  | 835 | 85.2003
|  | 836 | 85.2125
|  | 837 | 85.2159
|  | 838 | 85.1784
|  | 839 | 84.836
|  | 840 | 85.0238
|  | 841 | 84.6927
|  | 842 | 84.6617
|  | 843 | 84.697
|  | 844 | 84.6611
|  | 845 | 84.4337
|  | 846 | 84.4766
|  | 847 | 84.4403
|  | 848 | 84.1891
|  | 849 | 84.1845
|  | 850 | 83.7031
|  | 851 | 83.6864
|  | 852 | 83.8109
|  | 853 | 84.062
|  | 854 | 83.8386
|  | 855 | 84.017
|  | 856 | 83.4214
|  | 857 | 84.2431
|  | 858 | 83.4006
|  | 859 | 83.0027
|  | 860 | 83.4352
|  | 861 | 83.6356
|  | 862 | 82.3898
|  | 863 | 82.7371
|  | 864 | 83.0007
|  | 865 | 83.9942
|  | 866 | 82.1149
|  | 867 | 82.7567
|  | 868 | 81.6448
|  | 869 | 81.3244
|  | 870 | 82.5122
|  | 871 | 83.0266
|  | 872 | 82.3771
|  | 873 | 80.9469
|  | 874 | 82.5907
|  | 875 | 81.0231
|  | 876 | 81.5466
|  | 877 | 82.2505
|  | 878 | 80.6451
|  | 879 | 81.042
|  | 880 | 81.535
|  | 881 | 80.4785
|  | 882 | 80.8773
|  | 883 | 81.982
|  | 884 | 80.4531
|  | 885 | 80.5213
|  | 886 | 80.981
|  | 887 | 80.9541
|  | 888 | 80.7257
|  | 889 | 80.1768
|  | 890 | 80.7288
|  | 891 | 80.1949
|  | 892 | 80.2113
|  | 893 | 79.5296
|  | 894 | 80.5163
|  | 895 | 80.0727
|  | 896 | 79.67
|  | 897 | 79.6577
|  | 898 | 79.9385
|  | 899 | 79.4468
|  | 900 | 79.1463
|  | 901 | 79.9398
|  | 902 | 79.3964
|  | 903 | 79.2838
|  | 904 | 79.2769
|  | 905 | 79.0519
|  | 906 | 78.9649
|  | 907 | 79.1624
|  | 908 | 78.9311
|  | 909 | 79.0627
|  | 910 | 78.6788
|  | 911 | 78.2294
|  | 912 | 78.3041
|  | 913 | 79.0031
|  | 914 | 78.385
|  | 915 | 78.159
|  | 916 | 78.2262
|  | 917 | 77.7588
|  | 918 | 78.2525
|  | 919 | 78.3099
|  | 920 | 78.014
|  | 921 | 77.983
|  | 922 | 77.7521
|  | 923 | 77.4288
|  | 924 | 77.6408
|  | 925 | 77.8039
|  | 926 | 77.3541
|  | 927 | 77.3573
|  | 928 | 77.2355
|  | 929 | 77.0083
|  | 930 | 77.0058
|  | 931 | 77.363
|  | 932 | 77.0931
|  | 933 | 76.8888
|  | 934 | 76.739
|  | 935 | 76.5252
|  | 936 | 76.814
|  | 937 | 76.6623
|  | 938 | 76.5016
|  | 939 | 76.4328
|  | 940 | 76.6161
|  | 941 | 76.1599
|  | 942 | 76.3303
|  | 943 | 76.2441
|  | 944 | 76.2514
|  | 945 | 75.9711
|  | 946 | 75.7059
|  | 947 | 75.9331
|  | 948 | 75.8673
|  | 949 | 75.9723
|  | 950 | 75.736
|  | 951 | 75.3827
|  | 952 | 75.6298
|  | 953 | 75.3495
|  | 954 | 75.4205
|  | 955 | 75.4855
|  | 956 | 75.2369
|  | 957 | 75.0621
|  | 958 | 75.1504
|  | 959 | 74.9903
|  | 960 | 75.0258
|  | 961 | 74.9972
|  | 962 | 74.8092
|  | 963 | 74.7221
|  | 964 | 74.8174
|  | 965 | 74.4388
|  | 966 | 74.589
|  | 967 | 74.6536
|  | 968 | 74.4557
|  | 969 | 74.1563
|  | 970 | 74.3306
|  | 971 | 74.1471
|  | 972 | 74.1061
|  | 973 | 74.1339
|  | 974 | 73.9595
|  | 975 | 73.8096
|  | 976 | 73.9682
|  | 977 | 73.7432
|  | 978 | 73.7059
|  | 979 | 73.7763
|  | 980 | 73.6898
|  | 981 | 73.6881
|  | 982 | 73.524
|  | 983 | 73.3767
|  | 984 | 73.4747
|  | 985 | 73.4093
|  | 986 | 73.3329
|  | 987 | 73.3744
|  | 988 | 73.1872
|  | 989 | 72.9309
|  | 990 | 73.0223
|  | 991 | 73.0767
|  | 992 | 72.9827
|  | 993 | 72.9165
|  | 994 | 72.9647
|  | 995 | 72.8149
|  | 996 | 72.7398
|  | 997 | 72.7411
|  | 998 | 72.6918
|  | 999 | 72.6952
|  | 1000 | 72.5931
|  | 1001 | 72.4548
|  | 1002 | 72.4517
|  | 1003 | 72.4625
|  | 1004 | 72.2993
|  | 1005 | 72.2545
|  | 1006 | 72.1608
|  | 1007 | 72.043
|  | 1008 | 72.177
|  | 1009 | 72.0663
|  | 1010 | 72.0481
|  | 1011 | 71.9665
|  | 1012 | 71.8897
|  | 1013 | 71.8226
|  | 1014 | 71.7223
|  | 1015 | 71.8524
|  | 1016 | 71.6652
|  | 1017 | 71.5572
|  | 1018 | 71.5134
|  | 1019 | 71.5071
|  | 1020 | 71.4699
|  | 1021 | 71.4696
|  | 1022 | 71.4189
|  | 1023 | 71.2024
|  | 1024 | 71.181
|  | 1025 | 71.2028
|  | 1026 | 71.0912
|  | 1027 | 71.1897
|  | 1028 | 71.121
|  | 1029 | 70.9356
|  | 1030 | 70.9725
|  | 1031 | 70.9452
|  | 1032 | 70.8553
|  | 1033 | 70.8445
|  | 1034 | 70.7871
|  | 1035 | 70.6408
|  | 1036 | 70.5615
|  | 1037 | 70.5877
|  | 1038 | 70.6076
|  | 1039 | 70.5614
|  | 1040 | 70.4291
|  | 1041 | 70.3996
|  | 1042 | 70.402
|  | 1043 | 70.207
|  | 1044 | 70.1924
|  | 1045 | 70.2755
|  | 1046 | 70.2138
|  | 1047 | 70.1636
|  | 1048 | 70.107
|  | 1049 | 70.1089
|  | 1050 | 70.0472
|  | 1051 | 69.9515
|  | 1052 | 69.7973
|  | 1053 | 69.8183
|  | 1054 | 69.8869
|  | 1055 | 69.7873
|  | 1056 | 69.7334
|  | 1057 | 69.6332
|  | 1058 | 69.6018
|  | 1059 | 69.608
|  | 1060 | 69.5706
|  | 1061 | 69.5497
|  | 1062 | 69.4737
|  | 1063 | 69.3606
|  | 1064 | 69.3136
|  | 1065 | 69.3347
|  | 1066 | 69.3153
|  | 1067 | 69.213
|  | 1068 | 69.1394
|  | 1069 | 69.2053
|  | 1070 | 69.16
|  | 1071 | 69.0749
|  | 1072 | 68.9705
|  | 1073 | 68.934
|  | 1074 | 68.9679
|  | 1075 | 68.8418
|  | 1076 | 68.7854
|  | 1077 | 68.8727
|  | 1078 | 68.776
|  | 1079 | 68.6479
|  | 1080 | 68.6591
|  | 1081 | 68.6371
|  | 1082 | 68.5767
|  | 1083 | 68.5406
|  | 1084 | 68.457
|  | 1085 | 68.4872
|  | 1086 | 68.4481
|  | 1087 | 68.2901
|  | 1088 | 68.3399
|  | 1089 | 68.3989
|  | 1090 | 68.242
|  | 1091 | 68.2105
|  | 1092 | 68.2157
|  | 1093 | 68.1631
|  | 1094 | 68.2062
|  | 1095 | 68.1643
|  | 1096 | 68.0667
|  | 1097 | 68.0381
|  | 1098 | 68.0066
|  | 1099 | 67.9476
|  | 1100 | 67.9177
|  | 1101 | 67.8425
|  | 1102 | 67.8032
|  | 1103 | 67.7428
|  | 1104 | 67.7408
|  | 1105 | 67.6699
|  | 1106 | 67.6726
|  | 1107 | 67.6044
|  | 1108 | 67.5688
|  | 1109 | 67.5174
|  | 1110 | 67.5389
|  | 1111 | 67.4624
|  | 1112 | 67.4101
|  | 1113 | 67.4624
|  | 1114 | 67.3728
|  | 1115 | 67.3034
|  | 1116 | 67.3571
|  | 1117 | 67.2943
|  | 1118 | 67.2204
|  | 1119 | 67.1923
|  | 1120 | 67.1437
|  | 1121 | 67.1302
|  | 1122 | 67.1872
|  | 1123 | 67.0579
|  | 1124 | 67.0306
|  | 1125 | 67.0782
|  | 1126 | 66.9697
|  | 1127 | 66.8922
|  | 1128 | 66.9584
|  | 1129 | 66.8844
|  | 1130 | 66.8591
|  | 1131 | 66.8335
|  | 1132 | 66.7909
|  | 1133 | 66.7256
|  | 1134 | 66.7265
|  | 1135 | 66.7294
|  | 1136 | 66.6609
|  | 1137 | 66.6711
|  | 1138 | 66.6092
|  | 1139 | 66.5192
|  | 1140 | 66.6083
|  | 1141 | 66.5308
|  | 1142 | 66.4314
|  | 1143 | 66.4539
|  | 1144 | 66.3623
|  | 1145 | 66.3296
|  | 1146 | 66.3892
|  | 1147 | 66.277
|  | 1148 | 66.2475
|  | 1149 | 66.2355
|  | 1150 | 66.2054
|  | 1151 | 66.1352
|  | 1152 | 66.2006
|  | 1153 | 66.068
|  | 1154 | 66.1341
|  | 1155 | 66.0741
|  | 1156 | 66.0586
|  | 1157 | 65.9343
|  | 1158 | 66.0292
|  | 1159 | 65.978
|  | 1160 | 65.8807
|  | 1161 | 65.9496
|  | 1162 | 65.8484
|  | 1163 | 65.7625
|  | 1164 | 65.7753
|  | 1165 | 65.7296
|  | 1166 | 65.7695
|  | 1167 | 65.7999
|  | 1168 | 65.687
|  | 1169 | 65.6977
|  | 1170 | 65.6118
|  | 1171 | 65.5951
|  | 1172 | 65.4948
|  | 1173 | 65.572
|  | 1174 | 65.5739
|  | 1175 | 65.4398
|  | 1176 | 65.435
|  | 1177 | 65.4307
|  | 1178 | 65.4316
|  | 1179 | 65.419
|  | 1180 | 65.3937
|  | 1181 | 65.2983
|  | 1182 | 65.2523
|  | 1183 | 65.2906
|  | 1184 | 65.2785
|  | 1185 | 65.2443
|  | 1186 | 65.2032
|  | 1187 | 65.1299
|  | 1188 | 65.1634
|  | 1189 | 65.1534
|  | 1190 | 65.1444
|  | 1191 | 65.1027
|  | 1192 | 64.9994
|  | 1193 | 65.0367
|  | 1194 | 65.049
|  | 1195 | 64.9596
|  | 1196 | 65.0275
|  | 1197 | 65.0051
|  | 1198 | 64.9906
|  | 1199 | 64.9569
|  | 1200 | 64.9109
|  | 1201 | 64.9452
|  | 1202 | 64.9356
|  | 1203 | 64.9298
|  | 1204 | 64.8685
|  | 1205 | 64.8809
|  | 1206 | 64.8082
|  | 1207 | 64.8831
|  | 1208 | 64.7605
|  | 1209 | 64.7343
|  | 1210 | 64.7389
|  | 1211 | 64.7112
|  | 1212 | 64.6717
|  | 1213 | 64.7386
|  | 1214 | 64.6194
|  | 1215 | 64.7993
|  | 1216 | 64.5497
|  | 1217 | 64.5959
|  | 1218 | 64.6731
|  | 1219 | 64.5861
|  | 1220 | 64.6137
|  | 1221 | 64.6156
|  | 1222 | 64.5366
|  | 1223 | 64.495
|  | 1224 | 64.6221
|  | 1225 | 64.5959
|  | 1226 | 64.5521
|  | 1227 | 64.413
|  | 1228 | 64.4644
|  | 1229 | 64.4329
|  | 1230 | 64.4132
|  | 1231 | 64.3637
|  | 1232 | 64.3925
|  | 1233 | 64.3932
|  | 1234 | 64.3088
|  | 1235 | 64.2325
|  | 1236 | 64.4352
|  | 1237 | 64.2857
|  | 1238 | 64.3345
|  | 1239 | 64.2995
|  | 1240 | 64.1586
|  | 1241 | 64.2958
|  | 1242 | 64.3317
|  | 1243 | 64.1844
|  | 1244 | 64.1338
|  | 1245 | 64.1308
|  | 1246 | 64.0878
|  | 1247 | 64.181
|  | 1248 | 64.1676
|  | 1249 | 64.1425
|  | 1250 | 64.0711
|  | 1251 | 63.9791
|  | 1252 | 64.0247
|  | 1253 | 63.9482
|  | 1254 | 64.0634
|  | 1255 | 64.0138
|  | 1256 | 64.0577
|  | 1257 | 63.9016
|  | 1258 | 63.9208
|  | 1259 | 63.9276
|  | 1260 | 64.0624
|  | 1261 | 63.9511
|  | 1262 | 63.872
|  | 1263 | 63.9591
|  | 1264 | 63.8384
|  | 1265 | 63.9152
|  | 1266 | 63.9577
|  | 1267 | 63.8661
|  | 1268 | 63.8409
|  | 1269 | 63.8767
|  | 1270 | 63.7436
|  | 1271 | 63.8297
|  | 1272 | 63.8162
|  | 1273 | 63.7507
|  | 1274 | 63.6998
|  | 1275 | 63.7916
|  | 1276 | 63.6887
|  | 1277 | 63.8411
|  | 1278 | 63.8608
|  | 1279 | 63.7173
|  | 1280 | 63.8249
|  | 1281 | 63.7971
|  | 1282 | 63.7288
|  | 1283 | 63.7571
|  | 1284 | 63.726
|  | 1285 | 63.6093
|  | 1286 | 63.6373
|  | 1287 | 63.6732
|  | 1288 | 63.6286
|  | 1289 | 63.6659
|  | 1290 | 63.6795
|  | 1291 | 63.5754
|  | 1292 | 63.5822
|  | 1293 | 63.5927
|  | 1294 | 63.5474
|  | 1295 | 63.6271
|  | 1296 | 63.6046
|  | 1297 | 63.4653
|  | 1298 | 63.5607
|  | 1299 | 63.5754
|  | 1300 | 63.5286
|  | 1301 | 63.5791
|  | 1302 | 63.5135
|  | 1303 | 63.4247
|  | 1304 | 63.464
|  | 1305 | 63.4849
|  | 1306 | 63.4074
|  | 1307 | 63.4288
|  | 1308 | 63.5188
|  | 1309 | 63.4261
|  | 1310 | 63.4371
|  | 1311 | 63.4015
|  | 1312 | 63.4048
|  | 1313 | 63.4673
|  | 1314 | 63.4127
|  | 1315 | 63.3263
|  | 1316 | 63.3432
|  | 1317 | 63.3557
|  | 1318 | 63.3226
|  | 1319 | 63.4027
|  | 1320 | 63.3597
|  | 1321 | 63.2325
|  | 1322 | 63.2684
|  | 1323 | 63.3166
|  | 1324 | 63.2865
|  | 1325 | 63.2939
|  | 1326 | 63.34
|  | 1327 | 63.2354
|  | 1328 | 63.1948
|  | 1329 | 63.2562
|  | 1330 | 63.1653
|  | 1331 | 63.2038
|  | 1332 | 63.1946
|  | 1333 | 63.1354
|  | 1334 | 63.147
|  | 1335 | 63.1237
|  | 1336 | 63.0858
|  | 1337 | 63.0983
|  | 1338 | 63.1624
|  | 1339 | 63.0884
|  | 1340 | 63.0536
|  | 1341 | 63.1156
|  | 1342 | 63.0904
|  | 1343 | 63.0807
|  | 1344 | 63.091
|  | 1345 | 63.013
|  | 1346 | 62.9448
|  | 1347 | 62.9799
|  | 1348 | 62.9586
|  | 1349 | 63.0524
|  | 1350 | 62.9881
|  | 1351 | 62.9323
|  | 1352 | 62.9511
|  | 1353 | 62.9595
|  | 1354 | 62.9474
|  | 1355 | 62.9677
|  | 1356 | 62.9527
|  | 1357 | 62.8783
|  | 1358 | 62.8101
|  | 1359 | 62.8912
|  | 1360 | 62.876
|  | 1361 | 62.9168
|  | 1362 | 62.9465
|  | 1363 | 62.8875
|  | 1364 | 62.8293
|  | 1365 | 62.8128
|  | 1366 | 62.789
|  | 1367 | 62.8924
|  | 1368 | 62.823
|  | 1369 | 62.6893
|  | 1370 | 62.6744
|  | 1371 | 62.8122
|  | 1372 | 62.7742
|  | 1373 | 62.6963
|  | 1374 | 62.7133
|  | 1375 | 62.6082
|  | 1376 | 62.5314
|  | 1377 | 62.5321
|  | 1378 | 62.3891
|  | 1379 | 62.3761
|  | 1380 | 62.371
|  | 1381 | 62.2233
|  | 1382 | 62.2848
|  | 1383 | 62.1469
|  | 1384 | 62.0081
|  | 1385 | 61.9698
|  | 1386 | 61.8786
|  | 1387 | 61.7723
|  | 1388 | 61.7373
|  | 1389 | 61.6093
|  | 1390 | 61.382
|  | 1391 | 61.302
|  | 1392 | 61.2771
|  | 1393 | 61.151
|  | 1394 | 61.1205
|  | 1395 | 60.9717
|  | 1396 | 60.7938
|  | 1397 | 60.6711
|  | 1398 | 60.5465
|  | 1399 | 60.5089
|  | 1400 | 60.3878
|  | 1401 | 60.3194
|  | 1402 | 60.234
|  | 1403 | 60.1264
|  | 1404 | 59.9924
|  | 1405 | 60.03
|  | 1406 | 60.0298
|  | 1407 | 59.8265
|  | 1408 | 59.7265
|  | 1409 | 59.7406
|  | 1410 | 59.7225
|  | 1411 | 59.7808
|  | 1412 | 59.7063
|  | 1413 | 59.6998
|  | 1414 | 59.7445
|  | 1415 | 59.7396
|  | 1416 | 59.7102
|  | 1417 | 59.7703
|  | 1418 | 59.8145
|  | 1419 | 59.7754
|  | 1420 | 59.7657
|  | 1421 | 59.7939
|  | 1422 | 59.7824
|  | 1423 | 59.9045
|  | 1424 | 59.9707
|  | 1425 | 59.9112
|  | 1426 | 59.9625
|  | 1427 | 60.0326
|  | 1428 | 60.0331
|  | 1429 | 60.1773
|  | 1430 | 60.2053
|  | 1431 | 60.1758
|  | 1432 | 60.2103
|  | 1433 | 60.2039
|  | 1434 | 60.2414
|  | 1435 | 60.4035
|  | 1436 | 60.4799
|  | 1437 | 60.3802
|  | 1438 | 60.4311
|  | 1439 | 60.5017
|  | 1440 | 60.5075
|  | 1441 | 60.6636
|  | 1442 | 60.6164
|  | 1443 | 60.5963
|  | 1444 | 60.6494
|  | 1445 | 60.636
|  | 1446 | 60.7162
|  | 1447 | 60.8354
|  | 1448 | 60.8754
|  | 1449 | 60.7944
|  | 1450 | 60.7361
|  | 1451 | 60.9092
|  | 1452 | 60.974
|  | 1453 | 60.9829
|  | 1454 | 61.0397
|  | 1455 | 61.0398
|  | 1456 | 61.0135
|  | 1457 | 61.0327
|  | 1458 | 61.1399
|  | 1459 | 61.1656
|  | 1460 | 61.0817
|  | 1461 | 61.0761
|  | 1462 | 61.1821
|  | 1463 | 61.2607
|  | 1464 | 61.2892
|  | 1465 | 61.3059
|  | 1466 | 61.2146
|  | 1467 | 61.2604
|  | 1468 | 61.2631
|  | 1469 | 61.2989
|  | 1470 | 61.4768
|  | 1471 | 61.5316
|  | 1472 | 61.4132
|  | 1473 | 61.3088
|  | 1474 | 61.4266
|  | 1475 | 61.5303
|  | 1476 | 61.5333
|  | 1477 | 61.5048
|  | 1478 | 61.4513
|  | 1479 | 61.5533
|  | 1480 | 61.6183
|  | 1481 | 61.5779
|  | 1482 | 61.5234
|  | 1483 | 61.5218
|  | 1484 | 61.5009
|  | 1485 | 61.5612
|  | 1486 | 61.7027
|  | 1487 | 61.7499
|  | 1488 | 61.7305
|  | 1489 | 61.7005
|  | 1490 | 61.7441
|  | 1491 | 61.6219
|  | 1492 | 61.6225
|  | 1493 | 61.7571
|  | 1494 | 61.7944
|  | 1495 | 61.6917
|  | 1496 | 61.8678
|  | 1497 | 61.7672
|  | 1498 | 61.696
|  | 1499 | 61.8643
|  | 1500 | 61.8844
|  | 1501 | 61.8123
|  | 1502 | 61.92
|  | 1503 | 61.8045
|  | 1504 | 61.8207
|  | 1505 | 61.9963
|  | 1506 | 61.9204
|  | 1507 | 61.8324
|  | 1508 | 62.0692
|  | 1509 | 61.9004
|  | 1510 | 61.9732
|  | 1511 | 62.0151
|  | 1512 | 61.9734
|  | 1513 | 61.9663
|  | 1514 | 61.9585
|  | 1515 | 61.8676
|  | 1516 | 62.0879
|  | 1517 | 62.1188
|  | 1518 | 62.1706
|  | 1519 | 61.9925
|  | 1520 | 62.0588
|  | 1521 | 62.0523
|  | 1522 | 62.1256
|  | 1523 | 62.0639
|  | 1524 | 62.171
|  | 1525 | 62.0331
|  | 1526 | 62.181
|  | 1527 | 62.2258
|  | 1528 | 62.099
|  | 1529 | 62.1783
|  | 1530 | 62.1145
|  | 1531 | 62.2875
|  | 1532 | 62.2066
|  | 1533 | 62.1435
|  | 1534 | 62.2255
|  | 1535 | 62.2535
|  | 1536 | 62.1486
|  | 1537 | 62.3579
|  | 1538 | 62.2612
|  | 1539 | 62.2345
|  | 1540 | 62.235
|  | 1541 | 62.2841
|  | 1542 | 62.1731
|  | 1543 | 62.4173
|  | 1544 | 62.3492
|  | 1545 | 62.2401
|  | 1546 | 62.349
|  | 1547 | 62.2978
|  | 1548 | 62.1541
|  | 1549 | 62.4366
|  | 1550 | 62.3829
|  | 1551 | 62.3187
|  | 1552 | 62.423
|  | 1553 | 62.4739
|  | 1554 | 62.2665
|  | 1555 | 62.4416
|  | 1556 | 62.3154
|  | 1557 | 62.3688
|  | 1558 | 62.506
|  | 1559 | 62.3152
|  | 1560 | 62.4823
|  | 1561 | 62.3703
|  | 1562 | 62.3879
|  | 1563 | 62.4641
|  | 1564 | 62.3879
|  | 1565 | 62.4762
|  | 1566 | 62.5138
|  | 1567 | 62.4926
|  | 1568 | 62.5304
|  | 1569 | 62.3776
|  | 1570 | 62.2211
|  | 1571 | 62.559
|  | 1572 | 62.5402
|  | 1573 | 62.629
|  | 1574 | 62.6086
|  | 1575 | 62.32
|  | 1576 | 62.5332
|  | 1577 | 62.7205
|  | 1578 | 62.4735
|  | 1579 | 62.5068
|  | 1580 | 62.5963
|  | 1581 | 62.2762
|  | 1582 | 62.4681
|  | 1583 | 62.7175
|  | 1584 | 62.6803
|  | 1585 | 62.5914
|  | 1586 | 62.5951
|  | 1587 | 62.1565
|  | 1588 | 62.6649
|  | 1589 | 62.6658
|  | 1590 | 62.5299
|  | 1591 | 62.7409
|  | 1592 | 62.3605
|  | 1593 | 62.4669
|  | 1594 | 62.6199
|  | 1595 | 62.6494
|  | 1596 | 62.6089
|  | 1597 | 62.8144
|  | 1598 | 62.5064
|  | 1599 | 62.4682
|  | 1600 | 62.6728
|  | 1601 | 62.8139
|  | 1602 | 62.6941
|  | 1603 | 62.5303
|  | 1604 | 62.6247
|  | 1605 | 62.6815
|  | 1606 | 62.7611
|  | 1607 | 62.5051
|  | 1608 | 62.6684
|  | 1609 | 62.5124
|  | 1610 | 62.7982
|  | 1611 | 62.3944
|  | 1612 | 62.5101
|  | 1613 | 62.7172
|  | 1614 | 62.7924
|  | 1615 | 62.549
|  | 1616 | 62.4891
|  | 1617 | 62.5398
|  | 1618 | 62.69
|  | 1619 | 62.7994
|  | 1620 | 62.5524
|  | 1621 | 62.6239
|  | 1622 | 62.7502
|  | 1623 | 62.422
|  | 1624 | 62.6614
|  | 1625 | 62.9497
|  | 1626 | 62.5174
|  | 1627 | 62.9316
|  | 1628 | 62.5187
|  | 1629 | 62.6074
|  | 1630 | 62.6459
|  | 1631 | 62.3576
|  | 1632 | 62.8193
|  | 1633 | 62.5207
|  | 1634 | 62.6624
|  | 1635 | 62.8344
|  | 1636 | 62.529
|  | 1637 | 62.6391
|  | 1638 | 62.7432
|  | 1639 | 62.7625
|  | 1640 | 62.7036
|  | 1641 | 62.8325
|  | 1642 | 62.5316
|  | 1643 | 62.5301
|  | 1644 | 62.9226
|  | 1645 | 62.7706
|  | 1646 | 62.6598
|  | 1647 | 62.7811
|  | 1648 | 62.3612
|  | 1649 | 62.6937
|  | 1650 | 62.9087
|  | 1651 | 62.6619
|  | 1652 | 62.5855
|  | 1653 | 62.6009
|  | 1654 | 62.4598
|  | 1655 | 62.7186
|  | 1656 | 62.9247
|  | 1657 | 62.5439
|  | 1658 | 62.6942
|  | 1659 | 62.7048
|  | 1660 | 62.6325
|  | 1661 | 62.3914
|  | 1662 | 62.5498
|  | 1663 | 62.9177
|  | 1664 | 62.8558
|  | 1665 | 62.8259
|  | 1666 | 62.356
|  | 1667 | 62.762
|  | 1668 | 62.8202
|  | 1669 | 62.7623
|  | 1670 | 62.6602
|  | 1671 | 62.5019
|  | 1672 | 62.4422
|  | 1673 | 62.398
|  | 1674 | 62.5104
|  | 1675 | 62.5922
|  | 1676 | 62.6007
|  | 1677 | 62.5142
|  | 1678 | 62.5481
|  | 1679 | 62.3954
|  | 1680 | 62.334
|  | 1681 | 62.4558
|  | 1682 | 62.4882
|  | 1683 | 62.3605
|  | 1684 | 62.155
|  | 1685 | 62.2367
|  | 1686 | 62.3058
|  | 1687 | 62.3157
|  | 1688 | 62.2248
|  | 1689 | 62.2074
|  | 1690 | 62.2589
|  | 1691 | 62.1259
|  | 1692 | 62.2217
|  | 1693 | 62.2931
|  | 1694 | 62.2039
|  | 1695 | 62.242
|  | 1696 | 62.1906
|  | 1697 | 62.0053
|  | 1698 | 62.1731
|  | 1699 | 62.3448
|  | 1700 | 61.9347
|  | 1701 | 62.0127
|  | 1702 | 62.1075
|  | 1703 | 61.9035
|  | 1704 | 61.891
|  | 1705 | 61.9671
|  | 1706 | 61.8941
|  | 1707 | 62.108
|  | 1708 | 61.9634
|  | 1709 | 61.8574
|  | 1710 | 61.9986
|  | 1711 | 61.9819
|  | 1712 | 62.0778
|  | 1713 | 62.1285
|  | 1714 | 62.0493
|  | 1715 | 61.7236
|  | 1716 | 61.7743
|  | 1717 | 62.1941
|  | 1718 | 62.1187
|  | 1719 | 61.5458
|  | 1720 | 61.9013
|  | 1721 | 61.9259
|  | 1722 | 61.8872
|  | 1723 | 62.1768
|  | 1724 | 62.2036
|  | 1725 | 61.8187
|  | 1726 | 61.9333
|  | 1727 | 61.7035
|  | 1728 | 61.6875
|  | 1729 | 62.068
|  | 1730 | 62.0433
|  | 1731 | 62.0584
|  | 1732 | 61.8041
|  | 1733 | 61.7124
|  | 1734 | 61.9407
|  | 1735 | 61.5694
|  | 1736 | 61.9774
|  | 1737 | 62.2264
|  | 1738 | 61.8543
|  | 1739 | 61.7547
|  | 1740 | 61.963
|  | 1741 | 62.1982
|  | 1742 | 61.8282
|  | 1743 | 61.979
|  | 1744 | 61.7683
|  | 1745 | 61.8333
|  | 1746 | 61.6322
|  | 1747 | 61.9928
|  | 1748 | 62.0295
|  | 1749 | 61.7871
|  | 1750 | 61.9385
|  | 1751 | 61.5941
|  | 1752 | 61.7395
|  | 1753 | 62.1118
|  | 1754 | 61.9494
|  | 1755 | 62.0099
|  | 1756 | 62.0696
|  | 1757 | 61.9102
|  | 1758 | 61.9721
|  | 1759 | 62.2401
|  | 1760 | 62.1748
|  | 1761 | 61.9075
|  | 1762 | 62.1556
|  | 1763 | 62.1794
|  | 1764 | 61.9536
|  | 1765 | 62.2692
|  | 1766 | 62.4219
|  | 1767 | 62.3754
|  | 1768 | 62.5149
|  | 1769 | 62.1813
|  | 1770 | 62.538
|  | 1771 | 62.6302
|  | 1772 | 62.6626
|  | 1773 | 62.5502
|  | 1774 | 62.2165
|  | 1775 | 62.3727
|  | 1776 | 62.5735
|  | 1777 | 62.5924
|  | 1778 | 62.7756
|  | 1779 | 62.6716
|  | 1780 | 62.4489
|  | 1781 | 62.4589
|  | 1782 | 62.5557
|  | 1783 | 62.6971
|  | 1784 | 62.7118
|  | 1785 | 62.5904
|  | 1786 | 62.5632
|  | 1787 | 62.6783
|  | 1788 | 62.6525
|  | 1789 | 62.6004
|  | 1790 | 62.5991
|  | 1791 | 62.4811
|  | 1792 | 62.6641
|  | 1793 | 62.5365
|  | 1794 | 62.5522
|  | 1795 | 62.675
|  | 1796 | 62.7352
|  | 1797 | 62.6582
|  | 1798 | 62.5101
|  | 1799 | 62.4091
|  | 1800 | 62.6134
|  | 1801 | 62.7748
|  | 1802 | 62.6467
|  | 1803 | 62.5747
|  | 1804 | 62.5254
|  | 1805 | 62.5557
|  | 1806 | 62.6972
|  | 1807 | 62.762
|  | 1808 | 62.6789
|  | 1809 | 62.5986
|  | 1810 | 62.5148
|  | 1811 | 62.5218
|  | 1812 | 62.8125
|  | 1813 | 62.9386
|  | 1814 | 62.7694
|  | 1815 | 62.5661
|  | 1816 | 62.4878
|  | 1817 | 62.5803
|  | 1818 | 62.8868
|  | 1819 | 62.8126
|  | 1820 | 62.5129
|  | 1821 | 62.7181
|  | 1822 | 62.6301
|  | 1823 | 62.4807
|  | 1824 | 62.8544
|  | 1825 | 62.8928
|  | 1826 | 62.783
|  | 1827 | 62.7189
|  | 1828 | 62.5188
|  | 1829 | 62.5597
|  | 1830 | 62.8866
|  | 1831 | 62.8302
|  | 1832 | 62.584
|  | 1833 | 62.569
|  | 1834 | 62.6417
|  | 1835 | 62.6348
|  | 1836 | 63.0251
|  | 1837 | 63.174
|  | 1838 | 62.9042
|  | 1839 | 62.7126
|  | 1840 | 62.399
|  | 1841 | 62.3069
|  | 1842 | 62.5731
|  | 1843 | 62.7431
|  | 1844 | 62.7298
|  | 1845 | 62.7129
|  | 1846 | 62.8077
|  | 1847 | 62.7393
|  | 1848 | 62.7768
|  | 1849 | 62.8277
|  | 1850 | 62.7724
|  | 1851 | 62.6838
|  | 1852 | 62.3797
|  | 1853 | 62.4848
|  | 1854 | 63.0753
|  | 1855 | 63.0668
|  | 1856 | 62.3446
|  | 1857 | 62.6428
|  | 1858 | 62.223
|  | 1859 | 62.0113
|  | 1860 | 62.8957
|  | 1861 | 63.0713
|  | 1862 | 62.6285
|  | 1863 | 62.5174
|  | 1864 | 62.5854
|  | 1865 | 62.7847
|  | 1866 | 62.8713
|  | 1867 | 62.8534
|  | 1868 | 62.5748
|  | 1869 | 62.524
|  | 1870 | 62.0644
|  | 1871 | 62.5576
|  | 1872 | 63.063
|  | 1873 | 62.9372
|  | 1874 | 62.3897
|  | 1875 | 62.4167
|  | 1876 | 62.0844
|  | 1877 | 62.5458
|  | 1878 | 62.8954
|  | 1879 | 62.2694
|  | 1880 | 62.2224
|  | 1881 | 62.4213
|  | 1882 | 62.0153
|  | 1883 | 62.4114
|  | 1884 | 62.6008
|  | 1885 | 62.5698
|  | 1886 | 62.4212
|  | 1887 | 62.2595
|  | 1888 | 61.8037
|  | 1889 | 62.1022
|  | 1890 | 62.817
|  | 1891 | 62.4664
|  | 1892 | 61.7634
|  | 1893 | 61.9841
|  | 1894 | 61.9036
|  | 1895 | 62.2673
|  | 1896 | 62.503
|  | 1897 | 62.1668
|  | 1898 | 61.6181
|  | 1899 | 61.8209
|  | 1900 | 61.2411
|  | 1901 | 62.1844
|  | 1902 | 62.328
|  | 1903 | 62.197
|  | 1904 | 61.4957
|  | 1905 | 61.5361
|  | 1906 | 61.2769
|  | 1907 | 62.3044
|  | 1908 | 61.8382
|  | 1909 | 61.8856
|  | 1910 | 61.3255
|  | 1911 | 61.4532
|  | 1912 | 61.1139
|  | 1913 | 61.7794
|  | 1914 | 62.0351
|  | 1915 | 61.976
|  | 1916 | 61.2298
|  | 1917 | 61.4262
|  | 1918 | 60.9993
|  | 1919 | 61.8482
|  | 1920 | 61.7663
|  | 1921 | 61.7214
|  | 1922 | 61.2999
|  | 1923 | 61.2598
|  | 1924 | 60.376
|  | 1925 | 61.3965
|  | 1926 | 61.7587
|  | 1927 | 61.5127
|  | 1928 | 60.9631
|  | 1929 | 61.0412
|  | 1930 | 60.8075
|  | 1931 | 61.1209
|  | 1932 | 60.6626
|  | 1933 | 61.0547
|  | 1934 | 61.2789
|  | 1935 | 61.2657
|  | 1936 | 60.6808
|  | 1937 | 61.31
|  | 1938 | 62.0623
|  | 1939 | 61.1196
|  | 1940 | 61.3648
|  | 1941 | 61.4031
|  | 1942 | 61.2492
|  | 1943 | 61.4524
|  | 1944 | 61.3626
|  | 1945 | 61.0546
|  | 1946 | 61.1193
|  | 1947 | 61.6765
|  | 1948 | 60.9249
|  | 1949 | 61.249
|  | 1950 | 60.9099
|  | 1951 | 60.9366
|  | 1952 | 60.4195
|  | 1953 | 61.64
|  | 1954 | 60.899
|  | 1955 | 61.4411
|  | 1956 | 61.046
|  | 1957 | 61.181
|  | 1958 | 61.5265
|  | 1959 | 60.9894
|  | 1960 | 61.0363
|  | 1961 | 61.4137
|  | 1962 | 61.3365
|  | 1963 | 61.0981
|  | 1964 | 61.199
|  | 1965 | 61.1523
|  | 1966 | 60.9101
|  | 1967 | 61.4683
|  | 1968 | 61.3755
|  | 1969 | 60.9019
|  | 1970 | 61.3361
|  | 1971 | 61.3014
|  | 1972 | 60.8633
|  | 1973 | 61.0398
|  | 1974 | 61.1613
|  | 1975 | 61.2313
|  | 1976 | 60.8188
|  | 1977 | 61.4715
|  | 1978 | 61.1155
|  | 1979 | 61.0721
|  | 1980 | 61.1201
|  | 1981 | 61.141
|  | 1982 | 61.339
|  | 1983 | 61.2717
|  | 1984 | 60.8361
|  | 1985 | 61.292
|  | 1986 | 61.0833
|  | 1987 | 61.1694
|  | 1988 | 60.9158
|  | 1989 | 61.0041
|  | 1990 | 60.7754
|  | 1991 | 61.16
|  | 1992 | 61.1484
|  | 1993 | 61.0307
|  | 1994 | 61.1309
|  | 1995 | 61.1029
|  | 1996 | 60.7655
|  | 1997 | 61.1684
|  | 1998 | 61.0358
|  | 1999 | 61.0418
|  | 2000 | 61.2681