## T099051
SN: | T099051
Item #: | HPCR5
Item Description: | 2x2 Wideband Fiber Optic Coupler, High-Power Package
Port Name: | IN 1 (Input) - OUT 1 (Signal Output)
Wavelength (nm): | 1020
Insertion Loss (dB): | -3.31
Coupling Ratio (%): | 47.9
Uniformity (dB): | 0.22
Port Name: | IN 1 (Input) - OUT 2 (Tap Output)
Wavelength (nm): | 1020
Insertion Loss (dB): | -2.95
Coupling Ratio (%): | 52.1
Uniformity (dB): | 0.19
Spectral Response
Wavelength (nm) | Insertion Loss - OUT 1 (Signal Output) (dB) | Coupling Ratio - OUT 1 (Signal Output) (%) | Insertion Loss - OUT 2 (Tap Output) (dB) | Coupling Ratio - OUT 2 (Tap Output) (%)
920.68 | -3.183 | 48.769 | -2.969 | 51.231
921.238 | -3.183 | 48.769 | -2.969 | 51.231
921.796 | -3.183 | 48.769 | -2.969 | 51.231
922.353 | -3.183 | 48.769 | -2.969 | 51.231
922.911 | -3.183 | 48.769 | -2.969 | 51.231
923.469 | -3.183 | 48.769 | -2.969 | 51.231
924.027 | -3.186 | 48.742 | -2.967 | 51.258
924.584 | -3.187 | 48.729 | -2.967 | 51.271
925.142 | -3.19 | 48.698 | -2.963 | 51.302
925.7 | -3.193 | 48.662 | -2.96 | 51.338
926.258 | -3.195 | 48.625 | -2.956 | 51.375
926.815 | -3.199 | 48.589 | -2.954 | 51.411
927.373 | -3.203 | 48.564 | -2.954 | 51.436
927.931 | -3.207 | 48.538 | -2.953 | 51.462
928.489 | -3.209 | 48.519 | -2.952 | 51.481
929.046 | -3.212 | 48.501 | -2.951 | 51.499
929.604 | -3.216 | 48.469 | -2.95 | 51.531
930.162 | -3.219 | 48.43 | -2.946 | 51.57
930.72 | -3.222 | 48.397 | -2.944 | 51.603
931.277 | -3.226 | 48.359 | -2.941 | 51.641
931.835 | -3.229 | 48.333 | -2.939 | 51.667
932.393 | -3.231 | 48.314 | -2.938 | 51.686
932.951 | -3.232 | 48.306 | -2.938 | 51.694
933.508 | -3.235 | 48.284 | -2.936 | 51.716
934.066 | -3.235 | 48.272 | -2.935 | 51.728
934.624 | -3.239 | 48.241 | -2.933 | 51.759
935.182 | -3.241 | 48.227 | -2.933 | 51.773
935.739 | -3.244 | 48.21 | -2.933 | 51.79
936.297 | -3.247 | 48.195 | -2.933 | 51.805
936.855 | -3.252 | 48.171 | -2.934 | 51.829
937.413 | -3.254 | 48.158 | -2.933 | 51.842
937.97 | -3.256 | 48.128 | -2.93 | 51.872
938.528 | -3.258 | 48.097 | -2.928 | 51.903
939.086 | -3.261 | 48.068 | -2.925 | 51.932
939.644 | -3.261 | 48.05 | -2.922 | 51.95
940.201 | -3.263 | 48.029 | -2.921 | 51.971
940.759 | -3.265 | 48.019 | -2.921 | 51.981
941.317 | -3.267 | 47.994 | -2.918 | 52.006
941.875 | -3.269 | 47.981 | -2.918 | 52.019
942.432 | -3.272 | 47.961 | -2.917 | 52.039
942.99 | -3.273 | 47.951 | -2.916 | 52.049
943.548 | -3.274 | 47.927 | -2.914 | 52.073
944.106 | -3.276 | 47.917 | -2.914 | 52.083
944.664 | -3.276 | 47.911 | -2.913 | 52.089
945.221 | -3.277 | 47.905 | -2.913 | 52.095
945.779 | -3.278 | 47.887 | -2.91 | 52.113
946.337 | -3.279 | 47.872 | -2.909 | 52.128
946.895 | -3.281 | 47.856 | -2.908 | 52.144
947.452 | -3.282 | 47.835 | -2.906 | 52.165
948.01 | -3.285 | 47.809 | -2.904 | 52.191
948.568 | -3.287 | 47.791 | -2.903 | 52.209
949.126 | -3.288 | 47.783 | -2.902 | 52.217
949.683 | -3.289 | 47.775 | -2.902 | 52.225
950.241 | -3.291 | 47.758 | -2.901 | 52.242
950.799 | -3.292 | 47.73 | -2.898 | 52.27
951.357 | -3.294 | 47.712 | -2.896 | 52.288
951.914 | -3.295 | 47.681 | -2.892 | 52.319
952.472 | -3.297 | 47.647 | -2.888 | 52.353
953.03 | -3.297 | 47.625 | -2.885 | 52.375
953.588 | -3.3 | 47.614 | -2.885 | 52.386
954.145 | -3.302 | 47.588 | -2.883 | 52.412
954.703 | -3.305 | 47.571 | -2.883 | 52.429
955.261 | -3.307 | 47.56 | -2.883 | 52.44
955.819 | -3.308 | 47.554 | -2.883 | 52.446
956.376 | -3.309 | 47.54 | -2.881 | 52.46
956.934 | -3.308 | 47.542 | -2.881 | 52.458
957.492 | -3.31 | 47.527 | -2.88 | 52.473
958.05 | -3.313 | 47.514 | -2.881 | 52.486
958.607 | -3.315 | 47.491 | -2.879 | 52.509
959.165 | -3.317 | 47.481 | -2.879 | 52.519
959.723 | -3.32 | 47.451 | -2.877 | 52.549
960.281 | -3.321 | 47.432 | -2.875 | 52.568
960.838 | -3.323 | 47.412 | -2.873 | 52.588
961.396 | -3.324 | 47.393 | -2.871 | 52.607
961.954 | -3.326 | 47.372 | -2.869 | 52.628
962.512 | -3.328 | 47.35 | -2.867 | 52.65
963.069 | -3.329 | 47.337 | -2.866 | 52.663
963.627 | -3.331 | 47.32 | -2.865 | 52.68
964.185 | -3.334 | 47.301 | -2.865 | 52.699
964.743 | -3.336 | 47.291 | -2.865 | 52.709
965.3 | -3.338 | 47.283 | -2.865 | 52.717
965.858 | -3.339 | 47.277 | -2.866 | 52.723
966.416 | -3.341 | 47.26 | -2.865 | 52.74
966.974 | -3.343 | 47.242 | -2.863 | 52.758
967.531 | -3.345 | 47.239 | -2.865 | 52.761
968.089 | -3.347 | 47.223 | -2.864 | 52.777
968.647 | -3.349 | 47.207 | -2.864 | 52.793
969.205 | -3.35 | 47.204 | -2.864 | 52.796
969.763 | -3.351 | 47.202 | -2.865 | 52.798
970.32 | -3.352 | 47.184 | -2.863 | 52.816
970.878 | -3.353 | 47.176 | -2.862 | 52.824
971.436 | -3.355 | 47.17 | -2.863 | 52.83
971.994 | -3.357 | 47.163 | -2.863 | 52.837
972.551 | -3.359 | 47.16 | -2.865 | 52.84
973.109 | -3.361 | 47.155 | -2.866 | 52.845
973.667 | -3.363 | 47.149 | -2.867 | 52.851
974.225 | -3.364 | 47.141 | -2.867 | 52.859
974.782 | -3.365 | 47.139 | -2.867 | 52.861
975.34 | -3.365 | 47.128 | -2.866 | 52.872
975.898 | -3.365 | 47.123 | -2.865 | 52.877
976.456 | -3.367 | 47.112 | -2.865 | 52.888
977.013 | -3.368 | 47.106 | -2.865 | 52.894
977.571 | -3.37 | 47.101 | -2.865 | 52.899
978.129 | -3.37 | 47.099 | -2.866 | 52.901
978.687 | -3.373 | 47.094 | -2.867 | 52.906
979.244 | -3.372 | 47.105 | -2.869 | 52.895
979.802 | -3.372 | 47.106 | -2.869 | 52.894
980.36 | -3.372 | 47.114 | -2.87 | 52.886
980.918 | -3.372 | 47.122 | -2.871 | 52.878
981.475 | -3.372 | 47.122 | -2.871 | 52.878
982.033 | -3.372 | 47.126 | -2.872 | 52.874
982.591 | -3.373 | 47.132 | -2.874 | 52.868
983.149 | -3.374 | 47.133 | -2.875 | 52.867
983.706 | -3.375 | 47.141 | -2.878 | 52.859
984.264 | -3.376 | 47.151 | -2.88 | 52.849
984.822 | -3.377 | 47.162 | -2.883 | 52.838
985.38 | -3.377 | 47.169 | -2.885 | 52.831
985.937 | -3.377 | 47.171 | -2.885 | 52.829
986.495 | -3.378 | 47.172 | -2.886 | 52.828
987.053 | -3.378 | 47.176 | -2.887 | 52.824
987.611 | -3.379 | 47.172 | -2.887 | 52.828
988.168 | -3.379 | 47.173 | -2.887 | 52.827
988.726 | -3.379 | 47.177 | -2.888 | 52.823
989.284 | -3.379 | 47.184 | -2.89 | 52.816
989.842 | -3.38 | 47.188 | -2.891 | 52.812
990.399 | -3.379 | 47.199 | -2.892 | 52.801
990.957 | -3.379 | 47.208 | -2.894 | 52.792
991.515 | -3.379 | 47.223 | -2.896 | 52.777
992.073 | -3.378 | 47.24 | -2.898 | 52.76
992.63 | -3.377 | 47.252 | -2.9 | 52.748
993.188 | -3.377 | 47.261 | -2.901 | 52.739
993.746 | -3.375 | 47.279 | -2.902 | 52.721
994.304 | -3.374 | 47.293 | -2.903 | 52.707
994.862 | -3.374 | 47.302 | -2.905 | 52.698
995.419 | -3.373 | 47.32 | -2.907 | 52.68
995.977 | -3.372 | 47.341 | -2.91 | 52.659
996.535 | -3.372 | 47.358 | -2.912 | 52.642
997.093 | -3.372 | 47.368 | -2.914 | 52.632
997.65 | -3.373 | 47.383 | -2.918 | 52.617
998.208 | -3.373 | 47.392 | -2.919 | 52.608
998.766 | -3.373 | 47.395 | -2.92 | 52.605
999.324 | -3.373 | 47.398 | -2.921 | 52.602
999.881 | -3.372 | 47.411 | -2.922 | 52.589
1000.439 | -3.37 | 47.419 | -2.922 | 52.581
1000.997 | -3.369 | 47.429 | -2.922 | 52.571
1001.555 | -3.368 | 47.441 | -2.923 | 52.559
1002.112 | -3.367 | 47.453 | -2.924 | 52.547
1002.67 | -3.367 | 47.46 | -2.925 | 52.54
1003.228 | -3.366 | 47.464 | -2.925 | 52.536
1003.786 | -3.365 | 47.469 | -2.925 | 52.531
1004.343 | -3.364 | 47.489 | -2.927 | 52.511
1004.901 | -3.363 | 47.499 | -2.928 | 52.501
1005.459 | -3.361 | 47.51 | -2.928 | 52.49
1006.017 | -3.36 | 47.526 | -2.93 | 52.474
1006.574 | -3.359 | 47.537 | -2.931 | 52.463
1007.132 | -3.358 | 47.544 | -2.931 | 52.456
1007.69 | -3.356 | 47.557 | -2.931 | 52.443
1008.248 | -3.354 | 47.571 | -2.932 | 52.429
1008.805 | -3.353 | 47.581 | -2.932 | 52.419
1009.363 | -3.35 | 47.596 | -2.932 | 52.404
1009.921 | -3.348 | 47.609 | -2.932 | 52.391
1010.479 | -3.346 | 47.629 | -2.934 | 52.371
1011.036 | -3.344 | 47.648 | -2.935 | 52.352
1011.594 | -3.342 | 47.671 | -2.937 | 52.329
1012.152 | -3.339 | 47.695 | -2.939 | 52.305
1012.71 | -3.337 | 47.723 | -2.941 | 52.277
1013.267 | -3.334 | 47.741 | -2.942 | 52.259
1013.825 | -3.332 | 47.757 | -2.942 | 52.243
1014.383 | -3.33 | 47.768 | -2.942 | 52.232
1014.941 | -3.328 | 47.782 | -2.943 | 52.218
1015.498 | -3.327 | 47.786 | -2.942 | 52.214
1016.056 | -3.326 | 47.793 | -2.942 | 52.207
1016.614 | -3.324 | 47.801 | -2.941 | 52.199
1017.172 | -3.321 | 47.816 | -2.942 | 52.184
1017.729 | -3.319 | 47.836 | -2.943 | 52.164
1018.287 | -3.317 | 47.852 | -2.943 | 52.148
1018.845 | -3.314 | 47.87 | -2.944 | 52.13
1019.403 | -3.312 | 47.898 | -2.946 | 52.102
1019.961 | -3.309 | 47.919 | -2.947 | 52.081
1020.518 | -3.307 | 47.933 | -2.947 | 52.067
1021.076 | -3.304 | 47.95 | -2.948 | 52.05
1021.634 | -3.301 | 47.966 | -2.948 | 52.034
1022.192 | -3.298 | 47.976 | -2.947 | 52.024
1022.749 | -3.296 | 47.987 | -2.946 | 52.013
1023.307 | -3.293 | 48.003 | -2.946 | 51.997
1023.865 | -3.291 | 48.02 | -2.946 | 51.98
1024.422 | -3.288 | 48.037 | -2.947 | 51.963
1024.98 | -3.286 | 48.049 | -2.947 | 51.951
1025.538 | -3.284 | 48.061 | -2.947 | 51.939
1026.096 | -3.282 | 48.077 | -2.948 | 51.923
1026.654 | -3.279 | 48.096 | -2.948 | 51.904
1027.211 | -3.276 | 48.115 | -2.948 | 51.885
1027.769 | -3.273 | 48.137 | -2.949 | 51.863
1028.327 | -3.27 | 48.158 | -2.95 | 51.842
1028.885 | -3.267 | 48.172 | -2.95 | 51.828
1029.442 | -3.265 | 48.18 | -2.948 | 51.82
1030 | -3.263 | 48.189 | -2.948 | 51.811
1030.558 | -3.26 | 48.202 | -2.948 | 51.798
1031.116 | -3.258 | 48.211 | -2.947 | 51.789
1031.673 | -3.256 | 48.221 | -2.947 | 51.779
1032.231 | -3.255 | 48.233 | -2.947 | 51.767
1032.789 | -3.253 | 48.242 | -2.947 | 51.758
1033.347 | -3.25 | 48.258 | -2.947 | 51.742
1033.904 | -3.247 | 48.277 | -2.947 | 51.723
1034.462 | -3.244 | 48.29 | -2.947 | 51.71
1035.02 | -3.242 | 48.313 | -2.949 | 51.687
1035.578 | -3.24 | 48.333 | -2.95 | 51.667
1036.135 | -3.239 | 48.345 | -2.951 | 51.655
1036.693 | -3.237 | 48.361 | -2.953 | 51.639
1037.251 | -3.236 | 48.377 | -2.954 | 51.623
1037.809 | -3.235 | 48.384 | -2.954 | 51.616
1038.366 | -3.232 | 48.397 | -2.954 | 51.603
1038.924 | -3.23 | 48.41 | -2.954 | 51.59
1039.482 | -3.228 | 48.42 | -2.954 | 51.58
1040.04 | -3.226 | 48.429 | -2.953 | 51.571
1040.597 | -3.225 | 48.442 | -2.954 | 51.558
1041.155 | -3.223 | 48.454 | -2.954 | 51.546
1041.713 | -3.222 | 48.454 | -2.954 | 51.546
1042.271 | -3.222 | 48.454 | -2.953 | 51.546
1042.828 | -3.221 | 48.463 | -2.953 | 51.537
1043.386 | -3.22 | 48.469 | -2.954 | 51.531
1043.944 | -3.22 | 48.471 | -2.954 | 51.529
1044.502 | -3.219 | 48.479 | -2.955 | 51.521
1045.059 | -3.218 | 48.49 | -2.955 | 51.51
1045.617 | -3.216 | 48.5 | -2.956 | 51.5
1046.175 | -3.215 | 48.511 | -2.956 | 51.489
1046.733 | -3.213 | 48.529 | -2.957 | 51.471
1047.291 | -3.21 | 48.55 | -2.958 | 51.45
1047.848 | -3.208 | 48.57 | -2.959 | 51.43
1048.406 | -3.206 | 48.59 | -2.961 | 51.41
1048.964 | -3.204 | 48.605 | -2.962 | 51.395
1049.521 | -3.203 | 48.615 | -2.963 | 51.385
1050.079 | -3.203 | 48.631 | -2.965 | 51.369
1050.637 | -3.202 | 48.65 | -2.967 | 51.35
1051.195 | -3.201 | 48.666 | -2.969 | 51.334
1051.753 | -3.2 | 48.682 | -2.971 | 51.318
1052.31 | -3.198 | 48.703 | -2.973 | 51.297
1052.868 | -3.197 | 48.718 | -2.974 | 51.282
1053.426 | -3.196 | 48.728 | -2.975 | 51.272
1053.984 | -3.196 | 48.741 | -2.977 | 51.259
1054.541 | -3.194 | 48.756 | -2.978 | 51.244
1055.099 | -3.193 | 48.773 | -2.98 | 51.227
1055.657 | -3.191 | 48.791 | -2.981 | 51.209
1056.215 | -3.189 | 48.81 | -2.982 | 51.19
1056.772 | -3.187 | 48.828 | -2.984 | 51.172
1057.33 | -3.186 | 48.847 | -2.986 | 51.153
1057.888 | -3.186 | 48.864 | -2.988 | 51.136
1058.446 | -3.185 | 48.882 | -2.991 | 51.118
1059.003 | -3.185 | 48.9 | -2.994 | 51.1
1059.561 | -3.185 | 48.917 | -2.996 | 51.083
1060.119 | -3.184 | 48.937 | -2.999 | 51.063
1060.677 | -3.183 | 48.959 | -3.002 | 51.041
1061.234 | -3.183 | 48.98 | -3.005 | 51.02
1061.792 | -3.182 | 49.002 | -3.008 | 50.998
1062.35 | -3.181 | 49.029 | -3.012 | 50.971
1062.908 | -3.179 | 49.06 | -3.016 | 50.94
1063.465 | -3.178 | 49.085 | -3.019 | 50.915
1064.023 | -3.176 | 49.11 | -3.021 | 50.89
1064.581 | -3.174 | 49.135 | -3.024 | 50.865
1065.139 | -3.173 | 49.153 | -3.026 | 50.847
1065.696 | -3.172 | 49.168 | -3.027 | 50.832
1066.254 | -3.171 | 49.188 | -3.029 | 50.812
1066.812 | -3.17 | 49.209 | -3.032 | 50.791
1067.37 | -3.169 | 49.234 | -3.036 | 50.766
1067.927 | -3.168 | 49.263 | -3.04 | 50.737
1068.485 | -3.167 | 49.293 | -3.044 | 50.707
1069.043 | -3.165 | 49.32 | -3.047 | 50.68
1069.601 | -3.164 | 49.348 | -3.05 | 50.652
1070.158 | -3.162 | 49.377 | -3.053 | 50.623
1070.716 | -3.16 | 49.405 | -3.057 | 50.595
1071.274 | -3.159 | 49.429 | -3.06 | 50.571
1071.832 | -3.158 | 49.456 | -3.063 | 50.544
1072.39 | -3.156 | 49.486 | -3.067 | 50.514
1072.947 | -3.155 | 49.514 | -3.071 | 50.486
1073.505 | -3.154 | 49.541 | -3.074 | 50.459
1074.063 | -3.152 | 49.574 | -3.078 | 50.426
1074.62 | -3.149 | 49.615 | -3.082 | 50.385
1075.178 | -3.146 | 49.659 | -3.087 | 50.341
1075.736 | -3.144 | 49.693 | -3.091 | 50.307
1076.294 | -3.142 | 49.723 | -3.094 | 50.277
1076.852 | -3.14 | 49.753 | -3.097 | 50.247
1077.409 | -3.138 | 49.777 | -3.099 | 50.223
1077.967 | -3.137 | 49.799 | -3.102 | 50.201
1078.525 | -3.135 | 49.827 | -3.105 | 50.173
1079.083 | -3.133 | 49.866 | -3.11 | 50.134
1079.64 | -3.131 | 49.907 | -3.115 | 50.093
1080.198 | -3.129 | 49.944 | -3.119 | 50.056
1080.756 | -3.126 | 49.981 | -3.123 | 50.019
1081.314 | -3.123 | 50.021 | -3.127 | 49.979
1081.871 | -3.121 | 50.056 | -3.131 | 49.944
1082.429 | -3.12 | 50.093 | -3.136 | 49.907
1082.987 | -3.117 | 50.132 | -3.14 | 49.868
1083.545 | -3.115 | 50.166 | -3.144 | 49.834
1084.102 | -3.112 | 50.202 | -3.147 | 49.798
1084.66 | -3.108 | 50.246 | -3.151 | 49.754
1085.218 | -3.104 | 50.283 | -3.153 | 49.717
1085.776 | -3.101 | 50.32 | -3.157 | 49.68
1086.333 | -3.098 | 50.363 | -3.161 | 49.637
1086.891 | -3.095 | 50.402 | -3.165 | 49.598
1087.449 | -3.092 | 50.434 | -3.167 | 49.566
1088.007 | -3.088 | 50.464 | -3.169 | 49.536
1088.564 | -3.085 | 50.495 | -3.171 | 49.505
1089.122 | -3.081 | 50.529 | -3.173 | 49.471
1089.68 | -3.077 | 50.566 | -3.176 | 49.434
1090.238 | -3.074 | 50.611 | -3.18 | 49.389
1090.795 | -3.07 | 50.657 | -3.184 | 49.343
1091.353 | -3.066 | 50.699 | -3.188 | 49.301
1091.911 | -3.063 | 50.741 | -3.192 | 49.259
1092.469 | -3.06 | 50.784 | -3.196 | 49.216
1093.026 | -3.057 | 50.823 | -3.2 | 49.177
1093.584 | -3.053 | 50.863 | -3.203 | 49.137
1094.142 | -3.048 | 50.907 | -3.205 | 49.093
1094.7 | -3.042 | 50.954 | -3.208 | 49.046
1095.257 | -3.037 | 51 | -3.211 | 49
1095.815 | -3.031 | 51.044 | -3.213 | 48.956
1096.373 | -3.026 | 51.094 | -3.216 | 48.906
1096.931 | -3.022 | 51.137 | -3.22 | 48.863
1097.489 | -3.019 | 51.176 | -3.223 | 48.824
1098.046 | -3.014 | 51.218 | -3.226 | 48.782
1098.604 | -3.009 | 51.263 | -3.229 | 48.737
1099.162 | -3.005 | 51.311 | -3.232 | 48.689
1099.719 | -3 | 51.362 | -3.236 | 48.638
1100.277 | -2.995 | 51.407 | -3.239 | 48.593
1100.835 | -2.99 | 51.447 | -3.242 | 48.553
1101.393 | -2.986 | 51.485 | -3.244 | 48.515
1101.951 | -2.982 | 51.528 | -3.247 | 48.472
1102.508 | -2.976 | 51.578 | -3.25 | 48.422
1103.066 | -2.969 | 51.629 | -3.252 | 48.371
1103.624 | -2.963 | 51.683 | -3.255 | 48.317
1104.182 | -2.957 | 51.731 | -3.258 | 48.269
1104.739 | -2.952 | 51.777 | -3.261 | 48.223
1105.297 | -2.948 | 51.818 | -3.264 | 48.182
1105.855 | -2.943 | 51.862 | -3.266 | 48.138
1106.413 | -2.938 | 51.911 | -3.27 | 48.089
1106.97 | -2.934 | 51.963 | -3.275 | 48.037
1107.528 | -2.929 | 52.016 | -3.279 | 47.984
1108.086 | -2.924 | 52.069 | -3.283 | 47.931
1108.644 | -2.919 | 52.12 | -3.287 | 47.88
1109.201 | -2.913 | 52.167 | -3.289 | 47.833
1109.759 | -2.906 | 52.217 | -3.291 | 47.783
1110.317 | -2.9 | 52.264 | -3.293 | 47.736
1110.875 | -2.893 | 52.317 | -3.296 | 47.683
1111.432 | -2.885 | 52.374 | -3.298 | 47.626
1111.99 | -2.879 | 52.429 | -3.302 | 47.571
1112.548 | -2.873 | 52.482 | -3.305 | 47.518
1113.106 | -2.867 | 52.531 | -3.307 | 47.469
1113.663 | -2.861 | 52.578 | -3.309 | 47.422
1114.221 | -2.857 | 52.623 | -3.313 | 47.377
1114.779 | -2.853 | 52.67 | -3.317 | 47.33
1115.337 | -2.847 | 52.722 | -3.321 | 47.278
1115.894 | -2.842 | 52.778 | -3.325 | 47.222
1116.452 | -2.837 | 52.824 | -3.328 | 47.176
1117.01 | -2.832 | 52.872 | -3.331 | 47.128
1117.568 | -2.826 | 52.923 | -3.334 | 47.077
1118.125 | -2.82 | 52.977 | -3.338 | 47.023
1118.683 | -2.815 | 53.028 | -3.341 | 46.972
1119.241 | -2.809 | 53.086 | -3.346 | 46.914
1119.799 | -2.803 | 53.148 | -3.351 | 46.852
1120.356 | -2.797 | 53.208 | -3.355 | 46.792
1120.914 | -2.792 | 53.257 | -3.358 | 46.743
1121.472 | -2.786 | 53.31 | -3.362 | 46.69
1122.03 | -2.781 | 53.36 | -3.365 | 46.64
1122.588 | -2.776 | 53.409 | -3.37 | 46.591
1123.145 | -2.772 | 53.459 | -3.374 | 46.541
1123.703 | -2.769 | 53.509 | -3.379 | 46.491
1124.261 | -2.766 | 53.556 | -3.385 | 46.444
1124.818 | -2.763 | 53.603 | -3.39 | 46.397
1125.376 | -2.758 | 53.648 | -3.393 | 46.352
1125.934 | -2.754 | 53.692 | -3.397 | 46.308
1126.492 | -2.749 | 53.739 | -3.4 | 46.261
1127.05 | -2.743 | 53.798 | -3.404 | 46.202
1127.607 | -2.737 | 53.862 | -3.409 | 46.138
1128.165 | -2.731 | 53.921 | -3.414 | 46.079
1128.723 | -2.726 | 53.975 | -3.418 | 46.025
1129.281 | -2.722 | 54.026 | -3.423 | 45.974
1129.838 | -2.719 | 54.07 | -3.427 | 45.93
1130.396 | -2.715 | 54.111 | -3.431 | 45.889
1130.954 | -2.713 | 54.155 | -3.436 | 45.845
1131.512 | -2.71 | 54.206 | -3.442 | 45.794
1132.069 | -2.705 | 54.258 | -3.447 | 45.742
1132.627 | -2.701 | 54.307 | -3.451 | 45.693
1133.185 | -2.697 | 54.357 | -3.456 | 45.643
1133.743 | -2.693 | 54.407 | -3.461 | 45.593
1134.3 | -2.689 | 54.452 | -3.464 | 45.548
1134.858 | -2.685 | 54.501 | -3.469 | 45.499
1135.416 | -2.681 | 54.554 | -3.475 | 45.446
1135.974 | -2.678 | 54.601 | -3.48 | 45.399
1136.531 | -2.675 | 54.649 | -3.485 | 45.351
1137.089 | -2.672 | 54.703 | -3.491 | 45.297
1137.647 | -2.668 | 54.75 | -3.496 | 45.25
1138.205 | -2.666 | 54.794 | -3.501 | 45.206
1138.762 | -2.662 | 54.85 | -3.507 | 45.15
1139.32 | -2.658 | 54.907 | -3.513 | 45.093
1139.878 | -2.655 | 54.955 | -3.518 | 45.045
1140.436 | -2.652 | 54.998 | -3.523 | 45.002
1140.993 | -2.649 | 55.048 | -3.529 | 44.952
1141.551 | -2.648 | 55.089 | -3.535 | 44.911
1142.109 | -2.647 | 55.123 | -3.54 | 44.877
1142.667 | -2.647 | 55.165 | -3.547 | 44.835
1143.224 | -2.645 | 55.213 | -3.554 | 44.787
1143.782 | -2.643 | 55.253 | -3.559 | 44.747
1144.34 | -2.641 | 55.29 | -3.563 | 44.71
1144.898 | -2.638 | 55.325 | -3.567 | 44.675
1145.455 | -2.636 | 55.365 | -3.572 | 44.635
1146.013 | -2.634 | 55.406 | -3.577 | 44.594
1146.571 | -2.633 | 55.444 | -3.583 | 44.556
1147.129 | -2.631 | 55.489 | -3.588 | 44.511
1147.687 | -2.628 | 55.533 | -3.593 | 44.467
1148.244 | -2.626 | 55.577 | -3.599 | 44.423
1148.802 | -2.625 | 55.616 | -3.604 | 44.384
1149.36 | -2.623 | 55.659 | -3.61 | 44.341
1149.917 | -2.622 | 55.697 | -3.616 | 44.303
1150.475 | -2.62 | 55.738 | -3.622 | 44.262
1151.033 | -2.619 | 55.77 | -3.626 | 44.23
1151.591 | -2.616 | 55.81 | -3.63 | 44.19
1152.149 | -2.615 | 55.848 | -3.636 | 44.152
1152.706 | -2.613 | 55.887 | -3.641 | 44.113
1153.264 | -2.612 | 55.94 | -3.649 | 44.06
1153.822 | -2.612 | 55.984 | -3.656 | 44.016
1154.38 | -2.61 | 56.029 | -3.662 | 43.971
1154.937 | -2.608 | 56.078 | -3.669 | 43.922
1155.495 | -2.606 | 56.126 | -3.676 | 43.874
1156.053 | -2.605 | 56.16 | -3.681 | 43.84
1156.611 | -2.603 | 56.197 | -3.686 | 43.803
1157.168 | -2.602 | 56.232 | -3.691 | 43.768
1157.726 | -2.601 | 56.268 | -3.696 | 43.732
1158.284 | -2.6 | 56.303 | -3.701 | 43.697
1158.842 | -2.599 | 56.34 | -3.706 | 43.66
1159.399 | -2.598 | 56.377 | -3.712 | 43.623
1159.957 | -2.597 | 56.421 | -3.718 | 43.579
1160.515 | -2.595 | 56.457 | -3.723 | 43.543
1161.073 | -2.594 | 56.488 | -3.727 | 43.512
1161.63 | -2.591 | 56.526 | -3.731 | 43.474
1162.188 | -2.587 | 56.576 | -3.736 | 43.424
1162.746 | -2.585 | 56.61 | -3.74 | 43.39
1163.304 | -2.581 | 56.659 | -3.745 | 43.341
1163.861 | -2.578 | 56.713 | -3.752 | 43.287
1164.419 | -2.577 | 56.751 | -3.757 | 43.249
1164.977 | -2.576 | 56.792 | -3.763 | 43.208
1165.535 | -2.574 | 56.843 | -3.77 | 43.157
1166.092 | -2.573 | 56.879 | -3.775 | 43.121
1166.65 | -2.57 | 56.917 | -3.78 | 43.083
1167.208 | -2.567 | 56.968 | -3.786 | 43.032
1167.766 | -2.565 | 57.009 | -3.79 | 42.991
1168.323 | -2.561 | 57.056 | -3.795 | 42.944
1168.881 | -2.558 | 57.098 | -3.8 | 42.902
1169.439 | -2.556 | 57.14 | -3.805 | 42.86
1169.997 | -2.552 | 57.186 | -3.809 | 42.814
1170.554 | -2.549 | 57.24 | -3.816 | 42.76
1171.112 | -2.547 | 57.283 | -3.821 | 42.717
1171.67 | -2.544 | 57.323 | -3.825 | 42.677
1172.228 | -2.541 | 57.375 | -3.831 | 42.625
1172.786 | -2.538 | 57.43 | -3.839 | 42.57
1173.343 | -2.535 | 57.474 | -3.843 | 42.526
1173.901 | -2.532 | 57.524 | -3.849 | 42.476
1174.459 | -2.528 | 57.589 | -3.857 | 42.411
1175.016 | -2.525 | 57.635 | -3.862 | 42.365
1175.574 | -2.522 | 57.684 | -3.867 | 42.316
1176.132 | -2.519 | 57.737 | -3.873 | 42.263
1176.69 | -2.514 | 57.784 | -3.878 | 42.216
1177.248 | -2.51 | 57.837 | -3.883 | 42.163
1177.805 | -2.505 | 57.898 | -3.889 | 42.102
1178.363 | -2.501 | 57.948 | -3.894 | 42.052
1178.921 | -2.499 | 57.993 | -3.899 | 42.007
1179.479 | -2.495 | 58.046 | -3.905 | 41.954
1180.036 | -2.49 | 58.091 | -3.908 | 41.909
1180.594 | -2.488 | 58.138 | -3.914 | 41.862
1181.152 | -2.484 | 58.196 | -3.921 | 41.804
1181.71 | -2.479 | 58.248 | -3.925 | 41.752
1182.267 | -2.474 | 58.306 | -3.93 | 41.694
1182.825 | -2.47 | 58.37 | -3.938 | 41.63
1183.383 | -2.465 | 58.423 | -3.942 | 41.577
1183.941 | -2.46 | 58.477 | -3.947 | 41.523
1184.498 | -2.455 | 58.541 | -3.953 | 41.459
1185.056 | -2.449 | 58.606 | -3.959 | 41.394
1185.614 | -2.443 | 58.668 | -3.965 | 41.332
1186.172 | -2.438 | 58.74 | -3.972 | 41.26
1186.729 | -2.431 | 58.802 | -3.977 | 41.198
1187.287 | -2.426 | 58.863 | -3.982 | 41.137
1187.845 | -2.422 | 58.918 | -3.988 | 41.082
1188.403 | -2.416 | 58.976 | -3.993 | 41.024
1188.96 | -2.41 | 59.038 | -3.998 | 40.962
1189.518 | -2.406 | 59.096 | -4.004 | 40.904
1190.076 | -2.4 | 59.164 | -4.011 | 40.836
1190.634 | -2.394 | 59.242 | -4.018 | 40.758
1191.191 | -2.389 | 59.305 | -4.025 | 40.695
1191.749 | -2.384 | 59.363 | -4.03 | 40.637
1192.307 | -2.377 | 59.441 | -4.037 | 40.559
1192.865 | -2.371 | 59.509 | -4.044 | 40.491
1193.422 | -2.365 | 59.565 | -4.048 | 40.435
1193.98 | -2.36 | 59.634 | -4.055 | 40.366
1194.538 | -2.355 | 59.704 | -4.062 | 40.296
1195.096 | -2.348 | 59.759 | -4.066 | 40.241
1195.653 | -2.342 | 59.825 | -4.071 | 40.175
1196.211 | -2.336 | 59.893 | -4.078 | 40.107
1196.769 | -2.331 | 59.96 | -4.084 | 40.04
1197.327 | -2.323 | 60.037 | -4.091 | 39.963
1197.885 | -2.317 | 60.123 | -4.101 | 39.877
1198.442 | -2.313 | 60.186 | -4.107 | 39.814
1199 | -2.307 | 60.264 | -4.115 | 39.736