## Intensity Profile
LGL130 Laser Line Profile at 633 nm
|  | Angle (Degrees) | Normalized Intensity
|  | -17 | 9.343e-07
|  | -16.9 | 2.5317e-06
|  | -16.8 | 5.4249e-06
|  | -16.7 | 8.1374e-06
Product Raw Data |  | -16.6 | 5.4249e-06
Powell Lens with 30° Fan Angle |  | -16.5 | 5.7263e-06
|  | -16.4 | 8.7402e-06
Item # | LGL130 | -16.3 | 7.5347e-06
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | -16.2 | 8.7402e-06
|  | -16.1 | 7.836e-06
|  | -16 | 6.3291e-06
|  | -15.9 | 6.6305e-06
|  | -15.8 | 7.836e-06
|  | -15.7 | 6.6305e-06
This data may be used in publications. However, please cite Thorlabs as the source. |  | -15.6 | 6.6305e-06
|  | -15.5 | 5.4249e-06
|  | -15.4 | 8.7402e-06
Additional Information: |  | -15.3 | 6.0277e-06
Uniformity and Contained Power are specified over the central 80% of the specified fan angle. |  | -15.2 | 2.17e-06
|  | -15.1 | 0.0278
|  | -15 | 0.14708
|  | -14.9 | 0.36106
|  | -14.8 | 0.56359
|  | -14.7 | 0.67752
|  | -14.6 | 0.73418
|  | -14.5 | 0.79325
|  | -14.4 | 0.81676
|  | -14.3 | 0.7607
|  | -14.2 | 0.72875
|  | -14.1 | 0.74201
|  | -14 | 0.76251
|  | -13.9 | 0.77275
|  | -13.8 | 0.77637
|  | -13.7 | 0.78722
|  | -13.6 | 0.80832
|  | -13.5 | 0.82278
|  | -13.4 | 0.83183
|  | -13.3 | 0.83424
|  | -13.2 | 0.82278
|  | -13.1 | 0.80832
|  | -13 | 0.79325
|  | -12.9 | 0.77336
|  | -12.8 | 0.75407
|  | -12.7 | 0.74864
|  | -12.6 | 0.74684
|  | -12.5 | 0.75226
|  | -12.4 | 0.7601
|  | -12.3 | 0.76432
|  | -12.2 | 0.76251
|  | -12.1 | 0.75648
|  | -12 | 0.75105
|  | -11.9 | 0.75588
|  | -11.8 | 0.75527
|  | -11.7 | 0.72936
|  | -11.6 | 0.71489
|  | -11.5 | 0.72272
|  | -11.4 | 0.71971
|  | -11.3 | 0.70585
|  | -11.2 | 0.70705
|  | -11.1 | 0.71308
|  | -11 | 0.71609
|  | -10.9 | 0.72815
|  | -10.8 | 0.74081
|  | -10.7 | 0.7384
|  | -10.6 | 0.73418
|  | -10.5 | 0.73538
|  | -10.4 | 0.72875
|  | -10.3 | 0.71187
|  | -10.2 | 0.69078
|  | -10.1 | 0.68113
|  | -10 | 0.67752
|  | -9.9 | 0.67511
|  | -9.8 | 0.67691
|  | -9.7 | 0.67511
|  | -9.6 | 0.68174
|  | -9.5 | 0.69922
|  | -9.4 | 0.71429
|  | -9.3 | 0.72152
|  | -9.2 | 0.72574
|  | -9.1 | 0.72875
|  | -9 | 0.72936
|  | -8.9 | 0.72514
|  | -8.8 | 0.72453
|  | -8.7 | 0.71851
|  | -8.6 | 0.70705
|  | -8.5 | 0.69379
|  | -8.4 | 0.67691
|  | -8.3 | 0.66968
|  | -8.2 | 0.66908
|  | -8.1 | 0.66486
|  | -8 | 0.66184
|  | -7.9 | 0.66184
|  | -7.8 | 0.66787
|  | -7.7 | 0.67932
|  | -7.6 | 0.68596
|  | -7.5 | 0.68716
|  | -7.4 | 0.67993
|  | -7.3 | 0.67269
|  | -7.2 | 0.67028
|  | -7.1 | 0.6733
|  | -7 | 0.68053
|  | -6.9 | 0.68113
|  | -6.8 | 0.67932
|  | -6.7 | 0.6739
|  | -6.6 | 0.66847
|  | -6.5 | 0.66546
|  | -6.4 | 0.66908
|  | -6.3 | 0.68113
|  | -6.2 | 0.69259
|  | -6.1 | 0.70223
|  | -6 | 0.70585
|  | -5.9 | 0.69922
|  | -5.8 | 0.6956
|  | -5.7 | 0.70223
|  | -5.6 | 0.71187
|  | -5.5 | 0.71851
|  | -5.4 | 0.71368
|  | -5.3 | 0.70404
|  | -5.2 | 0.70223
|  | -5.1 | 0.69861
|  | -5 | 0.69259
|  | -4.9 | 0.69259
|  | -4.8 | 0.68837
|  | -4.7 | 0.67691
|  | -4.6 | 0.67089
|  | -4.5 | 0.67872
|  | -4.4 | 0.69078
|  | -4.3 | 0.70042
|  | -4.2 | 0.71248
|  | -4.1 | 0.72152
|  | -4 | 0.72393
|  | -3.9 | 0.72272
|  | -3.8 | 0.72333
|  | -3.7 | 0.72333
|  | -3.6 | 0.72212
|  | -3.5 | 0.71911
|  | -3.4 | 0.72212
|  | -3.3 | 0.72815
|  | -3.2 | 0.72815
|  | -3.1 | 0.72634
|  | -3 | 0.72031
|  | -2.9 | 0.71609
|  | -2.8 | 0.71549
|  | -2.7 | 0.71851
|  | -2.6 | 0.72272
|  | -2.5 | 0.73116
|  | -2.4 | 0.74081
|  | -2.3 | 0.74322
|  | -2.2 | 0.74201
|  | -2.1 | 0.73659
|  | -2 | 0.72755
|  | -1.9 | 0.72272
|  | -1.8 | 0.72453
|  | -1.7 | 0.72634
|  | -1.6 | 0.72755
|  | -1.5 | 0.73237
|  | -1.4 | 0.739
|  | -1.3 | 0.74262
|  | -1.2 | 0.74684
|  | -1.1 | 0.74684
|  | -1 | 0.74804
|  | -0.9 | 0.75105
|  | -0.8 | 0.75648
|  | -0.7 | 0.76914
|  | -0.6 | 0.77697
|  | -0.5 | 0.77275
|  | -0.4 | 0.76311
|  | -0.3 | 0.74744
|  | -0.2 | 0.73538
|  | -0.1 | 0.72574
|  | 0 | 0.72152
|  | 0.1 | 0.72031
|  | 0.2 | 0.71911
|  | 0.3 | 0.7173
|  | 0.4 | 0.71489
|  | 0.5 | 0.71248
|  | 0.6 | 0.70946
|  | 0.7 | 0.71007
|  | 0.8 | 0.72031
|  | 0.9 | 0.72212
|  | 1 | 0.71549
|  | 1.1 | 0.71368
|  | 1.2 | 0.71549
|  | 1.3 | 0.72031
|  | 1.4 | 0.72514
|  | 1.5 | 0.73599
|  | 1.6 | 0.75166
|  | 1.7 | 0.75527
|  | 1.8 | 0.74563
|  | 1.9 | 0.73177
|  | 2 | 0.71911
|  | 2.1 | 0.70645
|  | 2.2 | 0.69741
|  | 2.3 | 0.70163
|  | 2.4 | 0.70886
|  | 2.5 | 0.70585
|  | 2.6 | 0.69681
|  | 2.7 | 0.68716
|  | 2.8 | 0.67993
|  | 2.9 | 0.68174
|  | 3 | 0.69379
|  | 3.1 | 0.70826
|  | 3.2 | 0.71429
|  | 3.3 | 0.71067
|  | 3.4 | 0.71127
|  | 3.5 | 0.71127
|  | 3.6 | 0.71127
|  | 3.7 | 0.70946
|  | 3.8 | 0.70946
|  | 3.9 | 0.71248
|  | 4 | 0.7167
|  | 4.1 | 0.72152
|  | 4.2 | 0.7173
|  | 4.3 | 0.70826
|  | 4.4 | 0.70766
|  | 4.5 | 0.70464
|  | 4.6 | 0.70102
|  | 4.7 | 0.69681
|  | 4.8 | 0.68475
|  | 4.9 | 0.66847
|  | 5 | 0.66184
|  | 5.1 | 0.66546
|  | 5.2 | 0.66968
|  | 5.3 | 0.66968
|  | 5.4 | 0.67269
|  | 5.5 | 0.68053
|  | 5.6 | 0.68174
|  | 5.7 | 0.67691
|  | 5.8 | 0.67209
|  | 5.9 | 0.67089
|  | 6 | 0.67691
|  | 6.1 | 0.67993
|  | 6.2 | 0.67752
|  | 6.3 | 0.67631
|  | 6.4 | 0.67993
|  | 6.5 | 0.68656
|  | 6.6 | 0.67691
|  | 6.7 | 0.65823
|  | 6.8 | 0.64979
|  | 6.9 | 0.65582
|  | 7 | 0.66004
|  | 7.1 | 0.65582
|  | 7.2 | 0.64979
|  | 7.3 | 0.64436
|  | 7.4 | 0.63713
|  | 7.5 | 0.63412
|  | 7.6 | 0.64256
|  | 7.7 | 0.64617
|  | 7.8 | 0.64256
|  | 7.9 | 0.64135
|  | 8 | 0.64135
|  | 8.1 | 0.64195
|  | 8.2 | 0.64436
|  | 8.3 | 0.6528
|  | 8.4 | 0.65401
|  | 8.5 | 0.64617
|  | 8.6 | 0.63231
|  | 8.7 | 0.61965
|  | 8.8 | 0.61242
|  | 8.9 | 0.60398
|  | 9 | 0.60036
|  | 9.1 | 0.60458
|  | 9.2 | 0.61061
|  | 9.3 | 0.61965
|  | 9.4 | 0.6311
|  | 9.5 | 0.63894
|  | 9.6 | 0.64135
|  | 9.7 | 0.63653
|  | 9.8 | 0.62809
|  | 9.9 | 0.62688
|  | 10 | 0.62929
|  | 10.1 | 0.62688
|  | 10.2 | 0.62447
|  | 10.3 | 0.62025
|  | 10.4 | 0.61302
|  | 10.5 | 0.60338
|  | 10.6 | 0.59494
|  | 10.7 | 0.59916
|  | 10.8 | 0.61302
|  | 10.9 | 0.62266
|  | 11 | 0.62447
|  | 11.1 | 0.63593
|  | 11.2 | 0.64738
|  | 11.3 | 0.64798
|  | 11.4 | 0.65099
|  | 11.5 | 0.64738
|  | 11.6 | 0.64135
|  | 11.7 | 0.64135
|  | 11.8 | 0.63291
|  | 11.9 | 0.63593
|  | 12 | 0.64738
|  | 12.1 | 0.64617
|  | 12.2 | 0.64858
|  | 12.3 | 0.66667
|  | 12.4 | 0.68535
|  | 12.5 | 0.69017
|  | 12.6 | 0.68354
|  | 12.7 | 0.6733
|  | 12.8 | 0.68415
|  | 12.9 | 0.71368
|  | 13 | 0.73659
|  | 13.1 | 0.73478
|  | 13.2 | 0.74081
|  | 13.3 | 0.75648
|  | 13.4 | 0.76974
|  | 13.5 | 0.76552
|  | 13.6 | 0.74623
|  | 13.7 | 0.74322
|  | 13.8 | 0.74442
|  | 13.9 | 0.74684
|  | 14 | 0.75829
|  | 14.1 | 0.78843
|  | 14.2 | 0.8252
|  | 14.3 | 0.8909
|  | 14.4 | 0.96383
|  | 14.5 | 0.9783
|  | 14.6 | 1
|  | 14.7 | 0.96142
|  | 14.8 | 0.81917
|  | 14.9 | 0.5214
|  | 15 | 0.15552
|  | 15.1 | 8.4388e-05
|  | 15.2 | 3.255e-06
|  | 15.3 | 7.5347e-06
|  | 15.4 | 2.7727e-05
|  | 15.5 | 1.5069e-05
|  | 15.6 | 5.4249e-06
|  | 15.7 | 6.3291e-06
|  | 15.8 | 6.0277e-06
|  | 15.9 | 7.836e-06
|  | 16 | 7.5347e-06
|  | 16.1 | 9.0416e-06
|  | 16.2 | 5.7263e-06
|  | 16.3 | 6.0277e-06
|  | 16.4 | 5.7263e-06
|  | 16.5 | 6.3291e-06
|  | 16.6 | 7.5347e-06
|  | 16.7 | 7.836e-06
|  | 16.8 | 7.836e-06
|  | 16.9 | 6.0277e-06
|  | 17 | 8.4388e-06