## T149704
SN: | T149704
Item #: | PN635R3F1
Item Description: | 1x2 75:25 PM Narrowband Fiber Optic Coupler
Fiber Type: | Equivalent to PM 63-U25D
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 635
Insertion Loss (dB): | -1.49
Coupling Ratio (%): | 75.2
PER (dB): | 26
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 635
Insertion Loss (dB): | -6.31
Coupling Ratio (%): | 24.8
PER (dB): | 22