## T151298
SN: | T151298
Item #: | PN850R1A2
Item Description: | 2x2 99:1 PM Narrowband Fiber Optic Coupler
Fiber Type: | Equivalent to PM 85-U25D
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 850
Insertion Loss (dB): | -0.09
Coupling Ratio (%): | 99
PER (dB): | 26
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 850
Insertion Loss (dB): | -20.17
Coupling Ratio (%): | 1
PER (dB): | 19