## T151453
SN: | T151453
Item #: | RB41A1
Item Description: | 1x2 488 nm / 640 nm Wavelength Division Multiplexer
Fiber Type: | Thorlabs 460HP
Port Name: | Channel 1 - Blue
Test Wavelength (nm): | 488
Insertion Loss (dB): | -0.04
Isolation (dB): | -26.71
Port Name: | Channel 2 - Red
Test Wavelength (nm): | 640
Insertion Loss (dB): | -0.13
Isolation (dB): | -23.68
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - Blue | Insertion Loss (dB) - Channel 2 - Red
473 | -0.183 | -19.431
473.365 | -0.18 | -19.508
473.729 | -0.168 | -19.825
474.094 | -0.153 | -20.15
474.459 | -0.142 | -20.478
474.824 | -0.144 | -20.813
475.188 | -0.145 | -21.158
475.553 | -0.145 | -21.51
475.918 | -0.146 | -21.871
476.283 | -0.146 | -22.241
476.647 | -0.146 | -22.625
477.012 | -0.14 | -23.055
477.377 | -0.134 | -23.514
477.741 | -0.128 | -23.993
478.106 | -0.117 | -24.484
478.471 | -0.107 | -24.993
478.836 | -0.098 | -25.522
479.2 | -0.088 | -26.101
479.565 | -0.085 | -26.743
479.93 | -0.088 | -27.433
480.295 | -0.098 | -28.119
480.659 | -0.096 | -28.79
481.024 | -0.083 | -29.461
481.389 | -0.082 | -30.261
481.754 | -0.088 | -31.095
482.118 | -0.099 | -31.948
482.483 | -0.091 | -32.734
482.848 | -0.078 | -33.387
483.212 | -0.063 | -33.865
483.577 | -0.071 | -34.072
483.942 | -0.08 | -34.112
484.307 | -0.082 | -33.945
484.671 | -0.065 | -33.373
485.036 | -0.051 | -32.729
485.401 | -0.049 | -32.084
485.766 | -0.063 | -31.269
486.13 | -0.076 | -30.419
486.495 | -0.079 | -29.601
486.86 | -0.056 | -28.867
487.224 | -0.035 | -28.159
487.589 | -0.03 | -27.458
487.954 | -0.035 | -26.796
488.319 | -0.048 | -26.176
488.683 | -0.068 | -25.613
489.048 | -0.077 | -25.075
489.413 | -0.076 | -24.554
489.778 | -0.066 | -24.052
490.142 | -0.061 | -23.57
490.507 | -0.062 | -23.111
490.872 | -0.07 | -22.69
491.236 | -0.078 | -22.292
491.601 | -0.085 | -21.911
491.966 | -0.089 | -21.547
492.331 | -0.083 | -21.186
492.695 | -0.075 | -20.827
493.06 | -0.075 | -20.481
493.425 | -0.087 | -20.162
493.79 | -0.102 | -19.863
494.154 | -0.107 | -19.574
494.519 | -0.112 | -19.285
494.884 | -0.119 | -19.001
495.249 | -0.124 | -18.74
495.613 | -0.119 | -18.484
495.978 | -0.111 | -18.231
496.343 | -0.118 | -17.989
496.707 | -0.122 | -17.748
497.072 | -0.121 | -17.512
497.437 | -0.125 | -17.299
497.802 | -0.129 | -17.084
498.166 | -0.131 | -16.863
498.531 | -0.135 | -16.642
498.896 | -0.142 | -16.428
499.261 | -0.154 | -16.222
499.625 | -0.169 | -16.025
499.99 | -0.174 | -15.833
500.355 | -0.168 | -15.643
500.719 | -0.177 | -15.452
501.084 | -0.182 | -15.264
501.449 | -0.179 | -15.086
501.814 | -0.188 | -14.92
502.178 | -0.203 | -14.758
502.543 | -0.212 | -14.593
502.908 | -0.21 | -14.433
503.273 | -0.207 | -14.273
503.637 | -0.212 | -14.115
504.002 | -0.22 | -13.963
504.367 | -0.232 | -13.819
504.731 | -0.246 | -13.677
505.096 | -0.26 | -13.52
505.461 | -0.271 | -13.358
505.826 | -0.273 | -13.205
506.19 | -0.269 | -13.067
506.555 | -0.271 | -12.937
506.92 | -0.285 | -12.809
507.285 | -0.295 | -12.685
507.649 | -0.298 | -12.563
508.014 | -0.301 | -12.441
508.379 | -0.309 | -12.315
508.743 | -0.321 | -12.187
509.108 | -0.331 | -12.063
509.473 | -0.334 | -11.944
509.838 | -0.337 | -11.829
510.202 | -0.343 | -11.714
510.567 | -0.352 | -11.595
510.932 | -0.363 | -11.477
511.297 | -0.376 | -11.367
511.661 | -0.388 | -11.257
512.026 | -0.396 | -11.146
512.391 | -0.405 | -11.037
512.755 | -0.418 | -10.932
513.12 | -0.434 | -10.827
513.485 | -0.448 | -10.722
513.85 | -0.458 | -10.619
514.214 | -0.465 | -10.519
514.579 | -0.473 | -10.417
514.944 | -0.481 | -10.314
515.309 | -0.49 | -10.213
515.673 | -0.498 | -10.114
516.038 | -0.506 | -10.016
516.403 | -0.516 | -9.919
516.768 | -0.528 | -9.824
517.132 | -0.541 | -9.733
517.497 | -0.552 | -9.647
517.862 | -0.565 | -9.565
518.226 | -0.578 | -9.483
518.591 | -0.59 | -9.396
518.956 | -0.604 | -9.305
519.321 | -0.621 | -9.214
519.685 | -0.639 | -9.128
520.05 | -0.655 | -9.046
520.415 | -0.67 | -8.963
520.78 | -0.684 | -8.879
521.144 | -0.696 | -8.794
521.509 | -0.705 | -8.712
521.874 | -0.711 | -8.634
522.238 | -0.719 | -8.559
522.603 | -0.728 | -8.488
522.968 | -0.741 | -8.417
523.333 | -0.755 | -8.348
523.697 | -0.769 | -8.278
524.062 | -0.782 | -8.208
524.427 | -0.797 | -8.137
524.792 | -0.811 | -8.063
525.156 | -0.824 | -7.99
525.521 | -0.836 | -7.918
525.886 | -0.851 | -7.848
526.25 | -0.872 | -7.778
526.615 | -0.893 | -7.708
526.98 | -0.909 | -7.64
527.345 | -0.922 | -7.573
527.709 | -0.936 | -7.505
528.074 | -0.952 | -7.438
528.439 | -0.968 | -7.375
528.804 | -0.982 | -7.316
529.168 | -0.995 | -7.256
529.533 | -1.01 | -7.193
529.898 | -1.024 | -7.126
530.263 | -1.039 | -7.058
530.627 | -1.054 | -6.994
530.992 | -1.072 | -6.934
531.357 | -1.092 | -6.872
531.721 | -1.11 | -6.806
532.086 | -1.126 | -6.741
532.451 | -1.143 | -6.679
532.816 | -1.16 | -6.621
533.18 | -1.178 | -6.565
533.545 | -1.194 | -6.511
533.91 | -1.208 | -6.455
534.275 | -1.222 | -6.396
534.639 | -1.237 | -6.336
535.004 | -1.255 | -6.278
535.369 | -1.277 | -6.223
535.733 | -1.298 | -6.17
536.098 | -1.317 | -6.117
536.463 | -1.331 | -6.064
536.828 | -1.341 | -6.012
537.192 | -1.353 | -5.957
537.557 | -1.369 | -5.901
537.922 | -1.39 | -5.848
538.287 | -1.414 | -5.797
538.651 | -1.437 | -5.746
539.016 | -1.455 | -5.695
539.381 | -1.469 | -5.643
539.745 | -1.48 | -5.59
540.11 | -1.493 | -5.537
540.475 | -1.511 | -5.486
540.84 | -1.533 | -5.437
541.204 | -1.558 | -5.39
541.569 | -1.581 | -5.341
541.934 | -1.6 | -5.292
542.299 | -1.613 | -5.244
542.663 | -1.625 | -5.193
543.028 | -1.64 | -5.14
543.393 | -1.664 | -5.088
543.758 | -1.689 | -5.039
544.122 | -1.711 | -4.994
544.487 | -1.731 | -4.953
544.852 | -1.751 | -4.91
545.216 | -1.771 | -4.866
545.581 | -1.792 | -4.829
545.946 | -1.812 | -4.792
546.311 | -1.833 | -4.751
546.675 | -1.853 | -4.71
547.04 | -1.875 | -4.671
547.405 | -1.899 | -4.632
547.77 | -1.926 | -4.589
548.134 | -1.952 | -4.543
548.499 | -1.976 | -4.498
548.864 | -2 | -4.456
549.228 | -2.022 | -4.415
549.593 | -2.042 | -4.375
549.958 | -2.065 | -4.336
550.323 | -2.09 | -4.299
550.687 | -2.114 | -4.264
551.052 | -2.136 | -4.231
551.417 | -2.159 | -4.198
551.782 | -2.182 | -4.164
552.146 | -2.205 | -4.125
552.511 | -2.229 | -4.082
552.876 | -2.255 | -4.041
553.24 | -2.281 | -4.004
553.605 | -2.305 | -3.969
553.97 | -2.329 | -3.934
554.335 | -2.352 | -3.895
554.699 | -2.377 | -3.854
555.064 | -2.404 | -3.812
555.429 | -2.431 | -3.773
555.794 | -2.458 | -3.736
556.158 | -2.486 | -3.7
556.523 | -2.513 | -3.663
556.888 | -2.54 | -3.624
557.253 | -2.565 | -3.586
557.617 | -2.591 | -3.55
557.982 | -2.618 | -3.517
558.347 | -2.647 | -3.484
558.711 | -2.678 | -3.449
559.076 | -2.709 | -3.411
559.441 | -2.738 | -3.374
559.806 | -2.764 | -3.338
560.17 | -2.791 | -3.304
560.535 | -2.82 | -3.271
560.9 | -2.85 | -3.238
561.265 | -2.88 | -3.205
561.629 | -2.91 | -3.173
561.994 | -2.94 | -3.142
562.359 | -2.971 | -3.111
562.723 | -3.004 | -3.08
563.088 | -3.037 | -3.05
563.453 | -3.068 | -3.02
563.818 | -3.097 | -2.99
564.182 | -3.127 | -2.961
564.547 | -3.159 | -2.934
564.912 | -3.192 | -2.906
565.277 | -3.224 | -2.877
565.641 | -3.254 | -2.847
566.006 | -3.282 | -2.816
566.371 | -3.31 | -2.786
566.735 | -3.34 | -2.757
567.1 | -3.373 | -2.729
567.465 | -3.406 | -2.701
567.83 | -3.438 | -2.675
568.194 | -3.469 | -2.65
568.559 | -3.501 | -2.624
568.924 | -3.535 | -2.595
569.289 | -3.571 | -2.563
569.653 | -3.611 | -2.527
570.018 | -3.66 | -2.489
570.383 | -3.711 | -2.451
570.747 | -3.759 | -2.415
571.112 | -3.799 | -2.384
571.477 | -3.835 | -2.357
571.842 | -3.87 | -2.333
572.206 | -3.906 | -2.309
572.571 | -3.943 | -2.285
572.936 | -3.98 | -2.259
573.301 | -4.018 | -2.233
573.665 | -4.056 | -2.207
574.03 | -4.093 | -2.182
574.395 | -4.132 | -2.158
574.76 | -4.172 | -2.135
575.124 | -4.212 | -2.11
575.489 | -4.252 | -2.085
575.854 | -4.291 | -2.06
576.218 | -4.329 | -2.038
576.583 | -4.368 | -2.016
576.948 | -4.406 | -1.995
577.313 | -4.446 | -1.972
577.677 | -4.485 | -1.948
578.042 | -4.524 | -1.924
578.407 | -4.562 | -1.9
578.772 | -4.601 | -1.877
579.136 | -4.641 | -1.855
579.501 | -4.684 | -1.832
579.866 | -4.728 | -1.809
580.23 | -4.771 | -1.788
580.595 | -4.814 | -1.768
580.96 | -4.857 | -1.749
581.325 | -4.898 | -1.729
581.689 | -4.941 | -1.709
582.054 | -4.985 | -1.688
582.419 | -5.029 | -1.667
582.784 | -5.07 | -1.646
583.148 | -5.113 | -1.625
583.513 | -5.158 | -1.603
583.878 | -5.204 | -1.582
584.242 | -5.25 | -1.561
584.607 | -5.296 | -1.541
584.972 | -5.342 | -1.522
585.337 | -5.389 | -1.504
585.701 | -5.436 | -1.487
586.066 | -5.485 | -1.469
586.431 | -5.534 | -1.45
586.796 | -5.584 | -1.431
587.16 | -5.633 | -1.414
587.525 | -5.682 | -1.396
587.89 | -5.732 | -1.379
588.255 | -5.783 | -1.361
588.619 | -5.834 | -1.344
588.984 | -5.884 | -1.327
589.349 | -5.935 | -1.309
589.713 | -5.988 | -1.292
590.078 | -6.041 | -1.275
590.443 | -6.095 | -1.259
590.808 | -6.148 | -1.244
591.172 | -6.202 | -1.23
591.537 | -6.255 | -1.216
591.902 | -6.31 | -1.2
592.267 | -6.365 | -1.183
592.631 | -6.419 | -1.168
592.996 | -6.473 | -1.153
593.361 | -6.529 | -1.136
593.725 | -6.587 | -1.119
594.09 | -6.644 | -1.103
594.455 | -6.701 | -1.088
594.82 | -6.76 | -1.073
595.184 | -6.821 | -1.058
595.549 | -6.881 | -1.044
595.914 | -6.94 | -1.029
596.279 | -7 | -1.013
596.643 | -7.061 | -0.997
597.008 | -7.123 | -0.983
597.373 | -7.185 | -0.969
597.737 | -7.25 | -0.953
598.102 | -7.315 | -0.937
598.467 | -7.381 | -0.921
598.832 | -7.446 | -0.905
599.196 | -7.512 | -0.891
599.561 | -7.581 | -0.878
599.926 | -7.65 | -0.865
600.291 | -7.719 | -0.851
600.655 | -7.789 | -0.836
601.02 | -7.859 | -0.823
601.385 | -7.927 | -0.81
601.75 | -7.996 | -0.799
602.114 | -8.069 | -0.787
602.479 | -8.141 | -0.773
602.844 | -8.214 | -0.759
603.208 | -8.287 | -0.747
603.573 | -8.361 | -0.735
603.938 | -8.433 | -0.723
604.303 | -8.504 | -0.711
604.667 | -8.576 | -0.698
605.032 | -8.649 | -0.685
605.397 | -8.724 | -0.672
605.762 | -8.799 | -0.661
606.126 | -8.874 | -0.652
606.491 | -8.948 | -0.642
606.856 | -9.023 | -0.631
607.22 | -9.1 | -0.62
607.585 | -9.177 | -0.61
607.95 | -9.253 | -0.601
608.315 | -9.33 | -0.592
608.679 | -9.408 | -0.581
609.044 | -9.488 | -0.571
609.409 | -9.569 | -0.56
609.774 | -9.652 | -0.549
610.138 | -9.734 | -0.539
610.503 | -9.817 | -0.53
610.868 | -9.901 | -0.522
611.232 | -9.988 | -0.513
611.597 | -10.076 | -0.503
611.962 | -10.166 | -0.494
612.327 | -10.257 | -0.486
612.691 | -10.349 | -0.479
613.056 | -10.444 | -0.472
613.421 | -10.54 | -0.464
613.786 | -10.638 | -0.456
614.15 | -10.738 | -0.448
614.515 | -10.84 | -0.442
614.88 | -10.945 | -0.435
615.245 | -11.051 | -0.426
615.609 | -11.157 | -0.417
615.974 | -11.266 | -0.407
616.339 | -11.377 | -0.4
616.703 | -11.489 | -0.395
617.068 | -11.603 | -0.388
617.433 | -11.717 | -0.38
617.798 | -11.832 | -0.37
618.162 | -11.948 | -0.361
618.527 | -12.066 | -0.354
618.892 | -12.186 | -0.348
619.257 | -12.308 | -0.341
619.621 | -12.431 | -0.335
619.986 | -12.555 | -0.328
620.351 | -12.68 | -0.32
620.715 | -12.806 | -0.312
621.08 | -12.932 | -0.304
621.445 | -13.06 | -0.295
621.81 | -13.189 | -0.287
622.174 | -13.318 | -0.278
622.539 | -13.447 | -0.27
622.904 | -13.579 | -0.262
623.269 | -13.713 | -0.254
623.633 | -13.85 | -0.247
623.998 | -13.987 | -0.241
624.363 | -14.126 | -0.235
624.727 | -14.265 | -0.231
625.092 | -14.407 | -0.225
625.457 | -14.553 | -0.218
625.822 | -14.702 | -0.212
626.186 | -14.854 | -0.205
626.551 | -15.009 | -0.198
626.916 | -15.167 | -0.193
627.281 | -15.327 | -0.19
627.645 | -15.49 | -0.187
628.01 | -15.657 | -0.182
628.375 | -15.825 | -0.178
628.74 | -15.997 | -0.174
629.104 | -16.176 | -0.172
629.469 | -16.361 | -0.169
629.834 | -16.551 | -0.165
630.198 | -16.742 | -0.161
630.563 | -16.935 | -0.159
630.928 | -17.132 | -0.158
631.293 | -17.336 | -0.158
631.657 | -17.545 | -0.157
632.022 | -17.758 | -0.155
632.387 | -17.977 | -0.154
632.752 | -18.203 | -0.155
633.116 | -18.433 | -0.158
633.481 | -18.667 | -0.158
633.846 | -18.906 | -0.158
634.21 | -19.15 | -0.159
634.575 | -19.397 | -0.158
634.94 | -19.648 | -0.156
635.305 | -19.907 | -0.157
635.669 | -20.174 | -0.156
636.034 | -20.447 | -0.155
636.399 | -20.721 | -0.155
636.764 | -21 | -0.153
637.128 | -21.286 | -0.151
637.493 | -21.579 | -0.147
637.858 | -21.879 | -0.143
638.222 | -22.181 | -0.14
638.587 | -22.483 | -0.138
638.952 | -22.785 | -0.137
639.317 | -23.09 | -0.136
639.681 | -23.402 | -0.133
640.046 | -23.716 | -0.132
640.411 | -24.027 | -0.132
640.776 | -24.331 | -0.131
641.14 | -24.631 | -0.132
641.505 | -24.927 | -0.132
641.87 | -25.215 | -0.129
642.234 | -25.486 | -0.128
642.599 | -25.741 | -0.129
642.964 | -25.975 | -0.129
643.329 | -26.192 | -0.129
643.693 | -26.388 | -0.13
644.058 | -26.539 | -0.131
644.423 | -26.662 | -0.132
644.788 | -26.758 | -0.133
645.152 | -26.802 | -0.134
645.517 | -26.814 | -0.136
645.882 | -26.795 | -0.141
646.247 | -26.721 | -0.141
646.611 | -26.615 | -0.141
646.976 | -26.478 | -0.144
647.341 | -26.299 | -0.147
647.705 | -26.097 | -0.148
648.07 | -25.867 | -0.147
648.435 | -25.606 | -0.149
648.8 | -25.33 | -0.152
649.164 | -25.037 | -0.157
649.529 | -24.73 | -0.161
649.894 | -24.414 | -0.163
650.259 | -24.085 | -0.162
650.623 | -23.746 | -0.161
650.988 | -23.404 | -0.162
651.353 | -23.062 | -0.166
651.717 | -22.72 | -0.17
652.082 | -22.38 | -0.173
652.447 | -22.048 | -0.174
652.812 | -21.722 | -0.177
653.176 | -21.4 | -0.18
653.541 | -21.085 | -0.186
653.906 | -20.778 | -0.19
654.271 | -20.476 | -0.193
654.635 | -20.183 | -0.195
655 | -19.9 | -0.2