## A009945
SN: | A009945
Item #: | RNN50HF
Item Description: | 3-Wavelength WDM: 642, 852, and 785 nm
Fiber Type: | Thorlabs 630HP
Port Name: | Channel 1
Test Wavelength (nm): | 642
Insertion Loss (dB): | -0.21
Isolation Channel 2 (dB): | -23.23
Isolation Channel 3 (dB): | -23.9
Port Name: | Channel 2
Test Wavelength (nm): | 785
Insertion Loss (dB): | -0.22
Isolation Channel 1 (dB): | -22.31
Isolation Channel 3 (dB): | -23.75
Port Name: | Channel 3
Test Wavelength (nm): | 852
Insertion Loss (dB): | -0.12
Isolation Channel 1 (dB): | -17.64
Isolation Channel 2 (dB): | -19.96
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 | Insertion Loss (dB) - Channel 2 | Insertion Loss (dB) - Channel 3
627 | -0.591 | -12.082 | -13.223
627.481 | -0.589 | -12.095 | -13.25
627.962 | -0.557 | -12.273 | -13.632
628.443 | -0.531 | -12.457 | -14.003
628.924 | -0.502 | -12.653 | -14.366
629.405 | -0.47 | -12.856 | -14.75
629.886 | -0.441 | -13.063 | -15.178
630.367 | -0.422 | -13.281 | -15.656
630.848 | -0.399 | -13.505 | -16.146
631.329 | -0.38 | -13.732 | -16.691
631.81 | -0.364 | -13.969 | -17.285
632.291 | -0.344 | -14.217 | -17.908
632.772 | -0.323 | -14.476 | -18.546
633.253 | -0.305 | -14.744 | -19.187
633.733 | -0.289 | -15.021 | -19.788
634.214 | -0.277 | -15.304 | -20.318
634.695 | -0.264 | -15.596 | -20.834
635.176 | -0.25 | -15.899 | -21.335
635.657 | -0.235 | -16.216 | -21.772
636.138 | -0.224 | -16.547 | -22.073
636.619 | -0.22 | -16.9 | -22.192
637.1 | -0.216 | -17.276 | -22.11
637.581 | -0.212 | -17.667 | -21.903
638.062 | -0.208 | -18.068 | -21.669
638.543 | -0.203 | -18.483 | -21.427
639.024 | -0.195 | -18.917 | -21.1
639.505 | -0.191 | -19.378 | -20.547
639.986 | -0.193 | -19.868 | -19.876
640.467 | -0.197 | -20.388 | -19.288
640.948 | -0.201 | -20.945 | -18.775
641.429 | -0.206 | -21.542 | -18.277
641.91 | -0.213 | -22.181 | -17.741
642.391 | -0.219 | -22.868 | -17.181
642.872 | -0.222 | -23.623 | -16.622
643.353 | -0.23 | -24.44 | -16.081
643.834 | -0.242 | -25.318 | -15.569
644.315 | -0.255 | -26.26 | -15.092
644.796 | -0.265 | -27.287 | -14.644
645.277 | -0.281 | -28.447 | -14.219
645.758 | -0.298 | -29.784 | -13.805
646.238 | -0.314 | -31.373 | -13.403
646.719 | -0.33 | -33.091 | -13.019
647.2 | -0.35 | -34.657 | -12.659
647.681 | -0.372 | -35.786 | -12.323
648.162 | -0.389 | -36.314 | -11.996
648.643 | -0.413 | -35.867 | -11.67
649.124 | -0.437 | -34.719 | -11.356
649.605 | -0.461 | -33.254 | -11.053
650.086 | -0.486 | -31.736 | -10.759
650.567 | -0.512 | -30.304 | -10.475
651.048 | -0.543 | -28.993 | -10.203
651.529 | -0.575 | -27.828 | -9.935
652.01 | -0.608 | -26.795 | -9.676
652.491 | -0.64 | -25.867 | -9.427
652.972 | -0.672 | -25.025 | -9.188
653.453 | -0.706 | -24.251 | -8.958
653.934 | -0.744 | -23.543 | -8.736
654.415 | -0.785 | -22.906 | -8.521
654.896 | -0.825 | -22.327 | -8.31
655.377 | -0.866 | -21.787 | -8.103
655.858 | -0.906 | -21.278 | -7.903
656.339 | -0.947 | -20.797 | -7.71
656.82 | -0.989 | -20.348 | -7.522
657.301 | -1.034 | -19.932 | -7.339
657.782 | -1.084 | -19.542 | -7.16
658.263 | -1.137 | -19.17 | -6.985
658.743 | -1.188 | -18.815 | -6.812
659.224 | -1.238 | -18.477 | -6.641
659.705 | -1.291 | -18.158 | -6.475
660.186 | -1.347 | -17.86 | -6.315
660.667 | -1.401 | -17.579 | -6.161
661.148 | -1.454 | -17.31 | -6.008
661.629 | -1.509 | -17.053 | -5.86
662.11 | -1.57 | -16.805 | -5.716
662.591 | -1.635 | -16.57 | -5.575
663.072 | -1.699 | -16.351 | -5.434
663.553 | -1.764 | -16.144 | -5.3
664.034 | -1.829 | -15.945 | -5.166
664.515 | -1.895 | -15.755 | -5.033
664.996 | -1.964 | -15.571 | -4.905
665.477 | -2.036 | -15.397 | -4.781
665.958 | -2.11 | -15.235 | -4.654
666.439 | -2.19 | -15.08 | -4.531
666.92 | -2.27 | -14.931 | -4.409
667.401 | -2.348 | -14.789 | -4.287
667.882 | -2.428 | -14.653 | -4.167
668.363 | -2.514 | -14.523 | -4.053
668.844 | -2.597 | -14.402 | -3.941
669.325 | -2.684 | -14.288 | -3.833
669.806 | -2.774 | -14.183 | -3.727
670.287 | -2.867 | -14.085 | -3.621
670.768 | -2.963 | -13.99 | -3.519
671.248 | -3.06 | -13.899 | -3.42
671.729 | -3.157 | -13.812 | -3.323
672.21 | -3.256 | -13.733 | -3.225
672.691 | -3.358 | -13.658 | -3.127
673.172 | -3.463 | -13.588 | -3.033
673.653 | -3.568 | -13.524 | -2.944
674.134 | -3.673 | -13.465 | -2.86
674.615 | -3.78 | -13.409 | -2.774
675.096 | -3.894 | -13.357 | -2.689
675.577 | -4.011 | -13.311 | -2.607
676.058 | -4.13 | -13.271 | -2.528
676.539 | -4.249 | -13.238 | -2.451
677.02 | -4.37 | -13.21 | -2.374
677.501 | -4.492 | -13.186 | -2.298
677.982 | -4.618 | -13.162 | -2.224
678.463 | -4.747 | -13.141 | -2.154
678.944 | -4.877 | -13.125 | -2.085
679.425 | -5.008 | -13.113 | -2.016
679.906 | -5.143 | -13.107 | -1.948
680.387 | -5.284 | -13.106 | -1.882
680.868 | -5.43 | -13.112 | -1.82
681.349 | -5.577 | -13.12 | -1.759
681.83 | -5.725 | -13.132 | -1.698
682.311 | -5.876 | -13.149 | -1.638
682.792 | -6.032 | -13.173 | -1.581
683.273 | -6.192 | -13.2 | -1.524
683.753 | -6.353 | -13.232 | -1.467
684.234 | -6.519 | -13.266 | -1.412
684.715 | -6.689 | -13.305 | -1.36
685.196 | -6.86 | -13.35 | -1.307
685.677 | -7.037 | -13.401 | -1.254
686.158 | -7.223 | -13.457 | -1.204
686.639 | -7.412 | -13.518 | -1.155
687.12 | -7.606 | -13.587 | -1.106
687.601 | -7.804 | -13.664 | -1.059
688.082 | -8.006 | -13.745 | -1.014
688.563 | -8.209 | -13.829 | -0.972
689.044 | -8.416 | -13.919 | -0.931
689.525 | -8.634 | -14.016 | -0.891
690.006 | -8.857 | -14.119 | -0.85
690.487 | -9.084 | -14.228 | -0.81
690.968 | -9.315 | -14.341 | -0.773
691.449 | -9.552 | -14.457 | -0.736
691.93 | -9.796 | -14.58 | -0.699
692.411 | -10.046 | -14.714 | -0.664
692.892 | -10.302 | -14.856 | -0.631
693.373 | -10.564 | -15.005 | -0.599
693.854 | -10.834 | -15.162 | -0.567
694.335 | -11.113 | -15.326 | -0.536
694.816 | -11.401 | -15.5 | -0.508
695.297 | -11.697 | -15.684 | -0.479
695.778 | -12.001 | -15.878 | -0.451
696.259 | -12.316 | -16.079 | -0.426
696.74 | -12.64 | -16.29 | -0.401
697.22 | -12.974 | -16.514 | -0.377
697.701 | -13.319 | -16.751 | -0.352
698.182 | -13.676 | -16.998 | -0.329
698.663 | -14.049 | -17.259 | -0.307
699.144 | -14.437 | -17.536 | -0.287
699.625 | -14.837 | -17.828 | -0.267
700.106 | -15.249 | -18.134 | -0.248
700.587 | -15.675 | -18.454 | -0.23
701.068 | -16.12 | -18.791 | -0.211
701.549 | -16.586 | -19.147 | -0.194
702.03 | -17.069 | -19.521 | -0.179
702.511 | -17.568 | -19.911 | -0.167
702.992 | -18.083 | -20.32 | -0.156
703.473 | -18.615 | -20.746 | -0.146
703.954 | -19.163 | -21.189 | -0.136
704.435 | -19.727 | -21.65 | -0.123
704.916 | -20.305 | -22.124 | -0.113
705.397 | -20.897 | -22.611 | -0.104
705.878 | -21.498 | -23.107 | -0.097
706.359 | -22.105 | -23.608 | -0.091
706.84 | -22.708 | -24.105 | -0.088
707.321 | -23.275 | -24.567 | -0.083
707.802 | -23.785 | -24.971 | -0.079
708.283 | -24.219 | -25.299 | -0.075
708.764 | -24.559 | -25.534 | -0.071
709.245 | -24.781 | -25.653 | -0.07
709.725 | -24.867 | -25.637 | -0.07
710.206 | -24.816 | -25.479 | -0.07
710.687 | -24.639 | -25.197 | -0.071
711.168 | -24.355 | -24.81 | -0.075
711.649 | -23.988 | -24.339 | -0.081
712.13 | -23.559 | -23.808 | -0.087
712.611 | -23.084 | -23.231 | -0.091
713.092 | -22.581 | -22.625 | -0.097
713.573 | -22.068 | -22.006 | -0.104
714.054 | -21.558 | -21.392 | -0.112
714.535 | -21.059 | -20.788 | -0.12
715.016 | -20.572 | -20.197 | -0.13
715.497 | -20.101 | -19.624 | -0.142
715.978 | -19.651 | -19.071 | -0.154
716.459 | -19.221 | -18.537 | -0.167
716.94 | -18.812 | -18.025 | -0.182
717.421 | -18.423 | -17.535 | -0.198
717.902 | -18.052 | -17.061 | -0.214
718.383 | -17.7 | -16.603 | -0.23
718.864 | -17.368 | -16.162 | -0.247
719.345 | -17.052 | -15.74 | -0.267
719.826 | -16.747 | -15.334 | -0.288
720.307 | -16.455 | -14.942 | -0.311
720.788 | -16.176 | -14.56 | -0.332
721.269 | -15.913 | -14.188 | -0.353
721.75 | -15.663 | -13.828 | -0.377
722.23 | -15.423 | -13.482 | -0.403
722.711 | -15.194 | -13.149 | -0.431
723.192 | -14.975 | -12.827 | -0.46
723.673 | -14.767 | -12.513 | -0.488
724.154 | -14.571 | -12.209 | -0.517
724.635 | -14.384 | -11.917 | -0.545
725.116 | -14.202 | -11.633 | -0.576
725.597 | -14.028 | -11.352 | -0.608
726.078 | -13.862 | -11.076 | -0.641
726.559 | -13.705 | -10.81 | -0.677
727.04 | -13.556 | -10.553 | -0.714
727.521 | -13.414 | -10.306 | -0.75
728.002 | -13.28 | -10.065 | -0.788
728.483 | -13.152 | -9.827 | -0.828
728.964 | -13.029 | -9.591 | -0.869
729.445 | -12.913 | -9.36 | -0.91
729.926 | -12.801 | -9.138 | -0.95
730.407 | -12.696 | -8.922 | -0.992
730.888 | -12.597 | -8.709 | -1.037
731.369 | -12.503 | -8.502 | -1.082
731.85 | -12.413 | -8.301 | -1.127
732.331 | -12.326 | -8.104 | -1.177
732.812 | -12.244 | -7.909 | -1.23
733.293 | -12.17 | -7.717 | -1.281
733.774 | -12.102 | -7.532 | -1.331
734.255 | -12.04 | -7.351 | -1.384
734.735 | -11.982 | -7.172 | -1.439
735.216 | -11.927 | -6.996 | -1.496
735.697 | -11.876 | -6.825 | -1.552
736.178 | -11.828 | -6.659 | -1.609
736.659 | -11.784 | -6.496 | -1.667
737.14 | -11.746 | -6.334 | -1.727
737.621 | -11.714 | -6.176 | -1.791
738.102 | -11.686 | -6.023 | -1.855
738.583 | -11.661 | -5.872 | -1.92
739.064 | -11.638 | -5.723 | -1.986
739.545 | -11.618 | -5.576 | -2.054
740.026 | -11.603 | -5.433 | -2.126
740.507 | -11.592 | -5.292 | -2.199
740.988 | -11.587 | -5.155 | -2.272
741.469 | -11.586 | -5.021 | -2.345
741.95 | -11.589 | -4.891 | -2.418
742.431 | -11.594 | -4.761 | -2.495
742.912 | -11.603 | -4.633 | -2.574
743.393 | -11.616 | -4.509 | -2.655
743.874 | -11.632 | -4.388 | -2.736
744.355 | -11.652 | -4.269 | -2.817
744.836 | -11.676 | -4.152 | -2.902
745.317 | -11.703 | -4.036 | -2.989
745.798 | -11.733 | -3.924 | -3.079
746.279 | -11.766 | -3.814 | -3.17
746.76 | -11.803 | -3.705 | -3.263
747.24 | -11.842 | -3.599 | -3.359
747.721 | -11.885 | -3.496 | -3.457
748.202 | -11.932 | -3.396 | -3.556
748.683 | -11.981 | -3.298 | -3.658
749.164 | -12.031 | -3.2 | -3.759
749.645 | -12.087 | -3.1 | -3.86
750.126 | -12.149 | -2.998 | -3.968
750.607 | -12.216 | -2.901 | -4.08
751.088 | -12.29 | -2.807 | -4.194
751.569 | -12.372 | -2.715 | -4.309
752.05 | -12.454 | -2.627 | -4.426
752.531 | -12.53 | -2.547 | -4.546
753.012 | -12.601 | -2.477 | -4.668
753.493 | -12.676 | -2.413 | -4.792
753.974 | -12.76 | -2.349 | -4.919
754.455 | -12.853 | -2.28 | -5.049
754.936 | -12.953 | -2.205 | -5.182
755.417 | -13.06 | -2.128 | -5.318
755.898 | -13.175 | -2.051 | -5.459
756.379 | -13.302 | -1.972 | -5.602
756.86 | -13.439 | -1.891 | -5.748
757.341 | -13.579 | -1.812 | -5.895
757.822 | -13.714 | -1.738 | -6.044
758.303 | -13.847 | -1.673 | -6.198
758.784 | -13.983 | -1.615 | -6.358
759.265 | -14.129 | -1.559 | -6.521
759.745 | -14.287 | -1.496 | -6.687
760.226 | -14.453 | -1.433 | -6.859
760.707 | -14.622 | -1.373 | -7.033
761.188 | -14.798 | -1.317 | -7.211
761.669 | -14.982 | -1.263 | -7.392
762.15 | -15.174 | -1.21 | -7.579
762.631 | -15.376 | -1.158 | -7.772
763.112 | -15.588 | -1.108 | -7.971
763.593 | -15.813 | -1.059 | -8.174
764.074 | -16.048 | -1.012 | -8.379
764.555 | -16.292 | -0.966 | -8.588
765.036 | -16.546 | -0.922 | -8.805
765.517 | -16.809 | -0.877 | -9.029
765.998 | -17.086 | -0.835 | -9.261
766.479 | -17.378 | -0.794 | -9.501
766.96 | -17.685 | -0.753 | -9.75
767.441 | -18.006 | -0.713 | -10.006
767.922 | -18.337 | -0.675 | -10.267
768.403 | -18.687 | -0.641 | -10.537
768.884 | -19.058 | -0.607 | -10.818
769.365 | -19.45 | -0.57 | -11.109
769.846 | -19.863 | -0.535 | -11.411
770.327 | -20.299 | -0.504 | -11.726
770.808 | -20.764 | -0.479 | -12.049
771.289 | -21.257 | -0.454 | -12.382
771.77 | -21.786 | -0.43 | -12.727
772.25 | -22.352 | -0.406 | -13.088
772.731 | -22.956 | -0.381 | -13.465
773.212 | -23.598 | -0.357 | -13.855
773.693 | -24.29 | -0.333 | -14.259
774.174 | -25.045 | -0.31 | -14.679
774.655 | -25.874 | -0.29 | -15.119
775.136 | -26.777 | -0.273 | -15.575
775.617 | -27.753 | -0.257 | -16.046
776.098 | -28.799 | -0.243 | -16.532
776.579 | -29.91 | -0.231 | -17.031
777.06 | -31.062 | -0.218 | -17.544
777.541 | -32.173 | -0.207 | -18.073
778.022 | -33.113 | -0.199 | -18.606
778.503 | -33.748 | -0.193 | -19.135
778.984 | -33.973 | -0.19 | -19.651
779.465 | -33.731 | -0.189 | -20.147
779.946 | -33.042 | -0.185 | -20.605
780.427 | -32.048 | -0.182 | -21
780.908 | -30.92 | -0.18 | -21.313
781.389 | -29.773 | -0.18 | -21.53
781.87 | -28.665 | -0.18 | -21.644
782.351 | -27.626 | -0.181 | -21.649
782.832 | -26.669 | -0.185 | -21.541
783.313 | -25.796 | -0.192 | -21.327
783.794 | -24.996 | -0.2 | -21.024
784.275 | -24.258 | -0.208 | -20.644
784.755 | -23.569 | -0.216 | -20.199
785.236 | -22.922 | -0.225 | -19.706
785.717 | -22.319 | -0.236 | -19.185
786.198 | -21.758 | -0.251 | -18.655
786.679 | -21.232 | -0.267 | -18.131
787.16 | -20.738 | -0.283 | -17.614
787.641 | -20.268 | -0.299 | -17.1
788.122 | -19.82 | -0.316 | -16.588
788.603 | -19.393 | -0.334 | -16.085
789.084 | -18.992 | -0.355 | -15.604
789.565 | -18.612 | -0.375 | -15.148
790.046 | -18.252 | -0.397 | -14.708
790.527 | -17.91 | -0.424 | -14.283
791.008 | -17.58 | -0.453 | -13.876
791.489 | -17.259 | -0.481 | -13.49
791.97 | -16.954 | -0.511 | -13.123
792.451 | -16.662 | -0.543 | -12.77
792.932 | -16.379 | -0.576 | -12.427
793.413 | -16.107 | -0.608 | -12.091
793.894 | -15.843 | -0.641 | -11.769
794.375 | -15.585 | -0.675 | -11.464
794.856 | -15.339 | -0.712 | -11.176
795.337 | -15.101 | -0.748 | -10.894
795.818 | -14.872 | -0.786 | -10.62
796.299 | -14.649 | -0.827 | -10.355
796.78 | -14.432 | -0.872 | -10.097
797.26 | -14.223 | -0.916 | -9.849
797.741 | -14.023 | -0.962 | -9.611
798.222 | -13.833 | -1.011 | -9.38
798.703 | -13.65 | -1.066 | -9.155
799.184 | -13.475 | -1.124 | -8.935
799.665 | -13.307 | -1.182 | -8.72
800.146 | -13.144 | -1.235 | -8.509
800.627 | -12.986 | -1.288 | -8.303
801.108 | -12.832 | -1.341 | -8.104
801.589 | -12.681 | -1.394 | -7.91
802.07 | -12.536 | -1.449 | -7.722
802.551 | -12.398 | -1.506 | -7.54
803.032 | -12.268 | -1.567 | -7.366
803.513 | -12.142 | -1.631 | -7.195
803.994 | -12.019 | -1.696 | -7.025
804.475 | -11.897 | -1.764 | -6.858
804.956 | -11.776 | -1.834 | -6.697
805.437 | -11.66 | -1.907 | -6.541
805.918 | -11.553 | -1.98 | -6.388
806.399 | -11.454 | -2.055 | -6.234
806.88 | -11.359 | -2.133 | -6.082
807.361 | -11.267 | -2.208 | -5.935
807.842 | -11.178 | -2.282 | -5.793
808.323 | -11.092 | -2.355 | -5.655
808.804 | -11.011 | -2.428 | -5.52
809.285 | -10.933 | -2.501 | -5.389
809.766 | -10.865 | -2.577 | -5.258
810.247 | -10.8 | -2.662 | -5.129
810.727 | -10.739 | -2.755 | -5.003
811.208 | -10.682 | -2.852 | -4.881
811.689 | -10.627 | -2.948 | -4.76
812.17 | -10.577 | -3.045 | -4.639
812.651 | -10.527 | -3.136 | -4.523
813.132 | -10.474 | -3.226 | -4.409
813.613 | -10.422 | -3.316 | -4.299
814.094 | -10.376 | -3.411 | -4.193
814.575 | -10.337 | -3.518 | -4.088
815.056 | -10.31 | -3.64 | -3.982
815.537 | -10.295 | -3.759 | -3.877
816.018 | -10.282 | -3.878 | -3.775
816.499 | -10.27 | -3.992 | -3.677
816.98 | -10.26 | -4.1 | -3.58
817.461 | -10.252 | -4.211 | -3.482
817.942 | -10.244 | -4.332 | -3.385
818.423 | -10.237 | -4.462 | -3.292
818.904 | -10.237 | -4.595 | -3.202
819.385 | -10.245 | -4.734 | -3.113
819.866 | -10.26 | -4.875 | -3.026
820.347 | -10.279 | -5.014 | -2.942
820.828 | -10.293 | -5.144 | -2.86
821.309 | -10.299 | -5.267 | -2.778
821.79 | -10.3 | -5.386 | -2.697
822.271 | -10.305 | -5.507 | -2.619
822.752 | -10.318 | -5.636 | -2.543
823.232 | -10.339 | -5.78 | -2.469
823.713 | -10.37 | -5.936 | -2.396
824.194 | -10.406 | -6.094 | -2.323
824.675 | -10.437 | -6.249 | -2.251
825.156 | -10.466 | -6.403 | -2.179
825.637 | -10.496 | -6.557 | -2.111
826.118 | -10.529 | -6.71 | -2.045
826.599 | -10.568 | -6.866 | -1.98
827.08 | -10.619 | -7.036 | -1.915
827.561 | -10.68 | -7.212 | -1.852
828.042 | -10.744 | -7.389 | -1.793
828.523 | -10.809 | -7.564 | -1.734
829.004 | -10.872 | -7.736 | -1.675
829.485 | -10.934 | -7.909 | -1.612
829.966 | -11.011 | -8.09 | -1.556
830.447 | -11.109 | -8.281 | -1.504
830.928 | -11.216 | -8.48 | -1.451
831.409 | -11.32 | -8.687 | -1.398
831.89 | -11.416 | -8.896 | -1.346
832.371 | -11.52 | -9.099 | -1.291
832.852 | -11.625 | -9.295 | -1.242
833.333 | -11.731 | -9.509 | -1.194
833.814 | -11.846 | -9.742 | -1.149
834.295 | -11.966 | -9.987 | -1.104
834.776 | -12.085 | -10.239 | -1.059
835.257 | -12.192 | -10.488 | -1.016
835.737 | -12.284 | -10.718 | -0.976
836.218 | -12.377 | -10.937 | -0.935
836.699 | -12.491 | -11.164 | -0.891
837.18 | -12.637 | -11.411 | -0.849
837.661 | -12.808 | -11.681 | -0.811
838.142 | -12.992 | -11.965 | -0.774
838.623 | -13.189 | -12.246 | -0.738
839.104 | -13.396 | -12.53 | -0.701
839.585 | -13.611 | -12.833 | -0.665
840.066 | -13.834 | -13.169 | -0.63
840.547 | -14.067 | -13.539 | -0.598
841.028 | -14.313 | -13.923 | -0.566
841.509 | -14.577 | -14.298 | -0.538
841.99 | -14.855 | -14.666 | -0.509
842.471 | -15.145 | -15.028 | -0.481
842.952 | -15.442 | -15.39 | -0.452
843.433 | -15.745 | -15.762 | -0.424
843.914 | -16.046 | -16.154 | -0.396
844.395 | -16.375 | -16.536 | -0.375
844.876 | -17.079 | -16.821 | -0.355
845.357 | -18.051 | -17.075 | -0.332
845.838 | -18.807 | -17.421 | -0.308
846.319 | -19.21 | -17.882 | -0.284
846.8 | -19.593 | -18.364 | -0.263
847.281 | -19.995 | -18.865 | -0.247
847.762 | -20.408 | -19.38 | -0.23
848.242 | -20.83 | -19.902 | -0.214
848.723 | -21.258 | -20.428 | -0.199
849.204 | -21.69 | -20.96 | -0.186
849.685 | -22.126 | -21.497 | -0.175
850.166 | -22.556 | -22.028 | -0.161
850.647 | -22.966 | -22.537 | -0.151
851.128 | -23.343 | -23.012 | -0.143
851.609 | -23.673 | -23.441 | -0.13
852.09 | -23.945 | -23.813 | -0.117
852.571 | -24.149 | -24.118 | -0.109
853.052 | -24.263 | -24.33 | -0.101
853.533 | -24.267 | -24.435 | -0.1
854.014 | -24.173 | -24.44 | -0.1
854.495 | -23.984 | -24.351 | -0.1
854.976 | -23.707 | -24.176 | -0.097
855.457 | -23.355 | -23.926 | -0.091
855.938 | -22.94 | -23.611 | -0.09
856.419 | -22.477 | -23.247 | -0.096
856.9 | -21.991 | -22.859 | -0.099
857.381 | -21.487 | -22.454 | -0.103
857.862 | -20.973 | -22.039 | -0.108
858.343 | -20.456 | -21.622 | -0.111
858.824 | -19.942 | -21.209 | -0.117
859.305 | -19.439 | -20.806 | -0.125
859.786 | -18.95 | -20.416 | -0.133
860.267 | -18.474 | -20.038 | -0.144
860.747 | -18.008 | -19.672 | -0.156
861.228 | -17.553 | -19.319 | -0.168
861.709 | -17.114 | -18.979 | -0.181
862.19 | -16.695 | -18.66 | -0.193
862.671 | -16.288 | -18.353 | -0.205
863.152 | -15.892 | -18.057 | -0.219
863.633 | -15.506 | -17.772 | -0.237
864.114 | -15.132 | -17.499 | -0.258
864.595 | -14.772 | -17.238 | -0.282
865.076 | -14.427 | -16.991 | -0.303
865.557 | -14.093 | -16.755 | -0.323
866.038 | -13.766 | -16.529 | -0.345
866.519 | -13.447 | -16.311 | -0.371
867 | -13.139 | -16.104 | -0.398