## ASE Spectrum
S9FC1132P ASE Spectrum
|  | Wavelength (nm) | Intensity (dB)
|  | 1180 | -44.4209
|  | 1180.5 | -44.4252
|  | 1181 | -44.4129
|  | 1181.5 | -44.4301
Product Raw Data |  | 1182 | -44.4306
1290 - 1315 nm Booster Optical Amplifier, Polarization Maintaining |  | 1182.5 | -44.4156
|  | 1183 | -44.4663
Item # | S9FC1132P | 1183.5 | -44.429
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1184 | -44.4517
|  | 1184.5 | -44.3814
|  | 1185 | -44.4126
|  | 1185.5 | -44.36
|  | 1186 | -44.4165
|  | 1186.5 | -44.3528
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1187 | -44.3772
|  | 1187.5 | -44.3818
|  | 1188 | -44.3592
Additional Information: |  | 1188.5 | -44.3126
I = 700 mA |  | 1189 | -44.3406
|  | 1189.5 | -44.3151
|  | 1190 | -44.2791
|  | 1190.5 | -44.2678
|  | 1191 | -44.2741
|  | 1191.5 | -44.2358
|  | 1192 | -44.2052
|  | 1192.5 | -44.1867
|  | 1193 | -44.155
|  | 1193.5 | -44.1364
|  | 1194 | -44.0658
|  | 1194.5 | -44.0386
|  | 1195 | -44.0124
|  | 1195.5 | -43.9612
|  | 1196 | -43.8888
|  | 1196.5 | -43.8376
|  | 1197 | -43.7868
|  | 1197.5 | -43.7169
|  | 1198 | -43.6276
|  | 1198.5 | -43.5966
|  | 1199 | -43.4584
|  | 1199.5 | -43.3606
|  | 1200 | -43.2612
|  | 1200.5 | -43.1735
|  | 1201 | -43.0685
|  | 1201.5 | -42.8773
|  | 1202 | -42.7419
|  | 1202.5 | -42.5667
|  | 1203 | -42.3152
|  | 1203.5 | -42.1501
|  | 1204 | -41.987
|  | 1204.5 | -41.8559
|  | 1205 | -41.5923
|  | 1205.5 | -41.4074
|  | 1206 | -41.2163
|  | 1206.5 | -40.9239
|  | 1207 | -40.755
|  | 1207.5 | -40.5344
|  | 1208 | -40.3855
|  | 1208.5 | -40.0447
|  | 1209 | -39.7853
|  | 1209.5 | -39.5499
|  | 1210 | -39.1814
|  | 1210.5 | -38.9351
|  | 1211 | -38.6677
|  | 1211.5 | -38.4078
|  | 1212 | -38.0642
|  | 1212.5 | -37.7561
|  | 1213 | -37.5832
|  | 1213.5 | -37.1771
|  | 1214 | -36.9489
|  | 1214.5 | -36.6977
|  | 1215 | -36.3555
|  | 1215.5 | -36.1058
|  | 1216 | -35.8565
|  | 1216.5 | -35.6747
|  | 1217 | -35.3157
|  | 1217.5 | -35.1114
|  | 1218 | -34.9365
|  | 1218.5 | -34.5198
|  | 1219 | -34.4105
|  | 1219.5 | -34.1149
|  | 1220 | -33.9182
|  | 1220.5 | -33.5678
|  | 1221 | -33.4395
|  | 1221.5 | -33.1549
|  | 1222 | -32.889
|  | 1222.5 | -32.7453
|  | 1223 | -32.3802
|  | 1223.5 | -32.2828
|  | 1224 | -32.001
|  | 1224.5 | -31.8433
|  | 1225 | -31.546
|  | 1225.5 | -31.3428
|  | 1226 | -31.1771
|  | 1226.5 | -30.8458
|  | 1227 | -30.7403
|  | 1227.5 | -30.4234
|  | 1228 | -30.2992
|  | 1228.5 | -30.0619
|  | 1229 | -29.8855
|  | 1229.5 | -29.6432
|  | 1230 | -29.3916
|  | 1230.5 | -29.2528
|  | 1231 | -28.938
|  | 1231.5 | -28.8665
|  | 1232 | -28.5706
|  | 1232.5 | -28.4574
|  | 1233 | -28.2376
|  | 1233.5 | -28.0325
|  | 1234 | -27.8559
|  | 1234.5 | -27.6035
|  | 1235 | -27.5047
|  | 1235.5 | -27.2233
|  | 1236 | -27.1574
|  | 1236.5 | -26.8915
|  | 1237 | -26.7778
|  | 1237.5 | -26.5774
|  | 1238 | -26.3652
|  | 1238.5 | -26.245
|  | 1239 | -25.9802
|  | 1239.5 | -25.9153
|  | 1240 | -25.6547
|  | 1240.5 | -25.5914
|  | 1241 | -25.3372
|  | 1241.5 | -25.2528
|  | 1242 | -25.0583
|  | 1242.5 | -24.896
|  | 1243 | -24.7964
|  | 1243.5 | -24.5678
|  | 1244 | -24.4924
|  | 1244.5 | -24.2468
|  | 1245 | -24.1856
|  | 1245.5 | -23.9657
|  | 1246 | -23.8923
|  | 1246.5 | -23.6645
|  | 1247 | -23.4821
|  | 1247.5 | -23.3668
|  | 1248 | -23.1569
|  | 1248.5 | -23.0648
|  | 1249 | -22.8785
|  | 1249.5 | -22.8206
|  | 1250 | -22.6279
|  | 1250.5 | -22.5379
|  | 1251 | -22.3426
|  | 1251.5 | -22.2225
|  | 1252 | -22.0535
|  | 1252.5 | -21.9225
|  | 1253 | -21.824
|  | 1253.5 | -21.6994
|  | 1254 | -21.5782
|  | 1254.5 | -21.4192
|  | 1255 | -21.3453
|  | 1255.5 | -21.1432
|  | 1256 | -21.1053
|  | 1256.5 | -20.9121
|  | 1257 | -20.9056
|  | 1257.5 | -20.7048
|  | 1258 | -20.6615
|  | 1258.5 | -20.5039
|  | 1259 | -20.394
|  | 1259.5 | -20.3085
|  | 1260 | -20.1706
|  | 1260.5 | -20.1312
|  | 1261 | -19.9668
|  | 1261.5 | -19.9637
|  | 1262 | -19.7932
|  | 1262.5 | -19.7826
|  | 1263 | -19.6455
|  | 1263.5 | -19.6157
|  | 1264 | -19.4224
|  | 1264.5 | -19.4144
|  | 1265 | -19.3021
|  | 1265.5 | -19.2785
|  | 1266 | -19.1761
|  | 1266.5 | -19.1494
|  | 1267 | -19.0337
|  | 1267.5 | -18.9398
|  | 1268 | -18.8939
|  | 1268.5 | -18.7838
|  | 1269 | -18.79
|  | 1269.5 | -18.6261
|  | 1270 | -18.6343
|  | 1270.5 | -18.5039
|  | 1271 | -18.5102
|  | 1271.5 | -18.3706
|  | 1272 | -18.3685
|  | 1272.5 | -18.2374
|  | 1273 | -18.2328
|  | 1273.5 | -18.0871
|  | 1274 | -18.1073
|  | 1274.5 | -17.9831
|  | 1275 | -17.9784
|  | 1275.5 | -17.8792
|  | 1276 | -17.8736
|  | 1276.5 | -17.7729
|  | 1277 | -17.7159
|  | 1277.5 | -17.6746
|  | 1278 | -17.5949
|  | 1278.5 | -17.5738
|  | 1279 | -17.5208
|  | 1279.5 | -17.5114
|  | 1280 | -17.4434
|  | 1280.5 | -17.4243
|  | 1281 | -17.3323
|  | 1281.5 | -17.3623
|  | 1282 | -17.2438
|  | 1282.5 | -17.2803
|  | 1283 | -17.1671
|  | 1283.5 | -17.2292
|  | 1284 | -17.1406
|  | 1284.5 | -17.1876
|  | 1285 | -17.1065
|  | 1285.5 | -17.1306
|  | 1286 | -17.0312
|  | 1286.5 | -17.075
|  | 1287 | -16.9572
|  | 1287.5 | -17.0312
|  | 1288 | -16.9404
|  | 1288.5 | -17.003
|  | 1289 | -16.9271
|  | 1289.5 | -16.9696
|  | 1290 | -16.8953
|  | 1290.5 | -16.9197
|  | 1291 | -16.8316
|  | 1291.5 | -16.8547
|  | 1292 | -16.7823
|  | 1292.5 | -16.8309
|  | 1293 | -16.7802
|  | 1293.5 | -16.8208
|  | 1294 | -16.7612
|  | 1294.5 | -16.7701
|  | 1295 | -16.7301
|  | 1295.5 | -16.7077
|  | 1296 | -16.6723
|  | 1296.5 | -16.6769
|  | 1297 | -16.6268
|  | 1297.5 | -16.6769
|  | 1298 | -16.634
|  | 1298.5 | -16.6491
|  | 1299 | -16.6266
|  | 1299.5 | -16.5977
|  | 1300 | -16.5761
|  | 1300.5 | -16.5925
|  | 1301 | -16.561
|  | 1301.5 | -16.5976
|  | 1302 | -16.5641
|  | 1302.5 | -16.5792
|  | 1303 | -16.5395
|  | 1303.5 | -16.5577
|  | 1304 | -16.531
|  | 1304.5 | -16.541
|  | 1305 | -16.5371
|  | 1305.5 | -16.5525
|  | 1306 | -16.5323
|  | 1306.5 | -16.6083
|  | 1307 | -16.5619
|  | 1307.5 | -16.5956
|  | 1308 | -16.5472
|  | 1308.5 | -16.546
|  | 1309 | -16.5298
|  | 1309.5 | -16.565
|  | 1310 | -16.5358
|  | 1310.5 | -16.5963
|  | 1311 | -16.5629
|  | 1311.5 | -16.6274
|  | 1312 | -16.5962
|  | 1312.5 | -16.6369
|  | 1313 | -16.61
|  | 1313.5 | -16.6467
|  | 1314 | -16.6264
|  | 1314.5 | -16.6878
|  | 1315 | -16.6363
|  | 1315.5 | -16.7387
|  | 1316 | -16.7094
|  | 1316.5 | -16.7339
|  | 1317 | -16.7005
|  | 1317.5 | -16.7572
|  | 1318 | -16.711
|  | 1318.5 | -16.8045
|  | 1319 | -16.7702
|  | 1319.5 | -16.8354
|  | 1320 | -16.8502
|  | 1320.5 | -16.9179
|  | 1321 | -16.9331
|  | 1321.5 | -16.9797
|  | 1322 | -16.955
|  | 1322.5 | -17.0287
|  | 1323 | -17.0196
|  | 1323.5 | -17.081
|  | 1324 | -17.1182
|  | 1324.5 | -17.1562
|  | 1325 | -17.2132
|  | 1325.5 | -17.2301
|  | 1326 | -17.2669
|  | 1326.5 | -17.2889
|  | 1327 | -17.3252
|  | 1327.5 | -17.3457
|  | 1328 | -17.407
|  | 1328.5 | -17.4069
|  | 1329 | -17.4986
|  | 1329.5 | -17.526
|  | 1330 | -17.5986
|  | 1330.5 | -17.6176
|  | 1331 | -17.6615
|  | 1331.5 | -17.6731
|  | 1332 | -17.7548
|  | 1332.5 | -17.7445
|  | 1333 | -17.8467
|  | 1333.5 | -17.8671
|  | 1334 | -17.9469
|  | 1334.5 | -18.0024
|  | 1335 | -18.0487
|  | 1335.5 | -18.1002
|  | 1336 | -18.1643
|  | 1336.5 | -18.2103
|  | 1337 | -18.2159
|  | 1337.5 | -18.2922
|  | 1338 | -18.3231
|  | 1338.5 | -18.4498
|  | 1339 | -18.4686
|  | 1339.5 | -18.5756
|  | 1340 | -18.5825
|  | 1340.5 | -18.6745
|  | 1341 | -18.693
|  | 1341.5 | -18.7764
|  | 1342 | -18.7828
|  | 1342.5 | -18.8872
|  | 1343 | -18.9143
|  | 1343.5 | -18.9806
|  | 1344 | -19.0853
|  | 1344.5 | -19.162
|  | 1345 | -19.2542
|  | 1345.5 | -19.2169
|  | 1346 | -19.2977
|  | 1346.5 | -19.3314
|  | 1347 | -19.4204
|  | 1347.5 | -19.413
|  | 1348 | -19.7777
|  | 1348.5 | -19.7156
|  | 1349 | -19.781
|  | 1349.5 | -19.7336
|  | 1350 | -19.7557
|  | 1350.5 | -20.0689
|  | 1351 | -20.0239
|  | 1351.5 | -19.9422
|  | 1352 | -20.1949
|  | 1352.5 | -20.2268
|  | 1353 | -20.3189
|  | 1353.5 | -20.5264
|  | 1354 | -20.3961
|  | 1354.5 | -20.5648
|  | 1355 | -21.1853
|  | 1355.5 | -20.8675
|  | 1356 | -21.3084
|  | 1356.5 | -20.9035
|  | 1357 | -20.8124
|  | 1357.5 | -21.469
|  | 1358 | -21.2263
|  | 1358.5 | -21.2796
|  | 1359 | -21.4432
|  | 1359.5 | -21.6007
|  | 1360 | -22.1784
|  | 1360.5 | -21.5494
|  | 1361 | -22.1822
|  | 1361.5 | -22.3001
|  | 1362 | -22.8885
|  | 1362.5 | -23.3552
|  | 1363 | -22.8641
|  | 1363.5 | -22.2215
|  | 1364 | -22.3412
|  | 1364.5 | -22.9843
|  | 1365 | -24.0897
|  | 1365.5 | -23.3694
|  | 1366 | -23.3687
|  | 1366.5 | -23.0519
|  | 1367 | -23.4442
|  | 1367.5 | -23.6674
|  | 1368 | -24.4649
|  | 1368.5 | -24.275
|  | 1369 | -24.7814
|  | 1369.5 | -24.0855
|  | 1370 | -24.5431
|  | 1370.5 | -24.791
|  | 1371 | -25.0953
|  | 1371.5 | -25.5036
|  | 1372 | -25.1056
|  | 1372.5 | -25.6555
|  | 1373 | -25.3482
|  | 1373.5 | -25.6105
|  | 1374 | -25.6918
|  | 1374.5 | -25.9001
|  | 1375 | -26.3437
|  | 1375.5 | -26.358
|  | 1376 | -26.5159
|  | 1376.5 | -26.7294
|  | 1377 | -27.016
|  | 1377.5 | -27.3476
|  | 1378 | -27.0915
|  | 1378.5 | -27.4766
|  | 1379 | -28.4886
|  | 1379.5 | -28.0556
|  | 1380 | -28.0757
|  | 1380.5 | -28.7596
|  | 1381 | -30.4194
|  | 1381.5 | -29.1237
|  | 1382 | -28.9403
|  | 1382.5 | -29.5681
|  | 1383 | -31.7386
|  | 1383.5 | -30.1693
|  | 1384 | -30.3647
|  | 1384.5 | -30.2909
|  | 1385 | -30.6286
|  | 1385.5 | -31.3236
|  | 1386 | -31.0639
|  | 1386.5 | -31.3098
|  | 1387 | -31.3875
|  | 1387.5 | -31.5048
|  | 1388 | -32.3653
|  | 1388.5 | -33.103
|  | 1389 | -32.5137
|  | 1389.5 | -32.6017
|  | 1390 | -33.0041
|  | 1390.5 | -33.1885
|  | 1391 | -33.3699
|  | 1391.5 | -33.5656
|  | 1392 | -33.8953
|  | 1392.5 | -35.0031
|  | 1393 | -35.1698
|  | 1393.5 | -34.5687
|  | 1394 | -34.8607
|  | 1394.5 | -35.1055
|  | 1395 | -35.8596
|  | 1395.5 | -36.3874
|  | 1396 | -36.3766
|  | 1396.5 | -36.8323
|  | 1397 | -37.03
|  | 1397.5 | -36.6722
|  | 1398 | -36.7591
|  | 1398.5 | -37.0549
|  | 1399 | -37.2601
|  | 1399.5 | -37.7591
|  | 1400 | -38.4449
|  | 1400.5 | -38.5819
|  | 1401 | -39.5129
|  | 1401.5 | -38.9609
|  | 1402 | -39.1793
|  | 1402.5 | -39.0737
|  | 1403 | -39.3679
|  | 1403.5 | -39.6488
|  | 1404 | -40.2385
|  | 1404.5 | -40.333
|  | 1405 | -41.0306
|  | 1405.5 | -41.4487
|  | 1406 | -40.9116
|  | 1406.5 | -41.1359
|  | 1407 | -41.6779
|  | 1407.5 | -42.3228
|  | 1408 | -42.1754
|  | 1408.5 | -42.156
|  | 1409 | -42.4928
|  | 1409.5 | -43.2484
|  | 1410 | -43.4615
|  | 1410.5 | -43.2006
|  | 1411 | -43.4017
|  | 1411.5 | -43.6507
|  | 1412 | -43.7846
|  | 1412.5 | -44.1854
|  | 1413 | -44.2694
|  | 1413.5 | -44.4195
|  | 1414 | -44.7201
|  | 1414.5 | -45.3462
|  | 1415 | -45.3714
|  | 1415.5 | -45.3614
|  | 1416 | -45.4791
|  | 1416.5 | -45.6194
|  | 1417 | -45.8341
|  | 1417.5 | -46.0277
|  | 1418 | -46.3377
|  | 1418.5 | -46.367
|  | 1419 | -46.7044
|  | 1419.5 | -47.011
|  | 1420 | -47.0506
|  | 1420.5 | -47.1325
|  | 1421 | -47.3262
|  | 1421.5 | -47.4671
|  | 1422 | -47.5667
|  | 1422.5 | -47.7093
|  | 1423 | -47.9252
|  | 1423.5 | -48.1178
|  | 1424 | -48.32
|  | 1424.5 | -48.3936
|  | 1425 | -48.4667
|  | 1425.5 | -48.6529
|  | 1426 | -48.785
|  | 1426.5 | -48.8903
|  | 1427 | -49.0134
|  | 1427.5 | -49.1925
|  | 1428 | -49.3025
|  | 1428.5 | -49.4115
|  | 1429 | -49.526
|  | 1429.5 | -49.6054
|  | 1430 | -49.7054

## Gain vs Output Power
S9FC1132P Gain vs. Output Power
|  | Output Power (dBm) | Gain (dB)
|  | 2.884 | 31.113
|  | 4.909 | 31.413
|  | 6.94 | 31.275
|  | 8.754 | 31.184
Product Raw Data |  | 10.433 | 30.85
1290 - 1315 nm Booster Optical Amplifier, Polarization Maintaining |  | 12.224 | 30.857
|  | 13.855 | 30.47
Item # | S9FC1132P | 15.156 | 29.576
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 16.406 | 28.911
|  | 17.276 | 27.933
|  | 18.037 | 26.598
|  | 18.653 | 25.266
|  | 19.163 | 23.729
|  | 19.585 | 22.131
This data may be used in publications. However, please cite Thorlabs as the source. |  | 19.918 | 20.492
|  | 20.224 | 18.753
Additional Information:
I = 700 mA, λ = 1312 nm