## Transmission
TL400-A Transmission
|  | Wavelength (nm) | % Transmission
|  | 350 | 76.9045
|  | 351 | 77.6925
|  | 352 | 78.5044
|  | 353 | 79.2622
Product Raw Data |  | 354 | 79.7579
Tube Lens for Laser Scanning and Widefield Imaging, f = 400 mm |  | 355 | 80.532
|  | 356 | 80.9981
Item # | TL400-A | 357 | 81.8262
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 358 | 82.5921
|  | 359 | 83.2504
|  | 360 | 83.8081
|  | 361 | 84.4449
|  | 362 | 84.8787
|  | 363 | 85.5233
This data may be used in publications. However, please cite Thorlabs as the source. |  | 364 | 86.1679
|  | 365 | 86.6067
|  | 366 | 87.1368
Additional Information: |  | 367 | 87.7004
|  | 368 | 87.926
|  | 369 | 88.3594
|  | 370 | 88.7447
|  | 371 | 89.2916
|  | 372 | 89.5772
|  | 373 | 89.8047
|  | 374 | 90.0685
|  | 375 | 90.3402
|  | 376 | 90.4899
|  | 377 | 90.9022
|  | 378 | 90.8519
|  | 379 | 91.0919
|  | 380 | 91.2179
|  | 381 | 91.4612
|  | 382 | 91.6739
|  | 383 | 91.8372
|  | 384 | 92.0113
|  | 385 | 92.2207
|  | 386 | 92.459
|  | 387 | 92.4
|  | 388 | 92.5476
|  | 389 | 92.6864
|  | 390 | 92.7471
|  | 391 | 92.7958
|  | 392 | 92.8172
|  | 393 | 92.9469
|  | 394 | 92.9723
|  | 395 | 93.0013
|  | 396 | 93.0594
|  | 397 | 93.0949
|  | 398 | 93.1704
|  | 399 | 93.2112
|  | 400 | 93.1598
|  | 401 | 93.1547
|  | 402 | 93.2426
|  | 403 | 93.1593
|  | 404 | 93.2622
|  | 405 | 93.1806
|  | 406 | 93.2
|  | 407 | 93.2078
|  | 408 | 93.2612
|  | 409 | 93.259
|  | 410 | 93.2224
|  | 411 | 93.2131
|  | 412 | 93.2417
|  | 413 | 93.2249
|  | 414 | 93.3068
|  | 415 | 93.3115
|  | 416 | 93.3065
|  | 417 | 93.2653
|  | 418 | 93.298
|  | 419 | 93.3405
|  | 420 | 93.368
|  | 421 | 93.3845
|  | 422 | 93.4004
|  | 423 | 93.4371
|  | 424 | 93.4672
|  | 425 | 93.5203
|  | 426 | 93.5754
|  | 427 | 93.5686
|  | 428 | 93.6284
|  | 429 | 93.6247
|  | 430 | 93.707
|  | 431 | 93.7218
|  | 432 | 93.7631
|  | 433 | 93.7942
|  | 434 | 93.8688
|  | 435 | 93.9163
|  | 436 | 93.9783
|  | 437 | 93.9979
|  | 438 | 94.0811
|  | 439 | 94.1725
|  | 440 | 94.2108
|  | 441 | 94.262
|  | 442 | 94.3682
|  | 443 | 94.4211
|  | 444 | 94.4994
|  | 445 | 94.5527
|  | 446 | 94.6657
|  | 447 | 94.7243
|  | 448 | 94.8092
|  | 449 | 94.8808
|  | 450 | 94.967
|  | 451 | 95.0587
|  | 452 | 95.1304
|  | 453 | 95.2246
|  | 454 | 95.2932
|  | 455 | 95.379
|  | 456 | 95.4902
|  | 457 | 95.5854
|  | 458 | 95.6364
|  | 459 | 95.7175
|  | 460 | 95.8156
|  | 461 | 95.8839
|  | 462 | 95.9636
|  | 463 | 96.0577
|  | 464 | 96.0983
|  | 465 | 96.2016
|  | 466 | 96.261
|  | 467 | 96.3288
|  | 468 | 96.3984
|  | 469 | 96.4991
|  | 470 | 96.5409
|  | 471 | 96.6195
|  | 472 | 96.6926
|  | 473 | 96.7232
|  | 474 | 96.8158
|  | 475 | 96.8617
|  | 476 | 96.9104
|  | 477 | 96.9667
|  | 478 | 97.0071
|  | 479 | 97.0555
|  | 480 | 97.092
|  | 481 | 97.1373
|  | 482 | 97.1759
|  | 483 | 97.2248
|  | 484 | 97.2364
|  | 485 | 97.2595
|  | 486 | 97.2858
|  | 487 | 97.3275
|  | 488 | 97.3256
|  | 489 | 97.3748
|  | 490 | 97.359
|  | 491 | 97.3714
|  | 492 | 97.3636
|  | 493 | 97.3945
|  | 494 | 97.3791
|  | 495 | 97.3726
|  | 496 | 97.368
|  | 497 | 97.3609
|  | 498 | 97.35
|  | 499 | 97.3297
|  | 500 | 97.3208
|  | 501 | 97.2747
|  | 502 | 97.2666
|  | 503 | 97.2377
|  | 504 | 97.1844
|  | 505 | 97.1512
|  | 506 | 97.126
|  | 507 | 97.0954
|  | 508 | 97.039
|  | 509 | 96.9723
|  | 510 | 96.9212
|  | 511 | 96.8646
|  | 512 | 96.8433
|  | 513 | 96.759
|  | 514 | 96.7123
|  | 515 | 96.6497
|  | 516 | 96.6043
|  | 517 | 96.5171
|  | 518 | 96.4656
|  | 519 | 96.4031
|  | 520 | 96.3294
|  | 521 | 96.2424
|  | 522 | 96.1796
|  | 523 | 96.1019
|  | 524 | 96.031
|  | 525 | 95.9449
|  | 526 | 95.8811
|  | 527 | 95.7935
|  | 528 | 95.7052
|  | 529 | 95.6412
|  | 530 | 95.5551
|  | 531 | 95.4527
|  | 532 | 95.3962
|  | 533 | 95.3143
|  | 534 | 95.2362
|  | 535 | 95.136
|  | 536 | 95.0574
|  | 537 | 94.9875
|  | 538 | 94.8827
|  | 539 | 94.803
|  | 540 | 94.7376
|  | 541 | 94.634
|  | 542 | 94.5554
|  | 543 | 94.4829
|  | 544 | 94.3951
|  | 545 | 94.3229
|  | 546 | 94.2278
|  | 547 | 94.1619
|  | 548 | 94.0742
|  | 549 | 94.0182
|  | 550 | 93.9349
|  | 551 | 93.8661
|  | 552 | 93.7818
|  | 553 | 93.69
|  | 554 | 93.6204
|  | 555 | 93.5617
|  | 556 | 93.4965
|  | 557 | 93.439
|  | 558 | 93.3549
|  | 559 | 93.3037
|  | 560 | 93.2382
|  | 561 | 93.1794
|  | 562 | 93.1124
|  | 563 | 93.0495
|  | 564 | 92.9958
|  | 565 | 92.9244
|  | 566 | 92.8937
|  | 567 | 92.8216
|  | 568 | 92.777
|  | 569 | 92.7211
|  | 570 | 92.6747
|  | 571 | 92.634
|  | 572 | 92.5963
|  | 573 | 92.5617
|  | 574 | 92.516
|  | 575 | 92.4662
|  | 576 | 92.4428
|  | 577 | 92.4024
|  | 578 | 92.3955
|  | 579 | 92.3389
|  | 580 | 92.3178
|  | 581 | 92.3115
|  | 582 | 92.2716
|  | 583 | 92.243
|  | 584 | 92.2251
|  | 585 | 92.201
|  | 586 | 92.1769
|  | 587 | 92.1759
|  | 588 | 92.1683
|  | 589 | 92.1561
|  | 590 | 92.1506
|  | 591 | 92.1477
|  | 592 | 92.1364
|  | 593 | 92.1279
|  | 594 | 92.1283
|  | 595 | 92.1335
|  | 596 | 92.1251
|  | 597 | 92.1103
|  | 598 | 92.1362
|  | 599 | 92.1378
|  | 600 | 92.1362
|  | 601 | 92.1367
|  | 602 | 92.1565
|  | 603 | 92.1636
|  | 604 | 92.1681
|  | 605 | 92.1735
|  | 606 | 92.1859
|  | 607 | 92.1998
|  | 608 | 92.2096
|  | 609 | 92.2329
|  | 610 | 92.2364
|  | 611 | 92.2498
|  | 612 | 92.2666
|  | 613 | 92.2856
|  | 614 | 92.2992
|  | 615 | 92.3012
|  | 616 | 92.3324
|  | 617 | 92.351
|  | 618 | 92.3671
|  | 619 | 92.3776
|  | 620 | 92.4072
|  | 621 | 92.4196
|  | 622 | 92.439
|  | 623 | 92.451
|  | 624 | 92.4839
|  | 625 | 92.5057
|  | 626 | 92.5271
|  | 627 | 92.5441
|  | 628 | 92.554
|  | 629 | 92.5721
|  | 630 | 92.5915
|  | 631 | 92.6073
|  | 632 | 92.6299
|  | 633 | 92.6288
|  | 634 | 92.6401
|  | 635 | 92.6638
|  | 636 | 92.6554
|  | 637 | 92.6702
|  | 638 | 92.6748
|  | 639 | 92.6841
|  | 640 | 92.6759
|  | 641 | 92.6977
|  | 642 | 92.6852
|  | 643 | 92.6885
|  | 644 | 92.6684
|  | 645 | 92.6723
|  | 646 | 92.6605
|  | 647 | 92.6335
|  | 648 | 92.6396
|  | 649 | 92.6136
|  | 650 | 92.5946
|  | 651 | 92.5872
|  | 652 | 92.5529
|  | 653 | 92.5312
|  | 654 | 92.4774
|  | 655 | 92.4397
|  | 656 | 92.4139
|  | 657 | 92.3681
|  | 658 | 92.3122
|  | 659 | 92.2732
|  | 660 | 92.222
|  | 661 | 92.1526
|  | 662 | 92.0864
|  | 663 | 92.0433
|  | 664 | 91.9633
|  | 665 | 91.8816
|  | 666 | 91.8082
|  | 667 | 91.7241
|  | 668 | 91.6328
|  | 669 | 91.5529
|  | 670 | 91.442
|  | 671 | 91.3527
|  | 672 | 91.241
|  | 673 | 91.122
|  | 674 | 91.024
|  | 675 | 90.895
|  | 676 | 90.76
|  | 677 | 90.6323
|  | 678 | 90.5018
|  | 679 | 90.3397
|  | 680 | 90.1842
|  | 681 | 90.0428
|  | 682 | 89.8822
|  | 683 | 89.7077
|  | 684 | 89.5432
|  | 685 | 89.3747
|  | 686 | 89.1958
|  | 687 | 89.0099
|  | 688 | 88.8217
|  | 689 | 88.6388
|  | 690 | 88.4305
|  | 691 | 88.2181
|  | 692 | 88.0125
|  | 693 | 87.8007
|  | 694 | 87.5541
|  | 695 | 87.3444
|  | 696 | 87.1142
|  | 697 | 86.8538
|  | 698 | 86.6069
|  | 699 | 86.3689
|  | 700 | 86.1098
|  | 701 | 85.8388
|  | 702 | 85.5705
|  | 703 | 85.3014
|  | 704 | 85.0267
|  | 705 | 84.7449
|  | 706 | 84.4469
|  | 707 | 84.1528
|  | 708 | 83.8466
|  | 709 | 83.5433
|  | 710 | 83.2341
|  | 711 | 82.9293
|  | 712 | 82.6025
|  | 713 | 82.2675
|  | 714 | 81.9479
|  | 715 | 81.6142
|  | 716 | 81.2857
|  | 717 | 80.9456
|  | 718 | 80.574
|  | 719 | 80.2236
|  | 720 | 79.9258
|  | 721 | 79.5736
|  | 722 | 79.2114
|  | 723 | 78.8397
|  | 724 | 78.4699
|  | 725 | 78.0674
|  | 726 | 77.6696
|  | 727 | 77.3022
|  | 728 | 76.9176
|  | 729 | 76.5081
|  | 730 | 76.108
|  | 731 | 75.7116
|  | 732 | 75.2924
|  | 733 | 74.8844
|  | 734 | 74.4847
|  | 735 | 74.0575
|  | 736 | 73.6392
|  | 737 | 73.2211
|  | 738 | 72.7854
|  | 739 | 72.3688
|  | 740 | 71.9536
|  | 741 | 71.5222
|  | 742 | 71.0837
|  | 743 | 70.6582
|  | 744 | 70.2166
|  | 745 | 69.777
|  | 746 | 69.3352
|  | 747 | 68.8981
|  | 748 | 68.4421
|  | 749 | 68.0278
|  | 750 | 67.5663
|  | 751 | 67.1133
|  | 752 | 66.6739
|  | 753 | 66.2284
|  | 754 | 65.7817
|  | 755 | 65.3195
|  | 756 | 64.8934
|  | 757 | 64.4293
|  | 758 | 63.9755
|  | 759 | 63.5438
|  | 760 | 63.0807
|  | 761 | 62.6237
|  | 762 | 62.176
|  | 763 | 61.7192
|  | 764 | 61.2561
|  | 765 | 60.82
|  | 766 | 60.3543
|  | 767 | 59.9055
|  | 768 | 59.47
|  | 769 | 59.0017
|  | 770 | 58.5459
|  | 771 | 58.1009
|  | 772 | 57.6623
|  | 773 | 57.2115
|  | 774 | 56.7634
|  | 775 | 56.3337
|  | 776 | 55.8812
|  | 777 | 55.4261
|  | 778 | 55.0039
|  | 779 | 54.5597
|  | 780 | 54.1136
|  | 781 | 53.6802
|  | 782 | 53.2412
|  | 783 | 52.8047
|  | 784 | 52.3825
|  | 785 | 51.9627
|  | 786 | 51.5244
|  | 787 | 51.0988
|  | 788 | 50.6697
|  | 789 | 50.2501
|  | 790 | 49.8262
|  | 791 | 49.4184
|  | 792 | 48.9975
|  | 793 | 48.5823
|  | 794 | 48.1788
|  | 795 | 47.7562
|  | 796 | 47.3429
|  | 797 | 46.9507
|  | 798 | 46.5496
|  | 799 | 46.1539
|  | 800 | 45.7479
|  | 801 | 45.3553
|  | 802 | 44.9544
|  | 803 | 44.5774
|  | 804 | 44.185
|  | 805 | 43.7926
|  | 806 | 43.434
|  | 807 | 43.0403
|  | 808 | 42.6644
|  | 809 | 42.299
|  | 810 | 41.9327
|  | 811 | 41.5642
|  | 812 | 41.202
|  | 813 | 40.846
|  | 814 | 40.4793
|  | 815 | 40.124
|  | 816 | 39.7881
|  | 817 | 39.4321
|  | 818 | 39.0817
|  | 819 | 38.7407
|  | 820 | 38.401
|  | 821 | 38.0567
|  | 822 | 37.7359
|  | 823 | 37.4035
|  | 824 | 37.0697
|  | 825 | 36.7493
|  | 826 | 36.43
|  | 827 | 36.0953
|  | 828 | 35.7939
|  | 829 | 35.4804
|  | 830 | 35.171
|  | 831 | 34.8613
|  | 832 | 34.5609
|  | 833 | 34.2526
|  | 834 | 33.9519
|  | 835 | 33.668
|  | 836 | 33.3686
|  | 837 | 33.0838
|  | 838 | 32.7928
|  | 839 | 32.5109
|  | 840 | 32.226
|  | 841 | 31.9513
|  | 842 | 31.6856
|  | 843 | 31.4082
|  | 844 | 31.1479
|  | 845 | 30.8748
|  | 846 | 30.6056
|  | 847 | 30.3554
|  | 848 | 30.0994
|  | 849 | 29.8402
|  | 850 | 29.5864
|  | 851 | 29.3414
|  | 852 | 29.0877
|  | 853 | 28.8446
|  | 854 | 28.6054
|  | 855 | 28.3627
|  | 856 | 28.1249
|  | 857 | 27.8985
|  | 858 | 27.6647
|  | 859 | 27.4281
|  | 860 | 27.2123
|  | 861 | 26.9873
|  | 862 | 26.7635
|  | 863 | 26.5477
|  | 864 | 26.3319
|  | 865 | 26.1145
|  | 866 | 25.9107
|  | 867 | 25.7005
|  | 868 | 25.493
|  | 869 | 25.2948
|  | 870 | 25.0944
|  | 871 | 24.8893
|  | 872 | 24.6936
|  | 873 | 24.5072
|  | 874 | 24.3117
|  | 875 | 24.1226
|  | 876 | 23.9361
|  | 877 | 23.7495
|  | 878 | 23.5651
|  | 879 | 23.3915
|  | 880 | 23.21
|  | 881 | 23.0304
|  | 882 | 22.8644
|  | 883 | 22.6893
|  | 884 | 22.5154
|  | 885 | 22.3542
|  | 886 | 22.1876
|  | 887 | 22.0239
|  | 888 | 21.8648
|  | 889 | 21.7069
|  | 890 | 21.5445
|  | 891 | 21.3931
|  | 892 | 21.2393
|  | 893 | 21.0872
|  | 894 | 20.9404
|  | 895 | 20.7931
|  | 896 | 20.6476
|  | 897 | 20.5042
|  | 898 | 20.3648
|  | 899 | 20.2242
|  | 900 | 20.084
|  | 901 | 19.9523
|  | 902 | 19.8145
|  | 903 | 19.6803
|  | 904 | 19.5523
|  | 905 | 19.4231
|  | 906 | 19.2948
|  | 907 | 19.171
|  | 908 | 19.0467
|  | 909 | 18.9238
|  | 910 | 18.8021
|  | 911 | 18.6853
|  | 912 | 18.5665
|  | 913 | 18.4509
|  | 914 | 18.34
|  | 915 | 18.2234
|  | 916 | 18.112
|  | 917 | 18.0029
|  | 918 | 17.8956
|  | 919 | 17.7863
|  | 920 | 17.6837
|  | 921 | 17.5789
|  | 922 | 17.4735
|  | 923 | 17.376
|  | 924 | 17.2754
|  | 925 | 17.1747
|  | 926 | 17.0807
|  | 927 | 16.984
|  | 928 | 16.8883
|  | 929 | 16.796
|  | 930 | 16.706
|  | 931 | 16.6152
|  | 932 | 16.5277
|  | 933 | 16.4401
|  | 934 | 16.3508
|  | 935 | 16.2652
|  | 936 | 16.1827
|  | 937 | 16.0997
|  | 938 | 16.0136
|  | 939 | 15.9366
|  | 940 | 15.855
|  | 941 | 15.7761
|  | 942 | 15.7017
|  | 943 | 15.6247
|  | 944 | 15.549
|  | 945 | 15.4763
|  | 946 | 15.4029
|  | 947 | 15.3285
|  | 948 | 15.26
|  | 949 | 15.1903
|  | 950 | 15.1209
|  | 951 | 15.053
|  | 952 | 14.9846
|  | 953 | 14.9177
|  | 954 | 14.8533
|  | 955 | 14.7899
|  | 956 | 14.7257
|  | 957 | 14.6649
|  | 958 | 14.6068
|  | 959 | 14.5455
|  | 960 | 14.4841
|  | 961 | 14.4296
|  | 962 | 14.3731
|  | 963 | 14.3161
|  | 964 | 14.2628
|  | 965 | 14.2101
|  | 966 | 14.1563
|  | 967 | 14.1055
|  | 968 | 14.0549
|  | 969 | 14.0043
|  | 970 | 13.9558
|  | 971 | 13.9078
|  | 972 | 13.8596
|  | 973 | 13.814
|  | 974 | 13.7698
|  | 975 | 13.7235
|  | 976 | 13.6801
|  | 977 | 13.6373
|  | 978 | 13.5941
|  | 979 | 13.5503
|  | 980 | 13.5116
|  | 981 | 13.4707
|  | 982 | 13.4312
|  | 983 | 13.3937
|  | 984 | 13.3552
|  | 985 | 13.3163
|  | 986 | 13.2816
|  | 987 | 13.2471
|  | 988 | 13.2119
|  | 989 | 13.177
|  | 990 | 13.1446
|  | 991 | 13.1116
|  | 992 | 13.0803
|  | 993 | 13.0503
|  | 994 | 13.0198
|  | 995 | 12.9891
|  | 996 | 12.9594
|  | 997 | 12.9308
|  | 998 | 12.9034
|  | 999 | 12.8776
|  | 1000 | 12.8497
|  | 1001 | 12.8251
|  | 1002 | 12.8003
|  | 1003 | 12.7758
|  | 1004 | 12.7529
|  | 1005 | 12.7305
|  | 1006 | 12.7076
|  | 1007 | 12.6854
|  | 1008 | 12.6648
|  | 1009 | 12.6449
|  | 1010 | 12.6245
|  | 1011 | 12.606
|  | 1012 | 12.5875
|  | 1013 | 12.5692
|  | 1014 | 12.551
|  | 1015 | 12.5349
|  | 1016 | 12.5189
|  | 1017 | 12.5025
|  | 1018 | 12.4874
|  | 1019 | 12.4729
|  | 1020 | 12.46
|  | 1021 | 12.446
|  | 1022 | 12.4328
|  | 1023 | 12.4208
|  | 1024 | 12.4092
|  | 1025 | 12.3976
|  | 1026 | 12.3869
|  | 1027 | 12.377
|  | 1028 | 12.3669
|  | 1029 | 12.3579
|  | 1030 | 12.3504
|  | 1031 | 12.3436
|  | 1032 | 12.3358
|  | 1033 | 12.3303
|  | 1034 | 12.3242
|  | 1035 | 12.3201
|  | 1036 | 12.3154
|  | 1037 | 12.3127
|  | 1038 | 12.3085
|  | 1039 | 12.3048
|  | 1040 | 12.3036
|  | 1041 | 12.3027
|  | 1042 | 12.3005
|  | 1043 | 12.2983
|  | 1044 | 12.299
|  | 1045 | 12.3007
|  | 1046 | 12.3018
|  | 1047 | 12.3026
|  | 1048 | 12.3053
|  | 1049 | 12.3079
|  | 1050 | 12.3103
|  | 1051 | 12.3146
|  | 1052 | 12.3186
|  | 1053 | 12.3231
|  | 1054 | 12.3284
|  | 1055 | 12.336
|  | 1056 | 12.344
|  | 1057 | 12.3508
|  | 1058 | 12.3566
|  | 1059 | 12.3659
|  | 1060 | 12.3742
|  | 1061 | 12.3818
|  | 1062 | 12.3888
|  | 1063 | 12.3973
|  | 1064 | 12.4066
|  | 1065 | 12.4144
|  | 1066 | 12.4239
|  | 1067 | 12.4363
|  | 1068 | 12.4444
|  | 1069 | 12.4567
|  | 1070 | 12.4685
|  | 1071 | 12.4791
|  | 1072 | 12.4895
|  | 1073 | 12.5025
|  | 1074 | 12.5169
|  | 1075 | 12.5293
|  | 1076 | 12.5416
|  | 1077 | 12.5577
|  | 1078 | 12.5735
|  | 1079 | 12.5867
|  | 1080 | 12.6027
|  | 1081 | 12.6197
|  | 1082 | 12.6346
|  | 1083 | 12.6518
|  | 1084 | 12.6666
|  | 1085 | 12.6851
|  | 1086 | 12.7008
|  | 1087 | 12.7187
|  | 1088 | 12.7388
|  | 1089 | 12.7577
|  | 1090 | 12.7757
|  | 1091 | 12.795
|  | 1092 | 12.8177
|  | 1093 | 12.8391
|  | 1094 | 12.8599
|  | 1095 | 12.8809
|  | 1096 | 12.9051
|  | 1097 | 12.9241
|  | 1098 | 12.9485
|  | 1099 | 12.9711
|  | 1100 | 12.9953
|  | 1101 | 13.0179
|  | 1102 | 13.0424
|  | 1103 | 13.0665
|  | 1104 | 13.0898
|  | 1105 | 13.1172
|  | 1106 | 13.1409
|  | 1107 | 13.1719
|  | 1108 | 13.1936
|  | 1109 | 13.2204
|  | 1110 | 13.2492
|  | 1111 | 13.2773
|  | 1112 | 13.3032
|  | 1113 | 13.3313
|  | 1114 | 13.3608
|  | 1115 | 13.3857
|  | 1116 | 13.4163
|  | 1117 | 13.4472
|  | 1118 | 13.4778
|  | 1119 | 13.5037
|  | 1120 | 13.543
|  | 1121 | 13.5684
|  | 1122 | 13.6054
|  | 1123 | 13.6331
|  | 1124 | 13.6681
|  | 1125 | 13.6984
|  | 1126 | 13.7263
|  | 1127 | 13.7604
|  | 1128 | 13.7928
|  | 1129 | 13.8269
|  | 1130 | 13.8651
|  | 1131 | 13.9027
|  | 1132 | 13.9302
|  | 1133 | 13.9663
|  | 1134 | 14.0057
|  | 1135 | 14.0436
|  | 1136 | 14.0874
|  | 1137 | 14.1144
|  | 1138 | 14.1528
|  | 1139 | 14.1999
|  | 1140 | 14.2274
|  | 1141 | 14.2602
|  | 1142 | 14.314
|  | 1143 | 14.3447
|  | 1144 | 14.3847
|  | 1145 | 14.4241
|  | 1146 | 14.4666
|  | 1147 | 14.5068
|  | 1148 | 14.5484
|  | 1149 | 14.5915
|  | 1150 | 14.6339
|  | 1151 | 14.6744
|  | 1152 | 14.7176
|  | 1153 | 14.7633
|  | 1154 | 14.8047
|  | 1155 | 14.8497
|  | 1156 | 14.8951
|  | 1157 | 14.9361
|  | 1158 | 14.9917
|  | 1159 | 15.0318
|  | 1160 | 15.0853
|  | 1161 | 15.1241
|  | 1162 | 15.1695
|  | 1163 | 15.217
|  | 1164 | 15.2659
|  | 1165 | 15.3186
|  | 1166 | 15.3707
|  | 1167 | 15.4142
|  | 1168 | 15.449
|  | 1169 | 15.5165
|  | 1170 | 15.5655
|  | 1171 | 15.6176
|  | 1172 | 15.6695
|  | 1173 | 15.7199
|  | 1174 | 15.7673
|  | 1175 | 15.8263
|  | 1176 | 15.8793
|  | 1177 | 15.9304
|  | 1178 | 15.9782
|  | 1179 | 16.0454
|  | 1180 | 16.0975
|  | 1181 | 16.1526
|  | 1182 | 16.2054
|  | 1183 | 16.2608
|  | 1184 | 16.3121
|  | 1185 | 16.3772
|  | 1186 | 16.4308
|  | 1187 | 16.4905
|  | 1188 | 16.5489
|  | 1189 | 16.6042
|  | 1190 | 16.6689
|  | 1191 | 16.7247
|  | 1192 | 16.7852
|  | 1193 | 16.8437
|  | 1194 | 16.9088
|  | 1195 | 16.9685
|  | 1196 | 17.0294
|  | 1197 | 17.092
|  | 1198 | 17.1501
|  | 1199 | 17.2145
|  | 1200 | 17.2897
|  | 1201 | 17.3628
|  | 1202 | 17.4257
|  | 1203 | 17.4911
|  | 1204 | 17.5815
|  | 1205 | 17.6208
|  | 1206 | 17.6705
|  | 1207 | 17.754
|  | 1208 | 17.8209
|  | 1209 | 17.8855
|  | 1210 | 17.9549
|  | 1211 | 18.0238
|  | 1212 | 18.0928
|  | 1213 | 18.1628
|  | 1214 | 18.2142
|  | 1215 | 18.2955
|  | 1216 | 18.3669
|  | 1217 | 18.4392
|  | 1218 | 18.5451
|  | 1219 | 18.5811
|  | 1220 | 18.6522
|  | 1221 | 18.7257
|  | 1222 | 18.7984
|  | 1223 | 18.8715
|  | 1224 | 18.9461
|  | 1225 | 19.0221
|  | 1226 | 19.0958
|  | 1227 | 19.1515
|  | 1228 | 19.2543
|  | 1229 | 19.3232
|  | 1230 | 19.3985
|  | 1231 | 19.478
|  | 1232 | 19.5583
|  | 1233 | 19.6303
|  | 1234 | 19.7105
|  | 1235 | 19.7887
|  | 1236 | 19.8662
|  | 1237 | 19.9468
|  | 1238 | 20.0296
|  | 1239 | 20.1068
|  | 1240 | 20.1859
|  | 1241 | 20.2703
|  | 1242 | 20.3514
|  | 1243 | 20.4321
|  | 1244 | 20.5307
|  | 1245 | 20.5971
|  | 1246 | 20.6827
|  | 1247 | 20.7693
|  | 1248 | 20.8506
|  | 1249 | 20.9358
|  | 1250 | 21.0209
|  | 1251 | 21.1091
|  | 1252 | 21.1935
|  | 1253 | 21.281
|  | 1254 | 21.3672
|  | 1255 | 21.4497
|  | 1256 | 21.5403
|  | 1257 | 21.6332
|  | 1258 | 21.7313
|  | 1259 | 21.808
|  | 1260 | 21.898
|  | 1261 | 21.9759
|  | 1262 | 22.0793
|  | 1263 | 22.1738
|  | 1264 | 22.2657
|  | 1265 | 22.355
|  | 1266 | 22.4516
|  | 1267 | 22.5398
|  | 1268 | 22.649
|  | 1269 | 22.7318
|  | 1270 | 22.8187
|  | 1271 | 22.9165
|  | 1272 | 22.976
|  | 1273 | 23.1123
|  | 1274 | 23.2079
|  | 1275 | 23.337
|  | 1276 | 23.3985
|  | 1277 | 23.4928
|  | 1278 | 23.5943
|  | 1279 | 23.6896
|  | 1280 | 23.7895
|  | 1281 | 23.8901
|  | 1282 | 23.9916
|  | 1283 | 24.0865
|  | 1284 | 24.1856
|  | 1285 | 24.2891
|  | 1286 | 24.3896
|  | 1287 | 24.4874
|  | 1288 | 24.5936
|  | 1289 | 24.6945
|  | 1290 | 24.7961
|  | 1291 | 24.9033
|  | 1292 | 25.0059
|  | 1293 | 25.1064
|  | 1294 | 25.2121
|  | 1295 | 25.316
|  | 1296 | 25.4191
|  | 1297 | 25.5256
|  | 1298 | 25.6329
|  | 1299 | 25.7363
|  | 1300 | 25.847
|  | 1301 | 25.9516
|  | 1302 | 26.0612
|  | 1303 | 26.1691
|  | 1304 | 26.28
|  | 1305 | 26.3863
|  | 1306 | 26.4955
|  | 1307 | 26.6083
|  | 1308 | 26.7169
|  | 1309 | 26.8294
|  | 1310 | 26.9445
|  | 1311 | 27.0545
|  | 1312 | 27.1639
|  | 1313 | 27.2101
|  | 1314 | 27.4
|  | 1315 | 27.5064
|  | 1316 | 27.6222
|  | 1317 | 27.7371
|  | 1318 | 27.8521
|  | 1319 | 27.9634
|  | 1320 | 28.0796
|  | 1321 | 28.1967
|  | 1322 | 28.3122
|  | 1323 | 28.4305
|  | 1324 | 28.5417
|  | 1325 | 28.6625
|  | 1326 | 28.7764
|  | 1327 | 28.8956
|  | 1328 | 29.0176
|  | 1329 | 29.1378
|  | 1330 | 29.2534
|  | 1331 | 29.375
|  | 1332 | 29.4971
|  | 1333 | 29.6162
|  | 1334 | 29.7382
|  | 1335 | 29.859
|  | 1336 | 29.9801
|  | 1337 | 30.1012
|  | 1338 | 30.2251
|  | 1339 | 30.3496
|  | 1340 | 30.4617
|  | 1341 | 30.5993
|  | 1342 | 30.7207
|  | 1343 | 30.8428
|  | 1344 | 30.9715
|  | 1345 | 31.0889
|  | 1346 | 31.2129
|  | 1347 | 31.3376
|  | 1348 | 31.4649
|  | 1349 | 31.5839
|  | 1350 | 31.7059
|  | 1351 | 31.837
|  | 1352 | 31.9606
|  | 1353 | 32.0859
|  | 1354 | 32.2143
|  | 1355 | 32.3398
|  | 1356 | 32.4672
|  | 1357 | 32.5988
|  | 1358 | 32.7418
|  | 1359 | 32.8605
|  | 1360 | 32.9967
|  | 1361 | 33.1365
|  | 1362 | 33.2605
|  | 1363 | 33.3983
|  | 1364 | 33.5438
|  | 1365 | 33.6669
|  | 1366 | 33.8047
|  | 1367 | 33.9341
|  | 1368 | 34.0675
|  | 1369 | 34.2012
|  | 1370 | 34.3369
|  | 1371 | 34.4676
|  | 1372 | 34.5892
|  | 1373 | 34.7203
|  | 1374 | 34.8443
|  | 1375 | 34.9573
|  | 1376 | 35.085
|  | 1377 | 35.2006
|  | 1378 | 35.3183
|  | 1379 | 35.4525
|  | 1380 | 35.5784
|  | 1381 | 35.698
|  | 1382 | 35.8303
|  | 1383 | 35.9616
|  | 1384 | 36.0776
|  | 1385 | 36.1869
|  | 1386 | 36.2893
|  | 1387 | 36.3899
|  | 1388 | 36.483
|  | 1389 | 36.5663
|  | 1390 | 36.6557
|  | 1391 | 36.7459
|  | 1392 | 36.8374
|  | 1393 | 36.9298
|  | 1394 | 37.0212
|  | 1395 | 37.112
|  | 1396 | 37.2036
|  | 1397 | 37.3092
|  | 1398 | 37.402
|  | 1399 | 37.4985
|  | 1400 | 37.6067
|  | 1401 | 37.7141
|  | 1402 | 37.8282
|  | 1403 | 37.9421
|  | 1404 | 38.0555
|  | 1405 | 38.2074
|  | 1406 | 38.3247
|  | 1407 | 38.466
|  | 1408 | 38.6037
|  | 1409 | 38.7653
|  | 1410 | 38.9072
|  | 1411 | 39.0603
|  | 1412 | 39.2078
|  | 1413 | 39.3748
|  | 1414 | 39.5354
|  | 1415 | 39.6939
|  | 1416 | 39.8539
|  | 1417 | 40.0202
|  | 1418 | 40.1941
|  | 1419 | 40.3594
|  | 1420 | 40.5348
|  | 1421 | 40.71
|  | 1422 | 40.8751
|  | 1423 | 41.1965
|  | 1424 | 41.2239
|  | 1425 | 41.3853
|  | 1426 | 41.5456
|  | 1427 | 41.7227
|  | 1428 | 41.8902
|  | 1429 | 42.062
|  | 1430 | 42.2321
|  | 1431 | 42.3993
|  | 1432 | 42.5594
|  | 1433 | 42.7365
|  | 1434 | 42.9042
|  | 1435 | 43.0684
|  | 1436 | 43.2351
|  | 1437 | 43.4062
|  | 1438 | 43.5692
|  | 1439 | 43.7392
|  | 1440 | 43.9017
|  | 1441 | 44.0601
|  | 1442 | 44.2311
|  | 1443 | 44.3999
|  | 1444 | 44.5531
|  | 1445 | 44.719
|  | 1446 | 44.8935
|  | 1447 | 45.057
|  | 1448 | 45.199
|  | 1449 | 45.367
|  | 1450 | 45.5408
|  | 1451 | 45.6956
|  | 1452 | 45.8744
|  | 1453 | 46.0311
|  | 1454 | 46.193
|  | 1455 | 46.3481
|  | 1456 | 46.509
|  | 1457 | 46.702
|  | 1458 | 46.8331
|  | 1459 | 46.9907
|  | 1460 | 47.1513
|  | 1461 | 47.3114
|  | 1462 | 47.4797
|  | 1463 | 47.634
|  | 1464 | 47.8084
|  | 1465 | 48.006
|  | 1466 | 48.1136
|  | 1467 | 48.2905
|  | 1468 | 48.4432
|  | 1469 | 48.6284
|  | 1470 | 48.7769
|  | 1471 | 48.9332
|  | 1472 | 49.0964
|  | 1473 | 49.2472
|  | 1474 | 49.4112
|  | 1475 | 49.5687
|  | 1476 | 49.7223
|  | 1477 | 49.889
|  | 1478 | 50.0582
|  | 1479 | 50.2086
|  | 1480 | 50.3744
|  | 1481 | 50.5328
|  | 1482 | 50.6801
|  | 1483 | 50.8582
|  | 1484 | 51.0254
|  | 1485 | 51.1717
|  | 1486 | 51.3264
|  | 1487 | 51.4942
|  | 1488 | 51.649
|  | 1489 | 51.8059
|  | 1490 | 51.9743
|  | 1491 | 52.1233
|  | 1492 | 52.2858
|  | 1493 | 52.445
|  | 1494 | 52.6034
|  | 1495 | 52.7602
|  | 1496 | 52.9265
|  | 1497 | 53.0751
|  | 1498 | 53.2421
|  | 1499 | 53.395
|  | 1500 | 53.5574
|  | 1501 | 53.7041
|  | 1502 | 53.8709
|  | 1503 | 54.0233
|  | 1504 | 54.1811
|  | 1505 | 54.3487
|  | 1506 | 54.5052
|  | 1507 | 54.6496
|  | 1508 | 54.7727
|  | 1509 | 54.9695
|  | 1510 | 55.1465
|  | 1511 | 55.2825
|  | 1512 | 55.44
|  | 1513 | 55.5937
|  | 1514 | 55.747
|  | 1515 | 55.9074
|  | 1516 | 56.0642
|  | 1517 | 56.2132
|  | 1518 | 56.3607
|  | 1519 | 56.5682
|  | 1520 | 56.6787
|  | 1521 | 56.8344
|  | 1522 | 57.0012
|  | 1523 | 57.1542
|  | 1524 | 57.2976
|  | 1525 | 57.4987
|  | 1526 | 57.6086
|  | 1527 | 57.7671
|  | 1528 | 57.9247
|  | 1529 | 58.1049
|  | 1530 | 58.2414
|  | 1531 | 58.3807
|  | 1532 | 58.5018
|  | 1533 | 58.6826
|  | 1534 | 58.8734
|  | 1535 | 58.9911
|  | 1536 | 59.1294
|  | 1537 | 59.3008
|  | 1538 | 59.4668
|  | 1539 | 59.5753
|  | 1540 | 59.7371
|  | 1541 | 59.9203
|  | 1542 | 60.0612
|  | 1543 | 60.2024
|  | 1544 | 60.3142
|  | 1545 | 60.5076
|  | 1546 | 60.6736
|  | 1547 | 60.8051
|  | 1548 | 60.9177
|  | 1549 | 61.1143
|  | 1550 | 61.2866
|  | 1551 | 61.4036
|  | 1552 | 61.5042
|  | 1553 | 61.7118
|  | 1554 | 61.8802
|  | 1555 | 61.9901
|  | 1556 | 62.1473
|  | 1557 | 62.2288
|  | 1558 | 62.491
|  | 1559 | 62.5892
|  | 1560 | 62.7387
|  | 1561 | 62.8647
|  | 1562 | 63.0233
|  | 1563 | 63.1771
|  | 1564 | 63.3037
|  | 1565 | 63.4644
|  | 1566 | 63.6096
|  | 1567 | 63.7415
|  | 1568 | 63.8922
|  | 1569 | 64.058
|  | 1570 | 64.1729
|  | 1571 | 64.3226
|  | 1572 | 64.4911
|  | 1573 | 64.6201
|  | 1574 | 64.7287
|  | 1575 | 64.9197
|  | 1576 | 65.056
|  | 1577 | 65.1829
|  | 1578 | 65.3128
|  | 1579 | 65.478
|  | 1580 | 65.6072
|  | 1581 | 65.7571
|  | 1582 | 65.9
|  | 1583 | 66.0263
|  | 1584 | 66.143
|  | 1585 | 66.3232
|  | 1586 | 66.4618
|  | 1587 | 66.591
|  | 1588 | 66.7091
|  | 1589 | 66.8717
|  | 1590 | 67.0198
|  | 1591 | 67.1132
|  | 1592 | 67.2869
|  | 1593 | 67.4328
|  | 1594 | 67.5156
|  | 1595 | 67.6788
|  | 1596 | 67.8054
|  | 1597 | 67.9571
|  | 1598 | 68.0752
|  | 1599 | 68.2131
|  | 1600 | 68.3457
|  | 1601 | 68.4448
|  | 1602 | 68.6613
|  | 1603 | 68.7455
|  | 1604 | 68.8883
|  | 1605 | 68.9937
|  | 1606 | 69.1357
|  | 1607 | 69.2815
|  | 1608 | 69.4481
|  | 1609 | 69.4861
|  | 1610 | 69.6793
|  | 1611 | 69.7968
|  | 1612 | 69.9267
|  | 1613 | 70.0843
|  | 1614 | 70.1869
|  | 1615 | 70.3038
|  | 1616 | 70.4343
|  | 1617 | 70.605
|  | 1618 | 70.6915
|  | 1619 | 70.8097
|  | 1620 | 70.9708
|  | 1621 | 71.0564
|  | 1622 | 71.1826
|  | 1623 | 71.3614
|  | 1624 | 71.4495
|  | 1625 | 71.5322
|  | 1626 | 71.6968
|  | 1627 | 71.8584
|  | 1628 | 71.937
|  | 1629 | 72.0262
|  | 1630 | 72.1808
|  | 1631 | 72.3426
|  | 1632 | 72.3957
|  | 1633 | 72.5307
|  | 1634 | 72.6706
|  | 1635 | 72.7778
|  | 1636 | 72.8836
|  | 1637 | 73.004
|  | 1638 | 73.152
|  | 1639 | 73.2427
|  | 1640 | 73.3548
|  | 1641 | 73.4909
|  | 1642 | 73.6304
|  | 1643 | 73.6698
|  | 1644 | 73.8249
|  | 1645 | 73.9752
|  | 1646 | 74.0388
|  | 1647 | 74.1775
|  | 1648 | 74.3147
|  | 1649 | 74.3684
|  | 1650 | 74.5051
|  | 1651 | 74.6652
|  | 1652 | 74.7013
|  | 1653 | 74.8291
|  | 1654 | 74.9518
|  | 1655 | 75.0945
|  | 1656 | 75.1516
|  | 1657 | 75.2804
|  | 1658 | 75.4121
|  | 1659 | 75.5066
|  | 1660 | 75.5272
|  | 1661 | 75.7166
|  | 1662 | 75.8435
|  | 1663 | 75.8787
|  | 1664 | 76.014
|  | 1665 | 76.1573
|  | 1666 | 76.2305
|  | 1667 | 76.3083
|  | 1668 | 76.4445
|  | 1669 | 76.5468
|  | 1670 | 76.6289
|  | 1671 | 76.7508
|  | 1672 | 76.8616
|  | 1673 | 76.9247
|  | 1674 | 77.0398
|  | 1675 | 77.1871
|  | 1676 | 77.2311
|  | 1677 | 77.3131
|  | 1678 | 77.4619
|  | 1679 | 77.5524
|  | 1680 | 77.5889
|  | 1681 | 77.7252
|  | 1682 | 77.8696
|  | 1683 | 77.929
|  | 1684 | 77.9703
|  | 1685 | 78.1392
|  | 1686 | 78.2221
|  | 1687 | 78.2684
|  | 1688 | 78.4086
|  | 1689 | 78.4891
|  | 1690 | 78.5698
|  | 1691 | 78.6626
|  | 1692 | 78.7606
|  | 1693 | 78.8114
|  | 1694 | 78.9405
|  | 1695 | 79.0323
|  | 1696 | 79.0924
|  | 1697 | 79.1914
|  | 1698 | 79.3028
|  | 1699 | 79.3503
|  | 1700 | 79.4463
|  | 1701 | 79.5682
|  | 1702 | 79.601
|  | 1703 | 79.7107
|  | 1704 | 79.8223
|  | 1705 | 79.8637
|  | 1706 | 79.9723
|  | 1707 | 80.091
|  | 1708 | 80.1347
|  | 1709 | 80.1456
|  | 1710 | 80.3106
|  | 1711 | 80.3684
|  | 1712 | 80.4485
|  | 1713 | 80.4728
|  | 1714 | 80.662
|  | 1715 | 80.6833
|  | 1716 | 80.7494
|  | 1717 | 80.826
|  | 1718 | 80.9592
|  | 1719 | 80.9832
|  | 1720 | 81.0412
|  | 1721 | 81.1828
|  | 1722 | 81.2115
|  | 1723 | 81.2539
|  | 1724 | 81.3528
|  | 1725 | 81.4799
|  | 1726 | 81.4692
|  | 1727 | 81.5753
|  | 1728 | 81.6464
|  | 1729 | 81.7261
|  | 1730 | 81.7892
|  | 1731 | 81.8659
|  | 1732 | 81.9428
|  | 1733 | 82.052
|  | 1734 | 82.0017
|  | 1735 | 82.1384
|  | 1736 | 82.2409
|  | 1737 | 82.2821
|  | 1738 | 82.2792
|  | 1739 | 82.4167
|  | 1740 | 82.4722
|  | 1741 | 82.5346
|  | 1742 | 82.5729
|  | 1743 | 82.6648
|  | 1744 | 82.7369
|  | 1745 | 82.7963
|  | 1746 | 82.8228
|  | 1747 | 82.9327
|  | 1748 | 82.9799
|  | 1749 | 83.0065
|  | 1750 | 83.1063
|  | 1751 | 83.1324
|  | 1752 | 83.1939
|  | 1753 | 83.2579
|  | 1754 | 83.3031
|  | 1755 | 83.3576
|  | 1756 | 83.384
|  | 1757 | 83.5333
|  | 1758 | 83.5284
|  | 1759 | 83.5777
|  | 1760 | 83.6177
|  | 1761 | 83.7495
|  | 1762 | 83.7392
|  | 1763 | 83.7816
|  | 1764 | 83.8037
|  | 1765 | 83.9627
|  | 1766 | 83.9389
|  | 1767 | 83.9773
|  | 1768 | 84.0612
|  | 1769 | 84.1204
|  | 1770 | 84.1172
|  | 1771 | 84.1919
|  | 1772 | 84.2636
|  | 1773 | 84.2558
|  | 1774 | 84.3302
|  | 1775 | 84.4235
|  | 1776 | 84.3922
|  | 1777 | 84.4581
|  | 1778 | 84.5441
|  | 1779 | 84.5116
|  | 1780 | 84.5897
|  | 1781 | 84.6664
|  | 1782 | 84.6422
|  | 1783 | 84.7239
|  | 1784 | 84.7769
|  | 1785 | 84.8001
|  | 1786 | 84.8107
|  | 1787 | 84.9046
|  | 1788 | 84.9053
|  | 1789 | 84.9397
|  | 1790 | 85.021
|  | 1791 | 84.9878
|  | 1792 | 85.0819
|  | 1793 | 85.0974
|  | 1794 | 85.1579
|  | 1795 | 85.1512
|  | 1796 | 85.2127
|  | 1797 | 85.2533
|  | 1798 | 85.3022
|  | 1799 | 85.3251
|  | 1800 | 85.354
|  | 1801 | 85.3941
|  | 1802 | 85.4341
|  | 1803 | 85.4435
|  | 1804 | 85.4884
|  | 1805 | 85.5244
|  | 1806 | 85.5379
|  | 1807 | 85.5836
|  | 1808 | 85.6201
|  | 1809 | 85.6392
|  | 1810 | 85.6763
|  | 1811 | 85.6914
|  | 1812 | 85.7239
|  | 1813 | 85.7544
|  | 1814 | 85.7871
|  | 1815 | 85.8027
|  | 1816 | 85.8236
|  | 1817 | 85.8498
|  | 1818 | 85.8975
|  | 1819 | 85.8915
|  | 1820 | 85.9443
|  | 1821 | 85.9364
|  | 1822 | 86.0078
|  | 1823 | 85.98
|  | 1824 | 86.0272
|  | 1825 | 86.0302
|  | 1826 | 86.0588
|  | 1827 | 86.0821
|  | 1828 | 86.1199
|  | 1829 | 86.1496
|  | 1830 | 86.166
|  | 1831 | 86.1856
|  | 1832 | 86.209
|  | 1833 | 86.2166
|  | 1834 | 86.2599
|  | 1835 | 86.238
|  | 1836 | 86.2843
|  | 1837 | 86.2758
|  | 1838 | 86.2836
|  | 1839 | 86.2961
|  | 1840 | 86.3156
|  | 1841 | 86.3246
|  | 1842 | 86.3282
|  | 1843 | 86.3441
|  | 1844 | 86.3542
|  | 1845 | 86.3844
|  | 1846 | 86.3242
|  | 1847 | 86.3984
|  | 1848 | 86.4033
|  | 1849 | 86.4041
|  | 1850 | 86.4111
|  | 1851 | 86.4278
|  | 1852 | 86.431
|  | 1853 | 86.4384
|  | 1854 | 86.446
|  | 1855 | 86.4324
|  | 1856 | 86.4528
|  | 1857 | 86.452
|  | 1858 | 86.4673
|  | 1859 | 86.4467
|  | 1860 | 86.4402
|  | 1861 | 86.4957
|  | 1862 | 86.5249
|  | 1863 | 86.5154
|  | 1864 | 86.5267
|  | 1865 | 86.5373
|  | 1866 | 86.5138
|  | 1867 | 86.5151
|  | 1868 | 86.5183
|  | 1869 | 86.5253
|  | 1870 | 86.5014
|  | 1871 | 86.493
|  | 1872 | 86.4565
|  | 1873 | 86.4492
|  | 1874 | 86.4321
|  | 1875 | 86.4398
|  | 1876 | 86.4203
|  | 1877 | 86.3859
|  | 1878 | 86.4148
|  | 1879 | 86.3879
|  | 1880 | 86.3837
|  | 1881 | 86.3774
|  | 1882 | 86.3776
|  | 1883 | 86.353
|  | 1884 | 86.3337
|  | 1885 | 86.3416
|  | 1886 | 86.3137
|  | 1887 | 86.2925
|  | 1888 | 86.2815
|  | 1889 | 86.2831
|  | 1890 | 86.2409
|  | 1891 | 86.2073
|  | 1892 | 86.2102
|  | 1893 | 86.1778
|  | 1894 | 86.1575
|  | 1895 | 86.1578
|  | 1896 | 86.1127
|  | 1897 | 86.0934
|  | 1898 | 86.0616
|  | 1899 | 86.052
|  | 1900 | 86.0368
|  | 1901 | 86.0054
|  | 1902 | 85.9761
|  | 1903 | 85.9465
|  | 1904 | 85.9082
|  | 1905 | 85.8845
|  | 1906 | 85.883
|  | 1907 | 85.8505
|  | 1908 | 85.8302
|  | 1909 | 85.8168
|  | 1910 | 85.7927
|  | 1911 | 85.7701
|  | 1912 | 85.7418
|  | 1913 | 85.73
|  | 1914 | 85.7147
|  | 1915 | 85.7069
|  | 1916 | 85.6618
|  | 1917 | 85.6318
|  | 1918 | 85.6151
|  | 1919 | 85.5837
|  | 1920 | 85.583
|  | 1921 | 85.5636
|  | 1922 | 85.5443
|  | 1923 | 85.4451
|  | 1924 | 85.4975
|  | 1925 | 85.4953
|  | 1926 | 85.4422
|  | 1927 | 85.4277
|  | 1928 | 85.3954
|  | 1929 | 85.3769
|  | 1930 | 85.3583
|  | 1931 | 85.3385
|  | 1932 | 85.3027
|  | 1933 | 85.2668
|  | 1934 | 85.2376
|  | 1935 | 85.2136
|  | 1936 | 85.1811
|  | 1937 | 85.1585
|  | 1938 | 85.1316
|  | 1939 | 85.1111
|  | 1940 | 85.0886
|  | 1941 | 85.0578
|  | 1942 | 85.0249
|  | 1943 | 85.0054
|  | 1944 | 84.9648
|  | 1945 | 84.9375
|  | 1946 | 84.9169
|  | 1947 | 84.8843
|  | 1948 | 84.8539
|  | 1949 | 84.7761
|  | 1950 | 84.8436
|  | 1951 | 84.7585
|  | 1952 | 84.7206
|  | 1953 | 84.6891
|  | 1954 | 84.654
|  | 1955 | 84.6254
|  | 1956 | 84.5875
|  | 1957 | 84.5493
|  | 1958 | 84.5395
|  | 1959 | 84.5029
|  | 1960 | 84.4714
|  | 1961 | 84.4328
|  | 1962 | 84.3783
|  | 1963 | 84.3883
|  | 1964 | 84.3035
|  | 1965 | 84.3213
|  | 1966 | 84.2746
|  | 1967 | 84.2188
|  | 1968 | 84.1913
|  | 1969 | 84.1415
|  | 1970 | 84.0986
|  | 1971 | 84.0707
|  | 1972 | 84.0355
|  | 1973 | 84.0492
|  | 1974 | 83.9591
|  | 1975 | 83.8604
|  | 1976 | 83.9169
|  | 1977 | 83.8415
|  | 1978 | 83.796
|  | 1979 | 83.784
|  | 1980 | 83.7362
|  | 1981 | 83.6781
|  | 1982 | 83.6773
|  | 1983 | 83.6006
|  | 1984 | 83.5634
|  | 1985 | 83.5486
|  | 1986 | 83.4559
|  | 1987 | 83.4347
|  | 1988 | 83.4034
|  | 1989 | 83.4069
|  | 1990 | 83.2567
|  | 1991 | 83.2781
|  | 1992 | 83.2488
|  | 1993 | 83.2273
|  | 1994 | 83.0523
|  | 1995 | 83.1365
|  | 1996 | 83.0758
|  | 1997 | 83.0262
|  | 1998 | 82.9571
|  | 1999 | 82.9144
|  | 2000 | 82.8499

## Axial Color
TL400-A Axial Color
|  | Wavelength (nm) | Theoretical Axial Focus (mm)
|  | 400 | 0
|  | 402.5 | -0.022272
|  | 405 | -0.043182
|  | 407.5 | -0.062806
Product Raw Data |  | 410 | -0.081211
Tube Lens for Laser Scanning and Widefield Imaging, f = 400 mm |  | 412.5 | -0.098463
|  | 415 | -0.11462
Item # | TL400-A | 417.5 | -0.12975
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 420 | -0.1439
|  | 422.5 | -0.15712
|  | 425 | -0.16946
|  | 427.5 | -0.18096
|  | 430 | -0.19168
|  | 432.5 | -0.20164
This data may be used in publications. However, please cite Thorlabs as the source. |  | 435 | -0.2109
|  | 437.5 | -0.21947
|  | 440 | -0.22741
Additional Information: |  | 442.5 | -0.23474
These are theoretical results. |  | 445 | -0.24148
|  | 447.5 | -0.24768
|  | 450 | -0.25336
|  | 452.5 | -0.25853
|  | 455 | -0.26324
|  | 457.5 | -0.2675
|  | 460 | -0.27133
|  | 462.5 | -0.27476
|  | 465 | -0.2778
|  | 467.5 | -0.28048
|  | 470 | -0.28281
|  | 472.5 | -0.2848
|  | 475 | -0.28648
|  | 477.5 | -0.28786
|  | 480 | -0.28896
|  | 482.5 | -0.28978
|  | 485 | -0.29034
|  | 487.5 | -0.29066
|  | 490 | -0.29075
|  | 492.5 | -0.29061
|  | 495 | -0.29026
|  | 497.5 | -0.28971
|  | 500 | -0.28897
|  | 502.5 | -0.28805
|  | 505 | -0.28695
|  | 507.5 | -0.28569
|  | 510 | -0.28428
|  | 512.5 | -0.28271
|  | 515 | -0.281
|  | 517.5 | -0.27916
|  | 520 | -0.27719
|  | 522.5 | -0.2751
|  | 525 | -0.2729
|  | 527.5 | -0.27058
|  | 530 | -0.26817
|  | 532.5 | -0.26565
|  | 535 | -0.26304
|  | 537.5 | -0.26035
|  | 540 | -0.25757
|  | 542.5 | -0.25471
|  | 545 | -0.25177
|  | 547.5 | -0.24877
|  | 550 | -0.2457
|  | 552.5 | -0.24256
|  | 555 | -0.23937
|  | 557.5 | -0.23612
|  | 560 | -0.23282
|  | 562.5 | -0.22947
|  | 565 | -0.22607
|  | 567.5 | -0.22262
|  | 570 | -0.21914
|  | 572.5 | -0.21562
|  | 575 | -0.21206
|  | 577.5 | -0.20847
|  | 580 | -0.20485
|  | 582.5 | -0.2012
|  | 585 | -0.19752
|  | 587.5 | -0.19382
|  | 590 | -0.19009
|  | 592.5 | -0.18634
|  | 595 | -0.18258
|  | 597.5 | -0.17879
|  | 600 | -0.17499
|  | 602.5 | -0.17118
|  | 605 | -0.16735
|  | 607.5 | -0.16352
|  | 610 | -0.15967
|  | 612.5 | -0.15581
|  | 615 | -0.15195
|  | 617.5 | -0.14807
|  | 620 | -0.1442
|  | 622.5 | -0.14032
|  | 625 | -0.13644
|  | 627.5 | -0.13255
|  | 630 | -0.12867
|  | 632.5 | -0.12478
|  | 635 | -0.12089
|  | 637.5 | -0.11701
|  | 640 | -0.11313
|  | 642.5 | -0.10925
|  | 645 | -0.10538
|  | 647.5 | -0.10151
|  | 650 | -0.097647
|  | 652.5 | -0.09379
|  | 655 | -0.089939
|  | 657.5 | -0.086096
|  | 660 | -0.08226
|  | 662.5 | -0.078433
|  | 665 | -0.074615
|  | 667.5 | -0.070806
|  | 670 | -0.067007
|  | 672.5 | -0.063218
|  | 675 | -0.05944
|  | 677.5 | -0.055673
|  | 680 | -0.051918
|  | 682.5 | -0.048175
|  | 685 | -0.044444
|  | 687.5 | -0.040725
|  | 690 | -0.03702
|  | 692.5 | -0.033327
|  | 695 | -0.029649
|  | 697.5 | -0.025984
|  | 700 | -0.022333

## RMS Wavefront Error
TL400-A RMS Wavefront Error
|  | Field (°) | RMS Wavefront Error (Waves) at 400 nm, Theoretical | RMS Wavefront Error (Waves) at 500 nm, Theoretical | RMS Wavefront Error (Waves) at 600 nm, Theoretical | RMS Wavefront Error (Waves) at 700 nm, Theoretical
|  | -1.5752 | 0.0286 | 0.0235 | 0.0149 | 0.0339
|  | -1.4703 | 0.0255 | 0.0246 | 0.0132 | 0.0321
|  | -1.3653 | 0.0226 | 0.0255 | 0.0116 | 0.0305
|  | -1.2603 | 0.02 | 0.0264 | 0.0102 | 0.0291
Product Raw Data |  | -1.1553 | 0.0176 | 0.0271 | 0.009 | 0.028
Tube Lens for Laser Scanning and Widefield Imaging, f = 400 mm |  | -1.0503 | 0.0155 | 0.0276 | 0.0078 | 0.0269
|  | -0.94529 | 0.0135 | 0.0281 | 0.0068 | 0.0261
Item # | TL400-A | -0.84028 | 0.0118 | 0.0286 | 0.0059 | 0.0254
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | -0.73525 | 0.0104 | 0.0289 | 0.0051 | 0.0248
|  | -0.63023 | 0.0093 | 0.0292 | 0.0045 | 0.0243
|  | -0.5252 | 0.0084 | 0.0295 | 0.004 | 0.0239
|  | -0.42016 | 0.0078 | 0.0297 | 0.0036 | 0.0236
|  | -0.31512 | 0.0074 | 0.0298 | 0.0033 | 0.0234
|  | -0.21008 | 0.0072 | 0.0299 | 0.0031 | 0.0233
This data may be used in publications. However, please cite Thorlabs as the source. |  | -0.10504 | 0.007 | 0.03 | 0.0031 | 0.0232
|  | 0 | 0.007 | 0.03 | 0.003 | 0.0232
|  | 0.10504 | 0.007 | 0.03 | 0.0031 | 0.0232
Additional Information: |  | 0.21008 | 0.0072 | 0.0299 | 0.0031 | 0.0233
|  | 0.31512 | 0.0074 | 0.0298 | 0.0033 | 0.0234
|  | 0.42016 | 0.0078 | 0.0297 | 0.0036 | 0.0236
|  | 0.5252 | 0.0084 | 0.0295 | 0.004 | 0.0239
|  | 0.63023 | 0.0093 | 0.0292 | 0.0045 | 0.0243
|  | 0.73525 | 0.0104 | 0.0289 | 0.0051 | 0.0248
|  | 0.84028 | 0.0118 | 0.0286 | 0.0059 | 0.0254
|  | 0.94529 | 0.0135 | 0.0281 | 0.0068 | 0.0261
|  | 1.0503 | 0.0155 | 0.0276 | 0.0078 | 0.0269
|  | 1.1553 | 0.0176 | 0.0271 | 0.009 | 0.028
|  | 1.2603 | 0.02 | 0.0264 | 0.0102 | 0.0291
|  | 1.3653 | 0.0226 | 0.0255 | 0.0116 | 0.0305
|  | 1.4703 | 0.0255 | 0.0246 | 0.0132 | 0.0321
|  | 1.5752 | 0.0286 | 0.0235 | 0.0149 | 0.0339

## Polychromatic MTF
TL400-A Polychromatic Modulation Transfer Function
|  | Spatial Frequency (lp/mm) | MTF
|  |  | Diffraction Limited (Theoretical) | On Axis | 4.00 mm Off Axis | 8.00 mm Off Axis | 11.00 mm Off Axis | 12.50 mm Off Axis
|  | 0 | 1 | 1 | 1 | 1 | 1 | 1
|  | 0.5 | 0.99295 | 0.99294 | 0.99293 | 0.99292 | 0.99291 | 0.99289
|  | 1 | 0.98594 | 0.98589 | 0.98589 | 0.98586 | 0.98582 | 0.98578
|  | 1.5 | 0.97893 | 0.97883 | 0.97881 | 0.97877 | 0.97869 | 0.9786
Product Raw Data |  | 2 | 0.97191 | 0.97174 | 0.97172 | 0.97166 | 0.97152 | 0.97137
Tube Lens for Laser Scanning and Widefield Imaging, f = 400 mm |  | 2.5 | 0.9649 | 0.96464 | 0.96461 | 0.96452 | 0.96432 | 0.96409
|  | 3 | 0.95789 | 0.95752 | 0.95748 | 0.95735 | 0.95709 | 0.95676
Item # | TL400-A | 3.5 | 0.95088 | 0.95038 | 0.95033 | 0.95017 | 0.94982 | 0.94939
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 4 | 0.94387 | 0.94323 | 0.94316 | 0.94297 | 0.94253 | 0.94197
|  | 4.5 | 0.93686 | 0.93606 | 0.93598 | 0.93575 | 0.9352 | 0.93452
|  | 5 | 0.92985 | 0.92888 | 0.92879 | 0.92851 | 0.92785 | 0.92702
|  | 5.5 | 0.92283 | 0.92169 | 0.92158 | 0.92126 | 0.92048 | 0.91949
|  | 6 | 0.91582 | 0.91449 | 0.91436 | 0.91399 | 0.91308 | 0.91192
|  | 6.5 | 0.90881 | 0.90728 | 0.90713 | 0.9067 | 0.90566 | 0.90433
This data may be used in publications. However, please cite Thorlabs as the source. |  | 7 | 0.9018 | 0.90005 | 0.89989 | 0.89941 | 0.89823 | 0.8967
|  | 7.5 | 0.89479 | 0.89282 | 0.89265 | 0.89211 | 0.89077 | 0.88905
|  | 8 | 0.88778 | 0.88559 | 0.88539 | 0.88479 | 0.8833 | 0.88137
Additional Information: |  | 8.5 | 0.88077 | 0.87834 | 0.87813 | 0.87747 | 0.87582 | 0.87368
The modulation transfer function of a lens, shown in this graph for the TL400-A, is a measure of image quality. The curve represents the contrast of an imaged sinusoidal line pair target with various line spacings. As the contrast diminishes, the distinction between the lines begins to blur. In the graph above, the y-axis represents the contrast and the x-axis is the line spacing in line pairs/mm. The data provided here is a theoretical calculation for the TL400-A lens. |  | 9 | 0.87376 | 0.8711 | 0.87087 | 0.87015 | 0.86833 | 0.86597
|  | 9.5 | 0.86677 | 0.86387 | 0.86361 | 0.86283 | 0.86084 | 0.85825
|  | 10 | 0.85978 | 0.85663 | 0.85635 | 0.8555 | 0.85335 | 0.85051
|  | 10.5 | 0.85279 | 0.84939 | 0.8491 | 0.84819 | 0.84585 | 0.84277
|  | 11 | 0.84582 | 0.84216 | 0.84184 | 0.84087 | 0.83835 | 0.83502
|  | 11.5 | 0.83884 | 0.83493 | 0.83459 | 0.83355 | 0.83085 | 0.82727
|  | 12 | 0.83186 | 0.8277 | 0.82734 | 0.82623 | 0.82334 | 0.8195
|  | 12.5 | 0.82489 | 0.82047 | 0.82009 | 0.81892 | 0.81584 | 0.81174
|  | 13 | 0.81794 | 0.81327 | 0.81286 | 0.81163 | 0.80835 | 0.80398
|  | 13.5 | 0.81099 | 0.80607 | 0.80564 | 0.80435 | 0.80087 | 0.79623
|  | 14 | 0.80404 | 0.79887 | 0.79843 | 0.79706 | 0.79339 | 0.78848
|  | 14.5 | 0.79709 | 0.79167 | 0.79121 | 0.78978 | 0.78591 | 0.78072
|  | 15 | 0.79015 | 0.78449 | 0.784 | 0.78251 | 0.77844 | 0.77298
|  | 15.5 | 0.78323 | 0.77733 | 0.77682 | 0.77527 | 0.771 | 0.76526
|  | 16 | 0.77632 | 0.77019 | 0.76966 | 0.76804 | 0.76358 | 0.75755
|  | 16.5 | 0.76942 | 0.76305 | 0.7625 | 0.76083 | 0.75616 | 0.74985
|  | 17 | 0.76251 | 0.75592 | 0.75535 | 0.75362 | 0.74875 | 0.74216
|  | 17.5 | 0.7556 | 0.74879 | 0.74821 | 0.74641 | 0.74135 | 0.73448
|  | 18 | 0.74872 | 0.7417 | 0.74109 | 0.73924 | 0.73398 | 0.72683
|  | 18.5 | 0.74186 | 0.73463 | 0.73401 | 0.7321 | 0.72665 | 0.71921
|  | 19 | 0.735 | 0.72757 | 0.72693 | 0.72497 | 0.71932 | 0.7116
|  | 19.5 | 0.72814 | 0.72052 | 0.71986 | 0.71784 | 0.712 | 0.704
|  | 20 | 0.72129 | 0.71348 | 0.71281 | 0.71074 | 0.70471 | 0.69643
|  | 20.5 | 0.71444 | 0.70646 | 0.70577 | 0.70365 | 0.69743 | 0.68887
|  | 21 | 0.70761 | 0.69947 | 0.69876 | 0.69659 | 0.69018 | 0.68135
|  | 21.5 | 0.70078 | 0.69248 | 0.69175 | 0.68954 | 0.68295 | 0.67384
|  | 22 | 0.69398 | 0.68553 | 0.68478 | 0.68253 | 0.67576 | 0.66638
|  | 22.5 | 0.6872 | 0.6786 | 0.67784 | 0.67554 | 0.6686 | 0.65895
|  | 23 | 0.68041 | 0.67168 | 0.67091 | 0.66856 | 0.66144 | 0.65153
|  | 23.5 | 0.67364 | 0.66479 | 0.664 | 0.66162 | 0.65433 | 0.64415
|  | 24 | 0.66688 | 0.65792 | 0.65712 | 0.6547 | 0.64724 | 0.63681
|  | 24.5 | 0.66013 | 0.65106 | 0.65025 | 0.64779 | 0.64017 | 0.62948
|  | 25 | 0.65338 | 0.64422 | 0.64339 | 0.64091 | 0.63313 | 0.62218
|  | 25.5 | 0.64667 | 0.63743 | 0.63658 | 0.63407 | 0.62613 | 0.61494
|  | 26 | 0.63996 | 0.63064 | 0.62979 | 0.62724 | 0.61915 | 0.60771
|  | 26.5 | 0.63327 | 0.62388 | 0.62301 | 0.62044 | 0.61221 | 0.60052
|  | 27 | 0.62658 | 0.61713 | 0.61625 | 0.61365 | 0.60528 | 0.59336
|  | 27.5 | 0.61991 | 0.61042 | 0.60953 | 0.6069 | 0.59839 | 0.58624
|  | 28 | 0.61325 | 0.60372 | 0.60282 | 0.60018 | 0.59153 | 0.57916
|  | 28.5 | 0.60662 | 0.59706 | 0.59615 | 0.59349 | 0.58471 | 0.57211
|  | 29 | 0.59999 | 0.59041 | 0.58949 | 0.58681 | 0.57791 | 0.5651
|  | 29.5 | 0.59338 | 0.58379 | 0.58286 | 0.58017 | 0.57115 | 0.55813
|  | 30 | 0.58678 | 0.57719 | 0.57625 | 0.57354 | 0.5644 | 0.55118
|  | 30.5 | 0.5802 | 0.57062 | 0.56967 | 0.56695 | 0.5577 | 0.54428
|  | 31 | 0.57365 | 0.56408 | 0.56312 | 0.56039 | 0.55104 | 0.53743
|  | 31.5 | 0.56712 | 0.55757 | 0.5566 | 0.55387 | 0.54442 | 0.53062
|  | 32 | 0.56059 | 0.55107 | 0.55009 | 0.54735 | 0.53781 | 0.52383
|  | 32.5 | 0.55407 | 0.54458 | 0.5436 | 0.54086 | 0.53123 | 0.51708
|  | 33 | 0.54759 | 0.53814 | 0.53715 | 0.53441 | 0.5247 | 0.51038
|  | 33.5 | 0.54111 | 0.53172 | 0.53072 | 0.52797 | 0.51819 | 0.5037
|  | 34 | 0.53465 | 0.52532 | 0.52431 | 0.52157 | 0.51171 | 0.49708
|  | 34.5 | 0.5282 | 0.51893 | 0.51792 | 0.51518 | 0.50526 | 0.49047
|  | 35 | 0.52177 | 0.51258 | 0.51156 | 0.50883 | 0.49884 | 0.48392
|  | 35.5 | 0.51538 | 0.50626 | 0.50523 | 0.50251 | 0.49248 | 0.47742
|  | 36 | 0.50899 | 0.49995 | 0.49892 | 0.49621 | 0.48613 | 0.47094
|  | 36.5 | 0.50262 | 0.49367 | 0.49264 | 0.48994 | 0.47981 | 0.46451
|  | 37 | 0.49628 | 0.48742 | 0.48638 | 0.48369 | 0.47353 | 0.45812
|  | 37.5 | 0.48996 | 0.48119 | 0.48015 | 0.47747 | 0.46728 | 0.45177
|  | 38 | 0.48366 | 0.475 | 0.47394 | 0.47129 | 0.46107 | 0.44546
|  | 38.5 | 0.47737 | 0.46881 | 0.46776 | 0.46512 | 0.45488 | 0.43918
|  | 39 | 0.47112 | 0.46266 | 0.4616 | 0.45898 | 0.44873 | 0.43296
|  | 39.5 | 0.46489 | 0.45655 | 0.45548 | 0.45288 | 0.44262 | 0.42677
|  | 40 | 0.45866 | 0.45043 | 0.44936 | 0.44678 | 0.43653 | 0.42061
|  | 40.5 | 0.45245 | 0.44435 | 0.44328 | 0.44072 | 0.43047 | 0.4145
|  | 41 | 0.44629 | 0.43831 | 0.43723 | 0.4347 | 0.42446 | 0.40844
|  | 41.5 | 0.44014 | 0.43228 | 0.43119 | 0.42869 | 0.41847 | 0.40241
|  | 42 | 0.43401 | 0.42627 | 0.42519 | 0.42271 | 0.41251 | 0.39642
|  | 42.5 | 0.42791 | 0.4203 | 0.4192 | 0.41675 | 0.40658 | 0.39047
|  | 43 | 0.42183 | 0.41435 | 0.41325 | 0.41083 | 0.40069 | 0.38457
|  | 43.5 | 0.41577 | 0.40842 | 0.40732 | 0.40493 | 0.39483 | 0.3787
|  | 44 | 0.40975 | 0.40252 | 0.40142 | 0.39906 | 0.38901 | 0.37289
|  | 44.5 | 0.40374 | 0.39665 | 0.39554 | 0.39321 | 0.38322 | 0.36711
|  | 45 | 0.39776 | 0.3908 | 0.38969 | 0.38739 | 0.37746 | 0.36136
|  | 45.5 | 0.39182 | 0.38499 | 0.38387 | 0.38161 | 0.37174 | 0.35568
|  | 46 | 0.38592 | 0.37921 | 0.3781 | 0.37587 | 0.36607 | 0.35004
|  | 46.5 | 0.38001 | 0.37344 | 0.37232 | 0.37012 | 0.3604 | 0.34442
|  | 47 | 0.37414 | 0.36771 | 0.36658 | 0.36442 | 0.35477 | 0.33886
|  | 47.5 | 0.3683 | 0.36199 | 0.36086 | 0.35874 | 0.34919 | 0.33333
|  | 48 | 0.36248 | 0.3563 | 0.35517 | 0.35308 | 0.34362 | 0.32784
|  | 48.5 | 0.35669 | 0.35064 | 0.3495 | 0.34745 | 0.33809 | 0.32239
|  | 49 | 0.35094 | 0.34502 | 0.34388 | 0.34186 | 0.3326 | 0.317
|  | 49.5 | 0.34521 | 0.33942 | 0.33827 | 0.33629 | 0.32715 | 0.31165
|  | 50 | 0.33952 | 0.33385 | 0.3327 | 0.33075 | 0.32173 | 0.30634
|  | 50.5 | 0.33387 | 0.32832 | 0.32717 | 0.32526 | 0.31635 | 0.30108
|  | 51 | 0.32824 | 0.32281 | 0.32166 | 0.31978 | 0.311 | 0.29585
|  | 51.5 | 0.32263 | 0.31733 | 0.31617 | 0.31433 | 0.30568 | 0.29068
|  | 52 | 0.31706 | 0.31188 | 0.31071 | 0.30891 | 0.3004 | 0.28554
|  | 52.5 | 0.31153 | 0.30646 | 0.3053 | 0.30353 | 0.29516 | 0.28046
|  | 53 | 0.30604 | 0.30109 | 0.29992 | 0.29819 | 0.28997 | 0.27543
|  | 53.5 | 0.30057 | 0.29574 | 0.29456 | 0.29287 | 0.2848 | 0.27044
|  | 54 | 0.29514 | 0.29042 | 0.28924 | 0.28758 | 0.27966 | 0.26549
|  | 54.5 | 0.28975 | 0.28514 | 0.28396 | 0.28233 | 0.27458 | 0.2606
|  | 55 | 0.28441 | 0.27991 | 0.27872 | 0.27713 | 0.26954 | 0.25576
|  | 55.5 | 0.27909 | 0.2747 | 0.27351 | 0.27195 | 0.26453 | 0.25096
|  | 56 | 0.2738 | 0.26952 | 0.26832 | 0.26679 | 0.25954 | 0.2462
|  | 56.5 | 0.26855 | 0.26438 | 0.26317 | 0.26168 | 0.25462 | 0.2415
|  | 57 | 0.26337 | 0.25929 | 0.25809 | 0.25663 | 0.24974 | 0.23686
|  | 57.5 | 0.25821 | 0.25424 | 0.25303 | 0.2516 | 0.2449 | 0.23226
|  | 58 | 0.25309 | 0.24922 | 0.248 | 0.2466 | 0.24008 | 0.2277
|  | 58.5 | 0.24801 | 0.24424 | 0.24301 | 0.24164 | 0.23532 | 0.2232
|  | 59 | 0.24298 | 0.23931 | 0.23808 | 0.23674 | 0.23062 | 0.21875
|  | 59.5 | 0.23799 | 0.23441 | 0.23318 | 0.23187 | 0.22595 | 0.21436
|  | 60 | 0.23305 | 0.22956 | 0.22833 | 0.22704 | 0.22132 | 0.21002
|  | 60.5 | 0.22815 | 0.22476 | 0.22352 | 0.22226 | 0.21675 | 0.20573
|  | 61 | 0.2233 | 0.22 | 0.21875 | 0.21752 | 0.21221 | 0.20149
|  | 61.5 | 0.21848 | 0.21527 | 0.21402 | 0.21281 | 0.20771 | 0.1973
|  | 62 | 0.21371 | 0.21059 | 0.20934 | 0.20815 | 0.20326 | 0.19316
|  | 62.5 | 0.20901 | 0.20597 | 0.20472 | 0.20354 | 0.19887 | 0.18908
|  | 63 | 0.20436 | 0.20141 | 0.20015 | 0.199 | 0.19455 | 0.18507
|  | 63.5 | 0.19976 | 0.19689 | 0.19564 | 0.19451 | 0.19027 | 0.18112
|  | 64 | 0.19522 | 0.19244 | 0.19118 | 0.19007 | 0.18605 | 0.17722
|  | 64.5 | 0.19074 | 0.18804 | 0.18678 | 0.18569 | 0.18188 | 0.17338
|  | 65 | 0.18631 | 0.18369 | 0.18243 | 0.18135 | 0.17776 | 0.16958
|  | 65.5 | 0.18193 | 0.17939 | 0.17813 | 0.17706 | 0.17369 | 0.16585
|  | 66 | 0.17762 | 0.17516 | 0.1739 | 0.17285 | 0.16969 | 0.16218
|  | 66.5 | 0.17339 | 0.17101 | 0.16974 | 0.1687 | 0.16575 | 0.15856
|  | 67 | 0.1692 | 0.1669 | 0.16564 | 0.16461 | 0.16186 | 0.15501
|  | 67.5 | 0.16508 | 0.16285 | 0.1616 | 0.16059 | 0.15804 | 0.15152
|  | 68 | 0.16105 | 0.1589 | 0.15764 | 0.15664 | 0.1543 | 0.14809
|  | 68.5 | 0.15709 | 0.15501 | 0.15376 | 0.15278 | 0.15063 | 0.14473
|  | 69 | 0.15322 | 0.15122 | 0.14997 | 0.149 | 0.14703 | 0.14143
|  | 69.5 | 0.14945 | 0.14752 | 0.14628 | 0.14531 | 0.14352 | 0.1382
|  | 70 | 0.14576 | 0.14391 | 0.14267 | 0.14171 | 0.14008 | 0.13504
|  | 70.5 | 0.14222 | 0.14043 | 0.1392 | 0.13825 | 0.13677 | 0.13196
|  | 71 | 0.13885 | 0.13713 | 0.13593 | 0.13502 | 0.13365 | 0.12901
|  | 71.5 | 0.13568 | 0.13403 | 0.13283 | 0.13192 | 0.13063 | 0.12614
|  | 72 | 0.13257 | 0.13098 | 0.12979 | 0.12887 | 0.12764 | 0.12331
|  | 72.5 | 0.12948 | 0.12796 | 0.12677 | 0.12585 | 0.12468 | 0.1205
|  | 73 | 0.12642 | 0.12497 | 0.12379 | 0.12287 | 0.12176 | 0.11774
|  | 73.5 | 0.12341 | 0.12201 | 0.12084 | 0.11992 | 0.11887 | 0.11501
|  | 74 | 0.12042 | 0.11909 | 0.11793 | 0.117 | 0.11602 | 0.11231
|  | 74.5 | 0.11749 | 0.11621 | 0.11506 | 0.11413 | 0.1132 | 0.10965
|  | 75 | 0.11457 | 0.11336 | 0.11222 | 0.11128 | 0.11042 | 0.10703
|  | 75.5 | 0.1117 | 0.11054 | 0.10941 | 0.10847 | 0.10767 | 0.10444
|  | 76 | 0.10887 | 0.10777 | 0.10666 | 0.10571 | 0.10496 | 0.1019
|  | 76.5 | 0.10608 | 0.10503 | 0.10393 | 0.10298 | 0.10229 | 0.09938
|  | 77 | 0.10332 | 0.10232 | 0.10124 | 0.10029 | 0.099657 | 0.096908
|  | 77.5 | 0.10061 | 0.099666 | 0.098595 | 0.097644 | 0.097064 | 0.094471
|  | 78 | 0.09794 | 0.097042 | 0.095986 | 0.09503 | 0.094503 | 0.09207
|  | 78.5 | 0.095323 | 0.094471 | 0.093434 | 0.092479 | 0.091997 | 0.089715
|  | 79 | 0.09274 | 0.091935 | 0.090918 | 0.08997 | 0.089542 | 0.087411
|  | 79.5 | 0.090225 | 0.089463 | 0.088464 | 0.087515 | 0.087133 | 0.085146
|  | 80 | 0.087759 | 0.087039 | 0.08606 | 0.085112 | 0.084771 | 0.082927
|  | 80.5 | 0.085355 | 0.084675 | 0.083719 | 0.082775 | 0.08247 | 0.080759
|  | 81 | 0.082997 | 0.082356 | 0.081423 | 0.080489 | 0.08022 | 0.078633
|  | 81.5 | 0.080701 | 0.080097 | 0.079186 | 0.078265 | 0.078038 | 0.076565
|  | 82 | 0.0785 | 0.077932 | 0.077041 | 0.07612 | 0.075922 | 0.074553
|  | 82.5 | 0.076395 | 0.075862 | 0.074998 | 0.074105 | 0.073935 | 0.072642
|  | 83 | 0.074436 | 0.073935 | 0.073101 | 0.072257 | 0.072118 | 0.070859
|  | 83.5 | 0.072633 | 0.072163 | 0.07134 | 0.07049 | 0.070335 | 0.069106
|  | 84 | 0.070812 | 0.070371 | 0.069565 | 0.068728 | 0.06857 | 0.067369
|  | 84.5 | 0.069018 | 0.068605 | 0.067814 | 0.066988 | 0.066823 | 0.065652
|  | 85 | 0.067246 | 0.066859 | 0.066086 | 0.065269 | 0.065094 | 0.063951
|  | 85.5 | 0.065482 | 0.06512 | 0.064365 | 0.063559 | 0.063378 | 0.062264
|  | 86 | 0.063739 | 0.063399 | 0.062663 | 0.061868 | 0.061678 | 0.060595
|  | 86.5 | 0.062018 | 0.0617 | 0.060983 | 0.060203 | 0.060004 | 0.05895
|  | 87 | 0.060313 | 0.060016 | 0.05932 | 0.058553 | 0.058346 | 0.057323
|  | 87.5 | 0.058637 | 0.058359 | 0.057683 | 0.056928 | 0.05671 | 0.055718
|  | 88 | 0.056975 | 0.056716 | 0.056062 | 0.055324 | 0.055097 | 0.054134
|  | 88.5 | 0.055338 | 0.055095 | 0.054462 | 0.053738 | 0.053502 | 0.052568
|  | 89 | 0.053724 | 0.053496 | 0.052887 | 0.052179 | 0.05193 | 0.051025
|  | 89.5 | 0.052125 | 0.051911 | 0.051325 | 0.050635 | 0.050377 | 0.049502
|  | 90 | 0.050554 | 0.050354 | 0.049791 | 0.049116 | 0.048844 | 0.047998
|  | 90.5 | 0.049 | 0.048811 | 0.048274 | 0.047619 | 0.047335 | 0.046517
|  | 91 | 0.047467 | 0.04729 | 0.046778 | 0.04614 | 0.045843 | 0.045055
|  | 91.5 | 0.04596 | 0.045792 | 0.045306 | 0.044687 | 0.044373 | 0.043612
|  | 92 | 0.044467 | 0.044308 | 0.04385 | 0.043254 | 0.042929 | 0.042197
|  | 92.5 | 0.043008 | 0.042858 | 0.042426 | 0.041849 | 0.04151 | 0.040808
|  | 93 | 0.041578 | 0.041435 | 0.041031 | 0.040474 | 0.040119 | 0.039441
|  | 93.5 | 0.040158 | 0.040022 | 0.039647 | 0.039113 | 0.038746 | 0.038097
|  | 94 | 0.03878 | 0.03865 | 0.038303 | 0.037788 | 0.037402 | 0.03678
|  | 94.5 | 0.037419 | 0.037294 | 0.036978 | 0.036491 | 0.036095 | 0.035499
|  | 95 | 0.036102 | 0.035983 | 0.035695 | 0.035228 | 0.034818 | 0.03425
|  | 95.5 | 0.034819 | 0.034704 | 0.034445 | 0.034001 | 0.033573 | 0.033029
|  | 96 | 0.033556 | 0.033445 | 0.033215 | 0.032799 | 0.032363 | 0.031843
|  | 96.5 | 0.03234 | 0.032233 | 0.03203 | 0.031634 | 0.031185 | 0.030692
|  | 97 | 0.03116 | 0.031056 | 0.030883 | 0.030513 | 0.030052 | 0.029579
|  | 97.5 | 0.030006 | 0.029906 | 0.029759 | 0.029414 | 0.028952 | 0.028507
|  | 98 | 0.028919 | 0.028822 | 0.028699 | 0.028372 | 0.027897 | 0.027475
|  | 98.5 | 0.027859 | 0.027765 | 0.027669 | 0.027379 | 0.026916 | 0.026515
|  | 99 | 0.026881 | 0.02679 | 0.026711 | 0.026437 | 0.025996 | 0.025637
|  | 99.5 | 0.026035 | 0.025947 | 0.025888 | 0.025653 | 0.025243 | 0.0249
|  | 100 | 0.025273 | 0.025188 | 0.025129 | 0.024896 | 0.0245 | 0.024171
|  | 100.5 | 0.024513 | 0.024431 | 0.024373 | 0.024147 | 0.023766 | 0.023452
|  | 101 | 0.023762 | 0.023684 | 0.023626 | 0.023405 | 0.023036 | 0.022734
|  | 101.5 | 0.023013 | 0.022938 | 0.022882 | 0.022669 | 0.022316 | 0.022028
|  | 102 | 0.022284 | 0.022211 | 0.022157 | 0.021949 | 0.021608 | 0.021331
|  | 102.5 | 0.021554 | 0.021485 | 0.021431 | 0.021229 | 0.020902 | 0.020638
|  | 103 | 0.020833 | 0.020768 | 0.020715 | 0.020518 | 0.020201 | 0.019947
|  | 103.5 | 0.020116 | 0.020053 | 0.020001 | 0.019812 | 0.019511 | 0.01927
|  | 104 | 0.019417 | 0.019357 | 0.019307 | 0.019122 | 0.01883 | 0.0186
|  | 104.5 | 0.018718 | 0.018662 | 0.018611 | 0.018433 | 0.018153 | 0.017933
|  | 105 | 0.018028 | 0.017975 | 0.017926 | 0.017751 | 0.01748 | 0.017271
|  | 105.5 | 0.017342 | 0.017292 | 0.017245 | 0.017076 | 0.016819 | 0.01662
|  | 106 | 0.016674 | 0.016626 | 0.01658 | 0.016415 | 0.016167 | 0.015976
|  | 106.5 | 0.016006 | 0.015961 | 0.015915 | 0.015756 | 0.015518 | 0.015336
|  | 107 | 0.015346 | 0.015304 | 0.015259 | 0.015103 | 0.014874 | 0.014701
|  | 107.5 | 0.014692 | 0.014653 | 0.01461 | 0.01446 | 0.014241 | 0.014077
|  | 108 | 0.014054 | 0.014017 | 0.013975 | 0.013828 | 0.013617 | 0.013462
|  | 108.5 | 0.01342 | 0.013387 | 0.013345 | 0.013205 | 0.013004 | 0.012856
|  | 109 | 0.012802 | 0.012771 | 0.01273 | 0.012593 | 0.012399 | 0.012258
|  | 109.5 | 0.01219 | 0.012162 | 0.012122 | 0.01199 | 0.011805 | 0.011671
|  | 110 | 0.011591 | 0.011565 | 0.011526 | 0.011398 | 0.01122 | 0.011093
|  | 110.5 | 0.011001 | 0.010977 | 0.010939 | 0.010814 | 0.010644 | 0.010524
|  | 111 | 0.010422 | 0.010401 | 0.010363 | 0.010242 | 0.010079 | 0.009965
|  | 111.5 | 0.009852 | 0.009833 | 0.0097965 | 0.0096795 | 0.009523 | 0.009415
|  | 112 | 0.009294 | 0.009276 | 0.009241 | 0.0091275 | 0.008977 | 0.0088735
|  | 112.5 | 0.008745 | 0.00873 | 0.008695 | 0.008585 | 0.0084405 | 0.008342
|  | 113 | 0.008207 | 0.008193 | 0.008159 | 0.008052 | 0.0079135 | 0.00782
|  | 113.5 | 0.007679 | 0.007667 | 0.007634 | 0.00753 | 0.007396 | 0.0073075
|  | 114 | 0.007161 | 0.00715 | 0.007118 | 0.0070175 | 0.006889 | 0.006804
|  | 114.5 | 0.006655 | 0.006645 | 0.0066135 | 0.0065145 | 0.0063905 | 0.006309
|  | 115 | 0.006155 | 0.006148 | 0.006117 | 0.0060225 | 0.005905 | 0.005829
|  | 115.5 | 0.005677 | 0.005671 | 0.005641 | 0.0055495 | 0.0054365 | 0.005363
|  | 116 | 0.00521 | 0.005204 | 0.0051755 | 0.005088 | 0.004979 | 0.004909
|  | 116.5 | 0.004755 | 0.004751 | 0.0047225 | 0.004635 | 0.004529 | 0.0044615
|  | 117 | 0.004307 | 0.004303 | 0.004276 | 0.0041935 | 0.0040945 | 0.0040305
|  | 117.5 | 0.003882 | 0.003879 | 0.003852 | 0.003771 | 0.0036735 | 0.003613
|  | 118 | 0.003464 | 0.003461 | 0.003436 | 0.0033605 | 0.0032695 | 0.0032125
|  | 118.5 | 0.00307 | 0.003068 | 0.0030435 | 0.0029685 | 0.0028785 | 0.0028235
|  | 119 | 0.002682 | 0.002681 | 0.0026575 | 0.0025885 | 0.0025055 | 0.0024535
|  | 119.5 | 0.00232 | 0.002319 | 0.002296 | 0.0022265 | 0.002144 | 0.0020935
|  | 120 | 0.001962 | 0.001961 | 0.0019405 | 0.0018785 | 0.0018055 | 0.00176
|  | 120.5 | 0.00164 | 0.00164 | 0.0016195 | 0.001557 | 0.0014845 | 0.0014405
|  | 121 | 0.001324 | 0.001323 | 0.001305 | 0.0012505 | 0.001187 | 0.0011475
|  | 121.5 | 0.001043 | 0.001043 | 0.001025 | 0.0009695 | 0.0009055 | 0.0008675
|  | 122 | 0.000767 | 0.000767 | 0.000752 | 0.000707 | 0.000655 | 0.0006225
|  | 122.5 | 0.000538 | 0.000538 | 0.000523 | 0.000476 | 0.000423 | 0.000393
|  | 123 | 0.000314 | 0.000314 | 0.0003025 | 0.0002725 | 0.000237 | 0.0002135
|  | 123.5 | 0.000156 | 0.000156 | 0.000144 | 0.0001085 | 7.1e-05 | 5.4e-05
|  | 124 | 6e-06 | 6e-06 | 4e-06 | 5.5e-06 | 4.5e-06 | 6e-06
|  | 124.5 | 6e-06 | 6e-06 | 6.5e-06 | 6.5e-06 | 4.5e-06 | 3.5e-06
|  | 125 | 0 | 0 | 0 | 0 | 0 | 0