## T156357
SN: | T156357
Item #: | TN632R2F1
Item Description: | 1x2 90:10 Narrowband Fiber Optic Coupler
Fiber Type: | Thorlabs 630HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 632
Insertion Loss (dB): | -0.52
Coupling Ratio (%): | 89.5
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 632
Insertion Loss (dB): | -9.83
Coupling Ratio (%): | 10.5