## T155119
SN: | T155119
Item #: | TN980R1A1A
Item Description: | 1x2 99:1 Narrowband Fiber Optic Coupler
Fiber Type: | HI1060
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 980
Insertion Loss (dB): | -0.06
Coupling Ratio (%): | 99.1
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 980
Insertion Loss (dB): | -20.33
Coupling Ratio (%): | 0.9