## T149321
SN: | T149321
Item #: | TW1064R1A1A
Item Description: | 1x2 99:1 Wideband Fiber Optic Coupler
Fiber Type: | HI1060
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 1064
Insertion Loss (dB): | -0.13
Coupling Ratio (%): | 99.32
Uniformity (dB): | 0.11
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 1064
Insertion Loss (dB): | -21.78
Coupling Ratio (%): | 0.68
Uniformity (dB): | 1.19
Spectral Response
Wavelength (nm) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%)
954 | -0.109 | 99.376 | -22.129 | 0.624
954.441 | -0.109 | 99.376 | -22.129 | 0.624
954.882 | -0.11 | 99.375 | -22.123 | 0.625
955.323 | -0.11 | 99.374 | -22.115 | 0.626
955.764 | -0.11 | 99.373 | -22.108 | 0.627
956.204 | -0.111 | 99.371 | -22.1 | 0.629
956.645 | -0.112 | 99.37 | -22.092 | 0.63
957.086 | -0.113 | 99.369 | -22.085 | 0.631
957.527 | -0.113 | 99.368 | -22.078 | 0.632
957.968 | -0.114 | 99.367 | -22.07 | 0.633
958.409 | -0.115 | 99.365 | -22.063 | 0.635
958.85 | -0.116 | 99.364 | -22.056 | 0.636
959.291 | -0.116 | 99.363 | -22.048 | 0.637
959.731 | -0.116 | 99.362 | -22.039 | 0.638
960.172 | -0.115 | 99.361 | -22.03 | 0.639
960.613 | -0.115 | 99.36 | -22.022 | 0.64
961.054 | -0.115 | 99.358 | -22.014 | 0.642
961.495 | -0.115 | 99.357 | -22.006 | 0.643
961.936 | -0.115 | 99.356 | -22 | 0.644
962.377 | -0.116 | 99.355 | -21.993 | 0.645
962.818 | -0.116 | 99.354 | -21.987 | 0.646
963.259 | -0.117 | 99.353 | -21.981 | 0.647
963.699 | -0.117 | 99.352 | -21.975 | 0.648
964.14 | -0.117 | 99.351 | -21.969 | 0.649
964.581 | -0.117 | 99.351 | -21.964 | 0.649
965.022 | -0.117 | 99.35 | -21.958 | 0.65
965.463 | -0.117 | 99.349 | -21.953 | 0.651
965.904 | -0.118 | 99.348 | -21.948 | 0.652
966.345 | -0.118 | 99.347 | -21.943 | 0.653
966.786 | -0.119 | 99.347 | -21.939 | 0.653
967.226 | -0.121 | 99.346 | -21.935 | 0.654
967.667 | -0.122 | 99.345 | -21.931 | 0.655
968.108 | -0.123 | 99.344 | -21.927 | 0.656
968.549 | -0.124 | 99.343 | -21.923 | 0.657
968.99 | -0.125 | 99.343 | -21.919 | 0.657
969.431 | -0.126 | 99.342 | -21.915 | 0.658
969.872 | -0.128 | 99.341 | -21.911 | 0.659
970.313 | -0.129 | 99.34 | -21.907 | 0.66
970.753 | -0.13 | 99.339 | -21.902 | 0.661
971.194 | -0.13 | 99.339 | -21.896 | 0.661
971.635 | -0.13 | 99.338 | -21.891 | 0.662
972.076 | -0.13 | 99.337 | -21.886 | 0.663
972.517 | -0.131 | 99.336 | -21.88 | 0.664
972.958 | -0.131 | 99.335 | -21.874 | 0.665
973.399 | -0.131 | 99.334 | -21.869 | 0.666
973.84 | -0.131 | 99.333 | -21.863 | 0.667
974.281 | -0.132 | 99.332 | -21.858 | 0.668
974.721 | -0.133 | 99.332 | -21.853 | 0.668
975.162 | -0.133 | 99.331 | -21.848 | 0.669
975.603 | -0.133 | 99.33 | -21.842 | 0.67
976.044 | -0.133 | 99.329 | -21.837 | 0.671
976.485 | -0.134 | 99.328 | -21.831 | 0.672
976.926 | -0.134 | 99.327 | -21.826 | 0.673
977.367 | -0.134 | 99.327 | -21.821 | 0.673
977.808 | -0.134 | 99.326 | -21.817 | 0.674
978.248 | -0.134 | 99.325 | -21.812 | 0.675
978.689 | -0.136 | 99.324 | -21.808 | 0.676
979.13 | -0.137 | 99.323 | -21.804 | 0.677
979.571 | -0.139 | 99.323 | -21.8 | 0.677
980.012 | -0.14 | 99.322 | -21.797 | 0.678
980.453 | -0.142 | 99.321 | -21.793 | 0.679
980.894 | -0.143 | 99.32 | -21.79 | 0.68
981.335 | -0.143 | 99.32 | -21.787 | 0.68
981.776 | -0.144 | 99.319 | -21.783 | 0.681
982.216 | -0.145 | 99.318 | -21.779 | 0.682
982.657 | -0.146 | 99.318 | -21.776 | 0.682
983.098 | -0.147 | 99.317 | -21.772 | 0.683
983.539 | -0.148 | 99.316 | -21.769 | 0.684
983.98 | -0.149 | 99.316 | -21.766 | 0.684
984.421 | -0.15 | 99.315 | -21.763 | 0.685
984.862 | -0.151 | 99.314 | -21.761 | 0.686
985.303 | -0.153 | 99.314 | -21.758 | 0.686
985.743 | -0.153 | 99.313 | -21.756 | 0.687
986.184 | -0.154 | 99.313 | -21.753 | 0.687
986.625 | -0.154 | 99.312 | -21.75 | 0.688
987.066 | -0.154 | 99.312 | -21.747 | 0.688
987.507 | -0.154 | 99.311 | -21.744 | 0.689
987.948 | -0.154 | 99.311 | -21.74 | 0.689
988.389 | -0.154 | 99.31 | -21.736 | 0.69
988.83 | -0.154 | 99.309 | -21.732 | 0.691
989.271 | -0.155 | 99.309 | -21.729 | 0.691
989.711 | -0.155 | 99.308 | -21.726 | 0.692
990.152 | -0.156 | 99.308 | -21.723 | 0.692
990.593 | -0.155 | 99.307 | -21.72 | 0.693
991.034 | -0.156 | 99.307 | -21.717 | 0.693
991.475 | -0.156 | 99.306 | -21.714 | 0.694
991.916 | -0.157 | 99.306 | -21.71 | 0.694
992.357 | -0.157 | 99.305 | -21.706 | 0.695
992.798 | -0.158 | 99.304 | -21.703 | 0.696
993.238 | -0.158 | 99.304 | -21.699 | 0.696
993.679 | -0.159 | 99.303 | -21.696 | 0.697
994.12 | -0.16 | 99.302 | -21.693 | 0.698
994.561 | -0.161 | 99.302 | -21.689 | 0.698
995.002 | -0.162 | 99.301 | -21.686 | 0.699
995.443 | -0.162 | 99.3 | -21.683 | 0.7
995.884 | -0.162 | 99.3 | -21.68 | 0.7
996.325 | -0.163 | 99.299 | -21.677 | 0.701
996.766 | -0.164 | 99.299 | -21.674 | 0.701
997.206 | -0.165 | 99.298 | -21.67 | 0.702
997.647 | -0.165 | 99.297 | -21.667 | 0.703
998.088 | -0.166 | 99.297 | -21.664 | 0.703
998.529 | -0.166 | 99.296 | -21.662 | 0.704
998.97 | -0.166 | 99.296 | -21.659 | 0.704
999.411 | -0.166 | 99.296 | -21.657 | 0.704
999.852 | -0.166 | 99.295 | -21.654 | 0.705
1000.293 | -0.165 | 99.295 | -21.651 | 0.705
1000.733 | -0.165 | 99.294 | -21.649 | 0.706
1001.174 | -0.165 | 99.294 | -21.647 | 0.706
1001.615 | -0.165 | 99.294 | -21.645 | 0.706
1002.056 | -0.165 | 99.293 | -21.643 | 0.707
1002.497 | -0.165 | 99.293 | -21.641 | 0.707
1002.938 | -0.165 | 99.293 | -21.639 | 0.707
1003.379 | -0.165 | 99.292 | -21.637 | 0.708
1003.82 | -0.165 | 99.292 | -21.635 | 0.708
1004.26 | -0.166 | 99.292 | -21.633 | 0.708
1004.701 | -0.166 | 99.291 | -21.632 | 0.709
1005.142 | -0.166 | 99.291 | -21.63 | 0.709
1005.583 | -0.166 | 99.291 | -21.629 | 0.709
1006.024 | -0.167 | 99.291 | -21.627 | 0.709
1006.465 | -0.167 | 99.29 | -21.625 | 0.71
1006.906 | -0.166 | 99.29 | -21.623 | 0.71
1007.347 | -0.167 | 99.29 | -21.621 | 0.71
1007.788 | -0.167 | 99.289 | -21.619 | 0.711
1008.228 | -0.167 | 99.289 | -21.617 | 0.711
1008.669 | -0.167 | 99.289 | -21.615 | 0.711
1009.11 | -0.168 | 99.288 | -21.613 | 0.712
1009.551 | -0.168 | 99.288 | -21.612 | 0.712
1009.992 | -0.169 | 99.287 | -21.61 | 0.713
1010.433 | -0.17 | 99.287 | -21.608 | 0.713
1010.874 | -0.17 | 99.287 | -21.606 | 0.713
1011.315 | -0.17 | 99.286 | -21.603 | 0.714
1011.755 | -0.17 | 99.286 | -21.6 | 0.714
1012.196 | -0.17 | 99.285 | -21.597 | 0.715
1012.637 | -0.17 | 99.285 | -21.595 | 0.715
1013.078 | -0.17 | 99.285 | -21.593 | 0.715
1013.519 | -0.17 | 99.284 | -21.59 | 0.716
1013.96 | -0.17 | 99.284 | -21.588 | 0.716
1014.401 | -0.17 | 99.283 | -21.586 | 0.717
1014.842 | -0.17 | 99.283 | -21.584 | 0.717
1015.283 | -0.17 | 99.283 | -21.582 | 0.717
1015.723 | -0.17 | 99.282 | -21.58 | 0.718
1016.164 | -0.171 | 99.282 | -21.578 | 0.718
1016.605 | -0.171 | 99.282 | -21.576 | 0.718
1017.046 | -0.171 | 99.281 | -21.574 | 0.719
1017.487 | -0.17 | 99.281 | -21.572 | 0.719
1017.928 | -0.17 | 99.281 | -21.569 | 0.719
1018.369 | -0.169 | 99.28 | -21.567 | 0.72
1018.81 | -0.169 | 99.28 | -21.565 | 0.72
1019.25 | -0.169 | 99.28 | -21.563 | 0.72
1019.691 | -0.169 | 99.28 | -21.562 | 0.72
1020.132 | -0.168 | 99.279 | -21.56 | 0.721
1020.573 | -0.168 | 99.279 | -21.558 | 0.721
1021.014 | -0.167 | 99.279 | -21.555 | 0.721
1021.455 | -0.167 | 99.279 | -21.553 | 0.721
1021.896 | -0.166 | 99.278 | -21.551 | 0.722
1022.337 | -0.165 | 99.278 | -21.549 | 0.722
1022.778 | -0.164 | 99.278 | -21.547 | 0.722
1023.218 | -0.163 | 99.278 | -21.545 | 0.722
1023.659 | -0.162 | 99.278 | -21.544 | 0.722
1024.1 | -0.162 | 99.277 | -21.542 | 0.723
1024.541 | -0.161 | 99.277 | -21.54 | 0.723
1024.982 | -0.161 | 99.277 | -21.538 | 0.723
1025.423 | -0.16 | 99.277 | -21.537 | 0.723
1025.864 | -0.16 | 99.277 | -21.537 | 0.723
1026.305 | -0.16 | 99.277 | -21.537 | 0.723
1026.745 | -0.16 | 99.277 | -21.537 | 0.723
1027.186 | -0.159 | 99.277 | -21.537 | 0.723
1027.627 | -0.158 | 99.277 | -21.538 | 0.723
1028.068 | -0.158 | 99.277 | -21.538 | 0.723
1028.509 | -0.158 | 99.278 | -21.539 | 0.722
1028.95 | -0.159 | 99.278 | -21.54 | 0.722
1029.391 | -0.159 | 99.278 | -21.542 | 0.722
1029.832 | -0.16 | 99.278 | -21.544 | 0.722
1030.273 | -0.161 | 99.278 | -21.545 | 0.722
1030.713 | -0.161 | 99.278 | -21.547 | 0.722
1031.154 | -0.161 | 99.279 | -21.549 | 0.721
1031.595 | -0.16 | 99.279 | -21.551 | 0.721
1032.036 | -0.159 | 99.28 | -21.553 | 0.72
1032.477 | -0.159 | 99.28 | -21.556 | 0.72
1032.918 | -0.158 | 99.281 | -21.558 | 0.719
1033.359 | -0.157 | 99.281 | -21.56 | 0.719
1033.8 | -0.157 | 99.282 | -21.562 | 0.718
1034.24 | -0.156 | 99.282 | -21.564 | 0.718
1034.681 | -0.156 | 99.282 | -21.565 | 0.718
1035.122 | -0.156 | 99.283 | -21.567 | 0.717
1035.563 | -0.155 | 99.283 | -21.569 | 0.717
1036.004 | -0.154 | 99.283 | -21.57 | 0.717
1036.445 | -0.152 | 99.284 | -21.572 | 0.716
1036.886 | -0.151 | 99.284 | -21.573 | 0.716
1037.327 | -0.149 | 99.285 | -21.574 | 0.715
1037.768 | -0.148 | 99.285 | -21.575 | 0.715
1038.208 | -0.147 | 99.286 | -21.577 | 0.714
1038.649 | -0.146 | 99.286 | -21.578 | 0.714
1039.09 | -0.145 | 99.286 | -21.579 | 0.714
1039.531 | -0.144 | 99.287 | -21.58 | 0.713
1039.972 | -0.143 | 99.287 | -21.582 | 0.713
1040.413 | -0.142 | 99.288 | -21.583 | 0.712
1040.854 | -0.141 | 99.288 | -21.585 | 0.712
1041.295 | -0.14 | 99.289 | -21.588 | 0.711
1041.735 | -0.139 | 99.289 | -21.59 | 0.711
1042.176 | -0.138 | 99.29 | -21.593 | 0.71
1042.617 | -0.138 | 99.29 | -21.596 | 0.71
1043.058 | -0.138 | 99.291 | -21.6 | 0.709
1043.499 | -0.138 | 99.292 | -21.604 | 0.708
1043.94 | -0.138 | 99.292 | -21.609 | 0.708
1044.381 | -0.138 | 99.293 | -21.614 | 0.707
1044.822 | -0.138 | 99.294 | -21.618 | 0.706
1045.263 | -0.138 | 99.295 | -21.623 | 0.705
1045.703 | -0.138 | 99.295 | -21.628 | 0.705
1046.144 | -0.138 | 99.296 | -21.633 | 0.704
1046.585 | -0.138 | 99.297 | -21.639 | 0.703
1047.026 | -0.138 | 99.298 | -21.645 | 0.702
1047.467 | -0.138 | 99.299 | -21.65 | 0.701
1047.908 | -0.138 | 99.3 | -21.655 | 0.7
1048.349 | -0.138 | 99.301 | -21.66 | 0.699
1048.79 | -0.138 | 99.301 | -21.664 | 0.699
1049.23 | -0.138 | 99.302 | -21.668 | 0.698
1049.671 | -0.137 | 99.303 | -21.672 | 0.697
1050.112 | -0.137 | 99.303 | -21.675 | 0.697
1050.553 | -0.136 | 99.304 | -21.678 | 0.696
1050.994 | -0.135 | 99.304 | -21.681 | 0.696
1051.435 | -0.134 | 99.305 | -21.684 | 0.695
1051.876 | -0.134 | 99.306 | -21.687 | 0.694
1052.317 | -0.133 | 99.306 | -21.689 | 0.694
1052.758 | -0.131 | 99.307 | -21.691 | 0.693
1053.198 | -0.13 | 99.307 | -21.693 | 0.693
1053.639 | -0.129 | 99.307 | -21.695 | 0.693
1054.08 | -0.129 | 99.308 | -21.696 | 0.692
1054.521 | -0.128 | 99.308 | -21.698 | 0.692
1054.962 | -0.127 | 99.309 | -21.699 | 0.691
1055.403 | -0.127 | 99.309 | -21.701 | 0.691
1055.844 | -0.127 | 99.309 | -21.703 | 0.691
1056.285 | -0.126 | 99.31 | -21.706 | 0.69
1056.725 | -0.125 | 99.31 | -21.708 | 0.69
1057.166 | -0.125 | 99.311 | -21.711 | 0.689
1057.607 | -0.125 | 99.311 | -21.714 | 0.689
1058.048 | -0.125 | 99.312 | -21.717 | 0.688
1058.489 | -0.125 | 99.312 | -21.72 | 0.688
1058.93 | -0.125 | 99.313 | -21.724 | 0.687
1059.371 | -0.124 | 99.313 | -21.728 | 0.687
1059.812 | -0.124 | 99.314 | -21.732 | 0.686
1060.253 | -0.125 | 99.315 | -21.736 | 0.685
1060.693 | -0.125 | 99.315 | -21.74 | 0.685
1061.134 | -0.125 | 99.316 | -21.745 | 0.684
1061.575 | -0.125 | 99.317 | -21.75 | 0.683
1062.016 | -0.125 | 99.318 | -21.755 | 0.682
1062.457 | -0.126 | 99.318 | -21.76 | 0.682
1062.898 | -0.126 | 99.319 | -21.765 | 0.681
1063.339 | -0.126 | 99.32 | -21.771 | 0.68
1063.78 | -0.126 | 99.321 | -21.776 | 0.679
1064.22 | -0.127 | 99.321 | -21.781 | 0.679
1064.661 | -0.127 | 99.322 | -21.786 | 0.678
1065.102 | -0.127 | 99.323 | -21.791 | 0.677
1065.543 | -0.127 | 99.324 | -21.796 | 0.676
1065.984 | -0.127 | 99.324 | -21.8 | 0.676
1066.425 | -0.127 | 99.325 | -21.803 | 0.675
1066.866 | -0.127 | 99.325 | -21.806 | 0.675
1067.307 | -0.127 | 99.326 | -21.809 | 0.674
1067.747 | -0.127 | 99.326 | -21.812 | 0.674
1068.188 | -0.128 | 99.326 | -21.815 | 0.674
1068.629 | -0.128 | 99.327 | -21.818 | 0.673
1069.07 | -0.129 | 99.327 | -21.82 | 0.673
1069.511 | -0.129 | 99.328 | -21.823 | 0.672
1069.952 | -0.129 | 99.328 | -21.826 | 0.672
1070.393 | -0.13 | 99.328 | -21.829 | 0.672
1070.834 | -0.13 | 99.329 | -21.832 | 0.671
1071.275 | -0.13 | 99.329 | -21.835 | 0.671
1071.715 | -0.131 | 99.329 | -21.837 | 0.671
1072.156 | -0.131 | 99.33 | -21.839 | 0.67
1072.597 | -0.132 | 99.33 | -21.842 | 0.67
1073.038 | -0.133 | 99.33 | -21.845 | 0.67
1073.479 | -0.134 | 99.331 | -21.848 | 0.669
1073.92 | -0.134 | 99.331 | -21.852 | 0.669
1074.361 | -0.135 | 99.332 | -21.857 | 0.668
1074.802 | -0.135 | 99.333 | -21.863 | 0.667
1075.242 | -0.136 | 99.333 | -21.869 | 0.667
1075.683 | -0.137 | 99.334 | -21.875 | 0.666
1076.124 | -0.138 | 99.335 | -21.881 | 0.665
1076.565 | -0.139 | 99.336 | -21.887 | 0.664
1077.006 | -0.14 | 99.337 | -21.894 | 0.663
1077.447 | -0.141 | 99.338 | -21.901 | 0.662
1077.888 | -0.141 | 99.339 | -21.908 | 0.661
1078.329 | -0.141 | 99.34 | -21.915 | 0.66
1078.77 | -0.142 | 99.341 | -21.922 | 0.659
1079.21 | -0.143 | 99.342 | -21.93 | 0.658
1079.651 | -0.144 | 99.343 | -21.939 | 0.657
1080.092 | -0.145 | 99.344 | -21.947 | 0.656
1080.533 | -0.146 | 99.345 | -21.955 | 0.655
1080.974 | -0.147 | 99.346 | -21.963 | 0.654
1081.415 | -0.148 | 99.347 | -21.97 | 0.653
1081.856 | -0.148 | 99.348 | -21.976 | 0.652
1082.297 | -0.149 | 99.349 | -21.983 | 0.651
1082.737 | -0.149 | 99.35 | -21.989 | 0.65
1083.178 | -0.15 | 99.35 | -21.995 | 0.65
1083.619 | -0.151 | 99.351 | -22 | 0.649
1084.06 | -0.151 | 99.352 | -22.004 | 0.648
1084.501 | -0.152 | 99.352 | -22.008 | 0.648
1084.942 | -0.153 | 99.352 | -22.011 | 0.648
1085.383 | -0.154 | 99.353 | -22.013 | 0.648
1085.824 | -0.154 | 99.353 | -22.015 | 0.647
1086.265 | -0.156 | 99.353 | -22.017 | 0.647
1086.705 | -0.157 | 99.353 | -22.018 | 0.647
1087.146 | -0.159 | 99.353 | -22.018 | 0.647
1087.587 | -0.16 | 99.352 | -22.019 | 0.648
1088.028 | -0.161 | 99.352 | -22.019 | 0.648
1088.469 | -0.162 | 99.352 | -22.019 | 0.648
1088.91 | -0.163 | 99.352 | -22.02 | 0.648
1089.351 | -0.164 | 99.352 | -22.022 | 0.648
1089.792 | -0.165 | 99.352 | -22.023 | 0.648
1090.232 | -0.167 | 99.352 | -22.025 | 0.648
1090.673 | -0.168 | 99.352 | -22.027 | 0.648
1091.114 | -0.169 | 99.353 | -22.029 | 0.648
1091.555 | -0.171 | 99.353 | -22.031 | 0.647
1091.996 | -0.172 | 99.353 | -22.035 | 0.647
1092.437 | -0.174 | 99.353 | -22.04 | 0.647
1092.878 | -0.176 | 99.354 | -22.045 | 0.646
1093.319 | -0.178 | 99.354 | -22.051 | 0.646
1093.76 | -0.18 | 99.355 | -22.057 | 0.645
1094.2 | -0.181 | 99.356 | -22.064 | 0.644
1094.641 | -0.183 | 99.357 | -22.071 | 0.643
1095.082 | -0.184 | 99.358 | -22.078 | 0.642
1095.523 | -0.185 | 99.359 | -22.085 | 0.641
1095.964 | -0.187 | 99.359 | -22.094 | 0.641
1096.405 | -0.188 | 99.36 | -22.102 | 0.64
1096.846 | -0.19 | 99.361 | -22.11 | 0.639
1097.287 | -0.191 | 99.362 | -22.117 | 0.638
1097.727 | -0.192 | 99.363 | -22.125 | 0.637
1098.168 | -0.193 | 99.364 | -22.131 | 0.636
1098.609 | -0.194 | 99.365 | -22.138 | 0.635
1099.05 | -0.195 | 99.366 | -22.145 | 0.634
1099.491 | -0.195 | 99.367 | -22.151 | 0.633
1099.932 | -0.197 | 99.367 | -22.156 | 0.633
1100.373 | -0.198 | 99.368 | -22.161 | 0.632
1100.814 | -0.199 | 99.368 | -22.166 | 0.632
1101.255 | -0.2 | 99.369 | -22.17 | 0.631
1101.695 | -0.201 | 99.369 | -22.174 | 0.631
1102.136 | -0.202 | 99.369 | -22.177 | 0.631
1102.577 | -0.203 | 99.37 | -22.18 | 0.63
1103.018 | -0.205 | 99.37 | -22.182 | 0.63
1103.459 | -0.206 | 99.37 | -22.183 | 0.63
1103.9 | -0.207 | 99.37 | -22.184 | 0.63
1104.341 | -0.208 | 99.37 | -22.185 | 0.63
1104.782 | -0.21 | 99.37 | -22.185 | 0.63
1105.222 | -0.211 | 99.369 | -22.186 | 0.631
1105.663 | -0.213 | 99.369 | -22.187 | 0.631
1106.104 | -0.214 | 99.369 | -22.187 | 0.631
1106.545 | -0.216 | 99.369 | -22.188 | 0.631
1106.986 | -0.218 | 99.369 | -22.188 | 0.631
1107.427 | -0.22 | 99.369 | -22.189 | 0.631
1107.868 | -0.221 | 99.368 | -22.189 | 0.632
1108.309 | -0.222 | 99.368 | -22.19 | 0.632
1108.75 | -0.223 | 99.368 | -22.192 | 0.632
1109.19 | -0.225 | 99.369 | -22.194 | 0.631
1109.631 | -0.226 | 99.369 | -22.196 | 0.631
1110.072 | -0.227 | 99.369 | -22.199 | 0.631
1110.513 | -0.228 | 99.369 | -22.202 | 0.631
1110.954 | -0.229 | 99.37 | -22.205 | 0.63
1111.395 | -0.23 | 99.37 | -22.209 | 0.63
1111.836 | -0.232 | 99.37 | -22.214 | 0.63
1112.277 | -0.234 | 99.371 | -22.219 | 0.629
1112.717 | -0.235 | 99.371 | -22.224 | 0.629
1113.158 | -0.237 | 99.372 | -22.229 | 0.628
1113.599 | -0.238 | 99.373 | -22.235 | 0.627
1114.04 | -0.239 | 99.373 | -22.24 | 0.627
1114.481 | -0.24 | 99.374 | -22.246 | 0.626
1114.922 | -0.242 | 99.374 | -22.251 | 0.626
1115.363 | -0.243 | 99.375 | -22.257 | 0.625
1115.804 | -0.245 | 99.376 | -22.262 | 0.624
1116.245 | -0.246 | 99.376 | -22.267 | 0.624
1116.685 | -0.247 | 99.377 | -22.272 | 0.623
1117.126 | -0.249 | 99.377 | -22.276 | 0.623
1117.567 | -0.25 | 99.377 | -22.28 | 0.623
1118.008 | -0.251 | 99.378 | -22.285 | 0.622
1118.449 | -0.253 | 99.378 | -22.289 | 0.622
1118.89 | -0.254 | 99.378 | -22.292 | 0.622
1119.331 | -0.255 | 99.379 | -22.295 | 0.621
1119.771 | -0.257 | 99.379 | -22.297 | 0.621
1120.212 | -0.258 | 99.379 | -22.299 | 0.621
1120.653 | -0.259 | 99.379 | -22.302 | 0.621
1121.094 | -0.259 | 99.379 | -22.304 | 0.621
1121.535 | -0.26 | 99.38 | -22.306 | 0.62
1121.976 | -0.262 | 99.38 | -22.309 | 0.62
1122.417 | -0.263 | 99.38 | -22.311 | 0.62
1122.858 | -0.265 | 99.38 | -22.314 | 0.62
1123.299 | -0.266 | 99.38 | -22.318 | 0.62
1123.74 | -0.268 | 99.381 | -22.322 | 0.619
1124.18 | -0.269 | 99.381 | -22.326 | 0.619
1124.621 | -0.27 | 99.382 | -22.33 | 0.618
1125.062 | -0.27 | 99.382 | -22.335 | 0.618
1125.503 | -0.271 | 99.383 | -22.34 | 0.617
1125.944 | -0.272 | 99.383 | -22.345 | 0.617
1126.385 | -0.272 | 99.384 | -22.35 | 0.616
1126.826 | -0.272 | 99.385 | -22.356 | 0.615
1127.266 | -0.272 | 99.386 | -22.362 | 0.614
1127.707 | -0.273 | 99.386 | -22.368 | 0.614
1128.148 | -0.274 | 99.387 | -22.375 | 0.613
1128.589 | -0.275 | 99.388 | -22.382 | 0.612
1129.03 | -0.276 | 99.389 | -22.388 | 0.611
1129.471 | -0.275 | 99.39 | -22.395 | 0.61
1129.912 | -0.274 | 99.391 | -22.4 | 0.609
1130.353 | -0.274 | 99.392 | -22.405 | 0.608
1130.794 | -0.274 | 99.392 | -22.41 | 0.608
1131.234 | -0.274 | 99.393 | -22.414 | 0.607
1131.675 | -0.274 | 99.393 | -22.418 | 0.607
1132.116 | -0.274 | 99.394 | -22.421 | 0.606
1132.557 | -0.274 | 99.394 | -22.424 | 0.606
1132.998 | -0.275 | 99.394 | -22.427 | 0.606
1133.439 | -0.276 | 99.395 | -22.429 | 0.605
1133.88 | -0.276 | 99.395 | -22.432 | 0.605
1134.321 | -0.277 | 99.395 | -22.433 | 0.605
1134.761 | -0.277 | 99.395 | -22.435 | 0.605
1135.202 | -0.276 | 99.396 | -22.437 | 0.604
1135.643 | -0.275 | 99.396 | -22.439 | 0.604
1136.084 | -0.274 | 99.396 | -22.44 | 0.604
1136.525 | -0.275 | 99.397 | -22.442 | 0.603
1136.966 | -0.275 | 99.397 | -22.445 | 0.603
1137.407 | -0.275 | 99.397 | -22.448 | 0.603
1137.848 | -0.275 | 99.398 | -22.451 | 0.602
1138.289 | -0.276 | 99.398 | -22.455 | 0.602
1138.729 | -0.275 | 99.399 | -22.459 | 0.601
1139.17 | -0.275 | 99.399 | -22.463 | 0.601
1139.611 | -0.275 | 99.4 | -22.467 | 0.6
1140.052 | -0.275 | 99.401 | -22.473 | 0.599
1140.493 | -0.275 | 99.402 | -22.479 | 0.598
1140.934 | -0.274 | 99.402 | -22.485 | 0.598
1141.375 | -0.274 | 99.404 | -22.492 | 0.596
1141.816 | -0.273 | 99.405 | -22.499 | 0.595
1142.256 | -0.273 | 99.406 | -22.507 | 0.594
1142.697 | -0.273 | 99.407 | -22.514 | 0.593
1143.138 | -0.273 | 99.408 | -22.522 | 0.592
1143.579 | -0.273 | 99.409 | -22.529 | 0.591
1144.02 | -0.273 | 99.41 | -22.537 | 0.59
1144.461 | -0.272 | 99.411 | -22.544 | 0.589
1144.902 | -0.272 | 99.412 | -22.551 | 0.588
1145.343 | -0.271 | 99.413 | -22.557 | 0.587
1145.784 | -0.272 | 99.413 | -22.563 | 0.587
1146.224 | -0.272 | 99.414 | -22.569 | 0.586
1146.665 | -0.272 | 99.415 | -22.574 | 0.585
1147.106 | -0.27 | 99.416 | -22.578 | 0.584
1147.547 | -0.27 | 99.416 | -22.581 | 0.584
1147.988 | -0.269 | 99.417 | -22.584 | 0.583
1148.429 | -0.268 | 99.417 | -22.587 | 0.583
1148.87 | -0.267 | 99.418 | -22.59 | 0.582
1149.311 | -0.267 | 99.418 | -22.591 | 0.582
1149.751 | -0.266 | 99.418 | -22.592 | 0.582
1150.192 | -0.266 | 99.418 | -22.593 | 0.582
1150.633 | -0.265 | 99.418 | -22.594 | 0.582
1151.074 | -0.265 | 99.419 | -22.594 | 0.581
1151.515 | -0.264 | 99.419 | -22.594 | 0.581
1151.956 | -0.263 | 99.419 | -22.593 | 0.581
1152.397 | -0.262 | 99.419 | -22.593 | 0.581
1152.838 | -0.262 | 99.419 | -22.593 | 0.581
1153.279 | -0.261 | 99.419 | -22.593 | 0.581
1153.719 | -0.26 | 99.419 | -22.594 | 0.581
1154.16 | -0.259 | 99.419 | -22.595 | 0.581
1154.601 | -0.258 | 99.42 | -22.597 | 0.58
1155.042 | -0.256 | 99.42 | -22.6 | 0.58
1155.483 | -0.255 | 99.421 | -22.603 | 0.579
1155.924 | -0.254 | 99.422 | -22.606 | 0.578
1156.365 | -0.253 | 99.422 | -22.61 | 0.578
1156.806 | -0.252 | 99.423 | -22.614 | 0.577
1157.246 | -0.251 | 99.424 | -22.62 | 0.576
1157.687 | -0.25 | 99.425 | -22.625 | 0.575
1158.128 | -0.248 | 99.426 | -22.631 | 0.574
1158.569 | -0.247 | 99.426 | -22.636 | 0.574
1159.01 | -0.246 | 99.427 | -22.642 | 0.573
1159.451 | -0.244 | 99.429 | -22.649 | 0.571
1159.892 | -0.242 | 99.43 | -22.656 | 0.57
1160.333 | -0.24 | 99.431 | -22.665 | 0.569
1160.774 | -0.239 | 99.432 | -22.673 | 0.568
1161.214 | -0.237 | 99.434 | -22.681 | 0.566
1161.655 | -0.235 | 99.435 | -22.688 | 0.565
1162.096 | -0.233 | 99.436 | -22.696 | 0.564
1162.537 | -0.232 | 99.437 | -22.703 | 0.563
1162.978 | -0.231 | 99.438 | -22.709 | 0.562
1163.419 | -0.23 | 99.439 | -22.715 | 0.561
1163.86 | -0.23 | 99.44 | -22.721 | 0.56
1164.301 | -0.228 | 99.44 | -22.725 | 0.56
1164.741 | -0.227 | 99.441 | -22.73 | 0.559
1165.182 | -0.226 | 99.442 | -22.735 | 0.558
1165.623 | -0.225 | 99.443 | -22.74 | 0.557
1166.064 | -0.224 | 99.443 | -22.744 | 0.557
1166.505 | -0.222 | 99.444 | -22.747 | 0.556
1166.946 | -0.221 | 99.444 | -22.749 | 0.556
1167.387 | -0.219 | 99.445 | -22.749 | 0.555
1167.828 | -0.217 | 99.445 | -22.75 | 0.555
1168.269 | -0.215 | 99.446 | -22.752 | 0.554
1168.709 | -0.214 | 99.446 | -22.753 | 0.554
1169.15 | -0.213 | 99.446 | -22.755 | 0.554
1169.591 | -0.211 | 99.446 | -22.756 | 0.554
1170.032 | -0.209 | 99.447 | -22.757 | 0.553
1170.473 | -0.207 | 99.447 | -22.758 | 0.553
1170.914 | -0.204 | 99.448 | -22.759 | 0.552
1171.355 | -0.202 | 99.448 | -22.76 | 0.552
1171.796 | -0.2 | 99.449 | -22.762 | 0.551
1172.236 | -0.198 | 99.449 | -22.764 | 0.551
1172.677 | -0.196 | 99.45 | -22.766 | 0.55
1173.118 | -0.194 | 99.45 | -22.769 | 0.55
1173.559 | -0.192 | 99.451 | -22.773 | 0.549
1174 | -0.191 | 99.452 | -22.777 | 0.548