## LI Curves
Single Mode Operating Regions
Power (mW)
|  | Current (mA) | Increasing Current | Decreasing Current
|  | 68 | 7.573 | 7.588
|  | 70 | 8.118 | 8.141
|  | 72 | 8.667 | 8.684
|  | 74 | 9.226 | 9.244
Product Raw Data |  | 76 | 9.791 | 9.792
ULN Laser, Current Tuning, Extended Butterfly Package, PM Fiber |  | 78 | 10.349 | 10.352
|  | 80 | 10.912 | 10.914
Item # | ULN15PC | 82 | 11.465 | 11.47
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 84 | 12.03 | 12.035
|  | 86 | 12.612 | 12.602
|  | 88 | 13.192 | 13.172
|  | 90 | 13.764 | 13.739
|  | 92 | 14.329 | 14.303
|  | 94 | 14.907 | 14.892
This data may be used in publications. However, please cite Thorlabs as the source. |  | 96 | 15.494 | 15.457
|  | 98 | 16.074 | 16.039
|  | 100 | 16.657 | 16.614
Additional Information: |  | 102 | 17.222 | 17.202
Data represents a typical ULN15PC ultra-low-noise laser with its case temperature and chip temperature at 25 °C. Users should reference the laser's serialized data sheet to see the drive currents that provide stable single mode operation for their particular device. |  | 104 | 17.807 | 17.789
|  | 106 | 18.393 | 18.364
|  | 108 | 18.966 | 18.944
|  | 110 | 19.573 | 19.533
|  | 112 | 20.16 | 20.123
|  | 114 | 20.745 | 20.721
|  | 116 | 21.342 | 21.301
|  | 118 | 21.944 | 21.903
|  | 120 | 22.535 | 22.504
|  | 122 | 23.139 | 23.097
|  | 124 | 23.741 | 23.704
|  | 126 | 24.353 | 24.313
|  | 128 | 24.952 | 24.911
|  | 130 | 25.552 | 25.511
|  | 132 | 26.149 | 26.115
|  | 134 | 26.749 | 26.722
|  | 136 | 27.348 | 27.321
|  | 138 | 27.953 | 27.923
|  | 140 | 28.545 | 28.533
|  | 142 | 29.15 | 29.143
|  | 144 | 29.77 | 29.755
|  | 146 | 30.371 | 30.357
|  | 148 | 30.979 | 30.951
|  | 150 | 31.58 | 31.561
|  | 152 | 32.195 | 32.175
|  | 154 | 32.805 | 32.767
|  | 156 | 33.424 | 33.377
|  | 158 | 34.041 | 33.981
|  | 160 | 34.646 | 34.591
|  | 162 | 35.245 | 35.2
|  | 164 | 35.832 | 35.808
|  | 166 | 36.44 | 36.405
|  | 168 | 37.036 | 37.015
|  | 170 | 37.621 | 37.607
|  | 172 | 38.219 | 38.218
|  | 174 | 38.818 | 38.813
|  | 176 | 39.411 | 39.408
|  | 178 | 39.993 | 40.005
|  | 180 | 40.573 | 40.6
|  | 182 | 41.155 | 41.195
|  | 184 | 41.745 | 41.784
|  | 186 | 42.337 | 42.369
|  | 188 | 42.915 | 42.947
|  | 190 | 43.492 | 43.526
|  | 192 | 44.049 | 44.101
|  | 194 | 44.619 | 40.753
|  | 196 | 45.202 | 40.114
|  | 198 | 45.765 | 40.17
|  | 200 | 46.325 | 40.36
|  | 202 | 46.845 | 40.605
|  | 204 |  | 40.992
|  | 206 |  | 41.226
|  | 208 |  | 41.673
|  | 210 |  | 42.179
|  | 212 |  | 42.781
|  | 214 |  | 43.164
|  | 216 |  | 43.786
|  | 218 |  | 44.34
|  | 220 |  | 44.834
|  | 222 |  | 45.38
|  | 224 |  | 46.031
|  | 226 |  | 46.633
|  | 228 |  | 47.359
|  | 230 |  | 47.953
|  | 232 |  | 48.603
|  | 234 |  | 49.286
|  | 236 |  | 49.893
|  | 238 |  | 50.576
|  | 240 |  | 51.312
|  | 242 |  | 51.983
|  | 244 |  | 52.709
|  | 246 |  | 53.431
|  | 248 |  | 54.117
|  | 250 |  | 54.941
|  | 252 |  | 55.706
|  | 254 |  | 56.38
|  | 256 |  | 57.162
|  | 258 | 58.142 | 57.927
|  | 260 | 58.904 | 58.74
|  | 262 | 59.682 | 59.522
|  | 264 | 60.56 | 60.306
|  | 266 | 61.311 | 60.987
|  | 268 | 62.105 | 61.827
|  | 270 | 62.771 | 62.493
|  | 272 | 63.553 | 63.359
|  | 274 | 64.343 | 64.134
|  | 276 | 65.088 | 64.871
|  | 278 | 65.94 | 65.621
|  | 280 | 66.66 | 66.347
|  | 282 | 67.509 | 67.137
|  | 284 | 68.242 | 67.961
|  | 286 | 69.024 | 68.744
|  | 288 | 69.848 | 69.399
|  | 290 | 70.648 | 70.273
|  | 292 | 71.391 | 70.945
|  | 294 | 72.161 | 71.684
|  | 296 | 72.856 | 72.49
|  | 298 | 73.611 | 73.263
|  | 300 | 74.359 | 74.002
|  | 302 | 75.044 | 74.775
|  | 304 | 75.716 | 75.615
|  | 306 | 76.405 | 76.27
|  | 308 | 77.144 | 76.993
|  | 310 | 77.95 | 77.799
|  | 312 | 78.521 | 78.521
|  | 314 | 79.345 | 79.177
|  | 316 | 79.983 | 79.916
|  | 318 | 80.773 | 80.588
|  | 320 | 81.428 | 81.344
|  | 322 | 82.133 | 81.932
|  | 324 | 82.805 | 82.654
|  | 326 | 83.444 | 83.326
|  | 328 | 84.048 | 83.948
|  | 330 |  | 84.569
332
334
336
338
|  | 340 |  | 74.137
|  | 342 |  | 73.381
|  | 344 |  | 73.011
|  | 346 |  | 72.944
|  | 348 |  | 73.314
|  | 350 |  | 73.582
|  | 352 |  | 74.238
|  | 354 |  | 74.977
|  | 356 |  | 75.581
|  | 358 |  | 76.371
|  | 360 |  | 77.093
|  | 362 |  | 77.849
|  | 364 |  | 78.79
|  | 366 |  | 79.63
|  | 368 |  | 80.336
|  | 370 |  | 81.209
|  | 372 |  | 82.352
|  | 374 |  | 83.393
|  | 376 |  | 84.132
|  | 378 | 85.409 | 85.107
|  | 380 | 86.434 | 86.048
|  | 382 | 87.408 | 86.988
|  | 384 | 88.433 | 88.131
|  | 386 | 89.508 | 89.139
|  | 388 | 90.466 | 90.029
|  | 390 | 91.457 | 90.92
|  | 392 | 92.599 | 91.928
|  | 394 | 93.557 | 92.935
|  | 396 | 94.548 | 94.061
|  | 398 | 95.506 | 95.086
|  | 400 | 96.463 | 96.144
|  | 402 | 97.539 | 97.068
|  | 404 | 98.58 | 98.009
|  | 406 | 99.538 | 99.084
|  | 408 | 100.495 | 99.975
|  | 410 | 101.537 | 100.898
|  | 412 | 102.41 | 101.94
|  | 414 | 103.402 | 102.814
|  | 416 | 104.326 | 103.738
|  | 418 | 105.199 | 104.662
|  | 420 | 106.14 | 105.67
|  | 422 | 106.946 | 106.526
|  | 424 | 107.904 | 107.467
|  | 426 | 108.778 | 108.391
|  | 428 | 109.651 | 109.265
|  | 430 | 110.357 | 110.088
|  | 432 | 111.247 | 110.928
|  | 434 | 112.02 | 111.667
|  | 436 | 112.843 | 112.507
|  | 438 | 113.649 | 113.246
|  | 440 | 114.338 | 114.036
|  | 442 | 115.161 | 114.792
|  | 444 |  | 115.581
446
448
450
|  | 452 |  | 96.631
|  | 454 |  | 95.573
|  | 456 |  | 95.842
|  | 458 |  | 96.06
|  | 460 |  | 96.564
|  | 462 |  | 97.169
|  | 464 |  | 98.009
|  | 466 |  | 98.849
|  | 468 |  | 99.924
|  | 470 |  | 100.915
|  | 472 |  | 102.041
|  | 474 |  | 103.032
|  | 476 |  | 104.074
|  | 478 |  | 105.149
|  | 480 | 107.064 | 106.442
|  | 482 | 108.19 | 107.753
|  | 484 | 109.483 | 108.912
|  | 486 | 110.827 | 110.054
|  | 488 | 111.986 | 111.213
|  | 490 | 113.145 | 112.524
|  | 492 | 114.405 | 113.649
|  | 494 | 115.8 | 114.876
|  | 496 | 116.858 | 116.237
|  | 498 | 118.101 | 117.463
|  | 500 | 119.193 | 118.521
|  | 502 | 120.319 | 119.899
|  | 504 | 121.596 | 121.075
|  | 506 | 122.688 | 122.234
|  | 508 | 123.998 | 123.259
|  | 510 | 125.157 | 124.435
|  | 512 | 126.3 | 125.493
|  | 514 | 127.358 | 126.72
|  | 516 | 128.483 | 127.828
|  | 518 | 129.525 | 128.937
|  | 520 | 130.6 | 129.979
|  | 522 | 131.591 | 131.037
|  | 524 | 132.583 | 132.062
|  | 526 | 133.607 | 133.053
|  | 528 | 134.632 | 134.027
|  | 530 | 135.523 | 134.935
|  | 532 | 136.48 | 135.926
|  | 534 | 137.236 | 136.833
|  | 536 | 138.126 | 137.622
|  | 538 |  | 138.563
|  | 540 |  | 139.269
542
544
|  | 546 |  | 112.725
|  | 548 |  | 112.188
|  | 550 |  | 112.255
|  | 552 |  | 112.608
|  | 554 |  | 113.498
|  | 556 |  | 114.439
|  | 558 |  | 115.749
|  | 560 |  | 116.64
|  | 562 |  | 117.866
|  | 564 |  | 119.042
|  | 566 | 121.058 | 120.453
|  | 568 | 122.553 | 121.68
|  | 570 | 124.099 | 123.124
|  | 572 | 125.51 | 124.418
|  | 574 | 126.938 | 126.014
|  | 576 | 128.198 | 127.207
|  | 578 | 129.643 | 128.803
|  | 580 | 131.054 | 130.214
|  | 582 | 132.566 | 131.726
|  | 584 | 133.977 | 132.952
|  | 586 | 135.371 | 134.414
|  | 588 | 136.799 | 135.775
|  | 590 | 138.11 | 137.186
|  | 592 | 139.588 | 138.63
|  | 594 | 140.915 | 139.941
|  | 596 | 142.427 | 141.402
|  | 598 | 143.67 | 142.763
|  | 600 | 145.065 | 144.158
|  | 602 | 146.224 | 145.417
|  | 604 | 147.501 | 146.644
|  | 606 | 148.693 | 148.005
|  | 608 | 149.769 | 149.248
|  | 610 | 151.029 | 150.273
|  | 612 | 152.137 | 151.617
|  | 614 | 153.28 | 152.608
|  | 616 | 154.338 | 153.7
|  | 618 |  | 154.741
|  | 620 |  | 155.699
622
624
626
|  | 628 |  | 124.149
|  | 630 |  | 123.292
|  | 632 |  | 123.628
|  | 634 |  | 124.3
|  | 636 |  | 125.544
|  | 638 |  | 126.283
|  | 640 |  | 127.593
|  | 642 |  | 129.004
|  | 644 |  | 130.55
|  | 646 | 132.583 | 131.995
|  | 648 | 134.347 | 133.355
|  | 650 | 135.842 | 134.884
|  | 652 | 137.555 | 136.547
|  | 654 | 139.118 | 138.059
|  | 656 | 140.714 | 139.521
|  | 658 | 142.276 | 141.352
|  | 660 | 143.922 | 143.015
|  | 662 | 145.552 | 144.494
|  | 664 | 147.265 | 146.173
|  | 666 | 148.979 | 147.753
|  | 668 | 150.541 | 149.449
|  | 670 | 152.104 | 151.18
|  | 672 | 153.599 | 152.709
|  | 674 | 155.262 | 154.338
|  | 676 | 156.791 | 155.833
|  | 678 | 158.303 | 157.463
|  | 680 | 159.966 | 159.059
|  | 682 | 161.478 | 160.554
|  | 684 | 163.107 | 162.099
|  | 686 | 164.619 | 163.41
|  | 688 | 165.846 | 164.771
|  | 690 |  | 166.131
|  | 692 |  | 167.526
694
696
698
700
|  | 702 |  | 131.423
|  | 704 |  | 130.567
|  | 706 |  | 130.987
|  | 708 |  | 131.995
|  | 710 |  | 132.767
|  | 712 |  | 134.212
|  | 714 |  | 135.691
|  | 716 |  | 137.236
|  | 718 | 138.916 | 139
|  | 720 | 141.352 | 140.747
|  | 722 | 143.318 | 142.36
|  | 724 | 145.502 | 144.41
|  | 726 | 147.366 | 146.392
|  | 728 | 149.298 | 148.341
|  | 730 | 151.365 | 150.138
|  | 732 | 153.33 | 152.053
|  | 734 | 155.296 | 154.069
|  | 736 | 157.211 | 156.035
|  | 738 | 159.042 | 157.916
|  | 740 | 161.008 | 159.932
|  | 742 | 163.124 | 161.915
|  | 744 | 164.939 | 163.628
|  | 746 | 166.854 | 165.594
|  | 748 | 168.803 | 167.593
|  | 750 | 170.785 | 169.525
|  | 752 | 172.767 | 171.407
|  | 754 |  | 173.355
|  | 756 |  | 175.086
758
760
762
764
766
|  | 768 |  | 139.386
|  | 770 |  | 130.785
|  | 772 |  | 128.702
|  | 774 |  | 128.836
|  | 776 |  | 129.273
|  | 778 |  | 130.583
|  | 780 |  | 132.297
|  | 782 |  | 134.867
|  | 784 | 134.683 | 136.396
|  | 786 | 139.286 | 139.017
|  | 788 | 142.478 | 141.453
|  | 790 | 145.602 | 144.594
|  | 792 | 148.744 | 147.349
|  | 794 | 151.533 | 149.987
|  | 796 | 154.405 | 153.129
|  | 798 | 157.177 | 156.707
|  | 800 | 157.631 | 157.144