## T149746
SN: | T149746
Item #: | WD6513F
Item Description: | 1x2 650 nm / 1300 nm Wavelength Division Multiplexer
Fiber Type: | SMF-28e+
Port Name: | Channel 1 - Red
Test Wavelength (nm): | 650
Insertion Loss (dB): | < 1 dB (Typical)
Port Name: | Channel 2 - White
Test Wavelength (nm): | 1300
Insertion Loss (dB): | -0.05
Isolation (dB): | -29.6
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - Red | Insertion Loss (dB) - Channel 2 - White
620 | 196.361 | -2.32
621.543 | 188.365 | -4.653
623.086 | 33.999 | -50.027
624.629 | 148.085 | -58.488
626.172 | 83.835 | -31.89
627.715 | 14.999 | -35.578
629.259 | 68.415 | -54.533
630.802 | 124.62 | -0.282
632.345 | -15.827 | 139.703
633.888 | -15.711 | -10.269
635.431 | -43.35 | -51.037
636.974 | -18.9 | -25.367
638.517 | 93.573 | -6.452
640.06 | 181.856 | -22.321
641.603 | 151.812 | -48.363
643.146 | 40.243 | -13.399
644.689 | -0.344 | 128.277
646.232 | -13.501 | 60.949
647.776 | -7.539 | 13.161
649.319 | -3.122 | -4.426
650.862 | -21.613 | -1.244
652.405 | -32.411 | 57.362
653.948 | -27.59 | 114.957
655.491 | -37.7 | 48.233
657.034 | -25.167 | -34.281
658.577 | -39.109 | -44.423
660.12 | -44.354 | 61.331
661.663 | 41.5 | 83.892
663.206 | 87.451 | 39.703
664.75 | 49.075 | 3.704
666.293 | 4.024 | -1.259
667.836 | -4.692 | -8.756
669.379 | -18.231 | -35.073
670.922 | 60.802 | -51.362
672.465 | 61.635 | -37.986
674.008 | 13.609 | -32.473
675.551 | -11.771 | -39.412
677.094 | -5.412 | -9.048
678.637 | -11.315 | 75.356
680.18 | -30.465 | 83.824
681.723 | -29.932 | 19.791
683.267 | -30.241 | -4.158
684.81 | -31.847 | -7.75
686.353 | -25.489 | -6.255
687.896 | -15.504 | -4.548
689.439 | -8.381 | -3.539
690.982 | -0.836 | -2.46
692.525 | -5.255 | -8.404
694.068 | -23.82 | -24.837
695.611 | -32.758 | -30.259
697.154 | -31.841 | -17.818
698.697 | -31.482 | -6.966
700.24 | -25.97 | -6.415
701.784 | -9.058 | -5.696
703.327 | -4.755 | -2.958
704.87 | -5.345 | -1.908
706.413 | -7.031 | -0.849
707.956 | -19.673 | -1.506
709.499 | -39.963 | -2.408
711.042 | -48.358 | -3.382
712.585 | -34.026 | -4.644
714.128 | -13.051 | -4.893
715.671 | -6.696 | -4.76
717.214 | -5.415 | -5.391
718.758 | -4.642 | -4.467
720.301 | -5.162 | -3.958
721.844 | -6.33 | -4.178
723.387 | -6.983 | -3.956
724.93 | -6.966 | -2.955
726.473 | -7.1 | -2.348
728.016 | -7.97 | -2.978
729.559 | -8.2 | -3.604
731.102 | -16.509 | -3.829
732.645 | -30.157 | -3.723
734.188 | -28.829 | -3.755
735.731 | -14.307 | -3.949
737.275 | -10.585 | -3.779
738.818 | -10.041 | -3.427
740.361 | -17.566 | -3.242
741.904 | -32.874 | -3.324
743.447 | -26.88 | -3.519
744.99 | -13.455 | -3.631
746.533 | -12.342 | -3.626
748.076 | -25.523 | -3.486
749.619 | -41.33 | -3.254
751.162 | -29.46 | -3.353
752.705 | -15.815 | -3.421
754.248 | -11.395 | -3.523
755.792 | -9.707 | -3.55
757.335 | -8.494 | -3.531
758.878 | -8.918 | -3.637
760.421 | -10.034 | -3.828
761.964 | -10.572 | -3.778
763.507 | -10.539 | -3.339
765.05 | -11.217 | -2.932
766.593 | -10.498 | -3.068
768.136 | -9.327 | -3.291
769.679 | -9.461 | -3.245
771.222 | -10.589 | -3.133
772.766 | -12.414 | -3.105
774.309 | -14.604 | -3.048
775.852 | -12.672 | -2.941
777.395 | -10.967 | -2.84
778.938 | -10.821 | -2.934
780.481 | -11.015 | -3.12
782.024 | -10.898 | -3.134
783.567 | -10.538 | -3.012
785.11 | -10.418 | -3.08
786.653 | -10.584 | -3.275
788.196 | -10.721 | -3.28
789.74 | -10.624 | -3.215
791.283 | -10.289 | -3.202
792.826 | -9.993 | -3.271
794.369 | -9.859 | -3.377
795.912 | -9.734 | -3.378
797.455 | -9.695 | -3.223
798.998 | -9.667 | -3.081
800.541 | -9.523 | -3.166
802.084 | -9.455 | -3.435
803.627 | -9.547 | -3.678
805.17 | -9.568 | -3.597
806.713 | -9.453 | -3.086
808.257 | -9.483 | -2.526
809.8 | -9.713 | -2.365
811.343 | -10.071 | -2.589
812.886 | -10.169 | -2.962
814.429 | -9.775 | -3.274
815.972 | -8.987 | -3.336
817.515 | -8.144 | -3.053
819.058 | -7.654 | -2.673
820.601 | -7.702 | -2.721
822.144 | -8.152 | -3.293
823.687 | -8.678 | -3.922
825.23 | -8.98 | -4.269
826.774 | -8.924 | -4.358
828.317 | -8.7 | -4.403
829.86 | -8.596 | -4.545
831.403 | -8.603 | -4.683
832.946 | -8.574 | -4.645
834.489 | -8.527 | -4.469
836.032 | -8.446 | -4.257
837.575 | -8.345 | -4.009
839.118 | -8.288 | -3.719
840.661 | -8.258 | -3.456
842.204 | -8.174 | -3.322
843.747 | -8.028 | -3.365
845.291 | -7.895 | -3.486
846.834 | -7.815 | -3.513
848.377 | -7.78 | -3.464
849.92 | -7.809 | -3.522
851.463 | -7.892 | -3.755
853.006 | -7.967 | -4.01
854.549 | -8.012 | -4.11
856.092 | -8.057 | -4.051
857.635 | -8.099 | -3.955
859.178 | -8.173 | -3.948
860.721 | -8.279 | -4.051
862.265 | -8.334 | -4.12
863.808 | -8.225 | -4.008
865.351 | -7.934 | -3.797
866.894 | -7.656 | -3.708
868.437 | -7.585 | -3.748
869.98 | -7.622 | -3.752
871.523 | -7.626 | -3.722
873.066 | -7.603 | -3.796
874.609 | -7.571 | -3.958
876.152 | -7.495 | -3.997
877.695 | -7.41 | -3.837
879.238 | -7.385 | -3.67
880.782 | -7.415 | -3.655
882.325 | -7.495 | -3.798
883.868 | -7.602 | -3.998
885.411 | -7.663 | -4.143
886.954 | -7.709 | -4.241
888.497 | -7.853 | -4.347
890.04 | -8.003 | -4.411
891.583 | -7.888 | -4.363
893.126 | -7.512 | -4.242
894.669 | -7.157 | -4.122
896.212 | -6.992 | -4.05
897.755 | -7.011 | -4.013
899.299 | -7.19 | -3.989
900.842 | -7.509 | -4.087
902.385 | -7.833 | -4.393
903.928 | -7.875 | -4.685
905.471 | -7.533 | -4.691
907.014 | -7.077 | -4.5
908.557 | -6.784 | -4.368
910.1 | -6.668 | -4.356
911.643 | -6.7 | -4.412
913.186 | -6.952 | -4.539
914.729 | -7.284 | -4.644
916.273 | -7.364 | -4.582
917.816 | -7.148 | -4.409
919.359 | -6.861 | -4.268
920.902 | -6.705 | -4.201
922.445 | -6.734 | -4.188
923.988 | -6.793 | -4.183
925.531 | -6.715 | -4.127
927.074 | -6.529 | -4.007
928.617 | -6.328 | -3.9
930.16 | -6.139 | -3.878
931.703 | -5.951 | -3.872
933.247 | -5.74 | -3.758
934.79 | -5.536 | -3.548
936.333 | -5.414 | -3.377
937.876 | -5.371 | -3.303
939.419 | -5.343 | -3.267
940.962 | -5.303 | -3.23
942.505 | -5.253 | -3.227
944.048 | -5.197 | -3.274
945.591 | -5.125 | -3.306
947.134 | -5.023 | -3.279
948.677 | -4.938 | -3.273
950.22 | -4.914 | -3.332
951.764 | -4.901 | -3.369
953.307 | -4.846 | -3.328
954.85 | -4.785 | -3.273
956.393 | -4.756 | -3.265
957.936 | -4.729 | -3.295
959.479 | -4.685 | -3.334
961.022 | -4.634 | -3.38
962.565 | -4.567 | -3.416
964.108 | -4.479 | -3.427
965.651 | -4.401 | -3.44
967.194 | -4.335 | -3.471
968.737 | -4.246 | -3.498
970.281 | -4.138 | -3.516
971.824 | -4.059 | -3.521
973.367 | -4.031 | -3.503
974.91 | -4.03 | -3.495
976.453 | -4.014 | -3.527
977.996 | -3.951 | -3.578
979.539 | -3.864 | -3.626
981.082 | -3.817 | -3.681
982.625 | -3.836 | -3.744
984.168 | -3.877 | -3.796
985.711 | -3.872 | -3.827
987.255 | -3.801 | -3.835
988.798 | -3.704 | -3.836
990.341 | -3.627 | -3.851
991.884 | -3.599 | -3.891
993.427 | -3.618 | -3.943
994.97 | -3.638 | -3.988
996.513 | -3.6 | -4.012
998.056 | -3.512 | -4.019
999.599 | -3.424 | -4.017
1001.142 | -3.373 | -4.024
1002.685 | -3.351 | -4.056
1004.228 | -3.323 | -4.108
1005.772 | -3.261 | -4.153
1007.315 | -3.183 | -4.177
1008.858 | -3.13 | -4.19
1010.401 | -3.109 | -4.211
1011.944 | -3.099 | -4.246
1013.487 | -3.081 | -4.291
1015.03 | -3.056 | -4.336
1016.573 | -3.033 | -4.377
1018.116 | -3.014 | -4.423
1019.659 | -2.979 | -4.474
1021.202 | -2.909 | -4.515
1022.745 | -2.822 | -4.533
1024.289 | -2.746 | -4.527
1025.832 | -2.674 | -4.511
1027.375 | -2.592 | -4.51
1028.918 | -2.529 | -4.546
1030.461 | -2.515 | -4.603
1032.004 | -2.523 | -4.652
1033.547 | -2.521 | -4.681
1035.09 | -2.51 | -4.703
1036.633 | -2.493 | -4.729
1038.176 | -2.468 | -4.751
1039.719 | -2.424 | -4.764
1041.263 | -2.34 | -4.774
1042.806 | -2.242 | -4.798
1044.349 | -2.182 | -4.835
1045.892 | -2.157 | -4.873
1047.435 | -2.126 | -4.91
1048.978 | -2.079 | -4.952
1050.521 | -2.034 | -5.002
1052.064 | -2.003 | -5.055
1053.607 | -1.976 | -5.097
1055.15 | -1.948 | -5.123
1056.693 | -1.941 | -5.148
1058.236 | -1.942 | -5.183
1059.78 | -1.927 | -5.223
1061.323 | -1.905 | -5.251
1062.866 | -1.89 | -5.277
1064.409 | -1.869 | -5.319
1065.952 | -1.839 | -5.374
1067.495 | -1.818 | -5.425
1069.038 | -1.796 | -5.464
1070.581 | -1.757 | -5.497
1072.124 | -1.715 | -5.533
1073.667 | -1.687 | -5.576
1075.21 | -1.656 | -5.618
1076.754 | -1.613 | -5.654
1078.297 | -1.579 | -5.694
1079.84 | -1.56 | -5.745
1081.383 | -1.544 | -5.8
1082.926 | -1.535 | -5.852
1084.469 | -1.524 | -5.902
1086.012 | -1.485 | -5.952
1087.555 | -1.429 | -5.998
1089.098 | -1.39 | -6.044
1090.641 | -1.365 | -6.092
1092.184 | -1.334 | -6.134
1093.727 | -1.311 | -6.172
1095.271 | -1.301 | -6.214
1096.814 | -1.285 | -6.267
1098.357 | -1.267 | -6.329
1099.9 | -1.259 | -6.396
1101.443 | -1.248 | -6.467
1102.986 | -1.223 | -6.541
1104.529 | -1.196 | -6.609
1106.072 | -1.178 | -6.67
1107.615 | -1.173 | -6.726
1109.158 | -1.174 | -6.786
1110.701 | -1.163 | -6.851
1112.245 | -1.133 | -6.914
1113.788 | -1.106 | -6.972
1115.331 | -1.099 | -7.03
1116.874 | -1.104 | -7.091
1118.417 | -1.107 | -7.157
1119.96 | -1.1 | -7.233
1121.503 | -1.075 | -7.312
1123.046 | -1.045 | -7.389
1124.589 | -1.025 | -7.466
1126.132 | -1.012 | -7.544
1127.675 | -0.997 | -7.621
1129.218 | -0.975 | -7.694
1130.761 | -0.946 | -7.764
1132.305 | -0.922 | -7.832
1133.848 | -0.909 | -7.898
1135.391 | -0.901 | -7.961
1136.934 | -0.891 | -8.027
1138.477 | -0.874 | -8.097
1140.02 | -0.856 | -8.169
1141.563 | -0.845 | -8.247
1143.106 | -0.835 | -8.331
1144.649 | -0.815 | -8.418
1146.192 | -0.794 | -8.507
1147.735 | -0.778 | -8.595
1149.279 | -0.77 | -8.682
1150.822 | -0.766 | -8.766
1152.365 | -0.754 | -8.85
1153.908 | -0.734 | -8.933
1155.451 | -0.714 | -9.02
1156.994 | -0.699 | -9.106
1158.537 | -0.688 | -9.185
1160.08 | -0.679 | -9.263
1161.623 | -0.673 | -9.346
1163.166 | -0.668 | -9.435
1164.709 | -0.662 | -9.528
1166.253 | -0.653 | -9.625
1167.796 | -0.635 | -9.723
1169.339 | -0.608 | -9.824
1170.882 | -0.582 | -9.929
1172.425 | -0.55 | -10.037
1173.968 | -0.533 | -10.141
1175.511 | -0.525 | -10.241
1177.054 | -0.523 | -10.337
1178.597 | -0.53 | -10.433
1180.14 | -0.535 | -10.529
1181.683 | -0.532 | -10.624
1183.226 | -0.514 | -10.721
1184.77 | -0.495 | -10.825
1186.313 | -0.468 | -10.935
1187.856 | -0.446 | -11.049
1189.399 | -0.429 | -11.166
1190.942 | -0.41 | -11.286
1192.485 | -0.392 | -11.405
1194.028 | -0.368 | -11.526
1195.571 | -0.37 | -11.655
1197.114 | -0.366 | -11.784
1198.657 | -0.354 | -11.905
1200.2 | -0.34 | -12.018
1201.744 | -0.329 | -12.132
1203.287 | -0.331 | -12.254
1204.83 | -0.325 | -12.382
1206.373 | -0.31 | -12.51
1207.916 | -0.303 | -12.637
1209.459 | -0.294 | -12.764
1211.002 | -0.29 | -12.895
1212.545 | -0.286 | -13.039
1214.088 | -0.282 | -13.192
1215.631 | -0.281 | -13.341
1217.174 | -0.25 | -13.493
1218.717 | -0.233 | -13.646
1220.26 | -0.217 | -13.799
1221.804 | -0.206 | -13.952
1223.347 | -0.202 | -14.108
1224.89 | -0.197 | -14.269
1226.433 | -0.194 | -14.431
1227.976 | -0.2 | -14.591
1229.519 | -0.197 | -14.748
1231.062 | -0.192 | -14.904
1232.605 | -0.194 | -15.066
1234.148 | -0.188 | -15.238
1235.691 | -0.176 | -15.42
1237.234 | -0.166 | -15.608
1238.778 | -0.159 | -15.799
1240.321 | -0.162 | -15.991
1241.864 | -0.159 | -16.192
1243.407 | -0.152 | -16.398
1244.95 | -0.149 | -16.61
1246.493 | -0.147 | -16.829
1248.036 | -0.142 | -17.047
1249.579 | -0.139 | -17.262
1251.122 | -0.139 | -17.481
1252.665 | -0.135 | -17.707
1254.208 | -0.127 | -17.932
1255.751 | -0.115 | -18.153
1257.295 | -0.104 | -18.382
1258.838 | -0.099 | -18.623
1260.381 | -0.108 | -18.879
1261.924 | -0.117 | -19.15
1263.467 | -0.106 | -19.422
1265.01 | -0.09 | -19.7
1266.553 | -0.08 | -19.988
1268.096 | -0.07 | -20.291
1269.639 | -0.065 | -20.61
1271.182 | -0.071 | -20.941
1272.725 | -0.079 | -21.278
1274.269 | -0.074 | -21.626
1275.812 | -0.062 | -21.981
1277.355 | -0.063 | -22.347
1278.898 | -0.072 | -22.728
1280.441 | -0.073 | -23.12
1281.984 | -0.06 | -23.517
1283.527 | -0.051 | -23.923
1285.07 | -0.057 | -24.352
1286.613 | -0.064 | -24.812
1288.156 | -0.064 | -25.291
1289.699 | -0.07 | -25.791
1291.242 | -0.078 | -26.317
1292.786 | -0.081 | -26.86
1294.329 | -0.079 | -27.417
1295.872 | -0.076 | -27.994
1297.415 | -0.072 | -28.594
1298.958 | -0.061 | -29.2
1300.501 | -0.049 | -29.785
1302.044 | -0.041 | -30.347
1303.587 | -0.043 | -30.868
1305.13 | -0.055 | -31.327
1306.673 | -0.069 | -31.703
1308.216 | -0.082 | -31.973
1309.76 | -0.091 | -32.102
1311.303 | -0.1 | -32.016
1312.846 | -0.105 | -31.81
1314.389 | -0.096 | -31.48
1315.932 | -0.092 | -31.055
1317.475 | -0.095 | -30.567
1319.018 | -0.097 | -30.036
1320.561 | -0.103 | -29.478
1322.104 | -0.104 | -28.895
1323.647 | -0.108 | -28.32
1325.19 | -0.121 | -27.746
1326.734 | -0.125 | -27.19
1328.277 | -0.125 | -26.656
1329.82 | -0.128 | -26.14
1331.363 | -0.126 | -25.64
1332.906 | -0.117 | -25.168
1334.449 | -0.122 | -24.694
1335.992 | -0.134 | -24.239
1337.535 | -0.14 | -23.819
1339.078 | -0.151 | -23.404
1340.621 | -0.165 | -22.99
1342.164 | -0.186 | -22.591
1343.707 | -0.219 | -22.208
1345.25 | -0.214 | -21.846
1346.794 | -0.196 | -21.498
1348.337 | -0.213 | -21.158
1349.88 | -0.235 | -20.835
1351.423 | -0.241 | -20.529
1352.966 | -0.248 | -20.24
1354.509 | -0.267 | -19.958
1356.052 | -0.257 | -19.668
1357.595 | -0.261 | -19.415
1359.138 | -0.277 | -19.152
1360.681 | -0.282 | -18.917
1362.224 | -0.293 | -18.679
1363.768 | -0.306 | -18.437
1365.311 | -0.317 | -18.205
1366.854 | -0.336 | -17.983
1368.397 | -0.363 | -17.766
1369.94 | -0.386 | -17.566
1371.483 | -0.425 | -17.375
1373.026 | -0.485 | -17.205
1374.569 | -0.561 | -17.049
1376.112 | -0.631 | -16.903
1377.655 | -0.682 | -16.764
1379.198 | -0.74 | -16.629
1380.741 | -0.786 | -16.481
1382.285 | -0.832 | -16.308
1383.828 | -0.857 | -16.131
1385.371 | -0.863 | -15.945
1386.914 | -0.849 | -15.752
1388.457 | -0.82 | -15.557
1390 | -0.792 | -15.366