## T152512
SN: | T152512
Item #: | WDN20AB
Item Description: | 1x2 700 nm / 2000 nm Wavelength Division Multiplexer
Fiber Type: | SMF-28e+
Port Name: | Channel 1 - Red
Test Wavelength (nm): | 700
Insertion Loss (dB): | < 1 dB (Typical)
Port Name: | Channel 2 - White
Test Wavelength (nm): | 2000
Insertion Loss (dB): | -0.04
Isolation (dB): | -37.14
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - Red | Insertion Loss (dB) - Channel 2 - White
590 | -19.809 | -0.092
592.946 | -19.809 | -0.092
595.892 | -19.809 | -0.092
598.838 | -19.809 | -0.092
601.784 | -19.809 | -0.092
604.729 | -19.809 | -0.092
607.675 | -19.809 | -0.092
610.621 | -19.809 | -0.092
613.567 | -19.809 | -0.092
616.513 | -19.809 | -0.092
619.459 | -19.809 | -0.092
622.405 | -19.809 | -0.092
625.351 | -19.809 | -0.092
628.297 | -19.809 | -0.092
631.242 | -19.809 | -0.092
634.188 | -19.809 | -0.092
637.134 | -19.809 | -0.092
640.08 | -19.809 | -0.092
643.026 | -19.809 | -0.092
645.972 | -19.809 | -0.092
648.918 | -19.809 | -0.092
651.864 | -19.809 | -0.092
654.81 | -19.809 | -0.092
657.755 | -19.809 | -0.092
660.701 | -19.809 | -0.092
663.647 | -19.809 | -0.092
666.593 | -19.809 | -0.092
669.539 | -19.809 | -0.092
672.485 | -19.809 | -0.092
675.431 | -19.809 | -0.092
678.377 | -19.809 | -0.092
681.323 | -19.809 | -0.092
684.269 | -19.809 | -0.092
687.214 | -19.809 | -0.092
690.16 | -19.809 | -0.092
693.106 | -19.809 | -0.092
696.052 | -19.809 | -0.092
698.998 | -19.809 | -0.092
701.944 | -19.809 | -0.092
704.89 | -19.809 | -0.092
707.836 | -19.809 | -0.092
710.782 | -19.809 | -0.092
713.727 | -19.809 | -0.092
716.673 | -19.809 | -0.092
719.619 | -19.809 | -0.092
722.565 | -19.809 | -0.092
725.511 | -19.809 | -0.092
728.457 | -19.809 | -0.092
731.403 | -19.809 | -0.092
734.349 | -19.809 | -0.092
737.295 | -19.809 | -0.092
740.24 | -19.809 | -0.092
743.186 | -19.809 | -0.092
746.132 | -19.809 | -0.092
749.078 | -19.809 | -0.092
752.024 | -19.809 | -0.092
754.97 | -19.809 | -0.092
757.916 | -19.809 | -0.092
760.862 | -19.809 | -0.092
763.808 | -19.809 | -0.092
766.753 | -19.809 | -0.092
769.699 | -19.809 | -0.092
772.645 | -19.809 | -0.092
775.591 | -19.809 | -0.092
778.537 | -19.809 | -0.092
781.483 | -19.809 | -0.092
784.429 | -19.809 | -0.092
787.375 | -19.809 | -0.092
790.321 | -19.809 | -0.092
793.267 | -19.809 | -0.092
796.212 | -19.809 | -0.092
799.158 | -19.809 | -0.092
802.104 | -19.809 | -0.092
805.05 | -19.809 | -0.092
807.996 | -19.809 | -0.092
810.942 | -19.809 | -0.092
813.888 | -19.809 | -0.092
816.834 | -19.809 | -0.092
819.78 | -19.809 | -0.092
822.725 | -19.809 | -0.092
825.671 | -19.809 | -0.092
828.617 | -19.809 | -0.092
831.563 | -19.809 | -0.092
834.509 | -19.809 | -0.092
837.455 | -19.809 | -0.092
840.401 | -19.809 | -0.092
843.347 | -19.809 | -0.092
846.293 | -19.809 | -0.092
849.238 | -19.809 | -0.092
852.184 | -19.809 | -0.092
855.13 | -19.809 | -0.092
858.076 | -19.809 | -0.092
861.022 | -19.809 | -0.092
863.968 | -19.809 | -0.092
866.914 | -19.809 | -0.092
869.86 | -19.809 | -0.092
872.806 | -19.809 | -0.092
875.752 | -19.809 | -0.092
878.697 | -19.809 | -0.092
881.643 | -19.809 | -0.092
884.589 | -19.809 | -0.092
887.535 | -19.809 | -0.092
890.481 | -19.809 | -0.092
893.427 | -19.809 | -0.092
896.373 | -19.809 | -0.092
899.319 | -19.809 | -0.092
902.265 | -19.809 | -0.092
905.21 | -19.809 | -0.092
908.156 | -19.809 | -0.092
911.102 | -19.809 | -0.092
914.048 | -19.809 | -0.092
916.994 | -19.809 | -0.092
919.94 | -19.809 | -0.092
922.886 | -19.809 | -0.092
925.832 | -19.809 | -0.092
928.778 | -19.809 | -0.092
931.723 | -19.809 | -0.092
934.669 | -19.809 | -0.092
937.615 | -19.809 | -0.092
940.561 | -19.809 | -0.092
943.507 | -19.809 | -0.092
946.453 | -19.809 | -0.092
949.399 | -19.809 | -0.092
952.345 | -19.809 | -0.092
955.291 | -19.809 | -0.092
958.236 | -19.809 | -0.092
961.182 | -19.809 | -0.092
964.128 | -19.809 | -0.092
967.074 | -19.809 | -0.092
970.02 | -19.809 | -0.092
972.966 | -19.809 | -0.092
975.912 | -19.809 | -0.092
978.858 | -19.809 | -0.092
981.804 | -19.809 | -0.092
984.75 | -19.809 | -0.092
987.695 | -19.809 | -0.092
990.641 | -19.809 | -0.092
993.587 | -19.809 | -0.092
996.533 | -19.809 | -0.092
999.479 | -19.809 | -0.092
1002.425 | -19.809 | -0.092
1005.371 | -19.809 | -0.092
1008.317 | -19.809 | -0.092
1011.263 | -19.809 | -0.092
1014.208 | -19.809 | -0.092
1017.154 | -19.809 | -0.092
1020.1 | -19.809 | -0.092
1023.046 | -19.809 | -0.092
1025.992 | -19.809 | -0.092
1028.938 | -19.809 | -0.092
1031.884 | -19.809 | -0.092
1034.83 | -19.809 | -0.092
1037.776 | -19.809 | -0.092
1040.721 | -19.809 | -0.092
1043.667 | -19.809 | -0.092
1046.613 | -19.809 | -0.092
1049.559 | -19.809 | -0.092
1052.505 | -19.809 | -0.092
1055.451 | -19.809 | -0.092
1058.397 | -19.809 | -0.092
1061.343 | -19.809 | -0.092
1064.289 | -19.809 | -0.092
1067.234 | -19.809 | -0.092
1070.18 | -19.809 | -0.092
1073.126 | -19.809 | -0.092
1076.072 | -19.809 | -0.092
1079.018 | -19.809 | -0.092
1081.964 | -19.809 | -0.092
1084.91 | -19.809 | -0.092
1087.856 | -19.809 | -0.092
1090.802 | -19.809 | -0.092
1093.747 | -19.809 | -0.092
1096.693 | -19.809 | -0.092
1099.639 | -19.809 | -0.092
1102.585 | -19.809 | -0.092
1105.531 | -19.809 | -0.092
1108.477 | -19.809 | -0.092
1111.423 | -19.809 | -0.092
1114.369 | -19.809 | -0.092
1117.315 | -19.809 | -0.092
1120.26 | -19.809 | -0.092
1123.206 | -19.809 | -0.092
1126.152 | -19.809 | -0.092
1129.098 | -19.809 | -0.092
1132.044 | -19.809 | -0.092
1134.99 | -19.809 | -0.092
1137.936 | -19.809 | -0.092
1140.882 | -19.809 | -0.092
1143.828 | -19.809 | -0.092
1146.774 | -19.809 | -0.092
1149.719 | -19.809 | -0.092
1152.665 | -19.809 | -0.092
1155.611 | -19.809 | -0.092
1158.557 | -19.809 | -0.092
1161.503 | -19.809 | -0.092
1164.449 | -19.809 | -0.092
1167.395 | -19.809 | -0.092
1170.341 | -19.809 | -0.092
1173.287 | -19.809 | -0.092
1176.232 | -19.809 | -0.092
1179.178 | -19.809 | -0.092
1182.124 | -19.809 | -0.092
1185.07 | -19.809 | -0.092
1188.016 | -19.809 | -0.092
1190.962 | -19.809 | -0.092
1193.908 | -19.809 | -0.092
1196.854 | -19.809 | -0.092
1199.8 | -19.809 | -0.092
1202.745 | -19.809 | -0.092
1205.691 | -19.809 | -0.092
1208.637 | -19.809 | -0.092
1211.583 | -19.794 | -0.092
1214.529 | -19.729 | -0.093
1217.475 | -19.597 | -0.096
1220.421 | -19.426 | -0.101
1223.367 | -19.247 | -0.105
1226.313 | -19.072 | -0.103
1229.259 | -18.909 | -0.103
1232.204 | -18.755 | -0.108
1235.15 | -18.595 | -0.115
1238.096 | -18.428 | -0.122
1241.042 | -18.261 | -0.131
1243.988 | -18.092 | -0.136
1246.934 | -17.917 | -0.136
1249.88 | -17.741 | -0.135
1252.826 | -17.567 | -0.131
1255.771 | -17.396 | -0.126
1258.717 | -17.232 | -0.126
1261.663 | -17.075 | -0.132
1264.609 | -16.918 | -0.14
1267.555 | -16.753 | -0.146
1270.501 | -16.586 | -0.148
1273.447 | -16.426 | -0.147
1276.393 | -16.271 | -0.15
1279.339 | -16.116 | -0.156
1282.285 | -15.964 | -0.162
1285.23 | -15.814 | -0.168
1288.176 | -15.669 | -0.171
1291.122 | -15.527 | -0.171
1294.068 | -15.382 | -0.177
1297.014 | -15.231 | -0.187
1299.96 | -15.081 | -0.196
1302.906 | -14.933 | -0.197
1305.852 | -14.783 | -0.193
1308.798 | -14.632 | -0.19
1311.744 | -14.489 | -0.192
1314.689 | -14.35 | -0.195
1317.635 | -14.208 | -0.194
1320.581 | -14.067 | -0.191
1323.527 | -13.93 | -0.194
1326.473 | -13.793 | -0.201
1329.419 | -13.654 | -0.215
1332.365 | -13.523 | -0.232
1335.311 | -13.398 | -0.246
1338.256 | -13.266 | -0.256
1341.202 | -13.127 | -0.267
1344.148 | -12.99 | -0.279
1347.094 | -12.86 | -0.292
1350.04 | -12.735 | -0.305
1352.986 | -12.607 | -0.321
1355.932 | -12.474 | -0.336
1358.878 | -12.346 | -0.346
1361.824 | -12.233 | -0.358
1364.77 | -12.137 | -0.382
1367.715 | -12.057 | -0.424
1370.661 | -12.002 | -0.491
1373.607 | -11.972 | -0.595
1376.553 | -11.952 | -0.724
1379.499 | -11.926 | -0.85
1382.445 | -11.866 | -0.935
1385.391 | -11.757 | -0.959
1388.337 | -11.602 | -0.928
1391.283 | -11.416 | -0.862
1394.229 | -11.224 | -0.804
1397.174 | -11.043 | -0.768
1400.12 | -10.87 | -0.729
1403.066 | -10.71 | -0.693
1406.012 | -10.562 | -0.675
1408.958 | -10.411 | -0.649
1411.904 | -10.26 | -0.613
1414.85 | -10.126 | -0.596
1417.796 | -10.005 | -0.595
1420.741 | -9.882 | -0.594
1423.687 | -9.751 | -0.593
1426.633 | -9.621 | -0.592
1429.579 | -9.507 | -0.598
1432.525 | -9.409 | -0.61
1435.471 | -9.305 | -0.613
1438.417 | -9.192 | -0.61
1441.363 | -9.084 | -0.616
1444.309 | -8.975 | -0.63
1447.255 | -8.857 | -0.642
1450.2 | -8.739 | -0.648
1453.146 | -8.632 | -0.656
1456.092 | -8.527 | -0.671
1459.038 | -8.421 | -0.687
1461.984 | -8.318 | -0.702
1464.93 | -8.209 | -0.714
1467.876 | -8.094 | -0.725
1470.822 | -7.986 | -0.743
1473.768 | -7.889 | -0.773
1476.713 | -7.794 | -0.805
1479.659 | -7.7 | -0.83
1482.605 | -7.612 | -0.851
1485.551 | -7.523 | -0.872
1488.497 | -7.425 | -0.89
1491.443 | -7.326 | -0.909
1494.389 | -7.235 | -0.927
1497.335 | -7.149 | -0.947
1500.281 | -7.056 | -0.97
1503.226 | -6.953 | -0.988
1506.172 | -6.85 | -1
1509.118 | -6.752 | -1.015
1512.064 | -6.66 | -1.035
1515.01 | -6.575 | -1.061
1517.956 | -6.498 | -1.089
1520.902 | -6.419 | -1.113
1523.848 | -6.334 | -1.142
1526.794 | -6.252 | -1.181
1529.74 | -6.176 | -1.222
1532.685 | -6.097 | -1.255
1535.631 | -6.012 | -1.284
1538.577 | -5.908 | -1.283
1541.523 | -5.727 | -1.149
1544.469 | -5.502 | -0.935
1547.415 | -5.436 | -0.953
1550.361 | -5.565 | -1.224
1553.307 | -5.702 | -1.45
1556.253 | -5.683 | -1.531
1559.198 | -5.502 | -1.546
1562.144 | -5.338 | -1.563
1565.09 | -5.251 | -1.594
1568.036 | -5.18 | -1.634
1570.982 | -5.099 | -1.677
1573.928 | -5.018 | -1.719
1576.874 | -4.939 | -1.755
1579.82 | -4.863 | -1.787
1582.766 | -4.793 | -1.816
1585.711 | -4.725 | -1.845
1588.657 | -4.655 | -1.878
1591.603 | -4.585 | -1.91
1594.549 | -4.517 | -1.947
1597.495 | -4.451 | -1.99
1600.441 | -4.38 | -2.03
1603.387 | -4.304 | -2.067
1606.333 | -4.234 | -2.103
1609.279 | -4.173 | -2.145
1612.224 | -4.107 | -2.186
1615.17 | -4.033 | -2.224
1618.116 | -3.965 | -2.266
1621.062 | -3.905 | -2.312
1624.008 | -3.85 | -2.357
1626.954 | -3.789 | -2.405
1629.9 | -3.713 | -2.455
1632.846 | -3.627 | -2.5
1635.792 | -3.546 | -2.544
1638.737 | -3.474 | -2.592
1641.683 | -3.417 | -2.636
1644.629 | -3.367 | -2.67
1647.575 | -3.315 | -2.706
1650.521 | -3.265 | -2.752
1653.467 | -3.216 | -2.807
1656.413 | -3.157 | -2.864
1659.359 | -3.094 | -2.927
1662.305 | -3.04 | -2.992
1665.25 | -2.994 | -3.052
1668.196 | -2.963 | -3.109
1671.142 | -2.934 | -3.169
1674.088 | -2.892 | -3.228
1677.034 | -2.836 | -3.287
1679.98 | -2.776 | -3.352
1682.926 | -2.724 | -3.42
1685.872 | -2.675 | -3.486
1688.818 | -2.621 | -3.549
1691.764 | -2.566 | -3.609
1694.709 | -2.514 | -3.667
1697.655 | -2.462 | -3.732
1700.601 | -2.405 | -3.806
1703.547 | -2.35 | -3.879
1706.493 | -2.302 | -3.947
1709.439 | -2.253 | -4.011
1712.385 | -2.209 | -4.074
1715.331 | -2.173 | -4.152
1718.277 | -2.134 | -4.235
1721.222 | -2.087 | -4.314
1724.168 | -2.042 | -4.402
1727.114 | -2 | -4.493
1730.06 | -1.956 | -4.569
1733.006 | -1.922 | -4.645
1735.952 | -1.891 | -4.722
1738.898 | -1.854 | -4.805
1741.844 | -1.806 | -4.891
1744.79 | -1.762 | -4.975
1747.735 | -1.726 | -5.063
1750.681 | -1.69 | -5.149
1753.627 | -1.656 | -5.226
1756.573 | -1.633 | -5.312
1759.519 | -1.598 | -5.407
1762.465 | -1.548 | -5.507
1765.411 | -1.5 | -5.609
1768.357 | -1.47 | -5.713
1771.303 | -1.452 | -5.82
1774.249 | -1.42 | -5.925
1777.194 | -1.374 | -6.028
1780.14 | -1.345 | -6.127
1783.086 | -1.319 | -6.227
1786.032 | -1.283 | -6.331
1788.978 | -1.255 | -6.44
1791.924 | -1.224 | -6.558
1794.87 | -1.205 | -6.682
1797.816 | -1.177 | -6.788
1800.761 | -1.142 | -6.892
1803.707 | -1.126 | -7.013
1806.653 | -1.119 | -7.149
1809.599 | -1.104 | -7.268
1812.545 | -1.067 | -7.401
1815.491 | -1.035 | -7.541
1818.437 | -0.986 | -7.674
1821.383 | -0.956 | -7.823
1824.329 | -0.933 | -7.979
1827.275 | -0.913 | -8.094
1830.22 | -0.869 | -8.195
1833.166 | -0.817 | -8.31
1836.112 | -0.799 | -8.471
1839.058 | -0.8 | -8.628
1842.004 | -0.805 | -8.796
1844.95 | -0.793 | -8.982
1847.896 | -0.753 | -9.155
1850.842 | -0.716 | -9.292
1853.788 | -0.686 | -9.452
1856.734 | -0.649 | -9.621
1859.679 | -0.617 | -9.801
1862.625 | -0.587 | -9.962
1865.571 | -0.549 | -10.125
1868.517 | -0.532 | -10.326
1871.463 | -0.51 | -10.52
1874.409 | -0.496 | -10.735
1877.355 | -0.501 | -10.95
1880.301 | -0.482 | -11.158
1883.246 | -0.451 | -11.372
1886.192 | -0.427 | -11.594
1889.138 | -0.398 | -11.812
1892.084 | -0.399 | -12.046
1895.03 | -0.399 | -12.271
1897.976 | -0.399 | -12.522
1900.922 | -0.387 | -12.785
1903.868 | -0.369 | -13.066
1906.814 | -0.327 | -13.335
1909.76 | -0.305 | -13.614
1912.705 | -0.3 | -13.932
1915.651 | -0.289 | -14.239
1918.597 | -0.276 | -14.534
1921.543 | -0.257 | -14.86
1924.489 | -0.245 | -15.21
1927.435 | -0.228 | -15.557
1930.381 | -0.211 | -15.939
1933.327 | -0.218 | -16.346
1936.273 | -0.199 | -16.749
1939.218 | -0.184 | -17.151
1942.164 | -0.174 | -17.57
1945.11 | -0.142 | -18.097
1948.056 | -0.147 | -18.59
1951.002 | -0.139 | -19.111
1953.948 | -0.117 | -19.688
1956.894 | -0.117 | -20.293
1959.84 | -0.121 | -20.945
1962.786 | -0.128 | -21.658
1965.731 | -0.111 | -22.427
1968.677 | -0.111 | -23.271
1971.623 | -0.115 | -24.252
1974.569 | -0.086 | -25.294
1977.515 | -0.076 | -26.486
1980.461 | -0.074 | -27.87
1983.407 | -0.059 | -29.383
1986.353 | -0.107 | -31.518
1989.299 | -0.111 | -33.929
1992.245 | -0.122 | -36.677
1995.19 | -0.112 | -38.601
1998.136 | -0.103 | -38.511
2001.082 | -0.007 | -36.238
2004.028 | -0.025 | -33.85
2006.974 | -0.058 | -31.298
2009.92 | -0.055 | -29.397
2012.866 | -0.033 | -27.745
2015.812 | -0.012 | -26.326
2018.758 | 0.037 | -25.123
2021.703 | 0.031 | -23.996
2024.649 | 0.028 | -23.118
2027.595 | 0.041 | -22.292
2030.541 | -0.034 | -21.509
2033.487 | -0.08 | -20.799
2036.433 | -0.107 | -20.151
2039.379 | -0.085 | -19.566
2042.325 | -0.075 | -18.994
2045.271 | -0.039 | -18.437
2048.217 | -0.082 | -17.923
2051.162 | -0.108 | -17.435
2054.108 | -0.126 | -17.02
2057.054 | -0.166 | -16.617
2060 | -0.174 | -16.18